| NPRR Number |  | NPRR Title | External Transmission Networks |
| --- | --- | --- | --- |
| Nodal Protocol Section(s) Requiring Revision (include Section No. and Title) |  | ## DEFINITIONS - ERCOT System Modeling Requirements |  |
| Revision Description |  | Provide for the modeling of generation connected to the ERCOT Transmission System through an external transmission network |  |
| Reason for Revision |  | Generation synchronously connected to the ERCOT Transmission System using a facility not owned or operated by a TSP must be modeled such that ERCOT may reliability study effects of this generation on the ERCOT Grid. |  |
| Reason for Revision (from Transition Plan Task Force (TPTF) Charter Scope) |  | (1) Revisions resulting from Commission orders; (2) Clarifications of Protocol language that do not change the intent or technical specifications of the Protocols; (3) Correction of technical errors or processes that are found to not be technically feasible; (4) Revisions to the Protocols necessary to implement the results of the value engineering analysis or to otherwise avoid severe cost impacts; or (5) Other (describe): |  |
| TPTF Review (Yes or No, and summary of conclusion) |  |  |  |
| Credit Implications (Yes or No, and summary of impact) |  |  |  |
| Timeline |  |  |  |
| Date Posted |  |  |  |
| Please access the ERCOT website for current timeline information. |  |  |  |

| Sponsor |  |
| --- | --- |
| Name |  |
| E-mail Address |  |
| Company |  |
| Company Address |  |
| Phone Number |  |
| Fax Number |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive NPRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the NPRR.

| Assumptions | 1 |  |  |
| --- | --- | --- | --- |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other | 1 |  |  |
| Comments | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

Proposed Nodal Protocol Language Revision

## DEFINITIONS

External Transmission Network

A collection of physical Transmission Facilities, not owned by a TSP, that includes Non-Modeled Generation Resources, Load Resources or Load synchronously connected to the ERCOT System and with aggregate generating capacity able to inject power and energy into the ERCOT Transmission Grid.

Non-Modeled Generator

A generator that is:

(1)	Capable of providing net output of energy to the ERCOT System;

(2)	10 MW or less in size or greater than 10 MW and registered with the PUCT according to §25.109, Registration of Power Generation Companies and Self-Generators as a self-generator and approved by ERCOT to be modeled on an External Transmission Network; and

(3)	Registered with ERCOT as a Non-Modeled Generator, which means that the generator may not participate in the Ancillary Service or energy markets, RUC, or SCED.

3.10.7.3	Modeling of External Transmission Networks

ERCOT shall construct a model of the facilities within an External Transmission Network according to the following using data collected by ERCOT  and the facility operator.

(1)	ERCOT shall collect the following information from each owner of the  facilities making up the  External Transmission Network, subject to the procedures and naming conventions in Section 3.10.7.1, Modeling of Transmission Elements and Parameters:

(a)	Equipment owner(s);

(b)	Equipment operator(s);

(c)	The TSP substation name connecting the External Transmission Network to the ERCOT System;

(e)	A description of all External Transmission circuits that may be connected through breakers or switches; and

(f)	Other data necessary to model the External Transmission Network including any self-generation, load, and interconnection data.

(2)	Non-modeled Generation in an External Transmission Network may not participate in ERCOT’s energy markets, RUC, or SCED.

(3) 	TSPs shall install telemetry, updated every 10 seconds, of transmission line flow measurements at the point of TSP’s interconnection to the ERCOT System.

(4)	Owners or operators of self-generation facilities as defined in §25.109, Registration of Power Generation Companies and Self-Generators shall install telemetry, updated every 10 seconds, of each generation facility’s MW and MVAR output.

(4)	Delivery of energy from the External Transmission Network to the ERCOT System shall be settled as Non-modeled Generation.

(5)	ERCOT shall consider energy received from an External Transmission Network when determining total ERCOT load for the purpose of Load forecasting and reporting.

(7)	An External Transmission Network may be connected through only one interconnection to the ERCOT Transmission System. ERCOT shall model non-TSP transmission networks with multiple interconnections to the ERCOT Grid that potentially create significant impact on the ERCOT System as part of the Network Operations Model.

(8)	ERCOT may configure and update for real time operations and specific studies the Transmission Facilities within an External Transmission Network as required.