## Slide 1: ERCOT
LRS Detail
Sample Design
PWG Presentation
April 24, 2007

## Slide 2: Overview
High-level Sample Design Review
Detail Sample Design and Allocation to TDSPs
Sample Point Retention
New Primary and Backup Sample Point Selection

## Slide 3: Final Round 2 High Level Design
Total sample size 9,160
Round 2 Sample

## Slide 4: Detail Sample Design Inputs
Error Ratios in each sample cell
  Median value used within each cell
Preliminary sample size in each cell
Load factor in each cell (from LRS results)
Population data at the ESIID level including annualized kWh to be used as the basis for stratification within cells

## Slide 5: Detail Sample Design Inputs

## Slide 6: Determine Stratum Boundaries
Model Based sample design was used to determine stratum boundaries and sample allocation to strata (equal allocation results)
Number of strata within a cell was specified based on the cell total sample size
  Minimum sample size within a stratum is 40 (3 strata for cells with 120 total points)
  Error Ratios in each sample cell
  Maximum number of strata is 5
Model Based stratification occasionally resulted in additional certainty strata (100% sampling within the stratum)
  Caused by ESIIDs with unusually high or low usage values
  Eliminated by changing the boundary to include the ESIIDs in the adjacent stratum
Primary voltage ESIIDs were included
in the population for all cells except the
4 identified as having significant proportion
of the load
These four were treated as separate strata
within each cell

## Slide 7: Determine TDSP Sample Allocation
Determine percent of ESIIDs within each stratum by TDSP
Assign proportional share of sample points to each TDSP
Apply TDSP valid data factor to their share of the sample points and round up to the nearest whole number to account for expected valid data collection rate

## Slide 8: Sample Point Retention
Retainable Round 1 sample points for each TDSP were identified by cell and stratum
TXUED new load research sample points also were identified by cell and stratum
The number of additional sample points needed by cell and stratum was determined for each TDSP, within each cell and stratum :
  For TXUED:
ERCOT new points = required sample size – retained points – TXUED new points
  For all other TDSPs:
ERCOT new points = required sample size – retained points

## Slide 9: Sample Point Lists
Three sample point lists will be provided to TDSPs for both the RES and BUS profile groups
  Retainable Round 1 sample points for each TDSP were identified by cell and stratum
The number of new sample points needed by cell and stratum was determined for each TDSP
  TXUED new load research sample points also were identified by cell and stratum
  within each cell and stratum :
ERCOT new points = required sample size – retained points
The number of retained sample points by cell and stratum was determined for each TDSP :
Retained Sample Points = LRS Rnd1 Retainable Points + (TXUED new LR points)**
A list of Backup (Replacement) Sample Points by cell and stratum
# of Backup Sample points = Max(25, Required Count * 15)
** Applied to TXUED proportionate share of required sample points

## Slide 10: Retainable Round 1 Sample Points
Table shows retainable secondary sample points only
Non retained sample points may be selected for the round 2 sample
TDSPs should consider waiting until round 2 sample list is provided to start recorder removal

## Slide 11: Round 2 – Required RESHI Sample Size

## Slide 12: Round 2 – Required RESLO Sample Size

## Slide 13: Round 2 – Required BUSHI Sample Size

## Slide 14: Round 2 – Required BUSLO Sample Size

## Slide 15: Round 2 – Required BUSMED Sample Size

## Slide 16: Round 2 – Required BUSNODEM Sample Size

## Slide 17: Round 2 – RESHI Retained Sample Points

## Slide 18: Round 2 – RESLO Retained Sample Points

## Slide 19: Round 2 – BUSHI Retained Sample Points

## Slide 20: Round 2 – BUSLO Retained Sample Points

## Slide 21: Round 2 – BUSMED Retained Sample Points

## Slide 22: Round 2 – BUSNODEM Retained Sample Points

## Slide 23: Round 2 – RESHI New Sample Points

## Slide 24: Round 2 – RESLO New Sample Points

## Slide 25: Round 2 – BUSHI New Sample Points

## Slide 26: Round 2 – BUSLO New Sample Points

## Slide 27: Round 2 – BUSMED New Sample Points

## Slide 28: Round 2 – BUSNODEM New Sample Points

## Slide 29: Round 2 – TDSP Summary

## Slide 30: Round 2 – TDSP Summary

## Slide 31: Next Steps
PWG will discuss installation timelines for the new IDR installs and other issues related to Round 2
PWG will work on LPG Section 15 to reflect PUCT Rule and procedures being adopted to conduct load research in the ERCOT market