## Slide 1: PWG Long Term Strategy
How do we maximize scarce resources?

## Slide 2: What is the ideal state for PWG?
Profiles exist to allow division of non-IDR meter readings and non-metered loads into smaller time periods to allow for real time settlement.
If all ESIID’s had IDR meters we would not need profiles.

## Slide 3: What is the current state for PWG?
Current profiles are based on very old research data that was actually gathered to allow prediction of peak demand.
Profiles are assigned based on load characteristics that allow for significant profile assignment migration year over year.
In summary: NOT DESIRABLE!

## Slide 4: What is the next state? (Today+1)
Sometime in 2006, perhaps the first “demographic” based profile shall be introduced. Much better for those ESIID’s.
In 2006 a more stable assignment mechanism will be introduced that will cover 85% of all ESIID’s and load.
Summary: Better but not ideal!

## Slide 5: Today + 2
Sometime in 2007 the current profiles will be updated based on current load research data that has an 90/15 accuracy rating. Ongoing migrations will be limited to about 3% of ESIID’s annually.
Summary: About as good as static profiles can get.

## Slide 6: Possible Today +3 (Iterate)
Sometime in 2008 there could be further updated profile releases with 90/10 or better accuracy criteria and further reductions in migration.
Summary: Maintains the best static profiles we can get.

## Slide 7: Possible Today +3 (Lagged Dynamic)
Current protocol and guide language supports lagged dynamic profiling. Significant ERCOT and MP system changes would be required some time in 2008 or 2009 time frame.
Could LRS meters be used for this or do we to deploy a new sample as well?
Summary: Still require profiles for initial settlement but much more accurate finals and true ups.

## Slide 8: Possible Today +3 (Demographics)
First demographic profile in is likely in 2006, why not create others?
Summary: Still profiles but more accurate?

## Slide 9: Possible Today +3 (Advanced Meters)
Assume granularity of daily reads. Not clear if all rural meters will be included. Need a profile to spread daily cut into intervals. Best case is 2008 some meter data starts to roll in.
Summary: Profiling still required but at a much different level. (Profile within a day rather than a month).

## Slide 10: Notes on AMR
Excerpt from working notes document of
May 15, 2006 COMET working group.
The group has consensus that, at a minimum, for residential customers the data granularity required is daily consumption data with the functionality to go to hourly data to support TOU offerings.
The group has consensus that, at a minimum, for C&I customers the data granularity required is daily consumption data with the functionality to go to hourly data to support TOU offerings and fifteen minute data to support the IDR threshold in the ERCOT Market.

## Slide 11: Notes on AMR
House Bill 2129
Section 8 (A) – Encourages TDU’s to do AMR
Section 8 (B) requires even year updates to legislature from PUCT.
PUCT Project #31418
COMMET is developing recommendations now.
Strawman Rule ~ end of summer 2006
Final Rule ???
TXUED Committed?
Three year roll out indicated in press releases.

## Slide 12: Lagged Dynamic Issues
Nodal roll out in 2009
ERCOT and MP system focus shifts to Nodal design in 2007.
Is there testing and development bandwidth to do this before?