Summary of Survey Responses  - Wind-Only QSEs

| SCE Performance Monitoring- Wind Only SCPS2 Scores |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Date |  | A | B | C | D | E | F | G |
| 2006 | Jan Feb Mar Apr May Jun Jul Aug Sep Oct Nov Dec | 7.1 9.8 9.1 60.0 | 13.7 19.1 21.1 19.6 18.3 28.1 22.7 23.3 27.9 26.3 18.5 21.2 | 22.0 26.2 25.3 23.0 26.2 27.1 35.2 34.0 40.2 28.5 33.6 29.4 | 34.9 23.9 10.1 10.8 10.7 9.3 5.8 6.8 13.1 | 41.2 28.5 30.3 32.0 29.9 34.3 33.4 31.7 36.3 24.4 30.9 31.2 | 25.7 26.2 28.8 23.9 17.7 17.6 19.7 25.1 22.6 11.8 12.8 14.0 | 42.4 42.3 52.4 52.4 59.3 53.1 50.0 57.6 |
| 2007 | Jan Feb | 5.3 6.9 | 21.7 18.2 | 30.4 19.2 | 16.6 11.9 | 33.2 35.8 | 16.3 12.4 | 60.9 52.7 |

Survey Summary

What factors impair ability to improve performance?

- ERCOT’s rigid lead time and firm scheduling requirements (3 responses)

- Lack of accurate & relevant wind forecasting (2 responses)

- Wind is intermittent in nature

What positive factors influencing performance?

- Improved meteorological forecasting for Fall & Winter months; responding to real-time deviations in wind generation output

- During Summer months, the wind is less volatile and scoring is higher

- Wind is uncontrollable

- Short term updates to the resource schedule based upon wind forecasts

What negative factors influencing performance?

- Resource output deviations versus schedule is to attempt to “chase the wind” by modifying the schedule based on real-time information, while conforming to the ERCOT scheduling requirements

- During the shoulder months, the wind is more volatile and scoring is lower

- Wind is uncontrollable; scores are irrelevant to wind scheduling accuracy

- Sudden transmission or plant events that cause the wind resource to trip off-line

Monitoring efforts to improve performance?

- Working toward constant communications capabilities in Wind-Only sub-QSE similar to those in non-wind QSE

- The SCE of wind-only and non-wind only portfolios are monitored in real-time (2 responses)

- The resource schedule, resource plan and down balancing bids are updated for each hour of the operating day within the hour before the close of the adjustment period at T-60

Managing efforts to improve performance?

- Funding upgrades to instrumentation, data acquisition, and communications at the wind facilities

- Energy Market System and Wind SCADA system enhancements underway (2 responses)

- Procedure is in place to modify its wind generation schedules automatically for the actual wind energy production during the adjustment period

- Schedules are updated as close to real-time as the ERCOT Protocols and systems will allow

What suggestions do you have to improve performance?

- Would support, through the stakeholder process, discussions involving protocol revisions to improve frequency control and overall scheduling performance of wind-only portfolios

- Encourage ERCOT to consider revisions to the scheduling and resource plan lead times to allow for more accurate QSE scheduling of volatile wind resources (2 responses)

- Would encourage ERCOT to research and analyze other RTO markets for their wind generation scheduling and balancing procedures in order to determine “best practices”

- Frequency control might be improved if ERCOT used real-time telemetry data from wind units as best forecast for upcoming schedules and resource plans

- Overall scheduling performance might be improved if the tolerance for SCE for wind-only portfolios was similar to the Uninstructed Resource Change tolerance (50%)

- Suggest ERCOT use a wind generation forecasting model to correlate wind, temperature and humidity forecasts with actual MW production for use in its forecasting & operations planning (2 responses)

- QSE’s could update the balance schedules as often as an hour before the operating hour.  Resource plans can be updated near real-time