May2, 2007

John D. Varnell, Tenaska Power Services

RE: ERCOT Nodal ICCP Communication Handbook

General Comments

Tenaska believes we should send predetermined text messages in block 2 for the statement:

We are requesting that MPs check with their ICCP vendors and provide feedback on the proposed methods of providing a text reason for operations that occur outside of HEL, LEL, HSL, and LSL, as well as for telemetered ramp rates.