Texas Nodal Market

Version 0.11

May 3, 2007

5-2-2007, Brazos response to questions on ICCP Handbook are documented below:

1) We prefer that the text reason for operations that occur outside of HEL, LEL, HSL, and LSL, as well as for telemetered ramp rates would not be implemented with ICCP but with an XML message submitted via the API.  The protocols are somewhat unclear whether the text reason needs to be a “telemetered” value.  Is there a contradiction between Nodal Protocol Section 6.4.5 and 6.4.7? In section 6.4.7 when a derating of a Resource occurs it just says that a QSE is to inform ERCOT it does not specify by telemetry.

2) We have no preference in the sign convention for ICCP, however, if changed then there will be additional work involved to conform to the new convention. ERCOT should provide the various reasons for changing so that a more informed decision can be made.