| NPRR Number | 046 | NPRR Title | Real-Time ICCP Communications Only |
| --- | --- | --- | --- |
| Impact Analysis Date |  | 02/27/07 |  |
| Cost/Budgetary Impact |  | No incremental cost to ERCOT. ERCOT believes this proposed Nodal Protocol revision is assumed and reflected in current Nodal business requirements and will not increase the Nodal budget. |  |
| Estimated Project Time Requirements* *Unless otherwise indicated, project time requirements begin upon project initiation. |  | It is anticipated that this Nodal Protocol revision will not adversely impact the current Nodal project schedules. |  |
| ERCOT Staffing Impacts (across all areas) |  | No impact to ERCOT staffing is anticipated. |  |
| ERCOT Computer System Impacts |  | No impact to planned Nodal computer systems is anticipated. |  |
| ERCOT Business Function Impacts |  | No significant additional high-level impacts to business functions are anticipated. |  |
| Grid Operations & Practices Impacts |  | No significant additional high-level impacts to grid operations & practices are anticipated. |  |

Alternatives for a More Efficient Implementation (include explanation of impacts)

None.

Evaluation of Interim Solutions (e.g., manual workarounds)

None.

Feasibility of Implementation

Impact on Resource Availability: None Impact to Other Projects: None

Comments

ERCOT’s telemetry costs for supporting only ICCP in the nodal market will be lower than if ERCOT were required to also support RTU telemetry in the nodal market. Individual market participant costs may be incurred however, depending on a company’s current ICCP configuration and capability. ERCOT TPTF presentations to stakeholders on this matter occurred on 9/11/06 and are located at: http://www.ercot.com/calendar/2006/09/20060927-TPTF.html .