| PRR Number | 701 | PRR Title | Enabling of Stranded Capacity During Alerts |
| --- | --- | --- | --- |
| Timeline | Urgent | Action | Remanded |
| Protocol Section(s) Requiring Revision |  | 5.6.5, Alert 5.6.6, Emergency Notice 5.6.7.1, Restoration of Market Operations 5.6.8, Emergency Compensation |  |
| Proposed Effective Date |  | TBD |  |
| Priority and Rank Assigned |  | N/A |  |
| Revision Description |  | This Protocol change will allow Qualified Scheduling Entities (QSEs) to represent their previously stranded capacity as available and capable of being included in their full real-time capability during an Alert due to a capacity short supply situation. |  |
| Overall Market Benefit |  | This PRR may provide ERCOT with an additional tool that may enable incremental On-line capacity when ERCOT issues an Alert due to a short capacity supply situation. |  |
| Overall Market Impact |  | None |  |
| Consumer Impact |  | None |  |
| Credit Impacts: Has the Credit Workgroup reviewed the PRR? If so, are there credit impacts? |  | Yes. ERCOT credit staff and the Credit Work Group (Credit WG) have reviewed PRR701 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |
| Procedural History |  | - PRR701 was posted on 11/20/06 with a request for Urgent status. - The motion to grant Urgent status by e-mail vote failed on 11/22/06. - On 12/14/06, PRS reconsidered and granted the request for Urgent status, and tabled further discussion of PRR701. - On 12/15/06, TXU Wholesale posted comments. - On 1/3/07, WMS posted comments. - On 1/11/07, PSEG Texgen I posted comments. - On 1/12/07, ERCOT Staff posted comments and an Impact Analysis (IA). - On 1/22/07, PRS considered PRR701. - On 2/16/07, PSEG Texgen I posted comments. - On 3/22/07, PRS again considered PRR701. - On 4/13/07, ERCOT Staff posted an updated IA. - On 4/20/07, PRS considered this Recommendation Report and reviewed the updated IA. - On 5/4/07, TAC considered this PRR. |  |
| PRS Recommendation |  | On 12/14/06, PRS first voted to reconsider the motion to grant Urgent status. This motion passed with two opposing votes from the Consumer and the Independent Power Marketer (IPM) Market Segments. Then PRS voted on a motion to grant Urgent status. The motion passed with four opposing votes from the IPM, Consumer, Investor Owned Utility (IOU), and Independent Retail Electric Provider (IREP) Market Segments. Finally, PRS voted to table further discussion of this PRR until the January 2007 PRS meeting. This motion passed with one opposing vote from the Consumer Market Segment. All Market Segments were present for the votes. On 1/22/07, PRS voted to recommend approval of PRR701 as revised by comments by PSEG Texgen I and as revised by PRS but with the provision that PRR701 remain with PRS until IA and Cost Benefit Analysis (CBA) are finalized. The motion passed with 5.00 of the Market Segments voting for and 2.00 of the Market Segments voting against the motion. There were six nays from the IOU (1), Consumers (3), and IREP (2) Market Segments and zero abstentions. All Market Segments were present for the vote. On 3/22/07, PRS voted to recommend approval of PRR701 as amended by PSEG Texgen I comments. The motion passed with one opposing vote from the IREP Market Segment and three abstentions from the Consumer, Independent Generator, and IPM Market Segments. All Market Segments were present for the vote. ERCOT will revise its IA based on the revised language of the PRR and present it at the next PRS meeting. On 4/20/07, PRS voted to approve the Recommendation Report as revised by PRS and forward this Report and IA to TAC. The motion passed with two abstentions from the IPM and the IREP Market Segments. All Market Segments were present for the vote. |  |
| Summary of PRS Discussion |  | On 12/14/06, PRS members discussed the merits of the request for Urgent status. The sponsor stressed that this PRR should be processed in tandem with the PRRs relating to the Emergency Interruptible Load Service (EILS) because it could provide ERCOT another tool in of a capacity shortfall. Participants noted that this PRR should be fully reviewed by ROS. On 1/22/07, some participants commented that PRR601, 15 Minute Ramping for BES and Base Power Schedule, and PRR675, Multiple Ramp Rates, should solve the problem addressed in this PRR; that this is a technical issue rather then a market issue; that the rules should not be changed to address a technical problem for one Market Participant; that there is not a lot of value in this PRR; that the proposal may lead to price chasing; and that it may have performance implications. ERCOT Staff agreed that there is little value to this PRR. The PRR sponsor disagreed stating that there is an issue with stranded capacity and Schedule Control Error (SCE) compliance. Participants inquired whether the market knows the amount of stranded capacity that would be made available with this PRR. The sponsor contended that it may be as much as 1,000 MW. ERCOT Staff explained that ERCOT issues a dispatch instruction prior and during an Emergency Electric Curtailment Plan (EECP) and that generators are supposed to inform ERCOT of any available capacity. Participants then questioned whether Generators made this stranded capacity available during April 17, 2006 firm Load shed event and suggested that ERCOT should investigate whether Generators did indeed make this capacity available. ERCOT Staff ascertained that this PRR does not allow Market Participants to unilaterally change their schedule. The PRR sponsor emphasized that the implementation of this PRR is limited to EECP events and that Generators are seeking an exception at the front end (rather then after the fact) to SCE compliance if such capacity is brought on-line. ERCOT Staff explained that Section 6.10.6, Ancillary Service Deployment Performance Conditions, provides for specific exceptions to SCE compliance and stated that creating an exception up front will require that ERCOT change its processes and this will have a system impact. On 3/22/07, ERCOT Staff explained that the comments posted by PSEG Texgen I address implementation and scheduling issues raised by ERCOT. Participants again discussed whether this PRR will reduce the need for EILS. ERCOT Staff explained that the need to dispatch EILS and the ability to enable stranded capacity during an Alert are two separate issues and emphasized that ERCOT currently has the right to call on this capacity during an Alert. Participants also discussed whether this PRR will have an impact on SCE performance calculations for Ancillary Services (AS) and noted that QSEs are eligible for a compliance exemption when responding to a verbal dispatch instruction (VDI) during an emergency short supply situation. Some participants opined that there is no need for this PRR and that this PRR may result in Entities always placing bids and gaming the system. On 4/20/07, PRS noted a typographical error in the discussion section of the PRS Recommendation Report. |  |
| TAC Action |  | On 5/4/07, TAC voted to remand PRR701 to PRS to resolve the discrepancy between the units’ stated High Sustainable Limit (HSL) and limits being reported in the Resource Plan under this PRR. The motion passed with three abstentions from the IOU (2) and Municipal Owned Utility (MOU) Market Segments. All Market Segments were present for the vote. |  |
| Summary TAC Discussion |  | Some participants raised concerns that under this PRR, Entities would report lower limits on units in their Resource Plan than the units’ actual HSL. This discrepancy with the HSL would have an impact on the AS. Participants discussed whether this constitutes a violation of the Protocols. Participants also noted that this would only occur during an EECP. Market Participants inquired about the results of a survey to determine how much capacity would be made available though this measure. Due to a variety of reasons, the survey was never finalized. |  |

ERCOT/Market Segment Impacts and Benefits

| Assumptions | 1 |  |  |
| --- | --- | --- | --- |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 | No cost to market | No cost to market |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 | Increases system capacity on short notice | No cost to market |
|  | 2 | Reduces the need and cost of EILP | Eliminates the $50MM EILP cost to market |
| Additional Qualitative Information | 1 |  |  |
| Other Comments | 1 | Minimal ERCOT systems impacts |  |

| Original Sponsor |  |
| --- | --- |
| Name | Rafael Lozano |
| Company | PSEG Texgen I |
| Segment | Independent Generator |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Description |
| TXU Wholesale 121506 | Raised objections to this PRR and offered alternative language. |
| WMS 010307 | Commented that WMS endorsed this PRR. |
| PSEG Texgen I 011007 | Offered revised language. |
| ERCOT Staff 011207 | Agreed with TXU, noted that ERCOT will rely on this Generation during an EECP event, and raised implementation issues and scheduling concerns. |
| PSEG Texgen I 021607 | Offered revised language to address implementation issues and scheduling concerns raised by ERCOT. |

Proposed Protocol Language Revision

5.6.4	Advisory

ERCOT will issue an Advisory for informational purposes for the following reasons:

(1)	When it recognizes that conditions are developing or have changed and more Ancillary Services will be needed to maintain current or near-term operating reliability;

(2)	When weather or ERCOT System conditions require more lead-time than the normal Day Ahead market allows;

(3)	When communications or other controls are significantly limited; or

(4)	When ERCOT Transmission Grid conditions are such that operations within first contingency criteria as defined in the Operating Guides are not likely or possible because of Forced Outages or other conditions.

The Advisory communicates existing constraints.  ERCOT will notify TDSPs and QSEs. QSEs will notify appropriate Resources and LSEs.  ERCOT will communicate with TDSPs as needed to confirm their understanding of the condition and to determine the availability of Transmission Facilities.  For the purposes of verifying submitted information, ERCOT may communicate with QSEs.

Although an Advisory is for information purposes, ERCOT may exercise its authority, in such circumstances, to increase Ancillary Service requirements above the quantities specified in the normal Day Ahead plan in accordance with scheduling procedures.  ERCOT may also increase the Day Ahead market to Two Days Ahead.  ERCOT may require information from QSEs representing Resources regarding their fuel capabilities.  Requests for this type of information shall be for a time period of no more than seven (7) days from the date of the request.  The specific information which may be requested shall be defined in the Operating Guides.  QSEs representing Resources shall provide the requested information in a timely manner, as defined by ERCOT at the time of the request.

If the Advisory is the result of a short supply situation, each QSE with extra generating capacity that is normally not readily available due to ramp rate limitations (e.g., extra capacity on combined-cycle combustion turbines utilizing duct firing), may update their Up Balancing bid curve to reflect the extra capacity that can be made available in thirty (30) minutes or less.  To prevent the deployment of such extra capacity, the HSL shall be adjusted down to a level equal to the HOL rating of the online Resource minus the amount of extra capacity bid into the Up Balancing minus the Ancillary Services obligation.

5.6.5	Alert

ERCOT will issue an Alert when ERCOT determines:

(1)	That conditions have developed such that additional Ancillary Services are needed in the Operating Period;

(2)	That market Congestion Management techniques specified in these Protocols will not be adequate to resolve transmission problems; or

(3)	Forced Outages or other abnormal operating conditions occur which require operations outside first contingency security limits as defined in the ERCOT Operating Guides;

(4)	That there are insufficient AS bids.

ERCOT will post the Alert electronically and will notify all TDSPs and QSEs via the Messaging System of the posted Alert(s).

ERCOT must issue an Alert before acquiring Emergency Short Supply Regulation Services, Emergency Short Supply Responsive Reserve Services or Emergency Short Supply Non-Spinning Reserve Services.  With the issuance of an Alert pursuant to item (1) or (4) above, ERCOT may exercise its authority to immediately procure the following services from existing bids:

(1)	Regulation Services;

(2)	Responsive Reserve Services; and

(3)	Non-Spinning Reserve Services.

Emergency Short Supply Regulation Services, Emergency Short Supply Responsive Reserve Services or Emergency Short Supply Non-Spinning Reserve Services will be procured if there is insufficient availability of bids for any of the listed Ancillary Services.

ERCOT will post the Alert electronically on the MIS and will notify all TDSPs and QSEs via the Messaging System of the posted Alert(s).

Corrective actions identified by ERCOT shall be communicated through Dispatch Instructions to TDSPs and/or QSEs required to implement the corrective action.  Each QSE shall immediately notify the Market Participants that it represents of such Alert.  To minimize the effects on the ERCOT System, all TDSPs will identify and prepare to implement actions, including restoring outaged lines as appropriate and preparing for Load shedding.  ERCOT may instruct TDSPs to reconfigure ERCOT System elements as necessary to improve the reliability of the ERCOT System.  On notification of an Alert, each QSE and TDSP will prepare for an emergency in case conditions worsen.  ERCOT may require information from QSEs representing Resources regarding their fuel capabilities.  Requests for this type of information shall be for a time period of no more than seven (7) days from the date of the request.  The specific information which may be requested shall be defined in the Operating Guides.  QSEs representing Resources shall provide the requested information in a timely manner, as defined by ERCOT at the time of the request.

5.6.6	Emergency Notice

ERCOT will issue an Emergency Notice only for the following reasons:

(1)	ERCOT cannot maintain minimum reliability standards (for reasons including fuel shortages) during the Operating Period using every Resource practicably obtainable from the market;

(2)	ERCOT is in an unreliable condition, as defined below;

(3)	Immediate action must be taken to avoid or relieve an overloaded transmission element; or

(4)	ERCOT varies from timing requirements or omits one or more scheduling procedures, as described in Section 4.8, Temporary Deviations from Scheduling Procedures.

The actions ERCOT takes during an Emergency Condition will depend on the nature and severity of the situation.

ERCOT is considered to be in an unreliable condition whenever ERCOT Transmission Grid status is such that the most severe single-contingency event presents the threat of uncontrolled separation or cascading outages and/or large-scale service disruption to Load (other than Load being served from radial transmission service) and/or overload of a critical transmission element, and no timely solution is obtainable from the market.

If the Emergency Condition is the result of a transmission problem that puts ERCOT in an unreliable condition, then ERCOT will act immediately to return ERCOT to a reliable condition, including instructing Resources to change output and instructing TDSPs to drop Load.

If the Emergency Condition is the result of a short supply situation, each QSE having bid extra capacity during the Advisory period that is normally not readily available due to ramp rate limitations, will immediately update their HSL of any online Resource that is capable of providing extra capacity within thirty (30) minutes.  The HSL shall be set to equal the HOL rating of the online Resource minus the Ancillary Services obligation.  The extra capacity must already be part of the QSE’s Up Balancing bid curve in order for SPD to utilize the updated HSL.

If the short supply Emergency Condition continues, then the Emergency Electric Curtailment Plan procedures will be followed.

5.6.7	EECP STEPS

Step 1 — Maintain ERCOT Physical Responsive Capability (PRC) on units plus RRS MW provided from LaaR Equal to 2300 MW.

ERCOT will:

(1)	Utilize available DC tie capability that is not already being used by the market;

(2)	 Notify the Southwest Power Pool Security Coordinator; and

(3)	Issue OOM dispatch instructions to uncommitted units available within the expected timeframe of the emergency.

(4)	Use available BtB import capacity that is not already being used and inquire about availability of Block Load Transfers.

QSEs will:

- Notify ERCOT of any resources uncommitted but available in the timeframe of the emergency.

- Immediately update the HSL of any online Resource that is capable of providing extra capacity within 30 minutes.  The extra capacity must already be part of the QSE’s Up Balancing bid curve in order for SPD to utilize the updated resource plan.

5.6.7.1	Restoration of Market Operations

ERCOT shall continue EECP until sufficient bids are received and deployed by ERCOT to eliminate the conditions requiring the EECP.  Upon ERCOT notifying the market that the EECP is cancelled, each QSE that enabled extra capacity during Emergency Condition or EECP will remove the extra capacity from the Up Balancing bid stack and adjust the HSL of any online Resource within fifteen (15) minutes to a level that ensures compliance with all applicable standards.

5.6.8	Emergency Compensation

Deployment and compensation for OOMC and OOME Resources that ERCOT instructs for deployment due to a supply-related Emergency will be according to Section 6.8.2, Capacity and Energy Payments for Out of Merit Services.

There will be no compensation other than normal settlement methods to Resources for the utilization of stranded capacity.

There will be no compensation other than normal settlement methods to Loads in the event of Load shedding by the TDSP during EECP.

[PRR543: Add the following two paragraphs upon ERCOT Legal review of the Comision Federal de Electricidad contract:] When energy is delivered to the ERCOT Control Area from a non-ERCOT Control Area through emergency instructions over a BtB Tie, the BtB Tie will be treated as a Resource receiving an OOME instruction via its QSE in the Congestion Zone where it is located. For settlement purposes, the Resource Plan of the BtB Resource shall be set to zero. When energy is delivered from the ERCOT Control Area through an emergency Dispatch Instruction over a BtB Tie, the BtB Tie will be treated as Load in the Congestion Zone in which the BtB Tie is located. The QSE(s) representing the BtB Tie is responsible for any applicable fees and charges as described in Section 4.4.18.4, Settlement.

6.10.6	Ancillary Service Deployment Performance Conditions

ERCOT shall determine the performance of providers of QSE SCE Performance under normal operating conditions.  ERCOT shall remove from consideration of average performance of a QSE any period during which any of the following events has occurred and which does not have a passing score.

(1)	The two (2) hour period after the QSE has experienced a Forced Outage of generation and is under-generating or unexpected loss of private use network load and is over-generating;

(2)	The entire Settlement Intervals for all QSEs in which ERCOT has deployed or recalled Balancing Energy in response to an Unusual Event;

(3)	The entire Settlement Intervals in which ERCOT has issued a verbal Dispatch Instruction;

(4)	The period where ERCOT issues unit-specific instructions to any QSE outside of the unit’s capabilities;

(5)	The period where ERCOT issues portfolio instructions to any QSE outside of the QSE’s portfolio capabilities, including the QSE’s bid ramp rate;

(6)	The entire Settlement Interval(s) in which a QSE is ramping into (from time of notification to time of deployment) or out of (from end of deployment to thirty (30) minutes later) a NSRS deployment;

(7)	If requested the day before the test by a QSE, the entire Settlement Interval(s) in which a QSE is performing tests required in Section 6.10, Ancillary Service Qualification, Testing and Performance Standards, and other regulatory agency-required tests;

(8)	The entire Settlement Interval(s) in which a QSE’s Resource Plan shows only Uncontrollable Renewable Resources On-line; and

(9)	The entire Settlement Interval(s) in which a QSE has deployed energy from extra capacity during an Emergency Notice or EECP; and

PIP112: Add item #10 below to the list and renumber the existing (10) to (11) when BUL is implemented: (10) If requested by a QSE, up to three (3) scheduling hours following an instruction issued by ERCOT to recall previously deployed Responsive Reserve, Non-Spin or Balancing Energy Up Services provided from Replacement Capacity that is using qualified Load as the QSE’s Resource; and

(10)	Certain other periods of abnormal operations as determined by ERCOT.