## QSE_TSP Info
ERCOT ICCP Change Request - MP Information
Instructions: | Please provide the contact information for the technical contact(s) submitting these changes. This person will be contacted if there are any questions regarding the changes.
Market Participant Name:
Primary Contact Person:
Contact Number:
Contact Number 2:
Contact Email:
Secondary Contact Person:
Contact Number:
Contact Number 2:
Contact Email:

## ICCP Change Request Form
ERCOT ICCP Change Request Form
Instructions: | Please fill out the form (paste data) based on the data requested information in each column. An example is provided. If you have any questions regarding the form, please contact ERCOT's ICCP team. Please do not ALTER this form in any way.
[6 empty] | (if applicable) |  |  | Add (-1) Delete (-2) | Nodal (N) Nodal/Zonal (NV | Field Tel (FT), Not Field Tel (NFT) |  | EST =Estimated CAL = Calculated
Remote | Station Shortname | Voltage | Device | Device Type | Description | Old ICCP Object Name | New ICCP Object Name | ICCP Data Type | Add or Remove | Nodal/ Both | FT/NFT/EST/CAL | Owner | In Service Date | Effective Date | Comment
GARQ | CENTRVLE | 138 | 9662CSW | DSC | switch 9662 | GARQLN_CENTRVLE_9662CSW_ST | GARQLN_CENTRVLE_9662CSW_ST | StateQ | -1 | N | FT | GARL | 2007-05-09 | 2007-05-11
AEN | ADVANCE | 138 | AMD_138 | BUS | 138kv bus | AEN_BS_ADVANCE_1380AMD_138_KV__ | AEN_BS_ADVANCE_1380AMD_138_KV__ | dtScadaFloat | -2 | NZ | NFT | AEN | 2007-05-09 | 2007-05-11

## Definition of Data
Definition of Data
A definition of each ICCP required data element in the service request form is listed below.
Data Element | Definition
Remote | Four letter name assigned in the Remote Domain name.
Station Shortname | Short name for the substation or resource assigned by ERCOT.
Voltage | Voltage of this device.
Device | Name of the device, usually same as in the ICCP name.
Description | Short description of the device. May include connectivity info if needed.
Old ICCP Object Name | Old ICCP name if being renamed.
New ICCP Object Name | New ICCP name to follow standard set in Section 3.3.3 in ICCP Communication Handbook.
ICCP Data Type | Attributes of the ICCP object.
Add or Remove | Use (-1) to represent all new ICCP and (-2) to represent removed.
Nodal Only / Nodal & Zonal | Additions or changes affecting Nodal Only or both.
Field Tel/Non Field Tel | ICCP points whose values or status are not directly telemetered from the substation equipment, but are manually updated in MP’s SCADA system and sent to ERCOT via ICCP protocol are considered as Non-Field Telemetered (NFT) points. ICCP points whose values or status are directly telemetered from the substation equipment are considered as FT points.
Owner | Owner means the owner of the telemetered point sent to ERCOT via ICCP by Operator. Owner and Operator may be same or different. Assume that a market participant A receives real time value of a point metered by another market participant B and sends to ERCOT via ICCP. Then B is considered as Owner of the point.
In Service Date | Date when the MP puts the ICCP point changes in their system.
Effective Date | Date when the MP expects ERCOT to put the ICCP points in their Production system.
Comment | Field where MPs can provide comments regarding the points submitted.