ROS Meeting notes

5/10/07

TAC Review

PRRs and NPRRs

  - PRR701, Enabling of Stranded Capacity During Alerts – URGENT  - implementation date of June 1 –  Larry Gurley of TXU wanted to discuss the mechanics of this PRR.  You offer all of the capability of the unit into balancing service (including capability of duct burners) so you are really showing your high sustainable limit of your unit below the inclusion of the duct burner limit.  Gurley indicated that he would likely abstain because there would have to be a discrepancy between your balancing bid and the HSL.  This was remanded back to PRS to further investigate this issue.

  - PRR709, Scarcity Pricing Mechanism - implementation date of June 1 – Approved

  - PRR710, Validation Tests Update - implementation date of July 1 –  Approved

  - PRR711, Update of ERCOT Protocols to Comply with NERC Name Change - Approved

  - PRR712, Local Congestion Replacement Reserve Payment Methodology - LCRA filed comments related to Reliant’s proposal to change the settlement formula for OOMC.  The original intent of the PRR was to make RPRS and OOMC settle the same, and the change from Reliant brought OOMC to look like RPRS settlements when the intent was to bring RPRS to be like OOMC.  ERCOT will be providing a report on how much of the OOMC dollars are a result of RPRS.  TAC discussed the intent to pay back start up or hourly charges credited based on MCPE, there no intention that the generator be harmed by being OOMCed.  PRS needs to clarify the intent of the PRR as well.  TAC voted to remand the PRR back to PRS with one opposed and one abstention.

  - PRR716, NOIE Self-Provision of Emergency Interruptible Load Service – URGENT  -  The consumers and LCRA brought up issues related to non-self-providers having a higher cost because others are self providing.  Retail Electric Providers also had some issues as well.  A motion was made to amend the PRR during TAC.  After a lunch session to develop different language, that motion was withdrawn.  The PRR was not approved by TAC. Consumers voted no on the vote.  16 yes, 7 against, 6 abstentions.

Following the PRR 716 vote, there was more discussion about not complying with the rules as approved by the PUC.  Paul Wattles of ERCOT indicated that their counsel advised them to continue to comply with the PUC rules bypass the protocol rejection.  Much of the discussion centered around the political fallout related to not approving PUC ordered rules.  Despite the warnings, no one was willing to change the vote at TAC.  The other topic of concern was that ERCOT was blatantly willing to work outside its own protocols.

- Nodal Protocol Revision Requests (NPRRs):

  - NPRR046, Real-Time ICCP Communication Only  -  Approved

  - NPRR054, Update of Nodal Protocols to Comply with NERC Name Change – Companion to PRR711 -  Approved

- Notice of PRS Rejection of NPRR056, Modify Competitive Load Zones

Texas Nodal Implementation

- TPTF Report Carrie Tucker (ERCOT) provided the update on the recent TPTF meetings.

  - Approval of TPTF Milestone Completion:

  - EDW Section 17 Business Requirements (Vote)* Approved

  - Outage Scheduler Conceptual System Design (CSD) (Vote)*  Approved

- ERCOT Report – David Forfia (ERCOT) gave the update for Jerry Sulilvan.  They are looking at identifying gaps associated with market communications processes, there will be settlement and metering requirements implications.

  - Program Update - The program continues to be in amber.  The success of nodal is not just up to ERCOT, but also depends on market participant readiness, as well as ERCOT staffing.  If ERCOT is ready and market participants are not, than the project will not succeed.  ERCOT is also reviewing NPRRs and assessing them to see if they can be grouped together with other NPRRs that are filed, for example if they all relate to Congestion Revenue Rights.  These sets of NPRRs are put together in a change request, then get project budget and scheduled updates.    For the complete presentation, please click on the TAC Nodal Update at the bottom of this link.  http://www.ercot.com/calendar/2007/05/20070504-TAC.html

  - ERCOT AIX Server Migration Project Update – ERCOT gave an update on the migration.

ERCOT Operations Report

The following, which have been major reasons for generation movement in April

Indicates a Remedial action plan has been developed for the element.

| Contingency | Overloaded Element |  |
| --- | --- | --- |
| Temple Pecan Creek-Tradinghouse/Temple -Lake Creek | Lake Creek-Temple Pecan Creek |  |
| Temple Pecan Creek-Tradinghouse/Temple -Lake Creek | Evant - Adamsville 138 kV |  |

The RTCAM has been in test and will continue till all ERCOT operations shifts have been exposed to it and then will become a production mode of operation according to John Dumas. This will take about a month. Many questions were posed to ERCOT on RTCAM as to VDIs and unit oscillations.

EDS 1 beta testing is complete. Starting June 4th the full point-to-point testing begins. There are about 76,000 points to test with 16 TSPs and 22 QSEs having 500+ generator resources and 100+ load resources. There will be an additional 20,000 points required under Nodal.

Compliance reported that there are currently 4 NERC Standards that will require ERCOT to develop a ERCOT Regional Standard for due to a fill in the blank format. There were other fill in the blank standards that were conditionally approved by FERC that have to have the fill in the blank removed. The ROS has requested those persons that have volunteered, to review the TRE Standards Drafting Team Guidelines by the next meeting in June.

The issue of the BSTF Black Start Study was discussed again. The ROS Chair directed the OWG chair to send him the previous documentation for this study in order to seek appropriate funding for this study. Carlos Gonzales-Perez, ERCOT Operations, stated that he will assist in this effort.