# ERCOT

DYNAMICS WORKING GROUP

## Report to ROS

## May 10, 2007

- The last DWG meeting held in Taylor on May 2-3, 2007.

- The 2010 summer peak base case flat start is very nearly complete.  We resolved all of the outstanding issues at our meeting.  However, we are incorporating a late-breaking change into the flat start before it is finalized.

- We discussed wind flat start issues.  It will be necessary for us to obtain recompiled wind module objects codes for the wind flat start, in order to use PSS/e rev. 30.3.

- The DWG discussed at length the work in progress on the NERC Field Test for Generating Facility Model Verification.  We developed a consensus document which was sent to the Ad-Hoc task force working on the field tests, expressing our concerns that there still exists a large gap between the draft requirements and what is contained in the ERCOT Operating Guides and Protocols.

- We spent considerable time discussing the Dynamic Voltage Recovery Criteria issue.  We still do not have a consensus on this issue, although there is much common ground on what the criteria should accomplish.

- The next DWG meeting has not been set, but will be scheduled to coincide with the wind flat start.

DWG Tasks, 2007

| Task | Status |
| --- | --- |
| Flat start 2007 case | Complete |
| Flat start 2010 case | Almost Complete |
| Flat start 2007 case with wind models. | Working |
| Publish 2006 flat start book. | Complete |
| Publish 2007 flat start book. | Working |
| Make annual determination of the number and location of dynamic monitoring devices. | Future Activity |
| Dynamic Voltage Recovery criteria | Working |
| Review recently approved NERC Standards with respect to ERCOT Op Guides and Protocols | Working |
| Participate in ROS Ad Hoc Task Force regarding Power System Stabilizers | Working |
| Annual Procedural Manual review/update. | Future Activity |
| Begin 2008 flat start activities. | Fall Activity |