OWG Report to ROS

3/15/ 20075/17/07

The OWG met March 21st and April 18th of 2007. The following OGRRs are pending at the OGRTF:

- OGRR165 – Update Unit Telemetry Requirement:  This revision proposes to add a requirement for QSEs to submit real-time AGC status and Ramp Rate for all units in their portfolio. ERCOT submits this OGRR to address Recommendation No. 14 of Potomac Economics’ recommendations to improve ERCOT’s wholesale market design.  This OGRR has been tabled per ROS directive.

- OGRR192 - Combustion Turbine Governor Performance Test Forms: This OGRR adds two new sections describing Combustion Turbine Governor Performance Testing Procedures based on actual and historical data. This OGRR provides additional instruction and submittal forms for Combustion Turbine Governor Performance Testing. This OGRR has completed is standard 21 day comment period. However, due to the need for an off line test procedure, this OGRR is on hold for 45 days starting April 16th to allow for those wanting an off line test, time to develop and submit a test for PDCWG to evaluate and recommend to OGRTF as to appropriateness.

- OGRR194 - Wording Changes to Make All Parts of Section 7 Consistent: This OGRR was up-dated by SPWG in order to make Section 7 consistent through out. The OWG recommends the approval of OGRR194. CNP expressed concerns regarding the inclusion of 138 kV.

- The OGRTF has reviewed Section 1, 2, 3, 4, 5, 6, 7, 8 and 9 (which will be an appendix of sorts) of the Nodal Operating Guides. There are outstanding action items to be followed up at the May meeting days. The following is an updated schedule for the completion of the Nodal Operating Guides:

  - May 14, 15, 17 the OGRTF will meet to finalize the first pass through of the Nodal Operating Guides prior to the OWG getting their two week review of the Guides. This meeting will be set after the March meeting.

  - During the last weeks of May 2007, the OGRTF will forward the entire Nodal Operating Guides to the OWG for their initial review and comments.

  - After receiving the OWG comments, the OGRTF will review those comments for incorporation into the draft Nodal Operating Guides.

  - Upon completion of the OWG comment review the OGRTF will post the entire Nodal Operating Guides for its 21 day comment period.

  - In June the OGRTF will meet to review and coordinate all comments received.

  - The first meeting of the OWG after the June OGRTF meeting days will be for final review and recommendation to the ROS

  - The first meeting day after the recommendation by OWG, the Nodal Protocols will be presented to ROS for further action.

The OGRTF wishes to thank all those that participated in the work associated with the Nodal Operating Guides including the WGs, TFs, ERCOT personnel and individual Market Participants. This task could not have been done without you!

5.	The Black Start Task Force has not met since March 9, 2007. At its May 30th meeting, the BSTF would like to know the status of the Black Start Feasibility Study.

6.	The OTF recommendation as established on March 14th, 2007 is being pursued by the ERCOT Operations. These recommendations were related to the assignment of possible expansion of the SSRG scope. It also brought to light that the contact list was not up to date. ERCOT has implemented the OTF recommendation to validate the SSRG contact list by testing the SSRG conference call once a quarter.

The OTF has developed Operating Guide language related to Firm Load Interruption Time Frame during EECP. This was reviewed at the OWG and language revisions are being incorporated based on those discussions. An OGRR should be forth coming.

7.	The OWG had a long discussion on wind as it relates to day ahead vs. real time. The major concern was that EECP can be reached very quickly and without warning. The Grid is currently having issues with wind. What happens when there could be as much as 3,000 MW of wind drop off line due to a weather event or some other anomaly?  The OWG takes February as a warning. The OWG requests the status of the wind study and the AS study. If Dan Woodfin could address the OWG at it’s meeting in May or June, it would be appreciated.

- The next OWG meeting is scheduled for May 16th, 2007.