Draft OWG Meeting Minutes

April 18, 2007

Antitrust Admonition reviewed.

Review and approval of last month’s meeting minutes.

Discussion on OGRR193 – System Voltage Profile Clarification:  This OGRR has been withdrawn by the submitter after it was determined that the current Operating Guides and ERCOT Procedures addressed the issues sufficiently.

ERCOT System Operations: Colleen Frosch:  Reviewed new ERCOT Procedures. (Additional information available on ERCOT website.) ERCOT has implemented the OTF recommendation to validate the SSRG contact list by testing the SSRG conference call once a quarter. OWG requested ERCOT to update the conference call list in advance and also provide advance notice of when the call will go out in May. Discussion of the need for an ERCOT Procedure or a PRR that would require ERCOT to notify Market Participants (via hot line) whenever there is a media appeal. Action Item:  OTF recommends that suggested changes to the SSRG be included in the ERCOT Security Alert Plan. Leo will review and add those that are necessary and review results with OWG.

ROS Report:  The ROS did not meet this month. Next meeting is scheduled for May 10th.

OFT Report:  Jason Sweeney reports that he is working with ERCOT on including the EILS scripts in ERCOT  Procedures.  Jonte and Ross Owen are working on suggested action items for TO training for the annual ERCOT drill.

OGRR for Firm Load Interruption Time Frame during EECP:  John Jonte discussed the draft OGRR regarding time frames for the interruption of firm load in the EECP. Per 1000 MW SCADA load will be interrupted within 30 minutes. Manually dispatched load must be interrupted within one hour. Issue of how ERCOT will know the portion of load on SCADA and manual dispatch. OWG recommended that the clock would start again for each block requested. Goal is for this language to be in the Operating Guides. The WG agreed to delete the ERCOT requirement to know what portion of firm load is on SCADA and what portion will be dispatched manually. Action Item: Jonte will incorporate the OWG’s suggested language and distribute for review prior to submittal as an OGRR.

Operations Report:  The report was not distributed to the group. Jose Gaytan reviewed the March Operations Report with WG. ERCOT reported multiple QSEs that were not following their schedules creating RRS deployment.  RMR units returned from their maintenance outages in March and ERCOT deployed these. One QSE communication outage listed in March. Jerry Willms: Question of why there has been fewer Emergency Notices in April. ERCOT indicates that there has been a higher operational reserve this month. Suggestion that it may be due to the $1500 price spike on April 3rd.  Action Item: Jose Gayton to distribute the March report to the OWG list.

EECP Reports:  Were not distributed in advance. Jose Gaytan reviewed with WG:

March 8th (Step 1) event reviewed with WG. Drop in total wind generation has a significant impact on ARR. OWG voiced concerns about the wind issues. Additional wind capacity is being built on the coast. (Review the “Executive Summary” for more details).

March 9th (Step 1) event reviewed with WG. Suggestion to improve the wind scheduling by making wind part of a SCE metric. Wind QSEs are currently exempt from PRR 525 and they need to have some measurement. There is currently little effort being made to correct scheduling errors. Also look at having more non-spin available. These dates did not have a non-spin obligation. (Review the “Executive Summary” for more details).

Action Item: Jose Gayton to distribute the discussed EECP Reports to the OWG list.

Black Start Task Force:  John Blackwell reviewed with WG:  Satellite phone requirements are being developed by ERCOT. Denis Starbuck will be drafting language for OGRR for bid proposal evaluations. Next meeting is scheduled for May 17th. Outside company, OSO, will be attending the May 17th meeting and providing a demonstration on new system restoration software. The NERC Standard to have Black Start Resource qualification documents to be addressed at next meeting.

Texas Regional Entity Report:  Robert Potts: ERCOT TRE is looking at NERC Standards and some regional standards may have to be developed for ERCOT specific compliance. NERC will be participating in Regional Audits. For example, the CIP Standard regarding sabotage will be reviewed for compliance as indicated by the Compliance website.

OGRTF Report:  Steve Knapp reviewed with WG:  Nodal Operating Guide update presented to the WG. At this time OGRTF is anticipating that a May timeframe is expected for the initial completion of the Nodal Operating Guides. Once completed by OGRTF, OWG would have the opportunity to review and comment in June. Comments will be due by June 20th.

OGRR192-Combustion Turbine Governor Performance Test Forms was discussed and the OGRR was recommended to OWG as written. Also recommended was a follow-up by Tenaska and TXU to provide a draft OGRR to support off-line testing procedures and the appropriate test form as a companion to OGRR192. This OGRR will be on hold for 45 days (starting April 16th) to allow Tenaska to draft an offline testing form. OWG agrees with the hold.

OGRR194- Updating References in Section 7 – Recommendation to approve. Concerns regarding inclusion of 138kV will be made by CNP.

The next OGRTF meetings will be May 14, 15, and 17 at the Met Center, Austin.

Next OWG meeting May 16, 2007.