Draft ERCOT CIPAG Critical Criteria

5/15/07

Generation

- Units or plants that qualify for “Must Run”

  - Includes any unit causing small overloads or area voltage concerns

- Plants greater than or equal to 1,500 total capability

- Nuclear plants

- Units or plants that qualify for “Black Start”

Transmission

- “Black Start” transmission paths

  - Includes any stations along path

- Stations that would take out of service the following

  - “Must Run” units

  - 1,150 MW or more of generation

- Stations identified in annual transient stability and voltage surveys

  - Logical boundaries from study

  - Consideration of operational cases

- Substations with greater than or equal to 300 MW of Load

Control Centers

- Controlling “Black Start” transmission paths

- Controlling stations that would take out of service

  - “Must Run” units

  - 1,150 MW or more of generation

- Controlling substations with greater than or equal to 300 MW of Load