May 2, 2007

Bruce McCamant, TXU Electric Delivery

RE: ERCOT Nodal ICCP Communications Handbook v0.11

General Comments

- TDSP object naming conventions – the use of padding vs strict delimiters.  Oncor questions the use of fixed length names which adds to RBE transmission times and complicates maintenance.

- Also we have not seen revisions to naming schema in relation to switches and dynamic line limits.