May 2, 2007

Naomi Richard, LCRA

RE: ERCOT Nodal ICCP Communications Handbook v0.11

General Comments

- Will ERCOT provide the station name and equipment name for the ICCP Object Naming Convention?

- Does ERCOT require a specific brand of Firewall or router for ICCP communication?

- Our vendor does not support INVALID, SUSPECT, and HELD quality codes, these codes are mapped to Telemetry Error.

- Verified with our vendor that our system does support Block 4 Messages.