## Slide 1: Wind Impact/Integration Analysis
Warren Lasher
Regional Planning

## Slide 2: Background – ERCOT Wind Capacity
ERCOT currently has ~2,981 MW of wind capacity online
There are ~1,605 MW additional wind capacity that will be on-line by summer 2008 (executed interconnection agreements; sum = 4,586 MW)
4,586 MW is ~7.1% of 2008 peak demand forecast for ERCOT (64,318 MW)
ERCOT has contracted with GE International to provide an analysis of ancillary services requirements associated with additional interconnected wind

## Slide 3: Wind Impact Study Goals
Identify changes to the methodology for assessing the level of required ancillary services (regulation, responsive, balancing, replacement and non-spinning reserves)
Assess the amount of each ancillary service required for specific wind scenarios
Identify changes to current procedures or new procedures for operations with impending severe weather conditions

## Slide 4: Study Methodology
Phase 1: Variability and Predictability Analysis
  Objective: Provide fundamental understanding of the impact of wind variability and predictability
  Scope:
    Quantitative analysis of the hourly sum of wind generation and load (net load)
    Examine load-wind coincidence and wind diversity
    Identify challenging operating periods
    Establish benchmark for net-load variability and predictability
    Assess incremental impact of wind on existing uncertainties

## Slide 5: Study Methodology
Phase 2: Ancillary Service Evaluation
  Objectives:
    Evaluate Ancillary Services Methodologies
    Determine Amount and Cost of Increased Ancillary Services
  Scope:
    Emulate ERCOT A/S Processes
    Compare wind scenarios, determine A/S needs
    Delineate between normal operations and extreme events
    Assess impacts of extreme weather events

## Slide 6: Wind Levels
Project scope includes evaluation of specific wind scenarios
Wind levels and locations have not yet been determined
The relationship between ancillary service requirements and increasing wind capacity is likely to be non-linear
Current proposal:
  5,000 MW wind (7.7% of Peak Load)
  2 x 10,000 MW wind (15.5% of Peak Load)
  15,000 MW wind (23.3% of Peak Load)
All scenarios would be evaluated with 2008 loads

## Slide 7: Study Deliverables
Statistical analysis of the variability of wind resources and system load
Analysis of the accuracy of day-ahead wind and load forecasts and the impact on unit commitment
Analysis of the adequacy of ramp-rates of generation units expected to be on-line during different seasons for the three scenarios
Evaluation of specific changes required to the current ERCOT methodology for determining the adequate levels of regulation, non-spin, and balancing energy service
Evaluation of the additional system costs of maintaining adequate ancillary services for the selected scenarios
A detailed report documenting the methodology and results of this study
Findings due October 31, 2007

## Slide 8: Ancillary Services Ad Hoc Task Force
An ROS Task Force has been formed to review the scope and results of this study
Initial teleconference this week to review proposed scenarios and anticipated scope of work
Project updates will be presented at future ROS and WMS meetings
Send comments to ROS or WMS list or to wlasher@ercot.com

## Slide 9
Questions or Comments?