## Slide 1: DC Tie Reservation and Scheduling with Mexico
Shams Siddiqi
representing Sharyland Utilities
Email: shams@crescentpower.net
WMS Meeting
May 15, 2007

## Slide 2: Purpose of Presentation
This presentation is to inform you about:
  The new Sharyland DC Tie between ERCOT and CFE (Mexico)
  The Reservation and Scheduling processes for the CFE-ERCOT DC Ties
  The remaining items before the Sharyland DC Tie can be used for commercial transactions
There are no decisions needed from the WMS on this presentation

## Slide 3: Overview of Sharyland DC Tie
PUCT Order approving CCN for Sharyland Utilities’ DC Tie issued on 4/19/05
150 MW back-to-back HVDC converter station: convert 138 kV AC to DC and then convert DC to 138 kV AC power
First large scale open-access asynchronous interconnection suitable for commercial purposes between ERCOT and CFE (Mexico)
Connected at SU’s Railroad Substation near McAllen, Texas
Blackstart capable
Scheduled to be online by September 2007

## Slide 5: DC Tie Reservation & Scheduling
Basic reservation & scheduling processes for all DC Ties are the similar:
  No Reservation required on ERCOT side
  Reservation with either SPP or CFE
  QSEs scheduling across any DC Tie must submit NERC eTags and Balanced Schedules (DC Tie Schedules in Nodal) with ERCOT identifying the DC Tie as Supply or Obligation

## Slide 6: CFE-ERCOT DC Tie Reservation
Reservation requests must be made to CFE for service into or out of Mexico, incl. service across CFE-ERCOT DC Ties
CFE is a vertically integrated government-owned utility that allows third party wheeling through its transmission system
CFE does not operate an OASIS – reservations must be contracted for with CFE, and, if transacting with a party other than CFE in Mexico, wheeling agreements with CFE may be needed
Initially, only firm transactions will be allowed (i.e. “non-firm” capacity based on counter-flows will not be offered)

## Slide 7: CFE-ERCOT DC Tie Scheduling
QSE wanting to scheduling across any DC Tie must be registered as a Purchasing-Selling Entity (PSE) for NERC Tagging and vice versa
PSE will create a NERC Tag and submit it with CFE and ERCOT as the source/sink Control Areas
CFE will validate the tag and check that a reservation exists before approving the tag
The approved tag will be available to the parties to the transaction and ERCOT as the sink/source control area
In ERCOT, the QSE submits a Balanced Schedule (or DC Tie Schedule in Nodal) with the DC Tie indicated as a Resource or Obligation: Resource/Obligation schedules are aggregated per QSE, per Congestion Management (CM) zone, and per ERCOT 15-minute scheduling intervals
ERCOT TSPs may charge for TCOS for any export

## Slide 8: CFE-ERCOT DC Tie Scheduling
CFE coordinates approval of the transaction if Available Transfer Capability (ATC) is available in Mexico and across the DC Tie, and works with ERCOT to coordinate ATC calculations for the DC Tie
ERCOT may approve the NERC Tag if the tag complies with the ERCOT scheduling requirements and if the tag complies with NERC Tag procedures
On the Day-Ahead, ERCOT verifies that the Resource/Obligation schedules submitted by a QSE match the interconnected non-ERCOT Control Area schedules generated from the NERC tags, including the DC-Tie operator’s schedule(s), and the sending/receiving control area’s schedule(s) on the opposite end of the DC Tie
The DC Tie operator follows the NERC Tag energy profile when setting flows across the DC Tie

## Slide 9: Remaining Items
Possible need for a FERC order
CFE needs to develop procedures and systems for DC Tie reservations and become a NERC Tag-approving Control Area
ERCOT DC Tie Operating Manual as well as systems need to be updated to include the new DC Ties
Completion of all construction and testing of the Sharyland DC Tie