May 15, 2007

Bob Green, GP&L

Re: DSR Output Schedule Validation in Real Time

General Comments

When we started our dialogue (in January I think) about clarifying section 6.4.2.3(3), I think I sent the attached document to kick off the discussion.  It is my understanding that this protocol section was written quickly during TNT and needed updating or clarifying.

One main purpose for DSR resources and DSR load was to give NOIEs the same capability that they have in zonal, that is that they can dispatch their units to meet their load plus/minus other energy sales/purchases active in real-time.  A goal would be cost neutrality when LMPs are spiking.

I have always said that DAM sales and purchases should be included in the DSR OS validation and Resmi has disagreed.  This would make the validation similar in nature to concepts in Sections 8.1.2.4.1(1)(b) and 6.6.3.1(1).  I am making that statement again in response to the requested review of the "DSR Output Schedule Validation in Real Time" whitepaper being considered by TPTF.

In addition, our share of Gibbons Creek (a non-DSR base-loaded coal unit) needs to be subtracted from our DSR Load before allocating the remaining generation requirement among our DSR resources.  My understanding is that the terminology in 8.1.2.4.1(1)(b), Energy Trade where DSRQSE is both the buyer and the seller, was used prior to Self Schedules being added to Nodal Protocols.

In summary, my recommended additions are shown highlighted in yellow in the edited TPTF document that is attached.

Bob Green

Garland Power & Light

McIntire Operations Center

525 East Avenue B

Garland, TX 75040-7260

972-205-3048 desk phone

214-533-3020 cell phone

972-205-3004 fax

972-442-4084 home phone

bobg@gplops.org e-mail