Output Schedule Criteria

Section 6.4.2.3 (3) of the Nodal Protocols states:

“For a QSE representing one or more Dynamically Scheduled Resources, the sum of all Output Schedules (excluding Ancillary Services Energy deployments, energy deployed through Dispatch Instructions, and Energy Trades) for the QSE must be within 15% or 15 MW (whichever is greater) of the aggregate telemetered DSR Load.”

We believe that terms in Section 8.1.2.4.1 (1) (b) describe in more detail the relationship between the DSR Load and the sum of all DSRQSE Output Schedules as shown below.

The Net DSR Obligation equals:

- the DSRQSE’s telemetered DSR Load; plus

- the sum of the DSRQSE’s awarded energy offers in the DAM [sales]; minus

- the sum of the DSRQSE’s awarded DAM Energy Bid quantities [purchases]; plus

- the sum of the DSRQSE’s Energy Trades where the DSRQSE is the seller and another QSE is the buyer [sales]; minus

- the sum of the DSRQSE’s Energy Trades where the DSRQSE is the buyer and another QSE is the seller [purchases]; minus

- the sum of the DSRQSE’s Energy Trades where the DSRQSE is both the buyer and the seller in the same Energy Trade (i.e. creating a static schedule of non-Dynamically Scheduled Resource(s) to meet DSR Load) [purchases].

The sum of all of the Output Schedules for a DSRQSE must be within 15% or 15 MW (whichever is greater) of the Net DSR Obligation.

Is our understanding correct and is this comparison going to be performed in the EMS or MMS?  What kind of action will be taken when this criteria is not being met?