| NPRR Number | 048 | NPRR Title | Revised Wording of Opportunity Outages for Transmission Facilities |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Recommended Action |  | Approval |
| Nodal Protocol Section(s) Requiring Revision |  | 2.1, Definitions 3.1.6.8, Opportunity Outage |  |  |
| Proposed Effective Date |  | TBD. |  |  |
| Priority and Rank Assigned |  | TBD. |  |  |
| Revision Description |  | The proposed Opportunity Outages rewording will allow ERCOT to grant a Transmission Service Provider (TSP) permission to work on TSP-owned equipment that can only be maintained when a Resource is Off-Line for a Forced, Planned or Maintenance Outage. |  |  |
| Overall Market Benefit |  | This Nodal Protocol Revision Request (NPRR) will give transmission operators enhanced ability to maintain, replace or upgrade Transmission Facilities that connect a Resource to the interconnected ERCOT System thus improve reliability. |  |  |
| Overall Market Impact |  | Not known. |  |  |
| Consumer Impact |  | Not known. |  |  |
| Credit Impacts: Has the Credit Workgroup reviewed the NPRR? If so, are there credit impacts? |  | No. |  |  |
| Procedural History |  | - On 3/08/07, NPRR048 was posted. - On 03/14/07, ERCOT comments were posted. - On 3/22/07, PRS considered this NPRR. |  |  |
| PRS Recommendation |  | On 3/22/07, PRS unanimously voted to recommend approval of NPRR048 as revised by ERCOT Staff comments. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 3/22/07, there was no discussion. |  |  |

| ERCOT/Market Segment Impacts and Benefits |  |  |  |
| --- | --- | --- | --- |
| Assumptions | 1 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 | Nodal Outage Scheduler | Will require adding Opportunity Outages as an |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 |  |  |
| Additional Qualitative Information | 1 | The proposed Opportunity Outages rewording will allow ERCOT to grant a TSP permission to work on TSP-owned equipment which can only be maintained when a Resource is off-line for a Forced, Planned or Maintenance Outage. |  |
|  | 2 | The rewording primarily removes the eight day constraint from applying to a TSP. |  |
| Other | 1 |  |  |
| Comments | 2 |  |  |

| Original Sponsor |  |
| --- | --- |
| Name | Trip Doggett on behalf of TPTF |
| E-mail Address | tdoggett@ercot.com |
| Company | ERCOT |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Description |
| ERCOT | Proposed revisions to the definition of “Outage” in Section 2.1, Definitions. |

Proposed Nodal Protocol Language Revision

## 2.1	DEFINITIONS

Opportunity Outage

An Outage that may be accepted by ERCOT when a specific Resource is Off-Line due to an Outage.

3.1.6.8	Opportunity Outage

(1)	Opportunity Outages for Resources are a special category of Planned Outages that may be approved by ERCOT when a specific Resource has been forced Off-Line due to a Forced Outage and the Resource has been previously accepted for a Planned Outage during the next eight days.

(2)	When a Forced Outage occurs on a Resource that has an accepted or approved Outage scheduled within the following eight days, the Resource may remain Off-Line and start the accepted or approved Outage earlier than scheduled.  The QSE must give as much notice as practicable to ERCOT.

(3)	Opportunity Outages of Transmission Facilities may be approved by ERCOT when a specific Resource is Off-Line due to a Forced, Planned or Maintenance Outage. A TSP may request an Opportunity Outage at any time.

(4)	When an Outage occurs on a Resource that has an approved Transmission Facilities Opportunity Outage request on file, the TSP may start the approved Outage as soon as practible after receiving authorization to proceed by ERCOT.  ERCOT must give as much notice as practicable to the TSP.