ERCOT Nodal Transition Plan

5.4.10	Transmission Facilities and Resource Outages

(1)	ERCOT shall develop a plan, approved by TAC, to manage Transmission Facilities and Resource outages during the initial operation of Real-Time systems as needed to maintain reliability.

(2)	The ERCOT plan to manage Transmission Facilities and Resource outages shall consider allowances for long term construction schedules, projects to improve system reliability, projects endorsed by ERCOT, and public infrastructure outages.

(3)	ERCOT, TSP’s and QSE’s shall use the Outage Scheduler for Transmission Facilities and Resource outages as described in Protocols Section 3.1.