Conceptual System Design

Texas Nodal Commercial Systems

Reliability Unit Commitment (RUC)

Version 1.9

7-Jun-07

Document Revisions

| Date | Version | Description | Author(s) |
| --- | --- | --- | --- |
| 11/20/2006 | 0.01 | First draft | James Yu |
| 11/22/2006 | 0.02 | Updated in Template | Jerry Jackson |
| 12/04/2008 | 0.03 | Updated per IDA Initial Review | Jerry Jackson |
| 12/06/2008 | 0.04 | Updated per Business Review | Jerry Jackson and James Yu |
| 12/07/2008 | 0.05 | Updated per SBIT Review | Jerry Jackson |
| 12/08/2006 | 0.06 | Updated per Final Business Review | Jerry Jackson |
| 12/11/2006 | 0.91 | Added Supplementary Specifications and Presented for IDA Review | Sanjay Mijar |
| 12/21/2006 | 0.92 | Updated per IDA Review | Jerry Jackson, James Yu |
| 12/27/2006 | 0.92 | Updated Supplementary Specifications | Sanjay Mijar |
| 01/19/2007 | 0.93 | Updated with Market Participant Comments | Jerry Jackson |
| 01/22/2007 | 0.94 | Added Sanjay’s updates | Jerry Jackson |
| 01/26/2007 | 1.00 | TPTF approved version | Jerry Jackson |
| 4/24/2007 | 1.1 | Updated based on RUC Requirement 1.1 changes | James Yu |
| 6/5/2007 | 1.9 | Updated with Market Participant Comments | Jerry Jackson |

Document Approvals

| Date | Approved By | Approval Documented In (select) |
| --- | --- | --- |
|  | <Name> <Role> | ___ Approval email on file ___ Signature |

Table of Contents

1.	Introduction	7

1.1.	Purpose	7

1.2.	Scope	7

1.3.	Definitions, Acronyms, and Abbreviations	7

1.4.	References	8

1.5.	Document Overview	8

2.	Overview	8

2.1.	Design Goals	8

2.2.	Design Approach	8

2.2.1.	System functional capabilities	8

2.2.2.	Black Box View	9

2.3.	Assumptions	9

3.	Functional Specification	10

3.1.	Number of RUC Committed Hours (RUCHR)	12

3.1.1.	Introduction	12

3.1.2.	Inputs & Sources	12

3.1.3.	Outputs & Sources	12

3.1.4.	Processing	13

3.2.	Number of Continuous De-committed Hours (NCDCHR)	14

3.2.1.	Introduction	14

3.2.2.	Inputs & Sources	14

3.2.3.	Outputs & Sources	14

3.2.4.	Processing	15

3.3.	Startup Price (SUPR)	16

3.3.1.	Introduction	16

3.3.2.	Inputs & Sources	16

3.3.3.	Outputs & Targets	16

3.3.4.	Processing	17

3.4.	Minimum-Energy Price (MEPR)	18

3.4.1.	Introduction	18

3.4.2.	Inputs & Sources	18

3.4.3.	Outputs & Sources	18

3.4.4.	Processing	19

3.5.	RUC Guarantee (RUCG)	20

3.5.1.	Introduction	20

3.5.2.	Inputs & Sources	20

3.5.3.	Outputs & Sources	20

3.5.4.	Processing	21

3.6.	RUC Minimum-Energy Revenue (RUCMEREV)	22

3.6.1.	Introduction	22

3.6.2.	Inputs & Sources	22

3.6.3.	Outputs & Sources	22

3.6.4.	Processing	23

3.7.	Revenue Less Costs Above LSL During RUC-Committed Hours (RUCEXRR)	24

3.7.1.	Introduction	24

3.7.2.	Inputs & Sources	24

3.7.3.	Outputs & Sources	24

3.7.4.	Processing	25

3.8.	Revenue Less Costs During QSE Clawback Intervals (RUCEXRQC)	26

3.8.1.	Introduction	26

3.8.2.	Inputs & Sources	26

3.8.3.	Outputs & Sources	26

3.8.4.	Processing	27

3.9.	RUC Make-Whole Payment (RUCMWAMT)	28

3.9.1.	Introduction	28

3.9.2.	Inputs & Sources	28

3.9.3.	Outputs & Sources	29

3.9.4.	Processing	30

3.10.	RUC Clawback Charge (RUCCBAMT)	31

3.10.1.	Introduction	31

3.10.2.	Inputs & Sources	31

3.10.3.	Outputs & Sources	32

3.10.4.	Processing	33

3.11.	RUC De-commitment Payment (RUCDCAMT)	34

3.11.1.	Introduction	34

3.11.2.	Inputs & Sources	34

3.11.3.	Outputs & Sources	35

3.11.4.	Processing	36

3.12.	RUC Capacity-Short Charge (RUCCSAMT)	37

3.12.1.	Introduction	37

3.12.2.	Inputs & Sources	37

3.12.3.	Outputs & Sources	38

3.12.4.	Processing	39

3.13.	RUC Make-Whole Uplift Charge (LARUCAMT)	41

3.13.1.	Introduction	41

3.13.2.	Inputs & Sources	41

3.13.3.	Outputs & Sources	41

3.13.4.	Processing	42

3.14.	RUC Clawback Payment (LARUCCBAMT)	43

3.14.1.	Introduction	43

3.14.2.	Inputs & Sources	43

3.14.3.	Outputs & Sources	43

3.14.4.	Processing	44

3.15.	RUC De-commitment Charge (LARUCDCAMT)	45

3.15.1.	Introduction	45

3.15.2.	Inputs & Sources	45

3.15.3.	Outputs & Sources	45

3.15.4.	Processing	46

3.16.	Verifiable Startup Costs (VERISU)	47

3.16.1.	Introduction	47

3.16.2.	Inputs & Sources	47

3.16.3.	Outputs & Sources	47

3.16.4.	Processing	48

3.17.	Verifiable Minimum-Energy Costs (VERIME)	49

3.17.1.	Introduction	49

3.17.2.	Inputs & Sources	49

3.17.3.	Outputs & Sources	49

3.17.4.	Processing	50

4.	Supplementary Specifications	51

4.1.	Performance Requirements	51

4.2.	Legal and Regulatory requirements	51

4.3.	System and Communication Requirements	51

4.4.	System Security Requirements	51

4.5.	Back up and Recovery Requirements	52

4.6.	Maintainability Requirements	52

4.7.	Usability Requirements	52

4.8.	Transactional Usage *	53

4.9.	Growth	53

4.10.	Information Lifecycle Management	53

4.11.	Settlements and Billing Batch Processes Usage *	54

4.12.	Availability and Fail-over	54

4.13.	Disaster Recovery	54

4.14.	Provisioning Requirements	54

4.14.1.	Application Environment	56

5.	Appendix A: Subsystem Mapping to Nodal SoSA	56

6.	Appendix B: Traceability to Requirements	57

# Introduction

The Reliability Unit Commitment (RUC) Conceptual System Design (CSD) document is the starting point to bridge requirements to detailed design and, eventually, system development. While the actual design of the Settlement System, including RUC, may be different than the details in this document, the processes described begin to address the requirements from a technical perspective. This document will outline fifteen intermediate and output calculations within the RUC process, as well as two calculations for Verifiable Costs, providing a process flow of the calculation and details of the necessary input and output data.

## Purpose

The purpose of this document is to identify what IT understands as the expected requirements.  This document should be used as a validation tool that the requirements were understood correctly and accurately.  In addition, this document will provide a high-level understanding of how IT will address the requirements related to the Reliability Unit Commitment and Verifiable Costs.

## Scope

The scope of this document refers to the Commercial Services project, within the Texas Nodal Program. It addresses business requirements identified in the References section.

## Definitions, Acronyms, and Abbreviations

LODESTAR—In this document LODESTAR refers to the LODESTAR Billing Expert application which will be utilized to configure charge types and execute Settlements for the Texas Nodal project.

Qualified Scheduling Entity (QSE)—A Market Participant that is qualified by ERCOT in accordance with Section 16, Registration and Qualification of Market Participants, of the ERCOT Protocols for communication with ERCOT for Resource Entities and Load Serving Entities and for settling payments and charges with ERCOT.

Reliability Unit Commitment (RUC)—Process to ensure that there is adequate Resource capacity and Ancillary Service capacity committed in the proper locations to serve ERCOT forecasted Load.

Resource—A term used to refer to both a Generation Resource and a Load Resource. RUC only uses Generation Resources.

RUC-Committed Hour—An Operating Hour for which a RUC has committed a Resource to be On-Line.

RUC-Committed Interval—A Settlement Interval for which there is a RUC instruction to commit a Resource.

Settlement—The process used to resolve financial obligations between a Market Participant and ERCOT.

Settlement Interval—The time period for which markets are settled.

Settlement Point—A Resource Node, Load Zone, or Hub.

Settlement Point Price—A price calculated for a Settlement Point for each Settlement Interval using LMP data and the formulas detailed in Sections 4.6, DAM Settlement and 6.6, Settlement Calculations for the Real-Time Energy Operations of the ERCOT Protocols.

Start Type—A term defining the type of start that a Generation Resource incurs or is expected to incur upon starting up and reaching breaker close. A Start Type can be Hot, Intermediate, or Cold, differing by the amount of time a Generation Resource was offline prior to the start up.

## References

| Artifact | Definition |
| --- | --- |
| TN.COMS.63C01.RUC.REQUIREMENTS.A.doc | Version 1.1, 4/17/2007 |
| TN.COMS.63C01.VERIFIABLECOSTS.REQUIREMENTS.A.doc | Version 1.0, 11/07/2006 |

## Document Overview

This document includes the following sections: Overview, reviews the goals of the CSD as it applies to this particular Settlements process; Functional Specifications, defining the technical aspects of the individual calculations (requirements) for the RUC Process; System Dependencies & Design Constraints, the assumptions, system dependencies or constraints in terms of other systems, hardware, and software relating to the RUC CSD; Supplementary Specifications, the implementation concepts for the supplementary requirements such as system security, performance, and maintainability.

# Overview

## Design Goals

The design goal is to provide a simple solution that enables efficient processing of RUC Settlement calculations.  In an effort to achieve this goal, IT development will attempt to employ the following design approaches where ever possible.

- Calculation drivers

- Parallel processing to allow for horizontal and vertical scaling

- Management of effective and appropriate IO operations

In addition, the solution must be flexible enough to handle change to both scope and demand for the RUC Settlement calculations.

## Design Approach

Development will use the LODESTAR application in conjunction with customized code and data to fulfill and comply with the requirements as specified.  The LODESTAR environment is specifically designed to perform useful and efficient handling of time series (interval) data.

### System functional capabilities

The Settlement System must efficiently and effectively handle time series and scalar calculations.

### Black Box View

Development will create Rates and Riders, using LODESTAR Rules Language to perform the calculations specified by the requirements. Additionally, the data flow, included, will provide a graphical representation of the requirements as specified.  The instructions, detailed in the Functional Specification of this document, will include the retrieval of the relevant records from the LODESTAR database, the applicable calculation processes, and the storing of specified outputs into the LODESTAR database.

## Assumptions

A1) Appropriate interfaces between external systems (e.g. MMS, Siebel, Paper Free, etc.) and the LODESTAR system have been created and successfully executed to populate the LODESTAR database with the required input records for the calculations specified in the requirements for this settlement. (This is further defined in TN.COMS.63C01.INTERFACE.REQUIREMENTS.A.doc)

A2) Appropriate interfaces between LODESTAR and external systems have been created to pull specified settlements data, and will execute at the appropriate time.

A3) The LODESTAR System will not directly interact with any external system, during the LODESTAR calculation process for these requirements.

A4) Availability of input, intermediate and output bill determinant data cuts to the extract processes will be controlled by an internal business process and will be defined specific to each bill determinant. (This is further defined in TN.COMS.63C01.INTERFACE.REQUIREMENTS.A.doc)

A5) The process will save all Intermediate bill determinant data cuts, as defined by the requirements document, to the LODESTAR database.

A6) For purposes of this Conceptual System Design (CSD) data referred to as either an “Intermediate Bill Determinant” or an “Output Bill Determinant” in the business requirements will be referred to as an output. The Clawback factor values will be referred to as an input.

A7) The charge type calculations are documented using the proposed recorder format for the bill determinants.  The following list defines the nomenclature used for the recorders (not all of these bill determinant recorder elements may apply to the charge types within this document):

<Q> = QSE
<CO> = CRR Owner
<R> = Resource
<SP> = Settlement Point
< BLTP> = Block Load Transfer Point
<SRSP> = Source Settlement Point
<SKSP> = Sink Settlement Point
<ST> = Start Type
<F> = Flowgate
<E> = Directional Network Element
<C> = Constraint Identifier 
<M> = Market
<RUC> = RUC Process

A8) No inputs, outputs or intermediate results will be rounded unless specifically declared in this CSD.

A9) This Conceptual System Design will not cover every requirement for RUC. Specific requirements, such as the requirements defining public and private Bill Determinants, cannot be addressed technically through the configuration of charge types. The design documentation and solution for the Market Data Transparency Requirements will specifically address the definition of public and private Bill Determinants.

A10) For Intervals per Hour (IPH) in the Functional Specifications Section, “1/24” represents a single value for an Operating Day and “N/A” represents a single value for an undefined period of time (e.g. dollars per Startup).

A11) All database requirements shall be addressed in the Detailed Design documents for the Settlements System.

A12) Data cuts for RUCHR, RUCMEREV, RUCEXRR, and RUCEXRQC will all be created and stored as interval data; however, data used in calculation and posted in data extracts will come from a total of all the interval values for each data cut.

# Functional Specification

Figure 3.1 (below) is an abstraction of the RUC settlement process at the Charge Type and Global calculation level.  Each box encompasses all calculations required to achieve the Charge Type or Global calculation result.

Figure 3.1

## Number of RUC Committed Hours (RUCHR)

The following section describes the calculation of the total number of RUC-Committed Hours (RUCHR) for a QSE and Resource for the Operating Day.

### Introduction

Calculate RUCHR by QSE and Resource by determining the hours for which a QSE and Resource are RUC-Committed within the Operating Day.

### Inputs & Sources

| Variable | Data Type | UOM | IPH | Driver |
| --- | --- | --- | --- | --- |
| RUC_<Q>_<R>_<SP>_<RUC> | Interval Data | Misc | 1 | Yes |

### Outputs & Sources

| Variable | Data Type | UOM | IPH |
| --- | --- | --- | --- |
| RUCHR_<Q>_<R>_<SP> | Interval Data | Misc | 1 |

### Processing

## Number of Continuous De-committed Hours (NCDCHR)

The following section describes the calculation of the total number of hours that a QSE and Resource is continuously de-committed by RUC (NCDCHR) within an Operating Day.  RUC De-commitments (RUCD) can occur more than once in an Operating Day therefore de-commitments that are contiguous are grouped, establishing a continuous de-commitment.

### Introduction

Calculate the NCDCHR by QSE and Resource by summing all continuous RUC de-committed hours for the Operating Day.

### Inputs & Sources

| Variable | Data Type | UOM | IPH | Driver |
| --- | --- | --- | --- | --- |
| RUCD_<Q>_<R>_<SP>_<RUC> | Interval Data | Misc | 1 | Yes |

### Outputs & Sources

| Variable | Data Type | UOM | IPH |
| --- | --- | --- | --- |
| NCDCHR_<Q>_<R>_<SP> | Interval Data | Misc | 1 |

### Processing

## Startup Price (SUPR)

The following section describes the determination of the Startup Price (SUPR) for a QSE and Resource for each Start Type, for the Operating Day.

### Introduction

Determine the SUPR for each Resource with a RUC commitment or RUC Decommitment within the Operating Day by QSE and Resource, for each Start Type. SUPR will be the Startup Offer component of the validated Three-Part Supply Offer (SUO), if the SUO exists.  For any hour where SUO does not exist, SUPR will be the approved Verifiable Startup Costs for the Resource (VERISU). If VERISU does not exist, then the SUPR will be the Resource Category Generic Startup Cap (RCGSC).

### Inputs & Sources

| Variable | Data Type | UOM | IPH | Driver |
| --- | --- | --- | --- | --- |
| RUCHR_<Q>_<R>_<SP> | Interval Data | Misc | 1 | Yes |
| NCDCHR_<Q>_<R>_<SP> | Interval Data | Misc | 1 | Yes |
| SUO_<Q>_<R>_<SP>_<ST> | Interval Data | $/Start | 1 | No |
| VERISU_<Q>_<R>_<SP>_<ST> | Interval Data | $/Start | 1 | No |
| RCGSC | Scalar | $/Start | N/A | No |

### Outputs & Targets

| Variable | Data Type | UOM | IPH |
| --- | --- | --- | --- |
| SUPR_<Q>_<R>_<SP>_<ST> | Interval Data | $/Start | 1 |

### Processing

## Minimum-Energy Price (MEPR)

The following section describes the determination of the Minimum-Energy Price (MEPR) for a QSE and Resource, for the Operating Day.

### Introduction

Determine the MEPR for each Resource with a RUC commitment or RUC Decommitment within the Operating Day by QSE and Resource. MEPR will be the Minimum-Energy Offer component of the Three-Part Supply Offer (MEO), if MEO exists. For any hour where MEO does not exist, MEPR will be the approved Verifiable Minimum-Energy Costs for the Resource (VERIME). If VERIME does not exist, then the MEPR will be the Resource Category Generic Minimum-Energy Cap (RCGMEC).

### Inputs & Sources

| Variable | Data Type | UOM | IPH | Driver |
| --- | --- | --- | --- | --- |
| RUCHR_<Q>_<R>_<SP> | Interval Data | Misc | 1 | Yes |
| NCDCHR_<Q>_<R>_<SP> | Interval Data | Misc | 1 | Yes |
| MEO_<Q>_<R>_<SP> | Interval Data | $/MWh | 1 | No |
| VERIME_<Q>_<R>_<SP> | Interval Data | $/MWh | 1 | No |
| RCGMEC | Scalar | $MWh | N/A | No |

### Outputs & Sources

| Variable | Data Type | UOM | IPH |
| --- | --- | --- | --- |
| MEPR_<Q>_<R>_<SP> | Interval Data | $/MWh | 1 |

### Processing

## RUC Guarantee (RUCG)

The following section describes the calculation of the costs, guaranteed to the QSE and Resource for an Operating Day (RUCG), when committed by RUC.

### Introduction

Calculate the RUCG by QSE and Resource, for each Resource with a RUC commitment, for all eligible starts and settlement intervals for or within all RUC commitments for the Operating Day.

### Inputs & Sources

| Variable | Data Type | UOM | IPH | Driver |
| --- | --- | --- | --- | --- |
| RUCHR_<Q>_<R>_<SP> | Interval Data | Misc | 1 | Yes |
| STARTTYPE_<Q>_<R>_<SP> | Interval Data | Misc | 1 | No |
| SUPR_<Q>_<R>_<SP>_<ST> | Interval Data | $/Start | 1 | No |
| RUCSUFLAG_<Q>_<R>_<SP>_<ST> | Interval Data | Misc | 1 | No |
| MEPR_<Q>_<R>_<SP> | Interval Data | $/MWh | 1 | No |
| RTMG_<Q>_<R>_<SP> | Interval Data | MWh | 4 | No |
| LSL_<Q>_<R>_<SP> | Interval Data | MW | 1 | No |

### Outputs & Sources

| Variable | Data Type | UOM | IPH |
| --- | --- | --- | --- |
| RUCG_<Q>_<R>_<SP> | Interval Data | $ | 1/24 |

### Processing

## RUC Minimum-Energy Revenue (RUCMEREV)

The following section describes the calculation of the revenue, earned in Real-Time, for the Resource’s generation up to LSL during all RUC-Committed Hours of the Operating Day (RUCMEREV), by QSE and Resource.

### Introduction

Calculate the RUCMEREV by QSE and Resource, for each 15-minute Settlement Interval within each RUC-Committed hour of the Operating Day.

### Inputs & Sources

| Variable | Data Type | UOM | IPH | Driver |
| --- | --- | --- | --- | --- |
| RUCHR_<Q>_<R>_<SP> | Interval Data | Misc | 1 | Yes |
| RTSPP_<SP> | Interval Data | $/MWh | 4 | No |
| RTMG_<Q>_<R>_<SP> | Interval Data | MWh | 4 | No |
| LSL_<Q>_<R>_<SP> | Interval Data | MW | 1 | No |

### Outputs & Sources

| Variable | Data Type | UOM | IPH |
| --- | --- | --- | --- |
| RUCMEREV | Interval Data | $ | 4 |

### Processing

## Revenue Less Costs Above LSL During RUC-Committed Hours (RUCEXRR)

The following section describes the calculation of the net revenue, earned in Real-Time, for the Resource’s operation above LSL, less the cost to operate, during all RUC-Committed Hours of the Operating Day (RUCEXRR), by QSE and Resource.

### Introduction

Calculate the RUCEXRR by QSE and Resource, for each 15-minute Settlement Interval within each RUC-Committed hour of the Operating Day.

### Inputs & Sources

| Variable | Data Type | UOM | IPH | Driver |
| --- | --- | --- | --- | --- |
| RUCHR_<Q>_<R>_<SP> | Interval Data | Misc | 1 | Yes |
| RTSPP_<SP> | Interval Data | $/MWh | 4 | No |
| RTAIEC_<Q>_<R>_<SP> | Interval Data | $/MWh | 4 | No |
| RTMG_<Q>_<R>_<SP> | Interval Data | MWh | 4 | No |
| LSL_<Q>_<R>_<SP> | Interval Data | MW | 1 | No |
| VSSVARAMT_<Q>_<R>_<SP> | Interval Data | $ | 4 | No |
| VSSEAMT_<Q>_<R>_<SP> | Interval Data | $ | 4 | No |
| EMREAMT_<Q>_<R>_<SP> | Interval Data | $ | 4 | No |

### Outputs & Sources

| Variable | Data Type | UOM | IPH |
| --- | --- | --- | --- |
| RUCEXRR_<Q>_<R>_<SP> | Interval Data | $ | 4 |

### Processing

## Revenue Less Costs During QSE Clawback Intervals (RUCEXRQC)

The following section describes the calculation of the net revenue, earned in Real-Time, for the Resource’s operation above and below LSL, less the cost to operate, during all QSE Clawback Intervals of the Operating Day (RUCEXRQC), by QSE and Resource.

### Introduction

Calculate the RUCEXRQC by QSE and Resource, for each 15-minute Settlement Interval determined to be a QSE Clawback Interval within the Operating Day.

### Inputs & Sources

| Variable | Data Type | UOM | IPH | Driver |
| --- | --- | --- | --- | --- |
| RUCHR_<Q>_<R>_<SP> | Interval Data | Misc | 1 | Yes |
| QCLAW_<Q>_<R>_<SP> | Interval Data | Misc | 4 | No |
| RTSPP_<SP> | Interval Data | $/MWh | 4 | No |
| RTAIEC_<Q>_<R>_<SP> | Interval Data | $/MWh | 4 | No |
| MEPR_<Q>_<R>_<SP> | Interval Data | $/MWh | 1 | No |
| RTMG_<Q>_<R>_<SP> | Interval Data | MWh | 4 | No |
| LSL_<Q>_<R>_<SP> | Interval Data | MW | 1 | No |
| VSSVARAMT_<Q>_<R>_<SP> | Interval Data | $ | 4 | No |
| VSSEAMT_<Q>_<R>_<SP> | Interval Data | $ | 4 | No |
| EMREAMT_<Q>_<R>_<SP> | Interval Data | $ | 4 | No |

### Outputs & Sources

| Variable | Data Type | UOM | IPH |
| --- | --- | --- | --- |
| RUCEXRQC_<Q>_<R>_<SP> | Interval Data | $ | 4 |

### Processing

## RUC Make-Whole Payment (RUCMWAMT)

The following section describes the calculations of RUC Make-Whole.

The RUC Make-Whole Payment (RUCMWAMT) is the payment to the QSE and Resource which makes the Resource whole for all costs incurred in starting up and operating during RUC-Commitment(s), after taking in to account all revenues earned in Real-Time, for the Operating Day.

The RUC Make-Whole Amount QSE Total (RUCMWAMTQSETOT) is the total amount of RUC Make-Whole Payments, summed by QSE for the Operating Day.

The RUC Make-Whole Bill Amount (RUCMWBILLAMT) is the delta between the current settlement run and the previous settlement run for the same Operating Day, by QSE.

The RUC Make-Whole Amount RUC Total (RUCMWAMTRUCTOT) is the total amount of RUC Make Whole Payments, summed for each particular RUC Process of the Operating Day.

The RUC Make-Whole Amount Total (RUCMWAMTTOT) is the total amount of RUC Make-Whole Payments for the Operating Day.

### Introduction

Calculate the RUCMWAMT by QSE and Resource and divide by the QSEs daily total number of RUC-Committed hours, for the Operating Day.

Calculate the RUCMWAMTQSETOT by summing all Resource level RUCMWAMT by QSE, Hour and Operating Day.

Calculate the RUCMWBILLAMT by subtracting the RUCMWAMTQSETOT daily total for the current settlement run from the RUCMWAMTQSETOT daily total for the previous settlement run, by QSE and Operating Day, for the same Operating Day.

Calculate the RUCMWAMTRUCTOT by summing all RUCMWAMT, for each particular RUC Process, for each Hour and Operating Day.

Calculate the RUCMWAMTTOT by summing all RUCMWAMTRUCTOT, by Hour for the Operating Day.

### Inputs & Sources

| Variable | Data Type | UOM | IPH | Driver |
| --- | --- | --- | --- | --- |
| RUCHR_<Q>_<R>_<SP> | Interval Data | Misc | 1 | Yes |
| RUC_<Q>_<R>_<SP>_<RUC> | Interval Data | Misc | 1 | No |
| RUCG_<Q>_<R>_<SP> | Interval Data | $ | 1/24 | No |
| RUCMEREV_<Q>_<R>_<SP> | Interval Data | $ | 4 | No |
| RUCEXRR_<Q>_<R>_<SP> | Interval Data | $ | 4 | No |
| RUCEXRQC_<Q>_<R>_<SP> | Interval Data | $ | 4 | No |
| RUCMWAMTQSETOT_<Q> (prior Settlement Run) | Interval Data | $ | 1 | No |

### Outputs & Sources

| Variable | Data Type | UOM | IPH |
| --- | --- | --- | --- |
| RUCMWAMT_<Q>_<R>_<SP> | Interval Data | $ | 1 |
| RUCMWBILLAMT_<Q> | Interval Data | $ | 1/24 |
| RUCMWAMTQSETOT_<Q> | Interval Data | $ | 1 |
| RUCMWAMTRUCTOT_<RUC> | Interval Data | $ | 1 |
| RUCMWAMTTOT | Interval Data | $ | 1 |

### Processing

## RUC Clawback Charge (RUCCBAMT)

The following section describes the calculations of RUC Clawback.

The RUC Clawback Charge (RUCCBAMT) to the QSE and Resource is the clawback of a portion or all of the revenues earned in Real-Time that is greater than the amount required to make the Resource whole for all costs incurred in starting up and operating during RUC-Commitment(s).  The clawed-back portion of revenues earned is determined by the submission of a valid Three-Part Supply Offer into the DAM and whether ERCOT has implemented an Emergency Electric Curtailment Plan.

The RUC Clawback Amount QSE Total (RUCCBAMTQSETOT) is the total amount of RUC Clawback Charges, summed by QSE for the Operating Day.

The RUC Clawback Bill Amount (RUCCBBILLAMT) is the delta between the current settlement run and the previous settlement run for the same Operating Day, by QSE.

The RUC Clawback Amount Total (RUCCBAMTTOT) is the total amount of RUC Clawback Charges for the Operating Day.

### Introduction

Calculate the RUCCBAMT by QSE and Resource and divide by the QSEs daily total number of RUC-Committed hours, for the Operating Day.

Calculate the RUCCBAMTQSETOT by summing all Resource level RUCCBAMT by QSE, Hour and Operating Day.

Calculate the RUCCBBILLAMT by subtracting the RUCCBAMTQSETOT daily total for the current settlement run from the RUCCBAMTQSETOT daily total for the previous settlement run, by QSE and Operating Day, for the same Operating Day.

Calculate the RUCCBAMTTOT by summing all RUCCBAMT, by Hour for the Operating Day.

### Inputs & Sources

| Variable | Data Type | UOM | IPH | Driver |
| --- | --- | --- | --- | --- |
| RUCHR_<Q>_<R>_<SP> | Interval Data | Misc | 1 | Yes |
| EECP | Interval Data | Misc | 1 | No |
| VTPSOFLAG_<Q>_<R>_<SP> | Scalar | Misc | 1/24 | No |
| RUCG_<Q>_<R>_<SP> | Scalar | $ | 1/24 | No |
| RUCMEREV_<Q>_<R>_<SP> | Interval Data | $ | 4 | No |
| RUCEXRR_<Q>_<R>_<SP> | Interval Data | $ | 4 | No |
| Clawback Factor Values | Scalar | Misc | N/A | No |
| RUCEXRQC_<Q>_<R>_<SP> | Interval Data | $ | 4 | No |
| RUCCBAMTQSETOT_<Q> (prior Settlement Run) | Interval Data | $ | 1 | No |

### Outputs & Sources

| Variable | Data Type | UOM | IPH |
| --- | --- | --- | --- |
| RUCCBFR_<Q>_<R>_<SP> | Scalar | Misc | 1/24 |
| RUCCBFC_<Q>_<R>_<SP> | Scalar | Misc | 1/24 |
| RUCCBAMT_<Q>_<R>_<SP> | Interval Data | $ | 1 |
| RUCCBBILLAMT_<Q> | Scalar | $ | 1/24 |
| RUCCBAMTQSETOT_<Q> | Interval Data | $ | 1 |
| RUCCBAMTTOT | Interval Data | $ | 1 |

### Processing

## RUC De-commitment Payment (RUCDCAMT)

The following section describes the calculations of RUC De-commitment.

The RUC De-commitment Payment (RUCDCAMT) is the payment made to eligible QSE/Resources for the shutdown of the Resource for a determined amount of time. The amount paid is the amount required to restart the Resource after a RUC Decommitment.

The RUC De-commitment Amount QSE Total (RUCDCAMTQSETOT) is the total amount of RUC De-commitment Payments, summed by QSE for the Operating Day.

The RUC De-commitment Bill Amount (RUCDCBILLAMT) is the delta between the current settlement run and the previous settlement run for the same Operating Day, by QSE.

The RUC De-commitment Amount Total (RUCDCAMTTOT) is the total amount of RUC De-commitment Payments for the Operating Day.

### Introduction

Calculate the RUCDCAMT by QSE and Resource and divide by the total number of RUC-De-committed hours, by De-commitment Period and Operating Day.

Calculate the RUCDCAMTQSETOT by summing all Resource level RUCDCAMT by QSE and Operating Day.

Calculate the RUCDCBILLAMT by subtracting the RUCDCAMTQSETOT daily total for the current settlement run from the RUCDCAMTQSETOT daily total for the previous settlement run, by QSE and Operating Day, for the same Operating Day.

Calculate the RUCDCAMTTOT by summing all RUCDCAMT, for the Operating Day.

### Inputs & Sources

| Variable | Data Type | UOM | IPH | Driver |
| --- | --- | --- | --- | --- |
| SUFLAG_<Q>_<R>_<SP> | Interval Data | Misc | 1 | No |
| NCDCHR_<Q>_<R>_<SP> | Interval Data | Misc | 1 | Yes |
| RUCDSTARTTYPE_<Q>_<R>_<SP> | Interval Data | Misc | 1 | No |
| SUPR_<Q>_<R>_<SP>_<ST> | Interval Data | $/Start | 1 | No |
| MEPR_<Q>_<R>_<SP> | Interval Data | $/MWh | 1 | No |
| LSL_<Q>_<R>_<SP> | Interval Data | MW | 1 | No |
| RTSPP_<SP> | Interval Data | $/MWh | 4 | No |
| RUCDCAMTQSETOT_<Q> (prior Settlement Run) | Interval Data | $ | 1 | No |

### Outputs & Sources

| Variable | Data Type | UOM | IPH |
| --- | --- | --- | --- |
| RUCDCAMT_<Q>_<R>_<SP> | Interval Data | $ | 1 |
| RUCDCBILLAMT_<Q> | Scalar | $ | 1/24 |
| RUCDCAMTQSETOT_<Q> | Interval Data | $ | 1 |
| RUCDCAMTTOT | Interval Data | $ | 1 |

### Processing

## RUC Capacity-Short Charge (RUCCSAMT)

The following section describes the calculations of RUC Capacity-Short.

The RUC Capacity-Short Charge (RUCCSAMT) is the charge to QSEs, per RUC Process, for capacity shortfalls in each RUC Process where Commitments are issued.

The RUC Capacity-Short Amount QSE Total (RUCCSAMTQSETOT) is the total amount of RUC Capacity-Short Charges, summed by QSE for the Operating Day.

The RUC Capacity-Short Bill Amount (RUCCSBILLAMT) is the delta between the current settlement run and the previous settlement run for the same Operating Day, by QSE.

The RUC Capacity-Short Amount Total (RUCCSAMTTOT) is the total amount of RUC Capacity-Short Charges for the Operating Day.

### Introduction

Calculate the RUCCSAMT by QSE, for each 15-minute Settlement Interval, by RUC Process and Operating Day.

Calculate the RUCCSAMTQSETOT by summing all RUC Process level RUCCSAMT, by QSE and Operating Day.

Calculate the RUCCSBILLAMT by subtracting the RUCCSAMTQSETOT daily total for the current settlement run from the RUCCSAMTQSETOT daily total for the previous settlement run, by QSE and Operating Day, for the same Operating Day.

Calculate the RUCCSAMTTOT by summing all RUCCSAMT, for the Operating Day.

### Inputs & Sources

| Variable | Data Type | UOM | IPH | Driver |
| --- | --- | --- | --- | --- |
| RUCMWAMTRUCTOT_<RUC> | Interval Data | $ | 1 | Yes |
| RTAML_<Q>_<SP> | Interval Data | MWh | 4 | No |
| TOFO_<Q>_<R>_<SP> | Scalar Data | Misc | N/A | No |
| RUCHSL_<Q>_>R>_<SP>_<RUC> | Intervale Data | MW | 1 | No |
| RUCD_<Q>_<R>_<SP>_<RUC> | Interval Data | Misc | 1 | No |
| DAEP_<Q>_<SP> | Interval Data | MW | 1 | No |
| DAES_<Q>_<SP> | Interval Data | MW | 1 | No |
| HASLSNAP_<Q>_<R>_<SP>_<RUC> | Interval Data | MW | 1 | No |
| HASLADJ_<Q>_<R>_<SP> | Interval Data | MW | 1 | No |
| RUCCPADJ_<Q> | Interval Data | MW | 1 | No |
| RUCCPSNAP_<Q>_<RUC> | Interval Data | MW | 1 | No |
| RUCCSSNAP_<Q>_<RUC> | Interval Data | MW | 1 | No |
| RUCCSADJ_<Q> | Interval Data | MW | 1 | No |
| RTQQEPSNAP_<Q>_<SP>_<RUC> | Interval Data | MW | 4 | No |
| RTQQEPADJ_<Q>_<SP> | Interval Data | MW | 4 | No |
| RTQQESSNAP_<Q>_<SP>_<RUC> | Interval Data | MW | 4 | No |
| RTQQESADJ_<Q>_<SP> | Interval Data | MW | 4 | No |
| RUCCAPCREDIT_<Q>z | Interval Data | MW | 4 | No |
| Capacity Short Factor | Scalar | Misc | 1/24 | No |
| RUCCSAMTQSETOT_<Q> (prior Settlement Run) | Interval Data | $ | 1 | No |

### Outputs & Sources

| Variable | Data Type | UOM | IPH |
| --- | --- | --- | --- |
| RUCCAPTOT_<RUC> | Interval Data | MW | 1 |
| RUCCAPSNAP_<Q>_<RUC> | Interval Data | MW | 4 |
| RUCCAPADJ_<Q>_<RUC> | Interval Data | MW | 4 |
| RUCSFSNAP_<Q>_<RUC> | Interval Data | MW | 4 |
| RUCSFADJ_<Q>_<RUC> | Interval Data | MW | 4 |
| RUCSF_<Q>_<RUC> | Interval Data | MW | 4 |
| RUCSFTOT_<RUC> | Interval Data | MW | 4 |
| RUCSFRS_<Q>_<RUC> | Interval Data | Misc | 4 |
| RUCCAPCREDIT_<Q>_<RUC> | Interval Data | MW | 4 |
| RUCCSAMT_<Q>_<RUC> | Interval Data | $ | 4 |
| RUCCSBILLAMT_<Q> | Scalar | $ | 1/24 |
| RUCCSAMTQSETOT_<Q> | Interval Data | $ | 4 |
| RUCCSAMTTOT | Interval Data | $ | 4 |

### Processing

## RUC Make-Whole Uplift Charge (LARUCAMT)

The RUC Make-Whole Uplift Charge (LARUCAMT) is the charge to the QSE on a Load Ratio Share basis, when revenues from RUC Capacity-Short Charges are not enough to cover all RUC Make-Whole Payments.

The RUC Make-Whole Uplift Bill Amount (LARUCBILLAMT) is the delta between the current settlement run and the previous settlement run for the same Operating Day, by QSE.

### Introduction

Calculate the LARUCAMT by QSE, for each 15-minute Settlement Interval of the Operating Day.

Calculate the LARUCBILLAMT by subtracting the LARUCAMT daily total for the current settlement run from the LARUCAMT daily total for the previous settlement run, by QSE and Operating Day, for the same Operating Day.

### Inputs & Sources

| Variable | Data Type | UOM | IPH | Driver |
| --- | --- | --- | --- | --- |
| RUCMWAMTTOT | Interval Data | $ | 1 | Yes |
| LRS_<Q> | Interval Data | Misc | 4 | No |
| RUCCSAMTTOT | Interval Data | $ | 4 | No |
| LARUCAMT_<Q> (prior Settlement Run) | Interval Data | $ | 4 | No |

### Outputs & Sources

| Variable | Data Type | UOM | IPH |
| --- | --- | --- | --- |
| LARUCAMT | Interval Data | $ | 4 |
| LARUCBILLAMT_<Q> | Scalar | $ | 1/24 |

### Processing

## RUC Clawback Payment (LARUCCBAMT)

The RUC Clawback Payment (LARUCCBAMT) is the payment to the QSE on a Load Ratio Share basis, when revenues are collected from RUC Clawback Charges.

The RUC Clawback Bill Amount (LARUCCBBILLAMT) is the delta between the current settlement run and the previous settlement run for the same Operating Day, by QSE.

### Introduction

Calculate the LARUCCBAMT by QSE, for each 15-minute Settlement Interval of the Operating Day.

Calculate the LARUCCBBILLAMT by subtracting the LARUCCBAMT daily total for the current settlement run from the LARUCCBAMT daily total for the previous settlement run, by QSE and Operating Day, for the same Operating Day.

### Inputs & Sources

| Variable | Data Type | UOM | IPH | Driver |
| --- | --- | --- | --- | --- |
| RUCCBAMTTOT | Interval Data | $ | 1 | Yes |
| LRS_<Q> | Interval Data | Misc | 4 | No |
| LARUCCBAMT_<Q> (prior Settlement Run) | Interval Data | $ | 4 | No |

### Outputs & Sources

| Variable | Data Type | UOM | IPH |
| --- | --- | --- | --- |
| LARUCCBAMT_<Q> | Interval Data | $ | 4 |
| LARUCCBBILLAMT_<Q> | Scalar | $ | 1/24 |

### Processing

## RUC De-commitment Charge (LARUCDCAMT)

The RUC De-commitment Charge (LARUCDCAMT) is the charge to the QSE on a Load Ratio Share basis, for all revenues paid as RUC De-commitment Payments.

The RUC De-commitment Bill Amount (LARUCDCBILLAMT) is the delta between the current settlement run and the previous settlement run for the same Operating Day, by QSE.

### Introduction

Calculate the LARUCDCAMT by QSE, for each 15-minute Settlement Interval of the Operating Day.

Calculate the LARUCDCBILLAMT by subtracting the LARUCDCAMT daily total for the current settlement run from the LARUCDCAMT daily total for the previous settlement run, by QSE and Operating Day, for the same Operating Day.

### Inputs & Sources

| Variable | Data Type | UOM | IPH | Driver |
| --- | --- | --- | --- | --- |
| RUCDCAMTTOT | Interval Data | $ | 1 | Yes |
| LRS_<Q> | Interval Data | Misc | 4 | No |
| LARUCDCAMT_<Q> (prior Settlement Run) | Interval Data | $ | 4 | No |

### Outputs & Sources

| Variable | Data Type | UOM | IPH |
| --- | --- | --- | --- |
| LARUCDCAMT_<Q> | Interval Data | $ | 4 |
| LARUCDCBILLAMT_<Q> | Scalar | $ | 1/24 |

### Processing

## Verifiable Startup Costs (VERISU)

The following section describes the calculation approved Verifiable Startup Costs (VERISU) for a QSE and Resource, for each Start Type and for the Operating Day.

### Introduction

Calculate VERISU, for each Hour of the Operating Day, by QSE, Resource and Start Type.

### Inputs & Sources

| Variable | Data Type | UOM | IPH | Driver |
| --- | --- | --- | --- | --- |
| RUCHR_<Q>_<R>_<SP> | Interval Data | Misc | 1 | Yes |
| RUCD | Interval Data | Misc | 1 | Yes |
| AFCRS_<Q>_<R>_<SP>_<ST> | Scalar | MMBtu/Start | 1/24 | No |
| GASPERSU_<Q>_<R>_<SP>_<ST> | Scalar | Misc/Start | 1/24 | No |
| OILPERSU_<Q>_<R>_<SP>_<ST> | Scalar | Misc/Start | 1/24 | No |
| SFPERSU_<Q>_<R>_<SP>_<ST> | Scalar | Misc/Start | 1/24 | No |
| VOMS_<Q>_<R>_<SP>_<ST> | Scalar | $/Start | 1/24 | No |
| FIP | Scalar | $/MMBtu | 1/24 | No |
| FOP | Scalar | $/MMBtu | 1/24 | No |
| SFP | Scalar | $/MMBtu | 1/24 | No |

### Outputs & Sources

| Variable | Data Type | UOM | IPH |
| --- | --- | --- | --- |
| VERISU_<Q>_<R>_<SP>_<ST> | Interval Data | $/Start | 1 |

### Processing

## Verifiable Minimum-Energy Costs (VERIME)

The following section describes the calculation approved Verifiable Minimum-Energy Costs (VERIME) for a QSE and Resource, for the Operating Day.

### Introduction

Calculate VERIME, for each Hour of the Operating Day, by QSE and Resource.

### Inputs & Sources

| Variable | Data Type | UOM | IPH | Driver |
| --- | --- | --- | --- | --- |
| RUCHR_<Q>_<R>_<SP> | Interval Data | Misc | 1 | Yes |
| RUCD | Interval Data | Misc | 1 | Yes |
| VFCLSL_<Q>_<R>_<SP> | Scalar | MMBtu/Hr | 1/24 | No |
| GASPERME_<Q>_<R>_<SP> | Scalar | Misc/Start | 1/24 | No |
| OILPERME_<Q>_<R>_<SP> | Scalar | Misc/Start | 1/24 | No |
| SFPERME_<Q>_<R>_<SP> | Scalar | Misc/Start | 1/24 | No |
| VOMLSL_<Q>_<R>_<SP> | Scalar | $/MWh | 1/24 | No |
| LSL_<Q>_<R>_<SP> | Interval Data | MW | 1 | No |
| FIP | Scalar | $/MMBtu | 1/24 | No |
| FOP | Scalar | $/MMBtu | 1/24 | No |
| SFP | Scalar | $/MMBtu | 1/24 | No |

### Outputs & Sources

| Variable | Data Type | UOM | IPH |
| --- | --- | --- | --- |
| VERIME_<Q>_<R>_<SP>_<ST> | Interval Data | $/MWh | 1 |

### Processing

# Supplementary Specifications

The Nodal Billing and Settlements System is used to settle the Real-time and Day-Ahead markets.  This system uses LODESTAR COTS application to implement its business logic.  The LODESTAR business logic code is authored, and developed, and debugged using the LODESTAR Billing Expert User Interface, a Win32 Application that can be installed on a Windows machine.

Business Users use an Application called the “Data Manager” to view and manipulate the Data.  The LODESTAR Batch Processing Engine is run in batch mode using the Perl Interpreter that is a part of the host system.  These jobs are scheduled using an Enterprise Job Scheduling Application (currently using “AppWorx”).  The User Interface for scheduling the batch jobs uses the default Job Scheduling Application UI (“AppWorx” GUI); a Java/Swing-based Rich client launched using the JWS launcher (Java Web Start) from within a browser.

## Performance Requirements

All processes within this document will be completed within the time constraints designated in the ERCOT Protocols.  More details on how long the Settlement processes take to execute will be provided in the Detailed Design phase.

## Legal and Regulatory requirements

All LODESTAR data must be stored in accordance with ERCOT Texas Nodal Protocols and ERCOT Corporate Standards for data retention.  Specific Details on Data Retention Requirements will be determined and provided during the Integration Test phase.  We will also take into account the metrics in place today for the Zonal System.  The Settlements and Billing Business and IT Groups will make the appropriate decisions.

## System and Communication Requirements

The Settlements and Billing system will require production servers for hosting the Settlements and Billing Application Servers and the “AppWorx” Scheduling Engine.

The Settlements and Billing Application Servers and Scheduling Engine must be able to communicate via TCP/IP over a local area network.

The Settlements and Billing Database needs to be accessible to ERCOT internal staff via the Data Manager and Billing Expert Rich Client User Interfaces and LODESTAR Energy Information Platform.

The Settlements and Billing System will require network access with an Enterprise Integration Layer which will interface with other Nodal systems including Registration, Dispute Management, Market Management System(MMS), Network Modeling and Management System(NMMS),  Credit Monitoring and Management (CMM) and CRR.

In addition, the Settlements and Billing system will require at least one testing environment that is configured similarly to the production environment for purposes of software testing (e.g. prior to upgrades).  Depending on the final implementation schedule, additional testing environments may be required.  There will need to be 1 testing environment for function testing and another one for Performance Testing.  The Performance Testing Environment will need the full Dataset for its performance test.

## System Security Requirements

A Risk Assessment will be completed prior to the completion of the detailed design.  Required Controls identified in that assessment will be documented as part of the detailed design.

The Settlements and Billing system will be accessed by ERCOT internal Settlements Staff.  In addition to ERCOT’s standard security clearance mechanism, access to the Settlements system should be restricted to individuals approved by the Settlements department.  A risk assessment will be completed prior to completion of the detailed design.  Required Controls identified in the assessment will be documented as part of the detailed design.

The types of users that can access the Settlements system are: Developers that use the Billing Expert User Interface and Business Users that use the Data Manager User Interface.  The Batch Process is run using the Enterprise Job Scheduling Application that is run automatically at a scheduled time.

The Settlements system will NOT be accessible by external groups such as Market Participants.  Data Extracts from the Enterprise Information System will be available to outside parties via the Market Information System (MIS).

The Settlements system will be secured in accordance with ERCOT’s Security Standard.  This could include, but is not limited to, the following security features:

  - Access to the Settlements system is limited to approved application access

Security Testing will be performed during either FAT or SAT and all identified issues will be resolved prior to production.  This is an Internal Application without External User Access.

## Back up and Recovery Requirements

The same server configuration should be deployed both in the primary as well as in an offsite disaster recovery data center.  Data from the primary and disaster recovery systems must be synchronized in order to support continued operation in the recovery center in case of a disaster scenario.  In the event of a failover during processing, the system needs to be brought back up to complete the processing within the required time window. For the Zonal System, there is a specified time window (about 4 hours) during which the system needs to be brought back up.  The Nodal System will use similar metrics unless it is specified otherwise.  The Settlements Business and IT groups will make the relevant decisions during the Integration Test phase.

## Maintainability Requirements

The Settlements system must provide system administrators with mechanisms to monitor:

  - Availability and performance of the Settlements System

  - Progress of long-running offline processes in the Settlements Calculations engine

  - Application errors encountered during online or offline processing

The Settlements System shall recognize Daylight Savings Time:

- Spring, Standard Time to Daylight Savings Time Operating Day - Intervals Ending 0215, 0230, 0245, and 0300 will be skipped, resulting in 92, 15-minute intervals for the day.

- Spring, Standard Time to Daylight Savings Time Operating Day - Hour Ending 0300 will be skipped, resulting in 23 hourly intervals for the day.

- Fall Daylight Savings Time to Standard Time, Operating Day - There will be two sets of data for intervals 0115, 0130, 0145, and 0200, resulting in 100, 15-minute intervals for the day.

- Fall Daylight Savings Time to Standard Time, Operating Day - There will be two sets of data for Hour Ending 0200, resulting in 25 hourly intervals for the day.

## Usability Requirements

The Settlements system shall comply with ERCOT Texas Nodal standards for usability requirements.  There is a Usability Group within ERCOT that is responsible for reviewing all User Interfaces for Nodal Projects.  If necessary, this group will conduct an Usability Evaluation for the Settlements System.

## Transactional Usage *

| Description | Number/Duration |
| --- | --- |
| Minimum number of users | 0 |
| Maximum number of users | A maximum of about 15-20 users hitting the Database during Business hours |
| Peak Usage time and Duration | The Business Day timings of the Settlements and Billing Department (estimated to be from 7 am to – 4:30 (batch processing starts at 4:30 and is not concurrent) |
| Non-peak Usage | 0 users - No transactional activity |
| Complexity level of the transactions | Estimated to be medium for most activities, heavy for some workflows |
| Average number of reads per transaction | Estimates will be made during detailed design based on Zonal transactions. But better figures will be known only during the ITEST phase. |
| Average number of writes per transaction | Estimates will be made during detailed design based on Zonal transactions. But better figures will be known only during the ITEST phase. |
| Desired I/O Throughput | Estimates will be made during detailed design based on Zonal transactions. But better figures will be known only during the ITEST phase. |

## Growth

| Description | Response |
| --- | --- |
| Change in number of users | There is no estimated change in the number of users using the application. |
| Change in amount of data | Details on numbers will only be determined during the Detailed Design phase and the Itest Phase. But the trend for the majority of the data growth can be estimated on a daily basis based on certain formulae: For e.g. for some bill determinants, it could be based on: NumQSEs * NumResources * NumCuts for a Resource (submitted Daily) * NumIntervals * # of cuts submitted daily This is a hypothetical example. These will be detailed during the Detailed Design phase, and an overall assessment made for the whole product. |
| Increase in I/O load over time | Estimates will be made during detailed design based on Zonal transactions. But better figures will be known only during the ITEST phase. |

## Information Lifecycle Management

| Data retention | Term |
| --- | --- |
| Settlements and billing | Extracts archived over a period that will be determined during detailed design phase |
| EDW | Estimates will be made during detailed design based on Zonal transactions. But better figures will be known only during the ITEST phase. |

## Settlements and Billing Batch Processes Usage *

- There is very little User Transactional activity during the batch process runs.  There are additional batch reporting processes that are run at the end of the Batch Settlements process.

- Batch processes include running Data Extraction from source systems, Data Aggregation Processes, Settlements Processes and Reporting.

- * Batch processes are estimated to run at a designated time (currently this is fixed around 4:30pm and finishes close to midnight). It is expected that this run window will be similar for the Nodal Settlements Batch Processes.  Further details will be determined at the Detailed Design phase.

- * Data Extraction is I/O bound, Data Aggregation and Settlements activities are going to be computationally intensive and are definitely CPU-bound.

* Estimated based on knowledge available at this time

## Availability and Fail-over

- It is expected that there will be monitoring mechanisms in place to track the progress of the Settlements Batch process, and to keep track of errors.

- If there are errors in the batch process activity, there will pre-defined measures in place to determine the appropriate course of action.  These measures might include restarting the batch process activity.

- Scheduled outages are still to be determined for both frequency and duration. Since LODESTAR is executed as a batch process, it is not a 7x24 application.  It is a batch process executed on schedule.  Business requirements state that the data must be backed up on a daily basis and recoverable within 24 hours.

## Disaster Recovery

- This is not a 7x24 application.  Business Requirements state that the data must be backed up on a daily basis and recoverable within the time stipulated necessary for running the application.

## Provisioning Requirements

Using the guide in Section 9 of the Platform Architectural Standards, the most intense activity occurs during the usage of the calculation engine.  This activity is definitely computationally intensive with medium to heavy I/O usage (based on retrieval of data from the database and caching).

Hence, the class of servers that this application would use is estimated to be Class 1.  At this point, 32-bit CPUs are deemed to be sufficient because the LODESTAR Application does not specifically use 64-bit CPUs.

Please see the next section for a Deployment Diagram of the Application Environment.

| Function | Physical manifestation | Requirements | Comments |
| --- | --- | --- | --- |
| Storage for Base LODESTAR system | SAN Storage | 4-5 TB for LODESTAR DB 200 GB for AppWorx Master | Includes several years worth of Interval Data |
| Oracle Instance | Oracle instance running in an AIX LPAR | LPAR Specification: OS = AIX Memory = 16 GB of memory N-way = 2 CPUs | Will be used for all schemas |
| 6 LODESTAR Core Application Servers | OS and Server running in a VMWare VM | OS=Windows 2003 SP2 Server CPU = Server Class 1 model 32 bits, 2-4GB of RAM | 3 Disk Partitions of sizes 30, 30, 25 - 6 servers used in production to handle Aggregation, parallelizing calculations and offloading some reporting batch activities |
| AppWorx Scheduling Engine Master and Reporting Server | OS and Server running in a VMWare VM | OS=RedHat Linux V3 CPU = Server Class 1 model 32 bits, 2-4GB of RAM | 1 Local Disk Partition of size 100 GB -The Master that maintains the AppWorx jobs scheduled for batch processing activity |

### Application Environment

# Appendix A: Subsystem Mapping to Nodal SoSA

| SoSA Use Case & System Operation | Satisfied? (Y/N/?) | Subsystem | Subsystem Operation | Document Reference |
| --- | --- | --- | --- | --- |
| UC e.g. n.nn CRR Auction [One system level operation may map to several subsystem operations, each should be listed. When all of the system operations combine to satisfy the operation, mark satisfied = y] |  |  |  |  |
| System Operation e.g. n.nn C.UC7.OP1 – Generate Real Time Statements and Invoices | N |  |  |  |

# Appendix B: Traceability to Requirements

This document covers the requirements for Reliability Unit Commitment (RUC) and Verifiable Costs that are covered in the following separate documents:

TN.COM.63C01.RUC.REQUIREMENTS.A (version 1.1)

TN.COM.63C01.VERIFIABLECOSTS.REQUIREMENTS.A (version 1.0)

All of the calculations in these two documents are covered by this CSD.

The majority of terms listed are from Section 2.1, Definitions, of the ERCOT Nodal Protocols and the RUC Requirements Document.