## RUC
| Document Name: | TN.COMS.63C01.ELIGIBILITY.CSD.A.doc (Version 1.1)
# | Issuing Entity | Name | Page Number | Description | Accepted / Rejected / Response | Reviewer | Reason
1 | Reliant | Wagner | 7 | Does this require an NPRR? | Response-Clarification | Jackson | No. The RUC calculations in the Protocols already specify that they are specific to Generation Resources. The definition of "r" within Settlement Calculations is "A RUC-committed Generation Resource."
2 | Reliant | Wagner | 9 | Which team is keeping the list of interfaces? When will TPTF get design specs for the interface data flows? | Response-Clarification | Jackson | Internal Interfaces will be detailed in the System Design Documentation, which is expected to be available for review in August 2007 for Market Participants that have signed Non-Disclosure Agreements.
3 | Reliant | Wagner | 14 | In some instances decommits via RUC do not result in payments—see 5.7.3(1) for example. How is the system keeping track of whether the hours of decommit count toward payment or not? This is probably in Eligibility document, but just want to make sure. Side note for our own use: NCDCHR Value is used in 5.7.3. | Response-Clarification | Jackson | The Eligibility Process evaluates RUC Decommitments to determine eligibility for payment--including the example from 5.7.3(1). The result of these evaluations are saved under the SUFLAG determinant, which is used in the RUCDCAMT calculation that pays a Resource for Decommitment. The SUFLAG will contain a value of 3 in hourly intervals where a Resources is eligible for RUCDCAMT payments and these payments are only calculated for hours where a 3 value exists.
4 | Reliant | Wagner | 16 | Protocols Section 5 calculates a decommitment amount (5.7.3), but does it calculate a specific startup price for decommitment startup based on number of decommitted hours? (Understand that the decommitment payment does look at startup, along with other variables, all eventually divided by NCDCHR). But if there is a specific startup that uses this value, we didn’t locate it. Could you please point it out? Thanks. | Response-Clarification | Jackson | The RUCDCAMT payment uses SUPR values for a Resource as an input. Because it is feasible for a Resource to be issued a RUC Decommitment for an Operating Day, without having a RUC Commitment, the NCDCHR is included in the calculation of SUPR as a driver--meaning the shear presence of a NCDCHR cut indicates that the Resource required having SUPR values calculated. NCDCHR is not explicitly used in the calculation of SUPR for a Resource.
5 | Reliant | Wagner | 16 | Agree with this, but still wondering why the NCDCHR is needed here. The entire startup is only part of the make whole amount that, in total, is divided by NCDCHR. See 5.7.3(3). | Response-Clarification | Jackson | NCDCHR is not explicitly used in the calculation of SUPR value; however, the existence of a NCDCHR cut means that the Resource has received a RUC Decommitment and a RUCDCAMT value will be calculated, even though the Resource may not be eligible for RUCDCAMT (in this case the RUCDCAMT cut for the Resource will be zero for all intervals). Because SUPR is an input to the RUCDCAMT calculation, the existence of NCDCHR cuts indicate the need to calculate SUPR for the RUCDCAMT calculation.
6 | Reliant | Wagner | 18 | Same comments as above regarding NCDCHR, only substitute MEPR for startup. | Response-Clarification | Jackson | The responses above for NCDCHR as it relates to SUPR apply to MEPR as well.
7 | Reliant | Wagner | 34 | Where is the idea of clawback factors from? | Response-Clarification | Jackson | Clawback Factor Values are terms used to reference the factors (RUCCBFR and RUCCBFC) used in the RUCCBAMT calculation--Protocol Section 5.7.2(5). Technically, "Clawback Factor Values" are listed as inputs because they will be stored in the database, not "hard coded" in the Settlements System, and then assigned to the Billing Determinants above depending on whether the Resource submitted a Three-Part supply offer (RUCCBFR and RUCCBFC) and whether EECP conditions are in effect (RUCCBFR).
8 | Reliant | Wagner | 34 | The statement that was struck is not in the Protocols. Question: Is this payment made only for decommitment of QSE committed hours? Per 5.7.3(2) this appears to be the case. How is this condition enforced? | Reject | Jackson | The statements written in CSDs were written as a clarification/explanation of the RUCDCAMT charge and is not binding. We are going to keep the comment in the CSD. RUCDCAMT payments are only made in QSE Committed hours. The Eligibility Process determines if any hours of a RUC Decommitment overlap with RUC Committed hours for a Resource. These hours are not included in the SUFLAG (hourly value not set to 3), which then does not trigger a RUCDCAMT calculation amount for that hourly interval.
9 | Reliant | Wagner | 37 | This sentence is really confusing. The charge is to QSEs that were capacity short in the snapshot for the RUC, up to a cap on total charges. Don’t believe it is a charge to “non-RUC’d Resources.” | Accepted | Jackson | Charges from RUCCSAMT are not isolated to non-RUC'd Resources, the current sentence in incorrect. The sentence has been altered to read: "The RUC Capacity-Short Charge (RUCCSAMT) is the charge to QSEs, per RUC Process, for capacity shortfalls in each RUC Process where Commitments are issued."
10 | Reliant | Wagner | 47 | Which system is storing the seasonal heat rate? (5.6.1.1) Also, what is SF in the SFPERSU and what is SFP? | Response-Clarification | Jackson | There are currently no requirements in Verifiable Costs for Seasonal Heat Rates. If these are added into the Verifiable Costs requirements, this CSD will be updated to reflect. SF stands for "Solid Fuel." SFPERSU stands for "Solid Fuel Percentage Per Start Up" and SFP stands for "Solid Fuel Price."
11 | Reliant | Wagner | 49 | Having trouble following all of the acronyms. Where are the defined? | Response-Clarification | Jackson | All of the acronyms are Billing Determinants detailed in the Verifiable Costs Requirements document.
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42