## CRR
| Document Name: | TN.COMS.63C01.CRR.CSD.A.doc
# | Issuing Entity | Name | Page Number | Description | Accepted / Rejected / Response | Reviewer | Reason
1 | LCRA | NR | 48? (indicated as 62 in summarized comments) | Deration Factor: DRF_<E>_<C> Pg 62- deration factor- rejected insertion of <E> because factor should have a <C> but not an <E> according to protocols. | Rejected | A. Woodard | This comment relates to the FGRDRPR intermediate calculation for the FGR calculation of DAFGRAMT for non-competitive FGR. DRF is by element/constraint for this calculation and is indicated as such in both Protocols and Requirements. It is the only calculation where DRF is identified by both element and constraint, this was confirmed with Sharon Wang
2 | Reliant | MW | 12 | The process will calculate the Day-Ahead Option. Day-Ahead Option equals the difference between (a) the amount of PTP Options acquired through PCRR Allocations, CRR Auctions, and CRR Bilateral Trades, prior to the DAM execution and (b) the amount of PTP Options that are declared before DAM execution by NOIEs to be settled in Real-Time and not cleared in the DAM. [Reliant: effectively isn’t this the same as all outstanding PTP options prior to the DAM that are valid for the day, net of those NOIEs indicate will settle in Real Time?] | Response-Clarification | A. Woodard | Yes. The wording used in the CDS is consistent with what is used in Requirements. No action required for CSD.
3 | Reliant | MW | It has been confirmed that MMS will be calculating this. | Note: MMS has been identified as the system expected to calculate DRF. This issue of “which system should perform the calculation” is on the IDA Design Decision List and is subject to review and change. [Reliant: when will the system responsible for this be identified?] | Response | A. Woodard | IDA and other groups are currently working to resolve these issues.
4 | Reliant | MW | 30 | MMS has been identified as the system to perform this calculation. The issue of “which system should perform the calculation” is on the IDA Design Decision List and is subject to review and change. The following section covers the calculation of DAOPTPRINFO. [Reliant: Any idea on when this issue will be determined?] | Response | A. Woodard | It has been confirmed that MMS will be calculating this.
5 | Reliant | MW | 37 | 3.1.11. Calculate Day-Ahead Option Hedge Value Price (DAOPTHVPR) [Reliant: are the deration amounts by CRR kept track of and totaled over a stated time period. This might be a useful cross check for the deration calculations in the CRR Balancing Account.] | Response | A. Woodard | The Derated Amounts (i.e. - DAOPTDA) are saved for a CRR Owner and Source and Sink Settlement Points for an operating day. There currently is no requirement to further aggregate and save these amounts.
6 | Reliant | MW | 48 | Note: MMS has been identified as the system expected to calculate DRF. This issue of “which system should perform the calculation” is on the IDA Design Decision List and is subject to review and change. [Reliant: same question as above…] | Response | A. Woodard | IDA and other groups are currently working to resolve these issues.
7 | Reliant | MW | 67 | The process will calculate the Real-Time Option Hedge Value Price when the PTP Option or PTP Option with Refund payment is reduced due to transmission network elements that are oversold in previous CRR Auctions. This calculation occurs when the PTP Options source or sink is a resource node. This is a global calculation to be utilized by multiple CRR Settlements. [Reliant: Where is the calculation for the ‘refund’ part of the Options and Obligations with Refund? Any shortfall payment for such options would be subject to comparison with the MW used in that equation—meaning that it is conceivable that there could be cases when a derate doesn’t affect an option or obligation with refund.] | Response | A. Woodard | Per Sharon Wang: The current Protocols doesn't have a formula to explicitly calculate the “refund” part for options with refund and obligations with refund. Instead options and obligations with refund are paid the minimum of either Options/Obligations with Refund or Acutal Usage. Therefore ERCOT doesn't calculate "the refunds". The Requirements and CSD are written consistent with the Protocols. Below is the formula lifted from day-ahead option with refund payment requirements and the red portion is how the calculation is done: DAOPTRTP_<CO>_<SRSP>_<SKSP> = DAOPTPR_<SRSP>_<SKSP> * Min(DAOPTR_<CO>_<SRSP>_<SKSP>, OPTRACT_<CO>_<SRSP>_<SKSP> * DAOPTR_<CO>_<SRSP>_<SKSP> / (DAOPTR_<CO>_<SRSP>_<SKSP> + RTOPTR_<CO>_<SRSP>_<SKSP>))
8 | Reliant | MW | 77 | A PTP Option with Refund that is settled in Real-Time entitles the NOIE to receive compensation based on the difference in the Real-Time Settlement Point Price between the sink settlement point and the source settlement point, if positive, subject to a charge for refund. The payment may be further reduced due to transmission elements that are oversold in previous CRR auctions. [Reliant: similar comment as above. Where is the ‘refund’ part of these equations? Any derate make whole would be subject comparison with the actual MW that was used in the output schedule. If this was less than the number of outstanding options with refund, the derate would only be payable up to that MW level.] | Response | A. Woodard | Per Sharon Wang: The current Protocols doesn't have a formula to explicitly calculate the “refund” part for options with refund and obligations with refund. Instead options and obligations with refund are paid the minimum of either Options/Obligations with Refund or Acutal Usage. Therefore ERCOT doesn't calculate "the refunds". The Requirements and CSD are written consistent with the Protocols. Below is the formula lifted from day-ahead option with refund payment requirements and the red portion is how the calculation is done: DAOPTRTP_<CO>_<SRSP>_<SKSP> = DAOPTPR_<SRSP>_<SKSP> * Min(DAOPTR_<CO>_<SRSP>_<SKSP>, OPTRACT_<CO>_<SRSP>_<SKSP> * DAOPTR_<CO>_<SRSP>_<SKSP> / (DAOPTR_<CO>_<SRSP>_<SKSP> + RTOPTR_<CO>_<SRSP>_<SKSP>))
9 | Reliant | MW | 87 | When DAM is not executed, ERCOT shall pay the NOIE owner of each PTP Option with Refund that was allocated to that NOIE as a PCRR, for the quantity up to the actual usage [Reliant: how is ‘actual usage’ being determined?] based on the positive difference in Real-Time Settlement Point Prices between the sink settlement point the source settlement point. ERCOT shall not reduce the PTP Option with Refund payment due to transmission elements that are oversold in previous CRR auctions. | Response | A. Woodard | OPTRACT_<CO>_<SRSP>_<SKSP> is calculated outside of LODESTAR (currently assumed to be caculated by EMS/Integration Layer). In the RT CRR Requirements, Section 2.7 Under "Assumptions" on page 38, the calcualtion is detailed as follows: OPTRACT o, (j, k) = ( (OPTROF o, r, (j, k) * RESACT r, (j, k), y) * TLMP y) / ( TLMPy) * OPTRF o, (j, k) Where: RESACT is the output of Resource r associated with the PTP options with Refund with the source and sink pair, for the SCED interval y; OBLRF is the factor showing the percentage usage of Resource r for CRR Owner o’s PTP Options with Refund with the source and sink pair; Its value is 1, if only one CRR Owner has acquired PCRRs under the refund provision using Resource r; TLMP is the duration of the portion of the SCED interval y within the hour; o is a CRR Owner; y is a SCED interval in the hour; r is a Resource; j is a source Settlement Point; k is a sink Settlement Point. No action required for CSD.
10 | Reliant | MW | 94 | When DAM is not executed, ERCOT shall pay or charge the NOIE owner of a PTP Obligation with Refund, for the quantity up to the actual usage [Reliant: how is actual usage being determined?] based on the difference in Real-Time Settlement Point Prices between the sink settlement point and the source settlement point. | Response-Clarification | A. Woodard | OPTRACT_<CO>_<SRSP>_<SKSP> is calculated outside of LODESTAR (currently assumed to be caculated by EMS/Integration Layer). In the RT CRR Requirements, Section 2.7 Under "Assumptions" on page 38, the calcualtion is detailed as follows: OPTRACT o, (j, k) = ( (OPTROF o, r, (j, k) * RESACT r, (j, k), y) * TLMP y) / ( TLMPy) * OPTRF o, (j, k) Where: RESACT is the output of Resource r associated with the PTP options with Refund with the source and sink pair, for the SCED interval y; OBLRF is the factor showing the percentage usage of Resource r for CRR Owner o’s PTP Options with Refund with the source and sink pair; Its value is 1, if only one CRR Owner has acquired PCRRs under the refund provision using Resource r; TLMP is the duration of the portion of the SCED interval y within the hour; o is a CRR Owner; y is a SCED interval in the hour; r is a Resource; j is a source Settlement Point; k is a sink Settlement Point. No action required for CSD.
11 | Reliant | MW | 99 | 3.3.1. Calculate Credit to CRR Balancing Account (CRRBACR) [Reliant: Where are the refunds from the NOIE payments for CRRs with refund going? Are they part of the balancing account that is used to keep CRR holders whole?] | Response | A. Woodard | Per Sharon Wang: Where are the refunds from the NOIE payments for CRRs with refund going?: The current Protocols doesn't have a formula to explicitly calculate the “refund” part for options with refund and obligations with refund. Instead options and obligations with refund are paid the minimum of either Options/Obligations with Refund or Acutal Usage. Therefore ERCOT doesn't calculate "the refunds". The Requirements and CSD are written consistent with the Protocols. Below is the formula lifted from day-ahead option with refund payment requirements and the red portion is how the calculation is done: DAOPTRTP_<CO>_<SRSP>_<SKSP> = DAOPTPR_<SRSP>_<SKSP> * Min(DAOPTR_<CO>_<SRSP>_<SKSP>, OPTRACT_<CO>_<SRSP>_<SKSP> * DAOPTR_<CO>_<SRSP>_<SKSP> / (DAOPTR_<CO>_<SRSP>_<SKSP> + RTOPTR_<CO>_<SRSP>_<SKSP>)) Are they part of the balancing account that is used to keep CRR holders whole? No
12 | Reliant | MW | 110 | 3.3.5. Calculate CRR Balancing Account Closure (LACRRAMT) The monthly load ratio share is the 15-minute Load Ratio (corrected spelling) Share calculated for the peak-load Settlement Interval during the month. | Accepted | A. Woodard | Accepted