Date:  	May 31, 2007

To:  	TAC Representatives

From:	Kevin Gresham, PRS Chair

Re:  	Consideration of Protocol Revision Requests

The Protocol Revision Subcommittee (PRS) met and discussed several Protocol Revision Requests (PRRs) and nodal PRRs (NPRRs) and has the following revisions to present to TAC for consideration this month.

# PRRs Recommended for Approval:

- PRR714, Qualification and Periodic Testing of Loads Acting as Resources (LaaRs).  Effective date: August 1, 2007.  No budgetary impact; this effort can be supported with existing staff, in the event an unexpectedly high number of LaaRs do not perform as required, additional staff may be required to support the activities of this PRR; no impact to ERCOT computer systems; Market Operations Support will support the additional qualification and annual testing of LaaRs; no impact to grid operations and practices.  This PRR tightens the requirements for initial qualification as a LaaR; introduces periodic testing requirements; and provides for more clearly defined conditions that would disqualify a LaaR for under/non-performance.  PRR714 was posted on 3/6/07.  On 4/20/07, PRS voted to recommend approval of PRR714 as revised by PRS and comments submitted by Calpine.  There was one abstention from the Independent Power Marketer (IPM) segment.  All Market Segments were present for the vote.  On 5/17/07, PRS reviewed the Recommendation Report and the Impact Analysis (IA) for PRR714 and unanimously voted to forward them to TAC.  All Market Segments were present for the vote.

- PRR723, Conform 5.6.6.1 EECP (formerly Emergency Interruptible Load Service Formula Correction) - URGENT.  Effective date: July 1, 2007.  Revised IA pending. This PRR provides a technical correction to the progression of the Steps during an emergency electric curtailment event in Section 5.6.6.1, Emergency Electric Curtailment Plan (EECP).  This PRR was posted on 5/16/07.  On 5/17/07, PRS voted to waive notice to consider PRR723.  There were four abstentions from the IPM (3) and Independent Retail Electric Provider (IREP) Market Segments.  PRS then voted to grant Urgent status to PRR723.  There was one opposing vote from the IPM and four abstentions from the Consumer, Independent Generator (IG), and IPM Market Segments.  PRS then voted to recommend approval of PRR723 as revised by PRS.  There was one abstention from the IG Market Segment. All Market Segments were present for the votes.

PRR Withdrawn

PRR719, Texas Regional Entity/NERC/FERC Penalties or Assessments.  This PRR allows for ERCOT recovery of the costs of paying or complying with any penalties that may be assessed by the Federal Energy Regulatory Commission (FERC) and/or by North American Electric Reliability Corporation (NERC), or any regional entity to which NERC may delegate enforcement authority, in accordance with FERC Order Nos. 672 and 672-A1 for violations of mandatory Reliability Standards.  PRR719 and its Impact Analysis were posted on 4/16/07.  The submitter requested urgent status because the new Reliability Standards are scheduled to go into effect on or about June 4, 2007, and that Urgent status is necessary to have a mechanism in effect to allow ERCOT to collect penalties or assessments in time for that date.  On 4/18/07, PRS did not grant Urgent status.  On 5/15/07, the submitter withdrew PRR719.

Status of Pending PRRs and NPRRs (Information Purposes Only):

Review of Impact Analysis (and CBA as Appropriate) at June 2007 PRS Meeting

PRR718, Authority for Determination of Urgency for a SCR.  This PRR replaces “PRS” with the “Assigned TAC Subcommittee” as the proper entity to grant a request for Urgent status for a System Change Request (SCR) in Section 21.8.11, Urgent SCR Requests, and revises the requirements for Urgent status designation to mirror those for a PRR.  PRR718 and its Impact Analysis were posted on 4/16/07.  On 5/17/07, PRS unanimously voted to recommend approval of PRR718 as submitted.  All Market Segments were present for the vote.

New PRRs Scheduled for Review at the June 2007 PRS Meeting

- PRR720, Texas Regional Entity Fee Methodology Revision.  This PRR changes how ERCOT will issue invoices to collect the Texas Regional Entity Fee (TREF).  This PRR was posted on 5/1/07.

- PRR721, Provision of Customer Billing Information to TDSPs.  This PRR revises Section 15.1.2.9.1, Customer Billing Contact Information, so that ERCOT is required to provide Customer contact information to the Transmission and/or Distribution Service Providers (TDSPs) and allows ERCOT to take the Customer Billing Contact Information file provided by the defaulting CR, remove all information except for ESI ID, Customer Name, and Customer Phone Number from the file and then pass that file to the TDSPs.  This PRR was posted on 5/10/07.

- PRR722, 48 Hour Restoration. This PRR requires that in the unlikely event of an ERCOT System shut down, ERCOT will return 90% of ERCOT peak Load to pre-disturbed condition at or near 48 hours if a viable solution is available.  This PRR was posted on 5/14/07.  The submitter requested Urgent status so that it can become effective before ERCOT selects the units to provide the 2008 Black Start services.  On 5/16/07, PRS did not grant urgent status via email vote.

- PRR724, Removal of the Drop to AREP References.  This PRR removes references to the Drop-to-AREP transaction.  PRR724 was posted on 5/17/07 and is on a normal timeline.

PRRs and NPRRs Deferred or Tabled

- PRR701, Enabling of Stranded Capacity During Alerts - URGENT.  No budgetary impact; no impact to ERCOT staffing; no impact to ERCOT systems; no additional business processes will be required; no impact to grid operations. This PRR provides ERCOT with a tool that will enable incremental online capacity upon ERCOT issuing an Alert due to a capacity short supply situation and allow QSEs to represent their previously stranded capacity as available and capable of being loaded to their full real-time capability during an Alert due to a capacity short supply situation.  PRR701 was posted on 11/20/06.  On 11/22/06, PRS failed to grant Urgent status through email vote.  On 12/14/06, PRS voted to reconsider Urgent status, granted Urgent status and tabled PRR701 until its January 2007 meeting.  There were two votes in opposition (Consumer and the Independent Power Marketer (IPM) Market Segments) to the motion for reconsideration, four votes in opposition (IPM, Consumer, Investor Owned Utility (IOU), and Independent Retail Electric Provider (IREP) Market Segments) to granting Urgent status, and the vote to table was opposed by one vote from the Consumer Market Segment.   All Market Segments were present for the votes.   On 1/22/07, PRS voted to recommend approval of PRR701 and determined that PRR701 will reside at PRS until Impact Analysis review is complete.  There were six opposing votes from the IREP (2), the Consumers (3), and the IOU Market Segments.  All Market Segments were present for the vote.  On 2/22/07, PRS tabled PRR701 until its March 2007 meeting.   On 3/22/07, PRS voted to recommend approval of PRR701 as revised by comments submitted by PSEG.  There was one opposing vote from the IREP Market Segment and three abstentions from the Consumer, Independent Generator (IG) and IPM Market Segments.  All Market Segments were present for the vote.  On 4/20/07, PRS reviewed the Impact Analysis (IA) for PRR701 and voted to forward it to TAC.  There were two abstentions from the Consumer and IPM Market Segments.  All Market Segments were present for the vote.   On 5/4/07, TAC voted to remand PRR701 to PRS to resolve the discrepancy between the units’ stated High Sustainable Limit (HSL) and limits being reported in the Resource Plan under this PRR.  The motion passed with three abstentions from the IOU (2) and Municipal Owned Utility (MOU) Market Segments.  All Market Segments were present for the vote. On 5/17/07, PRS tabled PRR701 until its June meeting. ERCOT credit staff and the Credit WG have reviewed PRR701 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

- PRR703, Emergency Interruptible Load Service (EILS) – URGENT.  This PRR institutes an EIL) as a load interruption emergency backstop for use only during Emergency Electric Curtailment Plan (EECP) Step 3.  This EILS would be a merit order of Loads that have voluntarily offered to interrupt at an offer price and would be dispatched to interrupt in the EECP step just prior to the Independent System Operator’s (ISO) dispatch order to Transmission and Distribution Service Provider/Distribution Service Providers (TDSP/DSPs) to shed firm Load in order to preserve the system’s frequency.  In the event that EILS is dispatched, the market clearing price of the last Load dispatched would set the Market Clearing Price for Energy (MCPE) for the remainder of the EECP episode for both loads and generation resources. PRR703 was posted on 12/28/06.  The submitter requested Urgent status, but on 1/5/07, PRS did not grant Urgent status through email vote.  On 1/22/07, PRS voted unanimously to grant urgent status to four PRRs (PRRs 702, 703, 704, and 705 described below) addressing Emergency Interruptible Load Service (EILS).  There was one opposing vote from the Municipal Market Segment and one abstention from the IREP Market segment.  All Market Segments were present for the vote.  PRS then voted to table the EILS PRRs until its February meeting and request a report responding to specific questions by ERCOT Staff, WMS and ROS.  On 2/22/07 PRS again tabled PRR703.

- PRR712, Local Congestion Replacement Reserve Payment Methodology.  Budgetary impact is less than $50,000, to be managed under the O&M budgets of affected departments; ongoing support for this function will be absorbed by current staff; minor Lodestar system modification; current business processes will be modified to accommodate this PRR; no impact to grid operations.  This PRR modifies the Local Congestion Replacement Reserve Service (RPRS) payment methodology to be identical to that of the Out-of-Merit Capacity (OOMC) payment methodology, as described in Section 6.8.2 .2, Capacity and Minimum Energy Payments.  PRR712 was posted on 2/19/07.  On 3/22/07, PRS voted to recommend approval of PRR712 as amended by PRS and comments submitted by Constellation Commodities Group and ERCOT Staff.   There were four opposing votes from the IOU, the IG (2) and the IPM Market Segments.  All Market Segments were present for the vote.   On 4/20/07, PRS voted to recommend approval of PRR712 as revised by comments submitted by Reliant Energy.  There was one opposing vote from the IG Market Segment and one abstention from the IOU Market Segment.  PRS also reviewed the IA for PRR712 and voted to forward it to TAC.  There was one opposing vote from the IOU Market Segment and one abstention from the Consumer Market Segment. All Market Segments were present for the votes.  On 5/4/07, TAC voted to remand PRR712 to PRS to consider the profit potential on the Settlement of OOMC and other issues.  The motion passed with one opposing vote (Independent Power Marketer) and one abstention (Independent Generator).  All Market Segments were present for the vote.  On 5/17/07, PRS tabled PRR712 until its June meeting. ERCOT credit staff and the Credit WG have reviewed PRR712 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

- PRR713, Resource Outage Notification.  This PRR clarifies and further details the long-term outage notification submission process for resources.  PRR713 was posted on 2/21/07.  On 3/22/07, PRS unanimously voted to table PRR713.  All Market Segments were present for the vote.  On 4/20/07, PRS tabled PRR713.  All Market Segments were present for the vote.  On 5/17/07, PRS unanimously voted to defer action on PRR713.  All Market Segments were present for the vote. ERCOT credit staff and the Credit WG have reviewed PRR713 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

- PRR717, EILS Disputes and Resettlements.  This PRR adds a definition for EILS Contract Period to Section 2.1, Definitions; revises Section 6.5.12, Emergency Interruptible Load Service (EILS), to reflect the addition of the definition; adds new Section 9.5.5, Resettlement of Emergency Interruptible Load Service, to describe a process for disputing and resettling the EILS Service; and renumbers former Section 9.5.5, Disputes for Operational Decisions or Market Rules, to Section 9.5.6.  PRR717 was posted on 4/13/07.  On 5/17/07, PRS deferred PRR717 for one month upon request from the submitter.

- NPRR020, ERCOT Nodal Implementation Surcharge.  This PRR documents how ERCOT shall calculate the Nodal Implementation Surcharge (NIS) to comply with the Final Order issued in PUCT Docket No. 32686, Application of the Electric Reliability Council of Texas for Approval of a Nodal Market Implementation Surcharge and Request for Interim Relief, to fund implementation of the nodal market redesign.  NPRR020 was posted on 8/28/06.  On 9/21/06, PRS tabled NPRR020 until the PUCT issues an order on the final NIS.

- NPRR026, Nodal Implementation Surcharge Verifiable Costs.  This NPRR adds the NIS as a verifiable cost for resources called on for reliability purposes (Reliability Unit Commitment [RUC] and RMR).  NPRR026 was posted on 9/14/06.  On 9/21/06, PRS tabled NPRR020 until the Public Utility Commission issues an order on the final NIS.

- NPRR036, Market Operations Test Environment (MOTE) in the Nodal Market.  This NPRR provides a tool to validate the integrity of the ERCOT Network Operations model and perform studies that facilitate better coordination of network operations between the Transmission Service Provider (TSP) and ERCOT.  This NPRR was posted on 11/09/06.  On 11/16/06, PRS voted to refer to TPTF for review.  On 12/14/06, PRS tabled NPRR036 until its January 2007 meeting.  On 1/22/07, PRS again tabled NPRR036.

- NPRR050, Clarifications for HSL Values for WGRs and WGR Values to be Used in the RUC Capacity Short Calculation.    This NPRR eliminates paragraph (6) of Section 4.2.2, Wind-Powered Generation Resource Production Potential, because of inconsistency with Protocol language in paragraph (7) of Section 3.9.1, Current Operating Plan (COP) Criteria; eliminates paragraph (7) of Section 4.2.2 because the settlement information is described in 5.7.4.1, RUC Capacity-Short Charge; and revises 5.7.4.1.1, Capacity Shortfall Ratio Share, to clarify how to do the settlements.  NPRR050 was posted on 3/12/07.  On 3/22/07, PRS unanimously voted to table NPRR050 for one month.  All Market Segments were present for the vote.  On 4/20/07, PRS again tabled NPRR050, to allow for simultaneous review with NPRR045, Wind Power Forecasting.

NPRRs Awaiting Full Impact Analyses

- NPRR035, Nodal Protocol Clarifications Required For Net Metering Provisions. This NPRR incorporates the existing net metering provisions of the zonal market into the nodal market and clarifies that Generation Resource’s must provide net generation output for use by the ERCOT systems.  This NPRR was posted on 11/6/06.  The submitter requested deferral until the December meeting to allow for TPTF input.  On 12/14/06, PRS tabled NPRR035 until its January 2007 meeting.  On 1/22/07, PRS again tabled NPRR035.  On 2/22/07, PRS voted to recommend approval of NPRR035 as revised by comments from ERCOT Staff.  There was one opposing vote from the IOU Market Segment and one abstention from the Municipal Market Segment.  On 5/17/07, PRS voted to recommend approval of NPRR035 as revised by comments submitted by ERCOT Staff on 5/9/07.  There was one opposing vote from the IOU Market Segment; all Market Segments were present for the votes.

- NPRR037, Conforming Section 13 to Nodal Format and Changing Frequency of Transmission Loss Base Case Calculations.  This NPRR provides changes to the frequency of transmission loss base cases calculations and conforms Protocol Section 13, Transmission and Distribution Losses, to the nodal Protocol format.  NPRR037 was posted on 11/20/06.  The Submitter requested deferral until implementation of PRR565, Calculation of Losses for Settlement.  On 4/20/07, PRS unanimously voted to recommend approval of NPRR037 as revised by comments submitted by ERCOT Staff (4/11/07).  All Market Segments were present for the vote.

- NPRR039, Availability of Ancillary Service Offers for the Supplementary Ancillary Service Market.  This NPRR corrects the Supplementary Ancillary Service Market (SASM) chart so that it is consistent with Protocol language.  NPRR039 was posted on 12/14/07.  On 2/22/07, PRS voted to recommend approval of NPRR039 as submitted.  There were two abstentions from the IPM and Consumer Market Segments. All Market Segments were present for the vote.

- NPRR041, Corrections to Section 4, Day-Ahead Operations.   This NPRR is proposed to change and correct language discovered during TPTF review of the associated business requirements.  NPRR041 was posted on 2/19/07.  On 3/22/07, PRS unanimously voted to recommend approval of NPRR041 as submitted.  All Market Segments were present for the vote.  ERCOT credit staff and the Credit WG have reviewed NPRR041 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

- NPRR042, Corrections to Section 5, Transmission Security Analysis and Reliability Unit Commitment.    This NPRR is proposed to change and correct language discovered during TPTF review of the associated business requirements.  NPRR042 was posted on 2/19/07.  On 3/22/07, PRS unanimously voted to table NPRR042 and requested that TPTF revise the revision description.  All Market Segments were present for the vote.  On 4/20/07, PRS voted to recommend approval of NPRR042 as revised by comments submitted by TPTF.  There were two abstentions from the IREP and Consumer Market Segments.  All Market Segments were present for the vote.  ERCOT credit staff and the Credit WG have reviewed NPRR042 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

- NPRR043, Corrections to Section 7, Congestion Revenue Rights.  This NPRR is proposed to change and correct language discovered during TPTF review of the associated business requirements.  NPRR043 was posted on 2/21/07.  On 3/22/07, PRS unanimously voted to recommend approval of NPRR043 as submitted.  All Market Segments were present for the vote.

- NPRR044, Corrections to Section 6, Adjustment Period and Real-Time Operations.  This NPRR is proposed to change and correct language discovered during TPTF review of the associated business requirements.  NPRR044 was posted on 2/22/07.  On 3/22/07, PRS unanimously voted to recommend approval of NPRR044 as submitted.  All Market Segments were present for the vote.  ERCOT credit staff and the Credit WG have reviewed PRR044 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

- NPRR047, Credit Monitoring – ERCOT Staff Clarifications.  This NPRR incorporates the following topics: (1) Moving definition of Counter-Party from Section 16, Registration and Qualification of MPs, to Section 2, Definitions and Acronyms; (2) Validation and enforcement of credit constraints at the Counter-Party level in the DAM and CRR Auctions; (3) Provision of separate credit limit for DAM and CRR Auctions. (4) Clarification on calculating credit exposure and Available Credit Limit on Business Days; (5) Clarification on the language regarding Today’s Value of PTP Obligation, PTP Option and Flow Gate Rights; (6) Clarification on the terminology for pricing components of Mark to Market Value for Flow Gate Rights; (7) Clarification on the flexibility to modify weighting factors associated with pricing components of Mark to Market Value for PTP Obligation, PTP Option and Flow Gate Rights; (8) Tracking Payment Breach, Late Payment by Market Participants instead of by Counter-Party. (9) Moving and clarifying language about forfeiture of CRRs from Section 9.9.1, Invoice Receipt Payments to ERCOT for CRR Auction, to a new sub-section on “Declaration of forfeit of CRRs” in the Payment Breach section.  NPRR047 was posted on 3/2/07.  On 3/22/07, PRS unanimously voted to remand NPRR047 to TPTF for further analysis of paragraph (3) of Section 4.4.10, Credit Requirement for DAM Bids and Offers, and Section 16.11.6.1.5, Declaration of Forfeit of CRRs.  All Market Segments were present for the vote.  On 4/20/07, PRS unanimously voted to recommend approval of NPRR047 as amended by TPTF comments.  All Market Segments were present for the vote.  ERCOT credit staff and the Credit WG participated in the development of NPRR047.

- NPRR048, Revised Wording of Opportunity Outages for Transmission Facilities.    This NPRR will allow ERCOT to grant a TSP permission to work on TSP-owned equipment that can only be maintained when a Resource is off-line for a Forced, Planned or Maintenance Outage. On 3/22/07, PRS unanimously voted to recommend approval of NPRR048 as revised by comments submitted by ERCOT Staff.  All Market Segments were present for the vote.

- NPRR049, Generation Subsystem Changes to Incorporate Approved White Papers.    This NPRR incorporates TPTF-approved whitepapers on the following topics:  (1) Generation Resource Responsive Reserve Deployment and Recall; (2) Ancillary Service Schedules and Deployment Telemetry; (3) Non-Spin Deployment Notification and Availability; (4) Security Constrained Economic Dispatch (SCED)Base Point Dispatch; and (5) Base Point above High Ancillary Service Limit (HASL) Flags.  On 3/22/07, PRS unanimously voted to recommend approval of NPRR049 as submitted.  All Market Segments were present for the vote.

- NPRR051, Removal of the Pseudo Resource Requirement in the Real Time Security Constrained Economic Dispatch (SCED) Process.  This NPRR removes the requirement to employ a pseudo resource from the SCED Process in Section 6.5.7.3, Security Constrained Economic Dispatch.  NPRR051 was posted on 3/12/07.  On 3/22/07, PRS voted to table NPRR051.  There were five opposing votes from the Municipal, IOU, IREP, and IPM Market Segments.  All Market Segments were present for the vote.  On 4/20/07, PRS voted to recommend approval of NPRR051 as submitted.  There were two abstentions from the Consumer and IOU Market Segments.  All Market Segments were present for the vote.

- NPRR052, Settlement for Non-Modeled Generators.  This NPRR revises Real-time Energy Imbalance settlement to include payment of energy produced by Non-Modeled Generators.  On 3/22/07, PRS unanimously voted to recommend approval of NPRR052 as submitted.  All Market Segments were present for the vote.

- NPRR055, Correction of Voltage Support QSE Total Bill Determinants.  This NPRR corrects Voltage Support QSE Total bill determinants and their calculations for the purpose of breaking out the Voltage Support Charge Types on the settlement statement.  NPRR055 was posted on 3/27/07.  On 4/20/07, PRS unanimously voted to recommend approval of NPRR055 as submitted.  All Market Segments were present for the vote.

- NPRR057, Posting Requirements Pursuant PUC Subst. R. 25.505.   This NPRR implements posting requirements outlined in new P.U.C. Subst. R. 25.505, Resource Adequacy in the Electric Reliability of Texas Power Region.  NPRR057 was posted on 4/9/07.  On 4/20/07, PRS voted to recommend approval of NPRR057 as submitted.  There was one abstention from the IREP Market Segment.  All Market Segments were present for the vote.

- NPRR058, Clarification of Standard Form Market Participant Agreement.  This NPRR removes discrepancies between Section 16, Registration and Qualification of MPs, and Section 22, Attachment H (renamed as Attachment B), Standard Form Market Participant Agreement.  NPRR058 was posted on 4/10/07.  On 4/20/07, PRS unanimously voted to recommend approval of NPRR058 as revised by PRS and comments submitted by ERCOT Staff.  All Market Segments were present for the vote.  On 5/17/07, PRS unanimously voted to refer NPRR058 to TPTF to review comments submitted by ERCOT Staff on 5/8/07.

- NPRR059, Reconfiguring the Annual CRR Auction. This NPRR reconfigures the annual Congestion Revenue Right (CRR) Auction from a 24-month simultaneous optimization of three Time Of Use (TOU) blocks to separate optimizations for each TOU block for each year.  This NPRR was posted on 5/1/07.  On 5/17/07, PRS unanimously voted to recommend approval of NPRR059 as submitted.  All Market Segments were present for the vote.

- NPRR060, Hub Clarification.  This NPRR clarifies the concept of “Hub Bus” allowing for direct assignment of Electrical Buses to a Hub and clarifies the number of Hub Buses in a Hub based on operating model Electrical Bus configuration.  NPRR060 was posted on 5/1/07.  On 5/17/07, PRS unanimously voted to recommend approval of NPRR060 as submitted.  All Market Segments were present for the vote.

- NPRR061, Scarcity Pricing Mechanism.  This NPRR provides for a scarcity pricing mechanism as required by subsection (g) of P.U.C. SUBST. R. 25.505, Resource Adequacy in the Electric Reliability Council of Texas Power Region.  NPRR061 was posted on 5/2/07.  On 5/17/07, PRS unanimously voted to recommend approval of NPRR061 as submitted.  All Market Segments were present for the vote.

PRR Pending Input from Other Subcommittees

- PRR549, Regulation Control During Abnormal Frequency Events.  ERCOT posted this PRR on 10/8/04.  At its November 2004 meeting, PRS remanded the PRR to ROS.

- NPRR040, Synchronization of Emergency Electric Curtailment Plan (EECP) Event Realignment.   This NPRR synchronizes the nodal Protocols with PRR682, EECP Event Realignment, which was approved by the ERCOT Board on November 14, 2006.  NPRR040 was posted on 2/16/07.  On 3/22/07, PRS tabled NPRR040 pending input from TPTF.

- NPRR045, Wind Power Forecasting.  This NPRR adds definitions for terms used in more than one section and describes the process for developing the 80% confidence level forecast for wind-power generators.  NPRR045 was posted on 2/23/07.    On 3/22/07, PRS unanimously voted to refer NPRR045 to TPTF for review.  All Market Segments were present for the vote.  ERCOT credit staff and the Credit WG have reviewed NPRR045 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

- NPRR053, Creation of a New Trading Hub at Venus Switching Station.  This NPRR creates a new trading hub at Venus Switching Station.  NPRR053 was posted on 3/12/07.  On 3/22/07, PRS unanimously voted to refer NPRR053 to TPTF for review.  All Market Segments were present for the vote.