## Slide 1: PRR 650 Affect on Prices
ERCOT Board of Directors
May 16, 2007

## Slide 2: PRR650 Impact Summary to date
Board approved PRR650 on August 15, 2006, to be effective September 1, 2006
  PRR650 price correction creates the MCPE that would have resulted if Non-Spinning energy deployments had not occurred
  The motion reflected in the August minutes: “Mr. McCall moved to approve PRR650 with a requirement that ERCOT provide a report to the Board on its affect on prices at the end of the third quarter of 2006 and the end of this year.”
Summary of analysis:
  For comparable pre- and post-PRR650 periods (Sept05-April06(pre)and Sept06-April07(post))
    Compares change in NSRS capacity procurement costs versus cost of PRR650 price adjustments to MCPE

## Slide 3: PRR650 Impact Summary to date
Non-Spin Capacity Procurement Costs
Cost impact of PRR650 Price Corrections to Balancing Energy
for Sept06-April07
$2,748,900

## Slide 4: PRR650 Impact Summary to date (continued)
$5MM Non-Spin cost difference in Sep05 vs. Sep06
Consider 2005 Hurricanes gas impacts (~$16 vs. $7)
$2MM Non-Spin cost difference Apr06 vs. April07- abnormally warm April06
$2MM BES price correction for 4 intervals on 4/3/07
Jan07 Non-Spin cost higher than Jan06- colder Jan07

## Slide 5: Conclusions
Compared to similar time period the year before, there has been a decrease in Non-Spin Ancillary Service costs of approximately $9 million
Most of lower costs due to lower Non-spinning Reserve prices ($7 million) occurred in September (Hurricane Rita) and April (EECP)
Most of costs due to increased MCPEs ($2 million) occurred due to 4 intervals of price adjustment on April 3, 2007