## Basic Info
The purpose of this spreadsheet is to show all the data elements that are sent to ERCOT through:
The New Nodal GARF (which includes existing "zonal" items and new items in the Nodal Protocols)
Registration Forms
XML file from QSE to MMS
The New LARF
Faxes from QSE's
The spreadsheet is also intended to show how ERCOT "handles" the "incoming" data and specifically show which system is the "system of record" and which downstream systems need the data.
The contents of this spreadsheet should match the word documents being put together by UISOL.
Other Statements:
EMS does not get any thing directly from Siebel.
ACTION ITEM: There needs to be a review of all items that are put into the NMMS model and make sure they are not confidential and ok to go out to all market participants since the model is sent out to all.
The GARF is submitted by the Resource Entity.
The LARF is submitted by the QSE.????
Items marked in pink are items that come in two ways. One way is through the GARF and the other way is through the XML file submitted by the QSE to MMS. There is no "backwards" flow from MMS to NMMS on these items. "Y*" indicates that NMMS is the system of record for the data from the GARF.
The last four tabs are from the 4-19-07 version of the new nodal GARF.

## Data Elements
ID # | Data Element | Category | Input Source | Method of Entry | Validated? | Siebel | MMS | EMS | NMMS | L* | CRR | CMM | Notes | Protocol &.. | Garf row or cell | Updated on ARF?
1 | Resource Name (GR) | Generation Resource Parameters | GARF | Manual Placement in Siebel | N | Record | Y | Y | Y | Y |  |  | This is the "unit name" on the GARF in cell C34. Submitted by Resource Entity. It is item 3.7.1.1 a in the protocols. Unit name is short name. WCS is working on the process to define long name for a Resource |  | c34 | Yes
2 | Mnemonic for the physical unit | Generation Resource Parameters | GARF | Manual Placement in NMMS | N | Y - only after updates in NMMS | Y | Y | Record | Y |  |  | TSP will notify NMMS if a name change occurs on Resource. NMMS will have to create a business process to send Siebel name changes, if necessary. Functionally, NMMS is the system of record, but technically Siebel is the system of record. Siebel will feed Lodestar. This equals the "gencode" in Lodestar. A more typical scenario is the RE sends in a revised GARF form, and Siebel will be manually updated and will be both the functional and technical system of record. The business process needs to define for this change between Registration and NMMS |  | c35 | Yes
3 | High Reasonability Limit | Generation Resource Parameters | Nodal Addition - Generator Section | Manual Placement in Siebel | N | Record | Y | Y | Y |  |  |  | 04/25- Meeting with NMMS: No place in Areva Network model currently 04/30 L* does not need this. |  | needs to be added to GARF | Yes
4 | Low Reasonability Limit | Generation Resource Parameters | Nodal Addition - Generator Section | Manual Placement in Siebel | N | Record | Y | Y | Y |  |  |  | 04/25- Meeting with NMMS: No place in Areva Network model currently 04/30 L* does not need this. |  | needs to be added to GARF | Yes
5 | Resource Category Classification | Generation Resource Parameters | Existing GARF Addendum | Manual Placement in Siebel | N | Record | Y | Y | Y | Y |  |  | Try to eliminate addendums. This is the type of unit used in generic cost calculations. In Lodestar this is currently "fuel type category". Need to add to proposed GARF. The choices should be those in section 4 of the protocols. Make sure MMS can distinguish for wind. Make sure S &B can distinguish for IRR. Called Sub Type in Siebel. |  | needs to be added to GARF | Yes
6 | QF Status Flag | Generation Resource Parameters | GARF | Manual Placement in Siebel | N | Record | Y |  |  | Y |  |  | 04/30 L* - needed for basepoint deviation. Currently stored in Gen Hist table as y or n flag. |  | Cell C50 | Yes
7 | CCOD | Generation Resource Parameters | Nodal Addition | Manual Placement in Siebel | N | Record | Y | [5 empty] | CCOD = Commencement of Commercial Operation Date. The name of this field will eventually change. This currently exists in the test version of Siebel. NOT needed for MOCMULT calc but is needed by MMS to calculate mitigated offer caps. 05/10/07 K. McGettigan: This field is on the revised QSE application form, so it will not be added to the GARF. |  | needs to be added to GARF | Application Form
8 | Normal Ramp Rate Curve | Generation Resource Parameters | XML input file from QSE | ABB system | Y |  | Record | Y | Y* |  |  |  | Verified against high and low reasonable ramp rate curve. 4/25 - exists in NMMS Model, although NMMS is not the system of record. Assume that this usually is a curve of 3 pairs. DB can handle 5 pairs. Should have curves for each CC configuration. | 3.7.1.1 : Also one time capture on GARF and placed in NMMS. NMMS will send it to MMS and EMS if required. | needs to be added to GARF | Yes
9 | High Reasonable Ramp Rate | Generation Resource Parameters | GARF | Manual Placement into NMMS | N |  | Y | Y | Record |  |  |  | Not in Protocols. Need NPRR. 4/25 - exists in NMMS Model, although NMMS is not the system of record. Not a curve just one #. |  | needs to be added to GARF | Yes
10 | Low Reasonable Ramp Rate | Generation Resource Parameters | GARF | Manual Placement into NMMS | N |  | Y | Y | Record |  |  |  | Not in Protocols. Need NPRR. 4/25 - exists in NMMS Model, although NMMS is not the system of record |  | needs to be added to GARF | Yes
11 | Emergency Ramp Rate Curve | Generation Resource Parameters | XML input file from QSE | ABB system | Y |  | Record | Y | Y* |  |  |  | Validated against high and low reasonable ramp rate curve 4/25 - exists in NMMS Model, although NMMS is not the system of record | 3.7.1.1 : Also one time capture on GARF and placed in NMMS. NMMS will send it to MMS and EMS if required. | needs to be added to GARF | Yes
12 | Min On Line Time | Generation Resource Parameters | XML input file from QSE | ABB system | N |  | Record |  | Y* |  |  |  | 4/25 - exists in NMMS Model, although NMMS is not the system of record | 3.7.1.1 : Also one time capture on GARF and placed in NMMS. NMMS will send it to MMS and EMS if required. | already on GARF and shown (in cell C48) as "Minimum Up time". Need to modify GARF to match Nodal Protocol words. | Yes | reviewed 6-8-07
13 | Minimum Off Line Time | Generation Resource Parameters | XML input file from QSE | ABB system | N |  | Record |  | Y* |  |  |  | 4/25 - exists in NMMS Model, although NMMS is not the system of record | 3.7.1.1 : Also one time capture on GARF and placed in NMMS. NMMS will send it to MMS and EMS if required. | already on GARF (in cell c49) and shown as "Minimum Down time". Need to modify GARF to match Nodal Protocol words. | Yes
14 | Hot Start Time | Generation Resource Parameters | XML input file from QSE | ABB system | N |  | Record |  | Y* |  |  |  | 4/25 - exists in NMMS Model, although NMMS is not the system of record | 3.7.1.1 : Also one time capture on GARF and placed in NMMS. NMMS will send it to MMS and EMS if required. | needs to be added to GARF | Yes
15 | Seasonal MW Rating | Generation Resource Parameters | Nodal Addition | Manual Input by Data Agg in L* | N |  |  |  |  | Record |  |  | This is for MOCMULT. This is not the "net dependable capacity test results that MMS needs. |  | needs to be added to GARF | Yes
16 | Intermediate Start Time | Generation Resource Parameters | XML input file from QSE | ABB system | N |  | Record |  | Y* |  |  |  |  | 3.7.1.1 : Also one time capture on GARF and placed in NMMS. | needs to be added to GARF | Yes
17 | Cold Start Time | Generation Resource Parameters | XML input file from QSE | ABB system | N |  | Record |  | Y* |  |  |  |  | 3.7.1.1 : Also one time capture on GARF and placed in NMMS. | already on GARF and shown (in cell C47) as "Lead time". Need to modify GARF to match Nodal Protocol words. | Yes
18 | Max Weekly Starts | Generation Resource Parameters | XML input file from QSE | ABB system | N |  | Record |  | Y* |  |  |  | Not Seasonal | 3.7.1.1 : Also one time capture on GARF and placed in NMMS. | needs to be added to GARF | Yes
19 | Max On-Line Time | Generation Resource Parameters | XML input file from QSE | ABB system | N |  | Record |  | Y* |  |  |  | Not Seasonal | 3.7.1.1 : Also one time capture on GARF and placed in NMMS. | needs to be added to GARF | Yes
20 | Max Daily Starts | Generation Resource Parameters | XML input file from QSE | ABB system | N |  | Record |  | Y* |  |  |  | Not Seasonal | 3.7.1.1 : Also one time capture on GARF and placed in NMMS. | needs to be added to GARF | Yes
21 | Max weekly Energy | Generation Resource Parameters | XML input file from QSE | ABB system | N |  | Record |  | Y* |  |  |  | Not Seasonal | 3.7.1.1 : Also one time capture on GARF and placed in NMMS. | needs to be added to GARF | Yes
22 | Hot-to-intermediate Time | Generation Resource Parameters | XML input file from QSE | ABB system | N |  | Record |  | Y* | Y |  |  | Not Seasonal Needed by Settlements for decommitment. | 3.7.1.1 : Also one time capture on GARF and placed in NMMS. | needs to be added to GARF | Yes
23 | Intermediate-to-cold Time | Generation Resource Parameters | XML input file from QSE | ABB system | N |  | Record |  | Y* | Y |  |  | Not Seasonal. Needed by Settlements for decommitment. | 3.7.1.1 : Also one time capture on GARF and placed in NMMS. | needs to be added to GARF | Yes
24 | Resource Name (CLR or NCLR) | CLR & Non-CLR Load Resource Parameters | Nodal Addition | Manual Placement in Siebel | N | Record | Y | Y | Y | Y |  |  | This is the "unit name" on the LARF. Submitted by Resource Entity. It is item 3.7.1.2 a in the protocols. WCS is working on a process to define long Resource Name |  | needs to be added to GARF | Yes
25 | High Reasonability Limit | CLR & Non-CLR Load Resource Parameters | Nodal Addition | Manual Placement in Siebel | N | Record | Y | Y | Y |  |  |  | LARF |  | needs to be added to GARF | Yes
26 | Low Reasonability Limit | CLR & Non-CLR Load Resource Parameters | Nodal Addition | Manual Placement in Siebel | N | Record | Y | Y | Y |  |  |  | LARF |  | needs to be added to GARF | Yes
27 | Minimum Interruption Time | CLR & Non-CLR Load Resource Parameters | XML input file from QSE | ABB system | N |  | Record |  | Y* |  |  |  | LARF | 3.7.1.1 : Also one time capture on GARF and placed in NMMS. NMMS will send it to MMS and EMS if required. | needs to be added to GARF | Yes
28 | Minimum Restoration Time | CLR & Non-CLR Load Resource Parameters | XML input file from QSE | ABB system | N |  | Record |  | Y* |  |  |  | LARF | 3.7.1.1 : Also one time capture on GARF and placed in NMMS. NMMS will send it to MMS and EMS if required. | needs to be added to GARF | Yes
29 | Max Weekly Deployments | CLR & Non-CLR Load Resource Parameters | XML input file from QSE | ABB system | N |  | Record |  | Y* |  |  |  | LARF | 3.7.1.1 : Also one time capture on GARF and placed in NMMS. NMMS will send it to MMS and EMS if required. | needs to be added to GARF | Yes
30 | Max Interruption Time | CLR & Non-CLR Load Resource Parameters | XML input file from QSE | ABB system | N |  | Record |  | Y* |  |  |  | LARF | 3.7.1.1 : Also one time capture on GARF and placed in NMMS. NMMS will send it to MMS and EMS if required. | needs to be added to GARF | Yes
31 | Max Daily Deployments | CLR & Non-CLR Load Resource Parameters | XML input file from QSE | ABB system | N |  | Record |  | Y* |  |  |  | LARF | 3.7.1.1 : Also one time capture on GARF and placed in NMMS. NMMS will send it to MMS and EMS if required. | needs to be added to GARF | Yes
32 | Max Weekly Energy | CLR & Non-CLR Load Resource Parameters | XML input file from QSE | ABB system | N |  | Record |  | Y* |  |  |  | LARF | 3.7.1.1 : Also one time capture on GARF and placed in NMMS. NMMS will send it to MMS and EMS if required. | needs to be added to GARF | Yes
33 | Minimum Notice Time | CLR & Non-CLR Load Resource Parameters | XML input file from QSE | ABB system | N |  | Record |  | Y* |  |  |  | LARF | 3.7.1.1 : Also one time capture on GARF and placed in NMMS. NMMS will send it to MMS and EMS if required. | needs to be added to GARF | Yes
34 | Normal Ramp rate Curve | CLR Load Resource Parameters | XML input file from QSE | ABB system | Y |  | Record | Y | Y* |  |  |  | LARF - validated against high and low reasonable ramp rate curve | 3.7.1.1 : Also one time capture on GARF and placed in NMMS. NMMS will send it to MMS and EMS if required. | needs to be added to GARF | Yes
35 | Emergency Ramp rate Curve | CLR Load Resource Parameters | XML input file from QSE | ABB system | Y |  | Record | Y | Y* |  |  |  | LARF - validated against high and low reasonable ramp rate curve | 3.7.1.1 : Also one time capture on GARF and placed in NMMS. NMMS will send it to MMS and EMS if required. | needs to be added to GARF | Yes
36 | High Reasonable Ramp Rate | CLR Load Resource Parameters | GARF | Manual input into NMMS | N |  | Y |  | Record |  |  |  | Not in Protocols |  | Not in protocols. Need NPRR. needs to be added to GARF | Yes
37 | Low Reasonable Ramp Rate | CLR Load Resource Parameters | GARF | Manual input into NMMS | N |  | Y |  | Record |  |  |  | Not in Protocols |  | Not in protocols. Need NPRR. needs to be added to GARF | Yes
38 | Max Deployment Time | CLR Load Resource Parameters | XML input file from QSE | ABB system | N |  | Record |  | Y* |  |  |  |  | 3.7.1.1 : Also one time capture on GARF and placed in NMMS. NMMS will send it to MMS and EMS if required. | needs to be added to GARF | Yes
39 | Max weekly Energy | CLR Load Resource Parameters | XML input file from QSE | ABB system | N |  | Record |  | Y* |  |  |  |  | 3.7.1.1 : Also one time capture on GARF and placed in NMMS. NMMS will send it to MMS and EMS if required. | needs to be added to GARF | Yes
40 | CC Configurations | Combined Cycle | Nodal Addition | Manual Placement in NMMS | N |  | Y | Y | Record | Y |  |  | 4/30 Registration - still finalizing requirements. As of this point in time --- option 1 is reflected. Option 1 is reflected then Siebel will be System of Record |  |  | Specific items to add to GARF need to be expanded
41 | CC Plant Name | Combined Cycle | Nodal Addition | Manual Placement in Siebel | N | Record | Y | Y | Y |  |  |  | 4/30 Registration - still finalizing requirements. As of this point in time --- option 1 is reflected. Option 1 is reflected then Siebel will be System of Record |  |  | Specific items to add to GARF need to be expanded
42 | CC Plant Mnemonic | Combined Cycle | Nodal Addition | Manual Placement in Siebel | N | Y - only after updates in NMMS | Y | Y | Record |  |  |  | 4/30 Registration - still finalizing requirements. As of this point in time --- option 1 is reflected. Option 1 is reflected then Siebel will be System of Record |  |  | Specific items to add to GARF need to be expanded
43 | Transition Matrix for Configurations | Combined Cycle | Nodal Addition | Manual Placement in NMMS | N |  | Y | Y | Record | Y |  |  | 4/30 Registration - still finalizing requirements. As of this point in time --- option 1 is reflected. |  |  | Specific items to add to GARF need to be expanded
44 | Unit Reactive Capability | Other | GARF | Manual Placement in NMMS | N |  |  | Y | Record | [6 empty] | Yes
47 | Daily Estimated Load (DEL) | Other | Registration Form | Manual placement in Siebel | N | Record | [5 empty] | Y |  |  |  | Yes
48 | Daily Estimated Generation (DEG) | Other | Registration Form | Manual Placement in Siebel | N | Record | [5 empty] | Y |  |  |  | Yes
49 | Real Time Energy Factor for Load (RTEFL) | Other | Registration Form | Manual Placement in Siebel | N | Record | [5 empty] | Y | Has been added to Siebel. |  |  | Yes
50 | RTEFG | Other | Registration Form | Manual Placement in Siebel | N | Record | [5 empty] | Y | It is planned that this will be added to Siebel in phase 2 (after June 23, 2007). |  |  | Yes
51 | Credit DUNS # | Other | Registration Form | Manual Placement in Siebel | N | Record | Y |  | Y |  | Y | Y | May be special considerations for grandfathering and transitioning |  |  | Application Form
53 | Generator Site Name | Generator Site Information | GARF | Manual Placement in NMMS | N | Y - only after updates in NMMS | Y | Y | Record | Y |  |  | 04/30 Registration - what to store in Siebel (if anything) has yet to be decided Option 1 is reflected then Siebel will be System of Record |  | c16 | Yes
54 | Generator Site Code | Generator Site Information | ERCOT Generated | Manual Placement in NMMS | N | Y - only after updates in NMMS | Y |  | Record | Y |  |  | 04/30 Registration - what to store in Siebel has yet to be decided 04/30 NMMS - needs this. NMMS needs to be in sync with L*. This is a mnemonic. Option 1 is reflected then Siebel will be System of Record |  | c17 | Yes
55 | Address | Generator Site Information | GARF | Manual Placement in Siebel | N | Record |  |  |  | Y | [5 empty] | Yes
56 | State | Generator Site Information | GARF | Manual Placement in Siebel | N | Record |  |  |  | Y | [5 empty] | Yes
57 | County | Generator Site Information | GARF | Manual Placement in Siebel | N | Record |  |  |  | Y |  |  | 04/26 Registration - No County field in Siebel Not Present in Siebel. |  |  | On GARF - but who is storing this???
58 | Site In-Service Date | Generator Site Information | GARF | Manual Placement in NMMS | N |  |  |  | Record | Y |  |  | To Data Agg --- this is the effective date of the gen site. Definitely needed. |  |  | Yes
59 | Site Stop Service Date | Generator Site Information | GARF | Manual Placement in NMMS | N |  |  |  | Record | Y |  |  | To Data Agg --- this is the effective date of the gen site stop. Definitely needed. |  |  | Yes
60 | Is generation behind a NOIE Settlement Meter Point? | Generator Site Information | GARF | Manual Input by Data Agg in L* | N |  |  |  |  | Record |  |  | Need to know which NOIE and today that is obtained thru NOIE registration form. Data Agg actually stores a NOIE code at the gensite level. |  |  | Yes
61 | TDSP Providing Service to Gen Site | Generator Site Information | GARF | Manual Placement in NMMS | N |  |  |  | Record | Y |  |  | 5/21: Data Agg - need this field |  |  | Yes
62 | TDSP DUNS Number | Generator Site Information | GARF | Manual Placement in NMMS | N | Record |  |  | Y | Y |  |  | 04/30 NMMS - this is the ERCOT-wide number (not the credit duns number). 04/30 Siebel - Siebel will be system of record (confirmed) 05/21: Data Agg - need this field |  |  | Yes
63 | ESI-ID if generation behind a NOIE Settlement Meter Point is "No" | Generator Site Information | GARF | Manual Placement in NMMS | N |  |  |  | Record | Y |  |  | 04/30 NMMS is this a new addition? 05/10/07 - K. McGettigan: No, this was on the "old" GARF as well. 05/21: DA - if answer is no, MP needs to tell L* which ID to assign to. |  |  | Yes
64 | ERCOT Read (Y or N) | Generator Site Information | GARF | Manual Placement in NMMS | N |  |  |  | Record | Y |  |  | 05/21 - Data Agg needs field |  |  | Yes
65 | Number of EPS Primary Meters | Generator Site Information | GARF | Manual Placement in NMMS | N |  |  |  | Record |  |  |  | 04/30 NMMS is this a new addition? 05/10/07 - K. McGettigan: No, this was on the "old" GARF as well. 05/21: DA - no place to put this field currently. Need to verify with Mandy and Kelly that they really need this field. This would be a metadata change if required for L*. 05/23: Removing L*'s acceptance of data element. DA and S&B say they do not need it. |  |  | Yes
66 | Gen Load Splitting (Y or N) | Generator Site Information | GARF | Manual Placement in NMMS | N |  |  |  | Record | Y |  |  | 04/30 NMMS - not sure what this field is 05/21 - DA needs to know. L* has flag already |  |  | Yes
67 | Unit Name | Generator Unit Information | GARF | Manual Placement in Siebel | N | Record |  |  | Y | Y |  |  | 04/30 Registration - what to store in Siebel (if anything) has yet to be decided. Assumes option 1. 05/21 - DA needs to know. L* has flag already |  |  | Yes
68 | Unit Code | Generator Unit Information | GARF | Manual Placement in Siebel | N | Record |  |  | Y | Y |  |  | 04/30 Registration - what to store in Siebel (if anything) has yet to be decided. Assumes option 1. 05/21 - DA needs to know. L* has flag already |  |  | Yes
69 | Unit Start Date | Generator Unit Information | GARF | Manual Placement in Siebel | N | Record | Y | Y | Y | Y |  |  | 04/30 Registration - what to store in Siebel (if anything) has yet to be decided. Assumes option 1. 05/21 - DA needs to know. L* has flag already. Effective date for unit. |  |  | does EMS get it from Siebel? Yes - updated on GARF
70 | Unit End Date | Generator Unit Information | GARF | Manual Placement in Siebel | N | Record | Y | Y | Y | Y |  |  | 04/30 Registration - what to store in Siebel (if anything) has yet to be decided. Assumes option 1. 05/21 - DA needs to know. L* has flag already. Termination date for unit. |  |  | does EMS get it from Siebel? Yes - updated on GARF
71 | Unit KV | Generator Unit Information | GARF | Manual Placement in NMMS | N |  | Y | Y | Record |  |  |  | 5/21: DA - not necessary but L* has place for it. Ask Mandy |  |  | Yes
73 | Primary Fuel Type | Generator Unit Information | GARF | Manual Placement in Siebel | N | Record |  |  | Y |  |  |  | 04/30 Registration - Manually entered into Siebel 04/30 Siebel - Confirmed that Siebel will be system of record |  |  | Yes
74 | Secondary Fuel Type | Generator Unit Information | GARF | Manual Placement in Siebel | N | Record |  |  | Y |  |  |  | 04/30 Registration - Manually entered into Siebel 04/30 Siebel - Confirmed that Siebel will be system of record |  |  | Yes
75 | Fuel Transportation Type | Generator Unit Information | GARF | Manual Placement in NMMS | N |  |  |  | Record |  |  |  | 04/30 NMMS - do we need this field? |  |  | Yes
76 | Renewable (Y/N) | Generator Unit Information | GARF | Manual Placement in NMMS | N |  | Y | Y | Record | Y |  |  | 05/21: DA needs this field for queries |  |  | Yes
77 | Renewable/Offset | Generator Unit Information | GARF | Manual Placement in NMMS | N |  |  |  | Record | Y |  |  | 05/21: DA needs this field for queries |  |  | Yes
80 | Generator Form (Y or N) | MW Output greater than 10 MW | GARF | Manual Placement in NMMS | N |  |  |  | Record |  |  |  | 04/30 NMMS - If this is a 'No', what happens?
81 | Compensator Form (Y or N) | MW Output greater than 10 MW | GARF | Manual Placement in NMMS | N |  |  |  | Record |  |  |  | 04/30 NMMS - If this is a 'No', what happens?
82 | Stabilizer Form (Y or N) | MW Output greater than 10 MW | GARF | Manual Placement in NMMS | N |  |  |  | Record |  |  |  | 04/30 NMMS - If this is a 'No', what happens?
83 | Excitation Form (Y or N) | MW Output greater than 10 MW | GARF | Manual Placement in NMMS | N |  |  |  | Record |  |  |  | 04/30 NMMS - If this is a 'No', what happens?
84 | Turbine-Governor Form (Y or N) | MW Output greater than 10 MW | GARF | Manual Placement in NMMS | N |  |  |  | Record |  |  |  | 04/30 NMMS - If this is a 'No', what happens?
85 | Resource Entity Name | Single Resource = 100% of Units | GARF | Manual Placement in Siebel | N | Record | Y | Y | Y | Y |  |  |  |  | cell c 61. Note that the GARF was missing "entity". | Yes
86 | Resource Entity Duns Number | Single Resource = 100% of Units | GARF | Manual Placement in Siebel | N | Record | Y | Y | Y | Y |  |  | 04/30 Registration - Is this the Mnemonic for Resource Entity? No, it is an alias name. 04/30 Siebel - confirmed system of record will be Siebel 04/30 L* - Need to check with Data Agg to verify they need this data 05/21: DA confirmed they need the data. |  |  | Yes
87 | Fixed Load Splitting % | Split netted gensite among multiple ESIIDs | GARF | Manual Placement in NMMS | N |  |  |  | Record | Y |  |  | 04/30 NMMS - doesn't currently keep this data. Maybe this should go directly into data agg. Verify with Buddy Burr. 04/30 L* - Need to check with Data Agg to verify they need this data 05/21: DA determined they do need this field. Will need ESIID also. |  |  | Yes
88 | Competitive Retailer | Split netted gensite among multiple ESIIDs | GARF | Manual Placement in Siebel | N | Record |  |  |  | Y |  |  | 04/30 NMMS - doesn't currently keep this data. Maybe this should go directly into Siebel. 04/30 Siebel - this field doesn't exist currently in Siebel. 04/30 L* - Need to check with Data Agg to verify they need this data Do we need this? wt exactly is meant by this? Not present in Siebel. (If LSE then it is present) 05/21: DA confirmed it is needed. |  |  | Yes
89 | Competitive Retailer DUNS # | Split netted gensite among multiple ESIIDs | GARF | Manual Placement in Siebel | N | Record |  |  |  | Y |  |  | 04/30 L* - Need to check with Data Agg to verify they need this data wt exactly is meant by this? Not present in Siebel. (If LSE it is present) 05/21: DA confirmed it is needed. |  |  | Yes
90 | Market Participant (Resource Entity) Name | JOU 1 - 6 | GARF | Manual Placement in Siebel | N | Record of Partnership | Y | Y | Y | Y |  |  | 04/30 L* - Need to check with Data Agg to verify they need this data If Option 1 is selected then Siebel will be System of Record |  |  | Yes
91 | Market Participant (Resource Entity) Duns Number | JOU 1 - 6 | GARF | Manual Placement in Siebel | N | Record of Partnership | Y | Y | Y | Y |  |  | 04/30 L* - Need to check with Data Agg to verify they need this data If Option 1 is selected then Siebel will be System of Record 5/21: DA confirmed it is needed. |  |  | Yes
92 | Fixed Ownership % | JOU 1 - 6 | GARF | Manual Placement in Siebel | N | Record of Partnership | Y | Y | Y | Y |  |  | 04/30 Registration - Not yet decided how this will be stored in Siebel 04/30 L* - Need to check with Data Agg to verify they need this data If Option 1 is selected then Siebel will be System of Record 5/21: DA confirmed it is needed. 05/23: Data Agg determined they will NOT need this data element as Siebel will be the system of record. DA will need to know who the multiple resource owners are, but not the specific percentages. |  |  | Yes
93 | Master Owner (Y or N) | JOU 1 - 6 | GARF | Manual Placement in Siebel | N | Record of Partnership | Y | Y | Y | Y |  |  | 04/30 Registration - Not yet decided how this will be stored in Siebel If Option 1 is selected then Siebel will be System of Record 5/21: DA confirmed it is needed. |  |  | Yes
94 | Unit Name | Generator Unit Information | GARF | Manual Placement in NMMS | N |  |  |  | Record | Y |  |  | 04/30 Registration - Not yet decided how this will be stored in Siebel. This looks like a duplicate. 5/21: DA confirmed it is needed. |  |  | Yes
95 | Has this unit been registered? (Y/N) | Generator Unit Information | GARF | Manual Placement in NMMS | N |  |  |  | Record | ? |  |  | 04/30 NMMS - Does this mean whether or not the unit has been registered with the PUC? |  |  | Yes
96 | Name Plate Rating (MVA) | Generator Unit Information | GARF | Manual Placement in NMMS | N |  | Y | Y | Record | [6 empty] | Yes
97 | Rated Power Factor | Generator Unit Information | GARF | Manual Placement in NMMS | N |  | Y | Y | Record | [6 empty] | Yes
98 | Rating (MW) | Generator Unit Information | GARF | Manual Placement in NMMS | N |  | Y | Y | Record | [6 empty] | Yes
99 | Rating (MVAR) | Generator Unit Information | GARF | Manual Placement in NMMS | N |  | Y | Y | Record | [6 empty] | Yes
100 | Net Maximum Operating Capability (MW) - Summer | Generator Unit Information | GARF | Manual Placement in NMMS | N |  | Y | Y | Record | [6 empty] | Yes
101 | Net Maximum Leading Operating Capability (MVAR) - Summer | Generator Unit Information | GARF | Manual Placement in NMMS | N |  | Y | Y | Record | [6 empty] | Yes
102 | Net Maximum Lagging Operating Capability (MVAR) - Summer | Generator Unit Information | GARF | Manual Placement in NMMS | N |  | Y | Y | Record | [6 empty] | Yes
103 | Net Maximum Operating Capability (MW) - Winter | Generator Unit Information | GARF | Manual Placement in NMMS | N |  | Y | Y | Record | [6 empty] | Yes
104 | Net Maximum Leading Operating Capability (MVAR) - Winter | Generator Unit Information | GARF | Manual Placement in NMMS | N |  | Y | Y | Record | [6 empty] | Yes
105 | Net Maximum Lagging Operating Capability (MVAR) - Winter | Generator Unit Information | GARF | Manual Placement in NMMS | N |  | Y | Y | Record | [6 empty] | Yes
106 | Net Minimum Operating Capability (MW) | Generator Unit Information | GARF | Manual Placement in NMMS | N |  | Y | Y | Record | [6 empty] | Yes
107 | Unit KV | Generator Unit Information | GARF | Manual Placement in NMMS | N |  | Y | Y | Record | [6 empty] | Yes
108 | Direct Axis Subtransient reactance, X"di | Generator Unit Information | GARF | Manual Placement in NMMS | N |  |  | Y | Record |  |  |  | 04/30 NMMS - Does any other system use this? |  |  | Yes
109 | Direct Axis Transient reactance, X'di | Generator Unit Information | GARF | Manual Placement in NMMS | N |  |  | Y | Record |  |  |  | 04/30 NMMS - Does any other system use this? |  |  | Yes
110 | Private Network (Y or N) | Private Network Section | GARF | Manual Placement in NMMS | N |  |  | Y | Record |  |  |  | 04/30 NMMS - Does any other system use this? |  |  | Yes
111 | Amount of Self-Serve private load (MW) | Private Network Section | GARF | Manual Placement in NMMS | N |  |  | Y | Record | [6 empty] | Yes
112 | Private Network Net Interchange (MW) | Private Network Section | GARF | Manual Placement in NMMS | N |  |  | Y | Record | [6 empty] | Yes
113 | Telemetry for PN Net Interchange is provided (Y/N) | Private Network Section | GARF | Manual Placement in NMMS | N |  |  | Y | Record | [6 empty] | Yes
114 | Private Network Gross Unit Capability (MW) | Private Network Section | GARF | Manual Placement in NMMS | N |  |  | Y | Record | [6 empty] | Yes
115 | Telemetry for PN Gross Unit MW is provided (Y/N) | Private Network Section | GARF | Manual Placement in NMMS | N |  |  | Y | Record | [6 empty] | Yes
116 | Private Network Gross Unit Capability (MVAR) | Private Network Section | GARF | Manual Placement in NMMS | N |  |  | Y | Record | [6 empty] | Yes
117 | Telemetry for PN Gross Unit MVAR is provided (Y/N) | Private Network Section | GARF | Manual Placement in NMMS | N |  |  | Y | Record | [6 empty] | Yes
118 | MW1 | Reactive Capability Curve | GARF | Manual Placement in NMMS | N |  | Y | Y | Record | [6 empty] | Yes
119 | Lagging MVAR limit associated with MW1 output | Reactive Capability Curve | GARF | Manual Placement in NMMS | N |  | Y | Y | Record | [6 empty] | Yes
120 | Leading MVAR limit associated with MW1 output | Reactive Capability Curve | GARF | Manual Placement in NMMS | N |  | Y | Y | Record | [6 empty] | Yes
121 | MW2 | Reactive Capability Curve | GARF | Manual Placement in NMMS | N |  | Y | Y | Record | [6 empty] | Yes
122 | Lagging MVAR limit associated with MW2 output | Reactive Capability Curve | GARF | Manual Placement in NMMS | N |  | Y | Y | Record | [6 empty] | Yes
123 | Leading MVAR limit associated with MW2 output | Reactive Capability Curve | GARF | Manual Placement in NMMS | N |  | Y | Y | Record | [6 empty] | Yes
124 | MW3 | Reactive Capability Curve | GARF | Manual Placement in NMMS | N |  | Y | Y | Record | [6 empty] | Yes
125 | Lagging MVAR limit associated with MW3 output | Reactive Capability Curve | GARF | Manual Placement in NMMS | N |  | Y | Y | Record | [6 empty] | Yes
126 | Leading MVAR limit associated with MW3 output | Reactive Capability Curve | GARF | Manual Placement in NMMS | N |  | Y | Y | Record | [6 empty] | Yes
127 | MW4 | Reactive Capability Curve | GARF | Manual Placement in NMMS | N |  | Y | Y | Record | [6 empty] | Yes
128 | Lagging MVAR limit associated with MW4 output | Reactive Capability Curve | GARF | Manual Placement in NMMS | N |  | Y | Y | Record | [6 empty] | Yes
129 | Leading MVAR limit associated with MW4 output | Reactive Capability Curve | GARF | Manual Placement in NMMS | N |  | Y | Y | Record | [6 empty] | Yes
130 | Transformer Name | Transformer Data | GARF | Manual Placement in NMMS | N |  | Y | Y | Record | [6 empty] | Yes
131 | High Voltage | Transformer Data | GARF | Manual Placement in NMMS | N |  | Y | Y | Record | [6 empty] | Yes
132 | Low Voltage | Transformer Data | GARF | Manual Placement in NMMS | N |  | Y | Y | Record | [6 empty] | Yes
133 | Series Resistance | Transformer Impedance | GARF | Manual Placement in NMMS | N |  | Y | Y | Record | [6 empty] | Yes
134 | Series Reactance | Transformer Impedance | GARF | Manual Placement in NMMS | N |  | Y | Y | Record | [6 empty] | Yes
135 | Shunt Magnetizing Conductance | Transformer Admittance | GARF | Manual Placement in NMMS | N |  | Y | Y | Record | [6 empty] | Yes
136 | Shunt Magnetizing Susceptance | Transformer Admittance | GARF | Manual Placement in NMMS | N |  | Y | Y | Record | [6 empty] | Yes
137 | Normal Rating MVA | Transformer Ratings | GARF | Manual Placement in NMMS | N |  | Y | Y | Record | [6 empty] | Yes
138 | Emergency Rating MVA | Transformer Ratings | GARF | Manual Placement in NMMS | N |  | Y | Y | Record | [6 empty] | Yes
139 | Loadshed Rating MVA | Transformer Ratings | GARF | Manual Placement in NMMS | N |  | Y | Y | Record | [6 empty] | Yes
140 | LTC (Y,N) | Transformer Tap Data | GARF | Manual Placement in NMMS | N |  | Y | Y | Record | [6 empty] | Yes
141 | LTC Group Kv | Transformer Tap Data | GARF | Manual Placement in NMMS | N |  | Y | Y | Record | [6 empty] | Yes
142 | Nominal Voltage (KV) | Low Side Tap Setting | GARF | Manual Placement in NMMS | N |  | Y | Y | Record | [6 empty] | Yes
143 | Total number of tap positions | Low Side Tap Setting | GARF | Manual Placement in NMMS | N |  | Y | Y | Record | [6 empty] | Yes
144 | Normal Tap Position | Low Side Tap Setting | GARF | Manual Placement in NMMS | N |  | Y | Y | Record | [6 empty] | Yes
145 | Lowest Tap Position | Low Side Tap Setting | GARF | Manual Placement in NMMS | N |  | Y | Y | Record | [6 empty] | Yes
146 | Highest Tap Position | Low Side Tap Setting | GARF | Manual Placement in NMMS | N |  | Y | Y | Record | [6 empty] | Yes
147 | Nominal Tap Position | Low Side Tap Setting | GARF | Manual Placement in NMMS | N |  | Y | Y | Record | [6 empty] | Yes
148 | Step Size in Percent | Low Side Tap Setting | GARF | Manual Placement in NMMS | N |  | Y | Y | Record | [6 empty] | Yes
149 | Nominal Voltage (KV) | High Side Tap Setting | GARF | Manual Placement in NMMS | N |  | Y | Y | Record | [6 empty] | Yes
150 | Total number of tap positions | High Side Tap Setting | GARF | Manual Placement in NMMS | N |  | Y | Y | Record | [6 empty] | Yes
151 | Normal Tap Position | High Side Tap Setting | GARF | Manual Placement in NMMS | N |  | Y | Y | Record | [6 empty] | Yes
152 | Lowest Tap Position | High Side Tap Setting | GARF | Manual Placement in NMMS | N |  | Y | Y | Record | [6 empty] | Yes
153 | Highest Tap Position | High Side Tap Setting | GARF | Manual Placement in NMMS | N |  | Y | Y | Record | [6 empty] | Yes
154 | Nominal Tap Position | High Side Tap Setting | GARF | Manual Placement in NMMS | N |  | Y | Y | Record | [6 empty] | Yes
155 | Step Size in Percent | High Side Tap Setting | GARF | Manual Placement in NMMS | N |  | Y | Y | Record | [6 empty] | Yes
156 | Counter Party | Registration Data - MP Details | Application Form | Manual Placement in Siebel | N | Record | Y |  |  |  | Y | Y |  |  |  | Counter Party Credit Designation
157 | TSP | Registration Data - MP Details | Application Form | Manual Placement in Siebel | N | Record | Y | Y |  | Y |  | Y | 05/21: DA needs this field |  |  | Standard Form Agreement
158 | DSP | Registration Data - MP Details | Application Form | Manual Placement in Siebel | N | Record | Y | Y |  | Y |  | Y | 05/21: DA needs this field |  |  | Standard Form Agreement
159 | Municipality | Registration Data - MP Details | Application Form | Manual Placement in Siebel | N | Record | Y |  |  | Y | Y | Y | 05/21: DA needs this field |  |  | Application Form
160 | Cooperative | Registration Data - MP Details | Application Form | Manual Placement in Siebel | N | Record | Y |  |  | Y | Y | Y | 05/21: DA needs this field |  |  | Application Form
161 | Team | Registration Data - MP Details | Application Form | Manual Placement in Siebel | N | Record | [5 empty] | Y | 04/30 Registration - field is internal to Siebel |  |  | No
162 | Division | Registration Data - MP Details | Application Form | Manual Placement in Siebel | N | Record | [5 empty] | Y | 04/30 Registration - field is internal to ERCOT; should not be present on GARF/LARF |  |  | No
163 | MP Main Phone # | Registration Data - MP Details | Application Form | Manual Placement in Siebel | N | Record | [5 empty] | Y |  |  |  | Application Form
164 | MP Main Fax # | Registration Data - MP Details | Application Form | Manual Placement in Siebel | N | Record | [5 empty] | Y | 04/30 Registration - field is internal to ERCOT; should not be present on GARF/LARF |  |  | No
165 | Status | Registration Data - MP Details | Application Form | Manual Placement in Siebel | N | Record | Y | Y | Y | Y |  | Y | 04/30 Registration - field is internal to ERCOT; should not be present on GARF/LARF |  |  | No
166 | Certification Begin | Registration Data - MP Details | Application Form | Manual Placement in Siebel | N | Record | Y | Y | Y | Y |  | Y | 04/30 Registration - field is internal to ERCOT; should not be present on GARF/LARF |  |  | No
167 | Certification End | Registration Data - MP Details | Application Form | Manual Placement in Siebel | N | Record | Y | Y | Y | Y |  | Y | 04/30 Registration - field is internal to ERCOT; should not be present on GARF/LARF |  |  | No
168 | Certification # | Registration Data - MP Details | Application Form | Manual Placement in Siebel | N | Record | [5 empty] | Y | 04/30 Registration - field is internal to ERCOT; should not be present on GARF/LARF |  |  | No
169 | Created | Registration Data - MP Details | Application Form | Manual Placement in Siebel | N | Record | [5 empty] | Y | 04/30 Registration - field is internal to ERCOT; should not be present on GARF/LARF |  |  | No
170 | Comments | Registration Data - MP Details | Application Form | Manual Placement in Siebel | N | Record | [5 empty] | Y | 04/30 Registration - field is internal to ERCOT; should not be present on GARF/LARF |  |  | No
171 | Qualification Status | Registration Data - MP Details | Application Form | Manual Placement in Siebel | N | Record | Y |  |  |  | Y | Y |  |  |  | No - CSR enters data based on test or station results
172 | Qualification Level | Registration Data - MP Details | Application Form | Manual Placement in Siebel | N | Record | Y | Y |  |  |  | Y |  |  |  | No - CSR enters data based on test or station results
173 | Credit Worthiness Flag | Registration Data - MP Details | Application Form | Manual Placement in Siebel | N | Record | Y |  |  |  | Y | originator | 04/30 Registration - field is internal to ERCOT; should not be present on GARF/LARF |  |  | No
174 | Credit Worthiness Date | Registration Data - MP Details | Application Form | Manual Placement in Siebel | N | Record | Y |  |  |  | Y | originator | 04/30 Registration - field is internal to ERCOT; should not be present on GARF/LARF |  |  | No
175 | Address | Registration Data - Address Information | Application Form | Manual Placement in Siebel | N | Record | [5 empty] | Y |  |  |  | Application form
176 | Address Overflow | Registration Data - Address Information | Application Form | Manual Placement in Siebel | N | Record | [5 empty] | Y |  |  |  | Application form
177 | City | Registration Data - Address Information | Application Form | Manual Placement in Siebel | N | Record | [5 empty] | Y |  |  |  | Application form
178 | State | Registration Data - Address Information | Application Form | Manual Placement in Siebel | N | Record | [5 empty] | Y |  |  |  | Application form
179 | Zip Code | Registration Data - Address Information | Application Form | Manual Placement in Siebel | N | Record | [5 empty] | Y |  |  |  | Application form
180 | Primary Contact | Registration Data - Contact Information | Application Form | Manual Placement in Siebel | N | Record | [5 empty] | Y |  |  |  | Yes
181 | Contact Email | Registration Data - Contact Information | Application Form | Manual Placement in Siebel | N | Record | [5 empty] | Y |  |  |  | Yes
182 | Contact Phone # | Registration Data - Contact Information | Application Form | Manual Placement in Siebel | N | Record | [5 empty] | Y |  |  |  | Yes
183 | Contact Last name | Registration Data - Contact Information | Application Form | Manual Placement in Siebel | N | Record | [5 empty] | Y |  |  |  | Yes
184 | Contact First Name | Registration Data - Contact Information | Application Form | Manual Placement in Siebel | N | Record | [5 empty] | Y |  |  |  | Yes
185 | Account/Contact Type | Registration Data - Contact Information | Application Form | Manual Placement in Siebel | N | Record | [5 empty] | Y |  |  |  | Application form
186 | Contact Type | Registration Data - Contact Information | Application Form | Manual Placement in Siebel | N | Record | [5 empty] | Y | We will discuss on the same with business on type as Working |  |  | Application form
187 | Bank Name | Registration Data - Billing Profile | Application Form | Manual Placement in Siebel | N | Record |  |  |  | Y |  | Y |  |  |  | Application Form
188 | Bank Account Name | Registration Data - Billing Profile | Application Form | Manual Placement in Siebel | N | Record |  |  |  | Y |  | Y |  |  |  | Application Form
189 | Bank Account # | Registration Data - Billing Profile | Application Form | Manual Placement in Siebel | N | Record |  |  |  | Y |  | Y |  |  |  | Application Form
190 | Routing # | Registration Data - Billing Profile | Application Form | Manual Placement in Siebel | N | Record |  |  |  | Y |  | Y |  |  |  | Application Form
191 | Bill Type | Registration Data - Billing Profile | Application Form | Manual Placement in Siebel | N | Record | [5 empty] | Y | On CRRAH and QSE Account Application form, as provided by the Market Participant |  |  | Application Form
192 | Bill Calc Code | Registration Data - Billing Profile | Application Form | Manual Placement in Siebel | N | Record | [5 empty] | Y | On CRRAH and QSE Account Application form, as provided by the Market Participant |  |  | Application Form
193 | Contact Last name | Registration Data - Billing Profile | Application Form | Manual Placement in Siebel | N | Record | [5 empty] | Y |  |  |  | Application Form
194 | Contact First Name | Registration Data - Billing Profile | Application Form | Manual Placement in Siebel | N | Record | [5 empty] | Y |  |  |  | Application Form
195 | Bank Address | Registration Data - Billing Profile | Application Form | Manual Placement in Siebel | N | Record | [5 empty] | Y |  |  |  | Application Form
196 | Bank’s City | Registration Data - Billing Profile | Application Form | Manual Placement in Siebel | N | Record | [5 empty] | Y |  |  |  | Application Form
197 | Bank’s State | Registration Data - Billing Profile | Application Form | Manual Placement in Siebel | N | Record | [5 empty] | Y |  |  |  | Application Form
198 | Bank’s Zip | Registration Data - Billing Profile | Application Form | Manual Placement in Siebel | N | Record | [5 empty] | Y |  |  |  | Application Form
199 | Country | Registration Data - Billing Profile | Application Form | Manual Placement in Siebel | N | Record | [5 empty] | Y | This is not a market-facing field. The field is available for a WCS to populate, if necessary. |  |  | No
200 | Legal Entity | Registration Data - Financial Profile | Application Form | Manual Placement in Siebel | N | Record | [5 empty] | Y | This field is not used by anybody. If we receive the same answer from each team we can remove this field. |  |  | Application Form
201 | Corporate EID | Registration Data - Financial Profile | Application Form | Manual Placement in Siebel | N | Record | [5 empty] | Y | 04/30 Siebel - May be replaced with Tax ID |  |  | Application Form
202 | Legal Structure | Registration Data - Financial Profile | Application Form | Manual Placement in Siebel | N | Record | [5 empty] | Y | 04/26 Registration: Only Municipality and COOPS are stored in Siebel |  |  | Application Form
203 | Credit Rating | Registration Data - Financial Profile | Application Form | Manual Placement in Siebel | N | Record | [5 empty] | Y | This field is not used by anybody. If we receive the same answer from each team we can remove this field. |  |  | No
204 | Other Instrument | Registration Data - Financial Profile | Application Form | Manual Placement in Siebel | N | Record | [5 empty] | Y | This field is not used by anybody. If we receive the same answer from each team we can remove this field. |  |  | Credit Application
205 | Amount | Registration Data - Financial Profile | Application Form | Manual Placement in Siebel | N | Record | [5 empty] | Y | This field is not used by anybody. If we receive the same answer from each team we can remove this field. |  |  | No
206 | Deposit required flag | Registration Data - Financial Profile | Application Form | Manual Placement in Siebel | N | Record | [5 empty] | Y | This field is not used by anybody. If we receive the same answer from each team we can remove this field. |  |  | No
207 | Account | Registration Data - Partnership Information | Application Form | Manual Placement in Siebel | N | Record |  |  |  | Y |  |  | 05/23: Updating to Y for L* assuming option 1 is modeled in Siebel |  |  | Application Form
208 | Relationship | Registration Data - Partnership Information | Application Form | Manual Placement in Siebel | N | Record | Y | Y |  | Y |  |  | 05/23: Updating to Y for L* assuming option 1 is modeled in Siebel |  |  | Application Form
209 | Date Effective | Registration Data - Partnership Information | Application Form | Manual Placement in Siebel | N | Record | Y | Y | Y | Y | [5 empty] | Application Form
210 | Date End | Registration Data - Partnership Information | Application Form | Manual Placement in Siebel | N | Record | Y | Y | Y | Y |  |  | This field can be populated 2 ways - it is on the application form and a QSE can submit it as a populated field. OR, a WCS rep can populate it because of an internal process. |  |  | Application Form
211 | Partner Status | Registration Data - Partnership Information | Application Form | Manual Placement in Siebel | N | Record | Y | Y | Y |  |  |  | This field can be populated 2 ways - it is on the application form and a QSE can submit it as a populated field. OR, a WCS rep can populate it because of an internal process. |  |  | Application Form
212 | Partnership Status | Registration Data - Partnership Information | Application Form | Manual Placement in Siebel | N | Record | Y | Y |  |  |  |  | This field can be populated 2 ways - it is on the application form and a QSE can submit it as a populated field. OR, a WCS rep can populate it because of an internal process. |  |  | Application Form
213 | Nodal Affiliate Name | Registration Data - Affilate Information | Application Form | Manual Placement in Siebel | N | Record | [9 empty] | Application form
214 | Relationship | Registration Data - Affilate Information | Application Form | Manual Placement in Siebel | N | Record | [9 empty] | Application Form
215 | Date Effective | Registration Data - Affilate Information | Application Form | Manual Placement in Siebel | N | Record | [9 empty] | Application Form
216 | Date End | Registration Data - Affilate Information | Application Form | Manual Placement in Siebel | N | Record | [9 empty] | Application Form
217 | Legal Structure | Registration Data - Affilate Information | Application Form | Manual Placement in Siebel | N | Record | [6 empty] | 04/25: Registration - Municipal and Coop are the only available selections within Siebel. Other items from registration Document include Individual, LLC, Corporation, and Other |  |  | Application form
218 | Affiliate type | Registration Data - Affilate Information | Application Form | Manual Placement in Siebel | N | Record | [9 empty] | Application form
219 | State of Organization | Registration Data - Affilate Information | Application Form | Manual Placement in Siebel | N | Record | [9 empty] | Application Form
220 | Comments | Registration Data - Affilate Information | Application Form | Manual Placement in Siebel | N | Record | [6 empty] | Not a market-facing field. |  |  | No
222 | BLT | Registration Data - Resource Details | Application Form | Manual Placement in Siebel | N | Record | Y |  |  | Y |  |  | 05/21: DA needs all elements on the BLT form (Current Zonal form). DA usually works with client rep responsible for BLT. Kristen to check with Art and Matt to make sure all data elements are captured in future registration/GARF forms. |  |  | Matt to follow up with Planning; should BLT's register like a resource or or should we create a new tab in the ARF?
223 | Address | Registration Data - Resource Details | GARF | Manual Placement in Siebel | N | Record | Y | [8 empty] | Yes
224 | WFRMCR | Registration Data - Resource Details | Application Form | Manual Placement in Siebel | N | Record | Y |  |  |  | Y |  |  |  |  | Yes
225 | Address Overflow | Registration Data - Resource Details | Application Form | Manual Placement in Siebel | N | Record | Y | [8 empty] | Application form
226 | City | Registration Data - Resource Details | Application Form | Manual Placement in Siebel | N | Record | Y | [8 empty] | Application form
227 | State | Registration Data - Resource Details | Application Form | Manual Placement in Siebel | N | Record | Y | [8 empty] | Application form
228 | Zip Code | Registration Data - Resource Details | Application Form | Manual Placement in Siebel | N | Record | Y | [8 empty] | Application form
229 | Team | Registration Data - Resource Details | Application Form | Manual Placement in Siebel | N | Record | Y | [5 empty] | Field is internal to ERCOT; should not be market-facing. |  |  | No
230 | Division | Registration Data - Resource Details | GARF | Manual Placement in Siebel | N | Record | Y | [8 empty] | Yes
231 | Main Phone | Registration Data - Resource Details | Application Form | Manual Placement in Siebel | N | Record | Y | [8 empty] | Application form
232 | Main Fax | Registration Data - Resource Details | Application Form | Manual Placement in Siebel | N | Record | Y | [8 empty] | Application form
233 | Primary Contact | Registration Data - Resource Details | Application Form | Manual Placement in Siebel | N | Record | Y | [8 empty] | Application form
234 | Contact Email | Registration Data - Resource Details | Application Form | Manual Placement in Siebel | N | Record | Y | [8 empty] | Application form
235 | Contact Phone | Registration Data - Resource Details | Application Form | Manual Placement in Siebel | N | Record | Y | [8 empty] | Application form
236 | Status | Registration Data - Resource Details | GARF | Manual Placement in Siebel | N | Record | Y |  |  | Y |  |  | 04/30 L* - Currently there is no such equivalent indicator in Lodestar. We are driving just off of the end date. However, maybe we need to consider this? |  |  | Yes
237 | Cert. Begin | Registration Data - Resource Details | Application Form | Manual Placement in Siebel | N | Record | Y |  |  | Y |  |  | A WCS rep populates this field internally - not a market-facing field. |  |  | No
238 | Cert. End | Registration Data - Resource Details | Application Form | Manual Placement in Siebel | N | Record | Y |  |  | Y |  |  | A WCS rep populates this field internally - not a market-facing field. |  |  | No
239 | Created | Registration Data - Resource Details | Application Form | Manual Placement in Siebel | N | Record | Y | [8 empty] | Yes
240 | Comments | Registration Data - Resource Details | Application Form | Manual Placement in Siebel | N | Record | Y | [5 empty] | Not a market-facing field. |  |  | No
241 | Account | Registration Data - Partnerships | Application Form | Manual Placement in Siebel | N | Record | [6 empty] | 04/30 L* - Probably won't populate a Lodestar column with this value, but may need to use it to derive the relationship. |  |  | Application Form
242 | Relationship | Registration Data - Partnerships | Application Form | Manual Placement in Siebel | N | Record | [6 empty] | 04/30 L* - Probably won't populate a Lodestar column with this value, but may need to use it to derive the relationship. |  |  | Application Form
243 | Date Effective | Registration Data - Partnerships | Application Form | Manual Placement in Siebel | N | Record | [9 empty] | Application Form
244 | Date End | Registration Data - Partnerships | Application Form | Manual Placement in Siebel | N | Record | [6 empty] | This field can be populated 2 ways - it is on the application form and a QSE can submit it as a populated field. OR, a WCS rep can populate it because of an internal process. |  |  | Application Form
245 | Partner Status | Registration Data - Partnerships | Application Form | Manual Placement in Siebel | N | Record | [6 empty] | 04/30 L* - removed Y - assumes current logic for MPs will continue to drive off dates This field can be populated 2 ways - it is on the application form and a QSE can submit it as a populated field. OR, a WCS rep can populate it because of an internal process. |  |  | Application Form
246 | Partnership Status | Registration Data - Partnerships | Application Form | Manual Placement in Siebel | N | Record | [6 empty] | 04/30 L* - removed Y - assumes current logic for MPs will continue to drive off dates This field can be populated 2 ways - it is on the application form and a QSE can submit it as a populated field. OR, a WCS rep can populate it because of |  |  | Application Form
247 | Ancillary Service Qualification | Registration Data - Status | Application Form | Manual Placement in Siebel | N | Record | Y | [5 empty] | Once the resource has passed the test ---- WCS enter AS qualification flags in Siebel. |  |  | No - CSR enters data into Siebel based on test or station results
248 | Effective Date | Registration Data - Status | Application Form | Manual Placement in Siebel | N | Record | [6 empty] | WCS enter date in Siebel. |  |  | No - CSR enters data into Siebel based on test or station results
249 | End Date | Registration Data - Status | Application Form | Manual Placement in Siebel | N | Record | [6 empty] | WCS enter date in Siebel. |  |  | No - CSR enters data into Siebel based on test or station results
250 | Comments | Registration Data - Status | Application Form | Manual Placement in Siebel | N | Record | [6 empty] | 04/30 Registration - Internal to ERCOT - should not be present on GARF/LARF |  |  | No
251 | Type | Group Registration | Internal | Manual Placement in Siebel | N | Record | [6 empty] | 04/30 Registration - Internal to ERCOT - should not be present on GARF/LARF |  |  | No
252 | Committee/Group | Group Registration | Internal | Manual Placement in Siebel | N | Record | [6 empty] | 04/30 Registration - Internal to ERCOT - should not be present on GARF/LARF |  |  | No
253 | Description | Group Registration | Internal | Manual Placement in Siebel | N | Record | [6 empty] | 04/30 Registration - Internal to ERCOT - should not be present on GARF/LARF |  |  | No
254 | Created By | Group Registration | Internal | Manual Placement in Siebel | N | Record | [6 empty] | 04/30 Registration - Internal to ERCOT - should not be present on GARF/LARF |  |  | No
255 | Private | Group Registration | Internal | Manual Placement in Siebel | N | Record | [6 empty] | 04/30 Registration - Internal to ERCOT - should not be present on GARF/LARF |  |  | No
256 | Subcommittee/ Sub Group | Subgroup Registration | Internal | Manual Placement in Siebel | N | Record | [6 empty] | 04/30 Registration - Internal to ERCOT - should not be present on GARF/LARF |  |  | No
257 | Created By | Subgroup Registration | Internal | Manual Placement in Siebel | N | Record | [6 empty] | 04/30 Registration - Internal to ERCOT - should not be present on GARF/LARF |  |  | No
258 | Category rank | Registration Data - Account Categories | Internal | Manual Placement in Siebel | N | Record | [6 empty] | 04/30 Registration - Internal to ERCOT - should not be present on GARF/LARF |  |  | No
259 | Value rank | Registration Data - Account Categories | Internal | Manual Placement in Siebel | N | Record | [6 empty] | 04/25 - Registration: Value Rank Not in Siebel; internal to ERCOT. Should not be present on GARF/LARF |  |  | No
260 | Comments | Registration Data - Account Categories | Internal | Manual Placement in Siebel | N | Record | [9 empty] | No - CSR enters data into Siebel based on test or station results
261 | NOIE | Registration Data | Application Form | Manual Placement in Siebel | N | Record | Y |  |  | Y | Y | Y | 04/25 - added item per Registrations' request |  |  | Yes
262 | Primary USA | Registration Data | Registration Form | Manual Placement in Siebel | N | Record | [6 empty] | 05/07 One of the Account/Contact Type in Siebel 04/25 - added item per Registrations' request |  |  | Application form
263 | Secondary USA | Registration Data | Registration Form | Manual Placement in Siebel | N | Record | [6 empty] | 05/07 One of the Account/Contact Type in Siebel 04/25 - added item per Registrations' request |  |  | Application form
264 | Net Dependable Capacity Test Results | Special | Fax from QSE to ERCOT. | Manual Placement in MMS | N |  | Record | Y |  |  |  |  | This is done more or less 4 times a year for each resource. (Once each of the 4 seasons.) |  |  | No
265 | Location of wind farm (Lat/Long center of farm) | Wind- Registration Data | GARF | Send to Wind Forecasting Service | N | [8 empty] | From EMS Wind power Forecasting Repts v0.91 | Nodal Addition | Yes
266 | Location of meteorological tower (Lat/Long) | Wind- Registration Data | GARF | Send to Wind Forecasting Service | N | [8 empty] | From EMS Wind power Forecasting Repts v0.91 | Nodal Addition | Yes
266 | Height above ground level of meteorological instrumentation | Wind- Registration Data | GARF | Send to Wind Forecasting Service | N | [8 empty] | From EMS Wind power Forecasting Repts v0.91 | Nodal Addition | Yes
267 | Type and Number of Turbines (Manuf/Model) | Wind- Registration Data | GARF | Send to Wind Forecasting Service | N | [8 empty] | From EMS Wind power Forecasting Repts v0.91 | Nodal Addition | Yes
268 | Turbine Hub Height above ground level and number of turbines | Wind- Registration Data | GARF | Send to Wind Forecasting Service | N | [8 empty] | From EMS Wind power Forecasting Repts v0.91 | Nodal Addition | Yes
269 | Manufacturer's Power Curve (Capability Curve) | Wind- Registration Data | GARF | Send to Wind Forecasting Service | N | [8 empty] | From EMS Wind power Forecasting Repts v0.91 | Nodal Addition | Yes
270 | Actual Verifiable Costs | Other | Service Request in Siebel | Manual |  |  | Y |  |  | Record |  |  | 05/23: L* has stated they need this field; but perhaps field name will change to be "Verifiable Costs" |  |  | Yes
271 | Mapping of EPS Metering Point to Pricing Location | Other | Settlement Metering Department through Wholeslae Client Reps | Manual |  |  | Y |  | Record | Y |  |  | 05/21: Data Agg needs field |  |  | Yes
272 | Mapping Resource to Resource Nodes | Other | ERCOT Generated and confirmed by Resource Entity | Manual |  |  | Y |  | Record | Y |  |  | 05/21: Data Agg needs field |  |  | Yes
Note on B65: Name of generator unit (ie. CBYG1)
Note on B66: Naming Convention: Generator Site Code_Generator Unit Name (ie. CBY_CBYG1)
Note on B67: In-Service Date
Note on B68: Retire Date
Note on B69: Voltage level of unit
Note on B74: A REC offset represents one MWH of renewable energy from an existing facility that may be used in place of a REC to meet renewable energy requirement. See Substantive Rule 25.173(c) (10). Is the unit a certified renewable energy credit generator or a certified offset generator? See Protocol Section 14.9 Code as follows: (RN) Renewable (OS) Renewable Offset (NA) Not Applicable
Note on B80: If single owner, Owner 1 is only field necessary. If multiple owners, all owners must be identified in this row
Note on B81: Entity that is registered with ERCOT: 1). Power Generation Company registered with the PUCT. 2.) Resource entity not required to register with the PUCT.
Note on B82: Total must equal 100%
Note on B85: If single owner, Owner 1 is only field necessary. If multiple owners, all owners must be identified in this row.
Note on B86: Entity that is registered with ERCOT: 1). Power Generation Company registered with the PUCT. 2.) Resource entity not required to register with the PUCT.
Note on B87: Total must equal 100%
Note on B88: A single owner must be identified so the associated QSE can provide generation splitting signals. There must be a single Master PGC/QSE per Generation Site.

## General Instructions
General Instructions for Completing the:
"Network Model / System Planning / Data Aggregation / Settlements - Asset Registration / Resource Data Form"
The data form has been provided to allow ERCOT Market Participants to properly register and submit data needed
for generation resource assets.
Your organization must have submitted a market participant application as a Resource entity prior to submission of this form.
If questions arise related to the completion of this form, please contact your designated Client Relations Representative or
email the Client Relations section at ClientRelations@ercot.com with the subject "Asset Registration / Resource Data Form".
Please keep in mind the following as you complete this form:
1. Please make certain the form is complete prior to submittal.
2. Forms must be complete. Forms received without complete data, will be returned for completion.
3. Please submit a single form for each 'Generator Site'. This form will accommodate (6) units located at a common site.
Also, this form will accommodate multiple owners for each unit.
4. Must be accompanied with a one-line diagram indicating how generation is connected to transmission.
5. After completion of this form, please submit electronically to MPAPPL@ERCOT.COM
6. Additionally, please mail a signed paper copy to the following address:
ERCOT
Market Participant Registration
2705 West Lake Drive
Taylor, Texas 76574

## Data Form Plan_Data Agg_Sett
A | B | C | D | E | F | G | H | I | J
1 |  | System Planning / Data Aggregation / Settlements
2 |  | Asset Registration / Resource Data Form
3 | Revision 04/18/05
4
5 | [6 empty] | Authorized Representative
6 |  | New___ Revised___ Add___ Delete___ |  |  |  |  | Signature:
7 | [6 empty] | Printed Name:
8 | [6 empty] | Title:
9 |  | Date Form Completed |  |  |  |  | Phone Number:
10 |  | Company Submitting Form |  |  |  |  | E-mail Address:
11 |  | Company Submitting Form DUNS # |  |  |  |  | Fax Number:
12
13
14 | Common | A. Generator Site Info |  |  |  |  | Primary Contact
15 |  | Generator Site Name |  |  |  |  | Printed Name:
16 |  | Generator Site Code |  |  |  |  | Title:
17 |  | Address |  |  |  |  | Phone Number:
18 |  | State |  |  |  |  | E-mail Address:
19 |  | County |  |  |  |  | Fax Number:
20 |  | Site In-Service Date
21 |  | Site Stop Service Date |  |  |  |  | Resource Outage Submittal Contact
22 |  | Qualified Scheduling Entity |  |  |  |  | Printed Name:
23 |  | Congestion Management Zone |  |  |  |  | Title:
24 |  | Is generation behind a NOIE Settlement Meter Point? (Y,N) |  |  |  |  | Company Name:
25 |  | TDSP Providing Service To Gen Site |  |  |  |  | Address:
26 |  | TDSP DUNS Number |  | #N/A |  |  | Phone Number:
27 |  | ESI-ID if C21 above is "No" |  |  |  |  | Fax Number:
28 |  | ERCOT Read (Y or N) |  |  |  |  | Email Address:
29 |  | Number of EPS Primary meters
30 |  | Gen. Load Splitting (Y or N)
31
32 | Common | B. Generator Unit Info |  | Unit #1 | Unit #2 | Unit #3 | Unit #4 | Unit #5 | Unit #6
33 |  | Unit Name
34 |  | Unit Code
35 |  | Unit Start Date
36 |  | Unit End Date
58 |  | Unit KV
60 |  | Physical Unit Type
61 |  | Primary Fuel Type
62 |  | Secondary Fuel Type
63 |  | Fuel Transportation Type
64 |  | Renewable (Y/N)
65 |  | Renewable/Offset
66 |  | If Wind, Number of Turbines
Generic Fuel Category
Lead Time Cold Start Time
Minimum Up Time Minimum On-Line time
Minimum Down Time Minimum Off-Line time
Qualifying Facility
75
93 | Planning | If MW output is greater than or equal to 10 MW or wind farm, have the following PSSE Model Forms been submitted:
94 |  | Generator Form (Y or N)
95 |  | Compensator Form (Y or N)
96 |  | Stabilizer Form (Y or N)
97 |  | Excitation Form (Y or N)
98 |  | Turbine-Governor Form (Y or N)
136
137 |  | Complete this section if a single RESOURCE owns 100% of all units.
138 | Data Aggregation | Resource Owner Data |  | Unit #1: Owner 1
139 |  | Resource Entity Name
140 |  | Resource Duns Number |  | Unit #1: #N/A
141
142 |  | Complete this section if splitting netted gensite load among multiple ESIIDs
143 | Data Aggregation | Gen Load Splitting |  | ESIID 1 | ESIID 2 | ESIID 3 | ESIID 4 | ESIID 5 | ESIID 6
144 |  | Fixed Load Splitting %
145 |  | Competitive Retailer
146 |  | Competitive Retailer DUNS # |  | ESIID 1: #N/A
147
148 |  | Complete the following sections only if Units are Joint-Owned
149 | Data Aggregation | Unit 1 Data
150 |  | Sub Generator Data |  | Owner 1 | Owner 2 | Owner 3 | Owner 4 | Owner 5 | Owner 6
151 |  | Market Participant (Resource) Name
152 |  | Market Participant (Resource) Duns Number |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
153 |  | Fixed Ownership %
154 |  | Master Owner (Y or N)
155
156 | Data Aggregation | Unit 2 Data
157 |  | Sub Generator Data |  | Owner 1 | Owner 2 | Owner 3 | Owner 4 | Owner 5 | Owner 6
158 |  | Market Participant (Resource) Name
159 |  | Market Participant (Resource) Duns Number |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
160 |  | Fixed Ownership %
161 |  | Master Owner (Y or N)
162
163 | Data Aggregation | Unit 3 Data
164 |  | Sub Generator Data |  | Owner 1 | Owner 2 | Owner 3 | Owner 4 | Owner 5 | Owner 6
165 |  | Market Participant (Resource) Name
166 |  | Market Participant (Resource) Duns Number |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
167 |  | Fixed Ownership %
168 |  | Master Owner (Y or N)
169
170 | Data Aggregation | Unit 4 Data
171 |  | Sub Generator Data |  | Owner 1 | Owner 2 | Owner 3 | Owner 4 | Owner 5 | Owner 6
172 |  | Market Participant (Resource) Name
173 |  | Market Participant (Resource) Duns Number |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
174 |  | Fixed Ownership %
175 |  | Master Owner (Y or N)
176
177 | Data Aggregation | Unit 5 Data
178 |  | Sub Generator Data |  | Owner 1 | Owner 2 | Owner 3 | Owner 4 | Owner 5 | Owner 6
179 |  | Market Participant (Resource) Name
180 |  | Market Participant (Resource) Duns Number |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
181 |  | Fixed Ownership %
182 |  | Master Owner (Y or N)
183
184 | Data Aggregation | Unit 6 Data
185 |  | Sub Generator Data |  | Owner 1 | Owner 2 | Owner 3 | Owner 4 | Owner 5 | Owner 6
186 |  | Market Participant (Resource) Name
187 |  | Market Participant (Resource) Duns Number |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
188 |  | Fixed Ownership %
189 |  | Master Owner (Y or N)
190
Note on C16: Plant or main facility name(ie. CEDAR BAYOU PLANT)
Note on C17: Abbreviation/Mnemonic for Generator Site (ie. CBY)
Note on H22: Contact Person for Outage Coordination as described in Protocol 8
Note on C34: Name of generator unit (ie. CBYG1)
Note on C35: Naming Convention: Generator Site Code_Generator Unit Name (ie. CBY_CBYG1)
Note on C36: In-Service Date
Note on C37: Retire Date
Note on C38: Voltage level of unit
Note on C44: A REC offset represents one MWH of renewable energy from an existing facility that may be used in place of a REC to meet renewable energy requirement. See Substantive Rule 25.173(c) (10). Is the unit a certified renewable energy credit generator or a certified offset generator? See Protocol Section 14.9 Code as follows: (RN) Renewable (OS) Renewable Offset (NA) Not Applicable
Note on C52: This is needed by ERCOT to meet NERC Compliance. ERCOT has adopted PTI's PSSE program as its standard. Dynamic model data forms are available at the following web address: ftp://ftp.ercot-iso.com/dynamic/dynamic.html. ERCOT approval of market participant's resource asset registration is not contingent upon completion of these model data forms. Indicate in the cells below whether the completion of these forms have been submitted to ERCOT or not. ERCOT will be following up with this asset registration form asking the status of completing these forms. ERCOT will work with to complete and submit these forms.
Note on C61: If single owner, Owner 1 is only field necessary. If multiple owners, all owners must be identified in this row
Note on C62: Entity that is registered with ERCOT: 1). Power Generation Company registered with the PUCT. 2.) Resource entity not required to register with the PUCT.
Note on C66: Total must equal 100%
Note on C73: If single owner, Owner 1 is only field necessary. If multiple owners, all owners must be identified in this row.
Note on C74: Entity that is registered with ERCOT: 1). Power Generation Company registered with the PUCT. 2.) Resource entity not required to register with the PUCT.
Note on C75: Total must equal 100%
Note on C76: A single owner must be identified so the associated QSE can provide generation splitting signals. There must be a single Master PGC/QSE per Generation Site.
Note on C80: If single owner, Owner 1 is only field necessary. If multiple owners, all owners must be identified in this row.
Note on C81: Entity that is registered with ERCOT: 1). Power Generation Company registered with the PUCT. 2.) Resource entity not required to register with the PUCT.
Note on C82: Total must equal 100%
Note on C83: A single owner must be identified so the associated QSE can provide generation splitting signals. There must be a single Master PGC/QSE per Generation Site.
Note on C87: If single owner, Owner 1 is only field necessary. If multiple owners, all owners must be identified in this row.
Note on C88: Entity that is registered with ERCOT: 1). Power Generation Company registered with the PUCT. 2.) Resource entity not required to register with the PUCT.
Note on C89: Total must equal 100%
Note on C90: A single owner must be identified so the associated QSE can provide generation splitting signals. There must be a single Master PGC/QSE per Generation Site.
Note on C94: If single owner, Owner 1 is only field necessary. If multiple owners, all owners must be identified in this row.
Note on C95: Entity that is registered with ERCOT : 1). Power Generation Company registered with the PUCT. 2.) Resource entity not required to register with the PUCT.
Note on C96: Total must equal 100%
Note on C97: A single owner must be identified so the associated QSE can provide generation splitting signals. There must be a single Master PGC/QSE per Generation Site.
Note on C101: If single owner, Owner 1 is only field necessary. If multiple owners, all owners must be identified in this row.
Note on C102: Entity that is registered with ERCOT: 1). Power Generation Company registered with the PUCT. 2.) Resource entity not required to register with the PUCT.
Note on C103: Total must equal 100%
Note on C104: A single owner must be identified so the associated QSE can provide generation splitting signals. There must be a single Master PGC/QSE per Generation Site.
Note on C108: If single owner, Owner 1 is only field necessary. If multiple owners, all owners must be identified in this row.
Note on C109: Entity that is registered with ERCOT: 1). Power Generation Company registered with the PUCT. 2.) Resource entity not required to register with the PUCT.
Note on C110: Total must equal 100%
Note on C111: A single owner must be identified so the associated QSE can provide generation splitting signals. There must be a single Master PGC/QSE per Generation Site.

## Network Model Unit Data
Network Operations Model
Detailed GENERATION Information
If Wind Generation, all data submitted on this form must be a total of all wind turbines before each step-up transformer connected to the ERCOT transmission lines (60kv and above).
Generator Unit Info
| Description of Data Requested | Unit #1 | Unit #2 | Unit #3 | Unit #4 | Unit #5 | Unit #6
Unit Name | Any Generation Resource connected to ERCOT Transmission System must be registered with ERCOT. If unit has been registered, please use same name on Generation Asset Registration Form (GARF).
Has this unit been registered? (Y/N)
Name Plate Rating (MVA) | Name Plate MVA Rating of this unit at its rated Power Factor.
Rated Power Factor | From Generator Name Plate
Rating (MW) | Maximum rated MW at rated Power Factor.
Rating (MVAR) | Maximum MVAR at rated Power Factor
Net Maximum Operating Capability (MW) - Summer | Net Maximum MW Operating Capability minus unit auxilary load.
Net Maximum Leading Operating Capability (MVAR) - Summer | Net Maximum Leading MVAR Operating capability associated with Net Maximum MW Operating Capability in the Summer.
Net Maximum Lagging Operating Capability (MVAR) - Summer | Net Maximum Lagging MVAR Operating capability associated with Net Maximum MW Operating Capability in the Summer.
Net Maximum Operating Capability (MW) - Winter | Net Maximum MW Operating Capability minus unit auxilary load. Winter is defined as December through February.
Net Maximum Leading Operating Capability (MVAR) - Winter | Net Maximum Leading MVAR Operating Capability associated with Net Maximum MW Operating Capability in the Winter.
Net Maximum Lagging Operating Capability (MVAR) - Winter | Net Maximum Lagging MVAR Operating Capability associated with Net Maximum MW Operating Capability in the Winter.
Net Minimum Operating Capability (MW) | Net Minimum MW Operating Capability minus unit auxilary load.
Unit KV | Terminal voltage of unit
Direct Axis Subtransient reactance, X"di | The reactance which is determined from the ratio of an initial reduced voltage open circuit condition and the currents from the three-phase fault at the machine terminals at the rated frequency. The intial open circuit voltage is adjusted so the rated cu
Direct Axis Transient reactance, X'di | The reactance which is determined from the ratio of an initial reduced voltage open circuit condition and the currents from the three-phase fault at the machine terminals at the rated frequency. The intial open circuit voltage is adjusted so the rated cu
Private Network (PN) Section
| Description of Data Requested | Unit #1 | Unit #2 | Unit #3 | Unit #4 | Unit #5 | Unit #6
Private Network (Y or N) | Per ERCOT Operating Guides, section 8: Private Network refers to generators with self-serve private load behind a single meter at the point of injection into the ERCOT grid.
Amount of Self-Serve private load (MW) | Amount of the generator output used for self serve and not available for the grid. Please indicate if this self-serve private load amount is per unit or per plant.
Private Network Net Interchange (MW) | Per ERCOT Operating Guides, section 8: For private networks, the net interchange shall be provided along with gross MW and Mvar per generating unit.
Telemetry for PN Net Interchange is provided (Y/N)
Private Network Gross Unit Capability (MW)
Telemetry for PN Gross Unit MW is provided (Y/N)
Private Network Gross Unit Capability (MVAR)
Telemetry for PN Gross Unit MVAR is provided (Y/N)
Network Model
Detailed GENERATION Information
Reactive Capability Curve --
Transfer each unit reactive capability curve data into the following table format. Note that it is recommended to use Net Minimum Operating Capability MW for MW1 and Net Maximum Operating Capability MW for MW4. MW2 and MW3 points can be arbitrary picke
Also, the drawing of the Reactive Capability Curve is required to be submitted. Please indicate the leading and lagging operating areas on this curve.
| Description of Data Requested | Unit #1 | Unit #2 | Unit #3 | Unit #4 | Unit #5 | Unit #6
MW1 | Net Minimum Operating Capability output for this unit, in MW
Lagging MVAR limit associated with MW1 output | Unit's Lagging reactive power output capability associated with its MW1 output, in MVAr.
Leading MVAR limit associated with MW1 output | Unit's Leading reactive power output capability associated with its MW1 output, in MVAr.
MW2 | Second point of output of the generating unit, in MW
Lagging MVAR limit associated with MW2 output | Unit's Lagging reactive power output capability associated with its MW2 output, in MVAr.
Leading MVAR limit associated with MW2 output | Unit's Leading reactive power output capability associated with its MW2 output, in MVAr.
MW3 | Third point of output of the generating unit, in MW
Lagging MVAR limit associated with MW3 output | Unit's Lagging reactive power output capability associated with its MW3 output, in MVAr.
Leading MVAR limit associated with MW3 output | Unit's Leading reactive power output capability associated with its MW3 output, in MVAr.
MW4 | Net Maximum Operating Capability output for this unit, in MW
Lagging MVAR limit associated with MW4 output | Unit's Lagging reactive power output capability associated with its MW4 output, in MVAr.
Leading MVAR limit associated with MW4 output | Unit's Leading reactive power output capability associated with its MW4 output, in MVAr.

## Network Model Transformer Data
Network Operations Model
Detailed STEP-UP TRANSFORMER Information
For Wind Generation, this form requires only step-up transformers to the ERCOT transmission lines (60kv or above).
Step up Transformer Data
In ERCOT Operation Model: 1. All transformers are modeled as two-winding transformers with high and low side taps, one of which may have tap changing under load. 2. Three-winding transformers must be described as 'three two-winding' transformers with a common point. The common point is modeled as a fictitious busbar with a nominal voltage of 1 kV. 3. General procedure for calculating the impedances used for the 'three two-winding' transformers is a delta-to-star transformation. The exact method depends on the form of the data for the three-winding transformer.
| Description of Data Requested | Unit #1 XF | Unit #2 XF | Unit #3 XF | Unit #4 XF | Unit #5 XF | Unit #6 XF
Transformer Name | Transformer name
High Voltage | Voltage of the high side (or secondary side) of this step up transformer.
Low Voltage | Voltage of the low side (or primary side) of this step up transformer.
Transformer Impedance (% on a 100 MVA base)
(Positive Sequence Only)
| Description of Data Requested | Unit #1 XF | Unit #2 XF | Unit #3 XF | Unit #4 XF | Unit #5 XF | Unit #6 XF
Series Resistance | Per ANSI/EEE Std: Impedance is the ratio of the phasor equivalent of a steady-state sine-wave voltage or voltagelike quantity (driving force) to the phasor equivalent of a steady-state sine-wave current or currentlike quantity (response). The real part of the impedance is the resistance. The imaginary part is the reactance. All are measured in Ohms.
Series Reactance
Transformer Admittance (% on a 100 MVA base)
(Positive Sequence Only)
| Description of Data Requested | Unit #1 XF | Unit #2 XF | Unit #3 XF | Unit #4 XF | Unit #5 XF | Unit #6 XF
Shunt Magnetizing Conductance | Per ANSI/IEEE Std: Admittance is the reciprocal of impedance. Admittance is ratio of the phasor equivalent of a steady-state sine-wave current or current-like quantiy (response) to the phasor equivalent of the corresponding voltage or voltage-like quantity (driving force). The real part is the conductance and the imaginary part is the susceptence. All are measured in mhos (reciprocal ohms).
Shunt Magnetizing Susceptance
Transformer Ratings
| Description of Data Requested | Unit #1 XF | Unit #2 XF | Unit #3 XF | Unit #4 XF | Unit #5 XF | Unit #6 XF
Normal Rating MVA | Per ERCOT Operating Guides, Section 3: Normal Rating or Continuous Rating: Represents the continuous MVA rating of a Transmission Facility (including substation terminal equipment in series with a conductor or transformer) at the applicable ambient temperature. The Transmission Facility can operate at this rating indefinitely without damage, or violation of National Electrical Safety Code (NESC) clearances.
Emergency Rating MVA | Per ERCOT Operating Guides, Section 3: Emergency Rating: Represents the two (2) hour MVA rating of a Transmission Facility (including substation terminal equipment in series with a conductor or transformer) at the applicable ambient temperature. The Transmission Facility can operate at this rating for two (2) hours without violation of NESC clearances or equipment failure.
Loadshed Rating MVA | Per Operating Guides, Section 3:Loadshed Rating or Fifteen Minute Rating: Represents the fifteen (15) minute MVA rating of a Transmission Facility (including substation terminal equipment in series with a conductor or transformer) at the applicable ambient temperature and with a step increase from a prior loading of ninety percent (90%) of the Continuous Rating. The Transmission Facility can operate at this rating for fifteen (15) minutes, assuming its pre-contingency loading was ninety percent (90%) of the Continuous Rating limit at the applicable ambient temperature, without violation of NESC clearances or equipment failure. This rating takes advantage of the time delay associated with heating of a conductor or transformer following a sudden increase in current.
Network Model
Detailed STEP-UP TRANSFORMER Information
Transformer Tap Data
A step up transformer is modeled in ERCOT Operations database as followed. Transformers are represented as sets of two-winding transformers. Each set of the two-winding transformers is associated with a physical transformer. The tap connected to the first
| Description of Data Requested | Unit #1 XF | Unit #2 XF | Unit #3 XF | Unit #1 XF | Unit #2 XF | Unit #3 XF
LTC (Y,N) | Is this a LTC transformer? Per ANSI/IEEE Std: LTC (or load-tap-changing transformer) is defined as a transformer used to vary the voltage, or the phase angle, or both, of a regulated circuit in steps by means of a device that connects different taps of tapped winding(s) without interrupting the load.
LTC Group Kv | If this is a LTC transformer, what KV group/side of the transformer is this LTC?
Low Side Tap Setting
| Description of Data Requested | Unit #1 XF | Unit #2 XF | Unit #3 XF | Unit #4 XF | Unit #5 XF | Unit #6 XF
Nominal Voltage (KV) | The nominal or neutral voltage on the low side of this transformer, in Kilovolts
Total number of tap positions | How many taps does this transformer has on its low side?
Normal Tap Position | The normal tap position on the low side of this transformer.
Lowest Tap Position | The lowest tap position for this transformer on its low side.
Highest Tap Position | The highest tap position for this transformer on its low side.
Nominal Tap Position | The nominal or neutral tap position of this transformer on its low side. This tap position is associated with the nominal voltage on the low side of this transformer. In another word, this position corresponds to 1.0 p.u. of the low side transformer's tap ratio
Step Size in Percent | Step size for the transformer taps on its low side.
High Side Tap Setting
| Description of Data Requested | Unit #1 XF | Unit #2 XF | Unit #3 XF | Unit #4 XF | Unit #5 XF | Unit #6 XF
Nominal Voltage (KV) | The nominal or neutral voltage on the high side of this transformer, in Kilovolts
Total number of tap positions | How many taps does this transformer has on its high side?
Normal Tap Position | The normal tap position on the high side of this transformer
Lowest Tap Position | The lowest tap position for this transformer on its high side.
Highest Tap Position | The highest tap position for this transformer on its high side.
Nominal Tap Position | The nominal or neutral tap position of this transformer on its high side. This tap position is associated with the nominal voltage on the high side of this transformer. In another word, this position corresponds to 1.0 p.u. of the high side transformer's tap ratio.
Step Size in Percent | Step size for the transformer taps on its high side.