# ERCOT

DYNAMICS WORKING GROUP

## Report to ROS

## June 14, 2007

- The 2010 summer peak base case flat start is complete and we were able to incorporate a late-breaking change.  It has been distributed to DWG members who have requested it.

- The flat start with wind models is underway.  We have obtained recompiled wind module object codes for PSS/e Rev. 30.3.  The first pass of data has been turned in by DWG members.

- The DWG continues to participate in the NERC Field Test for Generating Facility Model Verification.  The Ad-Hoc task force had an additional meeting on May 24, and formulated an ERCOT response for submission to NERC.  Plans are to demonstrate verification of models and data using actual disturbance data, and to add specificity to the ERCOT Operating Guides to bridge the gap between the NERC requirements and what is contained in the Operating Guides.

- The next DWG meeting has been tentatively set for August 2 & 3, to coincide with work on the wind flat start.

DWG Tasks, 2007

| Task | Status |
| --- | --- |
| Flat start 2007 case | Complete |
| Flat start 2010 case | Complete |
| Flat start 2007 case with wind models. | Working |
| Publish 2006 flat start book. | Complete |
| Publish 2007 flat start book. | Working |
| Make annual determination of the number and location of dynamic monitoring devices. | Future Activity |
| Dynamic Voltage Recovery criteria | Working |
| Review recently approved NERC Standards with respect to ERCOT Op Guides and Protocols | Working |
| Participate in ROS Ad Hoc Task Force regarding Power System Stabilizers | Working |
| Annual Procedural Manual review/update. | Future Activity |
| Begin 2008 flat start activities. | Fall Activity |