| NPRR Number | 049 | NPRR Title | Generation Subsystem Changes to Incorporate Approved Whitepapers |
| --- | --- | --- | --- |
| Group Number | Baseline1 Group 3 | Group Title | Generation Subsystem Changes |
| Impact Analysis Date |  | 06/12/07 |  |
| Cost/Budgetary Impact |  | In order to mitigate the potential cost of the overall program delay, the project change control process prioritized items through value engineering and packaged/grouped items to optimize testing cycles and costs. The development effort to deliver the functionality and integration of Baseline1 Group 3 is estimated in the range of $500,000 - 1 million. |  |
| Estimated Project Time Requirements* *Unless otherwise indicated, project time requirements begin upon project initiation. |  | None. ERCOT and vendor are aggressively working to minimize any impact to schedule. |  |
| ERCOT Staffing Impacts (across all areas) |  | ERCOT Staff impacts will be determined through the normal budgeting process.. |  |
| ERCOT Computer System Impacts |  | In order to mitigate the potential cost of the overall program delay, the project change control process prioritized items through value engineering and packaged/grouped items to optimize testing cycles and costs. The implementation of Baseline1 Group 3 will require enhancements to the following systems: - Market Management System (MMS) - Revisions to accommodate Non-spin deployment, Load Resource Responsive Reserve Service (RRS) deployment, Current Operating Plan (COP) format change. - Enterprise Integration (EIP) – Revisions to pass Ancillary Service Resource responsibility data from Energy Management System (EMS) to Market Information System (MIS) dashboard. Other system changes may be required to fully implement this market change. Risk mitigation: Enterprise Integration Project (EIP) - No timescale impact if funding available to increase staff to support Early Delivery System (EDS) timeline; otherwise, current end date to be extended four to five weeks. |  |
| ERCOT Business Function Impacts |  | No significant additional high-level impacts to business functions are anticipated. |  |
| Grid Operations & Practices Impacts |  | No significant additional high-level impacts to grid operations & practices are anticipated. |  |

Alternatives for a More Efficient Implementation (include explanation of impacts)

None.

Evaluation of Interim Solutions (e.g., manual workarounds)

None.

Feasibility of Implementation

Impact on Resource Availability: - Reflected in time requirements section of this document. Impact to Other Projects: NA

Comments

Baseline1 Group 3 items included: - NPRR049 – Generation subsystem Changes to Incorporate approved Whitepapers - CI67 – Non-spin Deployment (resulting from TAC approved process) - WPEMS1 – Ancillary Service Schedules and Deployment Telemetry - WPEMS2 – Base Point above HASO Flags - WPEMS7 – Non-Spin Deployment Notification and Availability - WPEMS8 – SCED Base point Dispatch NPRR049 incorporated CI0067, WPEMS1, WPEMS2, WPEMS7, and WPEMS8.