ERCOT Load Profiling Guide

Section 9: Load Profile IDs

May 1, 2007

9	Load Profile IDs	9-1

9.1	Assignment of Load Profile IDs	9-1

9.2	Processes to Change Load Profile ID Assignments	9-3

# Load Profile IDs

## Assignment of Load Profile IDs

Transmission and/or Distribution Service Providers (TDSP) are responsible for initially assigning the Load Profile IDs of all ESI IDs, as well as, any changes in assignment. ERCOT is responsible for calculating the Load Profile Type for the Load Profile ID as defined by the Annual Validation process in Section 11.2, Annual Validation of Load Profile Type.  The Profile Decision Tree is a dynamic Microsoft Office Excel© file (see Appendix D) that contains the directions to use when assigning Load Profile IDs to ESI IDs.

### Profile Decision Tree Revision and Approval Process

ERCOT staff is responsible for updating the Profile Decision Tree annually; these annual updates are limited to the contents of the Segment Assignment Tab and shall be submitted by the ERCOT staff to the PWG for review, to COPS for a recommendation, and to the TAC for approval.  No later than five Business Days after TAC approval ERCOT shall:

(a)	Issue a market notice alerting Market Participants of the change with the effective date 10 days following the issuance of the market notice; and

(b)	Electronically distribute the updated Profile Decision Tree to Market Participants.

Any revisions to the Profile Decision Tree other than the annual update shall be submitted through the LPGRR process described in Section 2, Load Profiling Revision Process.  ERCOT Staff may use an administrative LPGRR to revise the contents of the following Profile Decision Tree tabs:

- Version Changes – a list of the changes in the revised version of the Profile Decision Tree;

- FAQ – frequently asked questions related to the assignment of Profile IDs;

- Use of Components – information about how each component of the Load Profile ID is used by ERCOT in the settlement process;

- ZipToZone – a table that maps ZIP Codes to Weather Zones;

- TOU Schedules – a list of the Time-Of-Use schedules and their corresponding TOU schedule codes;

- Valid Profile IDs – a list of all Profile IDs that can be assigned to ESI IDs that are within the ERCOT region;

- Non-ERCOT Profile IDs – a list of Profile IDs that can be assigned to ESI IDs that are within Texas, but outside of the ERCOT region; and

- NOIEs – directions for NOIEs to use in determining Profile ID assignments.

### Assignment of Load Profile IDs for New Service Delivery Points

TDSPs shall create and submit ESI IDs as new Service Delivery Points (SDP) are established.  It is the responsibility of the TDSP to make the Load Profile ID assignment for each new ESI ID.  To assign the Profile Type for new ESI IDs, the TDSP shall assign the default profile segment designated in the Profile Decision Tree on the “Profile Segments” worksheet.

### Assignment of Load Profile IDs for New ESI IDs Resulting from a Mass Transition

When a mass transition involves moving SDPs from one TDSP to another, the gaining TDSP creates and submits ESI IDs for all gained SDPs.  To assign the Load Profile ID for new ESI IDs, the gaining TDSP shall obtain the current Load Profile ID assignment from either the losing TDSP or ERCOT. For detailed information on the Mass Customer Transition Process, please refer to Retail Market Guide (RMG).

[LPGRR017: Insert the following section on September 18, 2007.] 9.1.4 Assignment of BUSOGFLT Profile Type Competitive Retailers (CRs) seeking to have the Oil & Gas Flat (OGFLT) Profile Segment assigned to one of their Business (BUS) ESI IDs shall follow the instructions on the Oil & Gas tab of Appendix D, Profile Decision Tree. ERCOT shall review all assignments of the BUSOGFLT Profile Type on a quarterly basis, per Section 11.3.3, Validation of BUSOGFLT Profile Type.

### kVA Metered Loads

Any TDSP that routinely measures kVA demand instead of kW demand shall coordinate with the PWG to determine the Power Factor that shall be used to estimate their kW demand, in accordance with Section 10, “kVA to kW Conversion.”  Approved Power Factors are listed in the Profile Decision Tree.

### Load Profile ID Assignment for Non-ERCOT ESI IDs

TDSPs are required to assign ESI IDs for all SDPs within Texas, not just those within the ERCOT Region.  Therefore, a Load Profile ID shall also be submitted to ERCOT by the respective TDSP, even though the non-ERCOT information shall not be used in ERCOT settlements. To ensure that the non-ERCOT Load Profile IDs are not confused with the ERCOT Profile IDs, it is necessary to give them names that are different than those for ESI IDs within ERCOT.

A list of valid Load Profile IDs to be assigned to ESI IDs within Texas, but outside of the ERCOT region (non-ERCOT ESI IDs), is included in the Profile Decision Tree under the “Non-ERCOT Load Profile IDs” worksheet.  TDSPs shall submit for approval additional names or changes to ERCOT for their non-ERCOT Load Profile IDs.  The Load Profile ID may be no more than thirty (30) characters in length.  A comprehensive listing of non-ERCOT Load Profile IDs shall be maintained in the Profile Decision Tree.

### Load Profile ID Assignment for NOIEs

Non-Opt In Entities (NOIE)s are required to submit Load Profile IDs for the ESI IDs that represent the NOIE metering points, as defined in Protocols Section 10, “Metering.”   The Load Profile ID shall be based on default values for four of the five fields in the Load Profile ID.  The only component that shall be determined by the NOIE is the Weather Zone code.  This is assigned based on the zip code at the metering point.  The Profile Decision Tree contains details on Load Profile ID assignment for NOIEs.

## Processes to Change Load Profile ID Assignments

ERCOT, a TDSP, or a Competitive Retailer (CR) may request a change in the Load Profile ID assignment of an ESI ID.  ERCOT may initiate a change as a result of the ERCOT Load Profile ID validation process.  A TDSP shall initiate a change, when necessary, due to a change in the TDSP tariff to which the ESI ID is assigned, a meter type change, or an error with the Load Profile ID assignment.  A CR may submit a change request to the TDSP when the CR believes there is an error in the existing Load Profile ID or when the CR believes adequate data has become available to replace a default Load Profile ID assigned to a new ESI ID.  A customer may request a Load Profile ID change by contacting their CR.  Load Profile ID assignments shall always be based on the criteria defined in the appropriate Profile Decision Tree.  Regardless of which entity initiates a change in the Load Profile ID assignment for an ESI ID, the TDSP is responsible for formally updating ERCOT’s systems using the appropriate Texas SET transaction.

All communication among Market Participants and between Market Participants and ERCOT regarding Load Profile ID changes shall be implemented per the appropriate Texas SET transaction, except for alternative communication processes that are specified within the Load Profiling Guide (LPG).

- For any change made to a Load Profile ID, it is the responsibility of the TDSP to make sure the effective date of change is concurrent with a specific meter read date and that the meter read information reaches ERCOT prior to the Load Profile ID change.  For Load Profile ID changes that result from Annual Validation, a TDSP tariff change, a meter type change, or a CR request to change a default Load Profile ID when adequate data becomes available, the TDSP shall submit the change after said meter read has been sent to ERCOT.   For any Load Profile ID assignments that are found to be in error by dispute, the effective date of change shall be retroactive to the meter read date when no profile segment assignment error existed; however, the effective date of the change shall not go any farther back than what would affect the true-up settlement.

### 9.2.1	Load Profile ID Changes Initiated By TDSPs

The TDSP may initiate a Load Profile ID change related to a TDSP tariff change, to correct previous assignment errors, or to reflect a meter type change.  All Load Profile ID changes shall be processed according to Texas SET transactions.

#### Load Profile ID Change Related to a TDSP Tariff Change

When a Premise changes between residential and business TDSP tariffs, or when a meter type change is made for a TDSP tariff billing requirement, the TDSP is required to submit a Load Profile ID change effective on the meter read date of the TDSP tariff change.

#### Recognized Error in Current Assignment

- Should the TDSP become aware of an error in the assignment of a Load Profile ID, the TDSP shall notify the CR of the error as soon as practical and provide the date the Load Profile ID is to be changed and the effective date of that change.  If there is a valid reason, the CR may request that the Load Profile ID change does not take place.  This request shall be provided to the TDSP within three (3) days of the expected date of change.  If a dispute is created, refer to Section 14.2, “General Load Profile ID Dispute Resolution Guidelines.”

#### Load Profile ID Changes Resulting from Meter Type Changes

This section outlines the procedures for implementing Load Profile ID changes when a meter type change occurs.

##### NIDR to IDR and IDR to NIDR

The TDSP shall install the Non-Interval Data Recorder/Interval Data Recorder (NIDR/IDR) meter in accordance with the procedures specified by the RMG and submit the Load Profile ID change to ERCOT using the appropriate Texas SET transaction with the effective date of the meter change once the meter/IDR installation is complete.  Refer to  Protocols Section 18.6, “Installation and Use of Interval Data Recorders (IDR).”

##### NOTOU to TOU

The CR shall notify the appropriate TDSP when a Time-of-Use (TOU) meter needs to be installed at a specific Premise and specify the schedule for the TOU meter.  For a normal TOU meter installation, the TDSP has until the second regularly scheduled meter read date after receipt of the CR’s request to install the TOU meter at the premise and submit the Load Profile ID change to ERCOT.  In accordance with Texas SET, the TDSP shall communicate to the CR when the requested meter change is expected to take place. The Load Profile ID change shall not be submitted until the TOU meter has been installed. Only regulatory approved TOU schedules specific to a TDSP service territory shall be available.  These applicable TOU schedules shall be found in the Profile Decision Tree.  If a Market Participant desires to use a TOU schedule that is not currently available in a specific TDSP service territory, the Market Participant shall follow the appropriate regulatory process to obtain approval of the new TOU schedule. When a new TOU schedule is approved, the TDSP shall inform ERCOT of the availability of this schedule.  The new TOU schedule must be defined in the Profile Decision Tree and in the ERCOT systems.  ERCOT will then notify the TDSP that it may submit the appropriate Texas SET transaction to change the affected Load Profile IDs. If more than four (4) TOU periods are requested by a CR for the approved new TOU schedule, Texas SET changes and ERCOT system changes will be required.

##### TOU to NOTOU

The CR shall notify the TDSP when an ESI ID shall no longer be settled on a TOU schedule.  The TDSP has the discretion to either leave the TOU meter in place or to replace the meter with a non-TOU meter.  Whether a meter change is made or not, the TDSP shall submit a Load Profile ID change in which the TOU Schedule component of the Load Profile ID is Non-Time-of-Use (NOTOU), which shall be effective at the next meter read date.

##### Business Demand to Business No Demand

When demand data is no longer required by the TDSP tariffs, and the CR has no need for demand data then the TDSP shall change the assignment of the ESI ID to BUSNODEM.  If a demand meter is present and used for billing purposes, then the TDSP shall send demand data to ERCOT via Texas SET transactions.

When a TDSP determines that an ESI ID assignment should be changed to BUSNODEM based on the TDSP metering tariff rules, the TDSP shall notify the CR at least thirty (30) days prior to making the Load Profile ID change. If the CR requires demand data to support Customer billing for the ESI ID in question, then the CR shall notify the TDSP of its requirement for demand data. Upon CR notification, the TDSP shall not change the demand meter and the TDSP shall continue collecting demand data.  The ESI ID shall retain its load factor Load Profile ID assignment.

If it is determined that demand data is no longer required by either the CR or the TDSP, the TDSP has the option of:

1.	Replacing the demand meter with a non-demand meter; or

2.	Leaving the demand meter in place but discontinue sending any demand data for that ESI ID to ERCOT.

Regardless of which demand meter change option the TDSP pursues, the effective date of the Load Profile ID change shall coincide with the last meter read date where demand data is sent to ERCOT.

If a TDSP elects to leave a demand meter in service on an ESI ID that no longer requires a demand meter, the Load Profile ID shall be changed to the BUSNODEM profile.  The TDSP shall submit  the appropriate Texas SET transaction to change the Load Profile ID to ERCOT before the next regularly scheduled meter read date with an effective date of the last meter read.

If the TDSP elects to replace the meter, then the TDSP shall submit the appropriate Texas SET transaction to change the Load Profile ID to ERCOT with an effective date of the meter change date.

##### No Demand to Demand

The CR shall notify the TDSP when it requires a specific ESI ID to have a demand meter.  Under normal demand meter installations, the TDSP has until the second regularly scheduled meter read date after receipt of the CR’s request to install the requested meter type at the Premise and submit the Load Profile ID change to ERCOT.

#### CR Requested Change from a Default Load Profile ID

After a new ESI ID has sufficient usage history, a CR may request a change from a default Load Profile ID using the ERCOT retail transaction issue resolution system. The requested Load Profile ID shall follow the guidelines for calculations contained in the Profile Decision Tree. In the case of a Business ESI ID, the twelve (12) months used in the calculations shall be the first twelve (12) months of usage for the ESI ID. In the case of a Residential ESI ID, the first consecutive seven (7) months from October through April is all that is needed for the calculation of Winter Ratio. Once the Winter Ratio is known then the CR may request a change from the default Load Profile ID.  After ERCOT has validated the CR’s calculated Load Profile ID change request, ERCOT will then submit the request to the appropriate TDSP.  The TDSP will verify that the change is consistent with their tariff and send the appropriate Texas SET transaction to complete the request.