| PRR Number | 722 | PRR Title | 48 Hour Restoration |
| --- | --- | --- | --- |
| Date |  | May 23, 2007 |  |
| Submitter’s Information |  |  |  |
| Name |  | William A. Fuller |  |
| E-mail Address |  | bfuller@txued.com |  |
| Company |  | Oncor Electric Delivery |  |
| Company Address |  | 2233-B Mountain Creek Parkway, Dallas, Texas |  |
| Phone Number |  | 214-743-6820 |  |
| Fax Number |  | 972-263-6710 |  |

ERCOT/Market Segment Impacts and Benefits

| Assumptions | 1 | n/a |  |
| --- | --- | --- | --- |
|  | 2 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 | n/a |  |
|  | 2 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 | n/a |  |
|  | 2 |  |  |
| Additional Qualitative Information | 1 | None |  |
| Other | 1 | None |  |

Comments

Oncor believes that this PRR should be rejected. Stating an ERCOT System restoration time requirement in the Protocols is not appropriate.

Consistent with ERCOT’s comments on this PRR, selection of Resources to provide Black Start Service for the ERCOT System recovery should be undertaken with due consideration for reliability and costs. The bidding process does not require any Resource to submit a bid to be an ERCOT System restoration Resource. ERCOT must make the best overall selection of units from the pool of bidders that will recover the ERCOT System in the shortest time possible at a cost that is not overly burdensome to the customers connected to the ERCOT System.

Revised Proposed Protocol Language