OWG Report to ROS

6/14/07

The OWG met May 16th, 2007. The following OGRRs are pending at the OGRTF:

- OGRR165 – Update Unit Telemetry Requirement:  This revision proposes to add a requirement for QSEs to submit real-time AGC status and Ramp Rate for all units in their portfolio. ERCOT submits this OGRR to address Recommendation No. 14 of Potomac Economics’ recommendations to improve ERCOT’s wholesale market design.  This OGRR has been tabled per ROS directive.

- OGRR192 - Combustion Turbine Governor Performance Test Forms: This OGRR adds two new sections describing Combustion Turbine Governor Performance Testing Procedures based on actual and historical data. This OGRR provides additional instruction and submittal forms for Combustion Turbine Governor Performance Testing. This OGRR will be taken up at the next OGRTF meeting. No action by ROS is needed at this meeting.

- OGRR194 - Wording Changes to Make All Parts of Section 7 Consistent: This OGRR was up-dated by SPWG in order to make Section 7 consistent through out. The OWG recommends the approval of OGRR194.

- OGRR197- Conforming Operating Guides to Protocol Section 21 and Other Market Guides

This Operating Guide Revision Request (OGRR) conforms the revision process for the Operating Guide to Protocol Section 21 and other ERCOT market guides by:

Requiring that an OGRR associated with an ERCOT project be assigned to the “Unfunded Project List” unless the project can be funded in the current ERCOT budget cycle based upon its priority and ranking;

Providing specific guidelines for ROS to use when determining whether a OGRR should be considered urgent; and

Proposing other formatting, stylistic, and administrative changes.

This OGRR also adds a new subsection pertaining to Nodal Operating Guide Revisions.

No action by ROS is needed at this meeting.

- OGRR198- Firm Load Shed Implementation Time Periods

This Operating Guide Revision Request (OGRR) adds language to the current ERCOT Operating Guides to provide maximum time periods allowed for firm load shed implementation by Transmission and/or Distribution Service Providers (TDSPs) at the request of ERCOT System Operators when in EECP Step 4.

No action by ROS is needed at this meeting.

- OGRR200- 48 Hour Restoration (Companion to PRR722)

This Operating Guide Revision Request (OGRR) proposes language so that in the unlikely event of an ERCOT System shut down, ERCOT will return 90% of ERCOT peak load to pre-disturbed condition at or near 48 hours if a viable solution is available.  This OGRR is a companion to PRR722, 48 Hour Restoration.

No action by ROS is needed at this meeting.

- The OGRTF has sent the red-line version of the Nodal Operating Guides to the OWG for their initial Review. Their comments are due to OGRTF by the 29th of June after which OGRTF will incorporate comments to the full Nodal Operating Guides.

  - After receiving the OWG comments, the OGRTF will review those comments for incorporation into the draft Nodal Operating Guides.

  - Upon completion of the OWG comment review the OGRTF will post the entire Nodal Operating Guides for its 21 day comment period.

  - In August the OGRTF will meet to review and coordinate all comments received.

  - The first meeting of the OWG after the August OGRTF meeting days will be for final review and recommendation to the ROS

  - The first meeting day after the recommendation by OWG, the Nodal Protocols will be presented to ROS for further action.

- The Black Start Task Force met on May 30, 2007. The BSTF has a presentation by System Operations Success, International on a Black Start training software package called the Brick (Bulk Reliability in a Compact Kit). This software utilizes the EPRI basic algorithms with the advantage of having the actual ERCOT system installed. In addition, the BSTF discussed the two island study as it relates to the ERCOT 2008 budget. A presentation was developed for the ROS presentation to TAC describing the need for this study.

- The OTF conducted a practice SSRG call on 5/22/07. The following is an excerpt of an email from ERCOT Operations on that call:

“I was with Leo on the call, there were 11 QSE's and 3 TO's that did not

call in.  The control room did say they received calls from a couple

Market Participants saying they could not get on the conference call.

The control room did not take names, so I don't know who had trouble.

Tony Marsh from Client Services was also present with Leo and I, Client

Services received several phone calls after the hot line call asking

what SSRG was.  Client Services not knowing themselves was curious and

sat in.  We asked Tony to call the Market Participants who were not on

the call to find out why; we should have that information in a few days.”

In addition, the OTF will present the 2007 Strom drill package to the OWG at its next meeting on June 20th.

- Warren Lasher made a presentation at the OWG about the increase levels of wind integrations and Ancillary Service (AS). Warren noted that consideration would be made of the way Load and Wind interact, and the way interactions change based on the time of day and year, and that the study will include the existing fleet, AS that can be provided, and costs of increasing levels of AS.

The OWG asked ERCOT to research the interconnection agreements between the TO and Wind Companies to assure that requirements assumed to be in the agreements as per the Generation Interconnection Agreement Procedure is being accounted for.

Warren noted the concerns of all market participants would be considered in the way reactive and voltage controls in wind production and its effects on the transmission system.

Warren noted that consideration would be made of the problems with minimal load and high wind, and other concerns involving AS.

Van Weldon gave a report to the OWG on the Annual Operator Training Seminar. He stated the critiques from the seminar were favorable and that the seminar was a success. He congratulated everyone that was involved with the seminar. The planning for next year seminar will begin next month.

Van explained that there was one problem discovered after the second week of the seminar. The problem was with attending the entire seminar on each day. The question is did the person attend all day or did the security people sign people out at wrong time. ERCOT is reviewing the tape to see if there is a discrepancy. So, if one of your employees receives less than 19 CEH’s and the area in the report on attendance has an N/A then you can call Van Weldon or e-mail him to review your employee attendance record.

- An item that was not part of the OWG meeting. A group of 20 participants from ERCOT generators, ERCOT Operations, TRE and the DWG met three times to respond to the NERC Phase III & IV Field Test effort. This involves proposed NERC Standards PRC-019, PRC-024, MOD-026 and MOD-027.  The final response was emailed to NERC on June 1, 2007. There is a meeting set for June 18 & 19 in Tampa, FL to review all the participating Regions comments and provide feed back to the new SAR drafting team that will apparently consolidate all four proposed standards into one standard. This is, as I understand it, already meeting resistance from previously agreeable Regions to the 4 proposed standards.

The next OWG meeting is scheduled for June 20th, 2007.