| NPRR Number | 001 | NPRR Title | Section 1, Zonal PRR Synchronization and ERCOT Staff Clarifications |
| --- | --- | --- | --- |
| Timeline | Normal | Recommended Action | Approval of the Baseline 1 Group 1 Impact Analysis. |
| Nodal Protocol Section(s) Requiring Revision |  | Section 1, Overview |  |
| Proposed Effective Date |  | Upon Texas Nodal Market implementation. |  |
| Priority & Rank Assigned |  | Not applicable. |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) incorporates relevant language from the following Protocol Revision Requests (PRRs) that were approved by the Board between April 2004 and February 2006: - PRR573, Mothballed Generation Resource Definition and Time to Service Updates; - PRR591, Switchable Unit Declaration; - PRR593, Reporting of Net Generation and Load (FKA Behind the “Fence” Reporting of Load); and - PRR611, Reporting of Operation Reserve Capability Under Severe Gas Curtailments. This NPRR also incorporates Transition Plan Task Force (TPTF) determinations regarding ERCOT Staff clarification questions as discussed by TPTF and documented in the ERCOT Clarification Matrix for Section 1 (11/30/05) and discussed at the 3/28/06 and 3/29/06 TPTF meetings. |  |
| Overall Market Benefit |  | Nodal Protocols that more completely reflect the intent of the ERCOT stakeholders. |  |
| Overall Market Impact |  | Not known. |  |
| Consumer Impact |  | None. |  |
| Credit Impacts: Has the Credit Workgroup reviewed the NPRR? If so, are there credit impacts? |  | Yes. ERCOT credit staff and the Credit Work Group (Credit WG) have reviewed NPRR001 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |
| Procedural History |  | - NPRR001 was posted on 5/17/06. - On 6/21/06, ERCOT posted an Impact Analysis (IA). - On 6/22/06, the Protocol Revision Subcommittee (PRS) considered this NPRR. - On 7/06/06, the Technical Advisory Committee (TAC) considered this NPRR. - On 7/28/06, the ERCOT Board considered this NPRR. - On 6/5/07, the Baseline 1, Group 1 (B1G1) IA was posted. - On 06/12/07, PRS reviewed the B1G1 IA. |  |
| PRS Recommendation |  | On 6/22/06, PRS unanimously voted to recommend approval of NPRR001. All Market Segments were present for the vote. On 6/12/07, PRS unanimously voted to endorse the B1G1 IAs and forward the documents to TAC. All Market Segments were present for the vote. |  |
| Summary of PRS Discussion |  | On 6/22/06, the PRS Chair confirmed that no party had any issues with NPRR001. On 6/12/07, PRS noted that the B1G1 NPRR requirements are already included in the nodal program and they have no cost or schedule impact. |  |
| TAC Recommendation |  | On 7/06/06, TAC unanimously voted to recommend approval of NPRR001 as recommended by PRS. All Market Segments were present for the vote. |  |
| Summary of TAC Discussion |  | No discussion. |  |
| Board Action |  | Approved as recommended by TAC. |  |

ERCOT/Market Segment Impacts and Benefits

| Assumptions | 1 |  |  |
| --- | --- | --- | --- |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 |  |  |
| Additional Qualitative Information | 1 | Inclusion of these revisions provides for a Nodal market design that more completely reflects the intentions of the ERCOT stakeholders. |  |
| Other Comments | 1 |  |  |

| Original Sponsor |  |
| --- | --- |
| Name | Trip Doggett on behalf of TPTF |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Description |
| None |  |

Proposed Nodal Protocol Language Revision

ERCOT Nodal Protocols

Section 1:  Overview

March 29, 2006

PRR573, Mothballed Generation Resource Definition and Time to Service Updates

PRR591, Switchable Unit Declaration

PRR593, Reporting of Net Generation and Load (FKA Behind the “Fence” Reporting of Load)

PRR611, Reporting of Operation Reserve Capability Under Severe Gas Curtailments

ERCOT Clarification – AAG

TPTF-032806

Conform Style

1	OVERVIEW	1-3

1.1	Summary of the ERCOT Protocols Document	1-3

1.2	Functions of ERCOT	1-3

1.3	Confidentiality	1-3

1.3.1	Restrictions on Protected Information	1-3

1.3.1.1	Items Considered Protected Information	1-3

1.3.1.2	Items Not Considered Protected Information	1-3

1.3.2	Procedures for Protected Information	1-3

1.3.3	Expiration of Confidentiality	1-3

1.3.4	Protecting Disclosures to the PUCT and Other Governmental Authorities	1-3

1.3.5	Notice Before Permitted Disclosure	1-3

1.3.6	Exceptions	1-3

1.3.7	Specific Performance	1-3

1.3.8	Commission Declassification	1-3

1.3.9	Expansion of Protected Information Status	1-3

1.4	Operational Audit	1-3

1.4.1	Materials Subject to Audit	1-3

1.4.2	ERCOT Audit Committee	1-3

1.4.3	Operations Audit	1-3

1.4.3.1	External Audit	1-3

1.4.3.1.1	Material Issues	1-3

1.4.4	Audit Results	1-3

1.4.5	Availability of Records	1-3

1.4.6	Confidentiality of Information	1-3

1.5	ERCOT Fees and Charges	1-3

1.6	Open Access to the ERCOT Transmission Grid	1-3

1.6.1	Overview	1-3

1.6.2	Eligibility for Transmission Service	1-3

1.6.3	Nature of Transmission Service	1-3

1.6.4.	Payment for Transmission Access Service	1-3

1.6.5	Interconnection of New Generation	1-3

1.7	Rules of Construction	1-3

1.8	Effective Date	1-3

# OVERVIEW

1.1	Summary of the ERCOT Protocols Document

(1)	The Electric Reliability Council of Texas (ERCOT) Protocols, created through the collaborative efforts of representatives of all segments of Market Participants, means the document adopted by ERCOT, including any attachments or exhibits referenced in these Protocols, as amended from time to time, that contains the scheduling, operating, planning, reliability, and settlement (including Customer registration) policies, rules, guidelines, procedures, standards, and criteria of ERCOT.  To determine responsibilities at a given time, the version of the ERCOT Protocols in effect at the time of the performance or non-performance of an action governs with respect to that action.  These Protocols are intended to implement ERCOT’s functions as the Independent Organization for the ERCOT Region as certified by the Public Utility Commission of Texas (PUCT) and as the “Program Administrator” appointed by the PUCT that is responsible for carrying out the administrative responsibilities related to the Renewable Energy Credit Program as set forth in subsection (g) of P.U.C. Subst. R. 25.173, Goal for Renewable Energy. Market Participants, the Wholesale Electric Market Monitor (WEMM), and ERCOT shall abide by these Protocols.

(2)	The ERCOT Board, Technical Advisory Committee (TAC), and other ERCOT subcommittees authorized by the Board or TAC (“ERCOT’s Committees”) or ERCOT staff may develop polices, guidelines, procedures, forms, and applications for the implementation of and operation under, these Protocols and to comply with applicable rules, laws, and orders of a Governmental Authority.   A policy, guideline, procedure, form, or application described above is an “Other Binding Document” if it meets the requirements set forth below.  ERCOT shall post all Other Binding Documents to a part of the MIS Secure Area that is reserved for posting of Other Binding Documents.  “Other Binding Documents” means:

  - The Operating Guides, the Retail Market Guide, the Settlement Metering Operating Guides, the Power System Planning Charter and Process, Texas SET, the Texas Market Test Plan, and the ERCOT Creditworthiness Standards; and

  - The policies, guidelines, procedures, forms, and applications that satisfy all the requirements listed below:

(i)	Before the policy, guideline, procedure, form, or application takes effect, ERCOT must e-mail it to all affected registered Market Participants and must post it to the part of the MIS Secure Area that is reserved for posting of Other Binding Documents. ERCOT must use reasonable efforts to e-mail and post the policy, guideline, procedure, form, or application at least 30 days before it takes effect, but ERCOT must e-mail and post the policy, guideline, procedure, form, or application at least 15 Business Days before it takes effect, unless ERCOT reasonably determines that an urgent circumstance necessitates a shorter notice period or the ERCOT Board approves a shorter notice period.

(ii) 	If either the e-mail or posting under Section 1.1(2)(b)(i) occurs less than 30 days before the policy, guideline, procedure, form, or application takes effect, ERCOT must include in the e-mail and posting an explanation of why it was not able to give 30 days’ advance notice before the policy, guideline, procedure, form, or application takes effect.

(iii)	ERCOT must label the policy, guideline, procedure, form, or application at the top of its first page with the words “Other Binding Document under Section 1.1 of the Protocols.”

(iv)	The policy, guideline, procedure, form, or application must expressly state how long it will be in effect.

(3)	Any revision of an Other Binding Document must follow the revision process set forth in that Other Binding Document.  If an Other Binding Document does not specify a revision process, the requirements of Section 1.1(2)(b)(i) through (iv) apply to any revision of that Other Binding Document.  To the extent that Other Binding Documents are not in conflict with these Protocols or with an Agreement to which it is a party, each Market Participant, the WEMM, and ERCOT shall abide by the Other Binding Documents.

(4)	Taken together, these Protocols and the Other Binding Documents constitute all of the “scheduling, operating, planning, reliability, and settlement policies, rules, guidelines, and procedures established by the independent system operator in ERCOT,” as that phrase is used in subsection (j) of the Public Utility Regulatory Act, Tex. Util. Code Ann. § 39.151 (Vernon 1998 & Supp. 2003) (PURA), Essential Organizations, that bind Market Participants.

(5)	Except as provided below, if the provisions in any attachment to these Protocols or in any of the Other Binding Documents conflict with the provisions of Protocols Section 1, Overview, through Section 21, Process for Protocols Revision, Section 23, Texas Plan Team - Retail Market Testing, through Section 24, Point to Point Communications, then the provisions of Protocols Section 1 through Section 21, Section 23 through Section 24 prevail to the extent of the inconsistency.  If any provision of any Agreement conflicts with any provision of the Protocols, the Agreement prevails to the extent of the conflict.  Any Agreement provision that deviates from the standard form for that Agreement in Section 22 must expressly state that the Agreement provision deviates from the standard form in Section 22.  Agreement provisions that deviate from the Protocols are effective only upon approval by the ERCOT Board on a showing of good cause.

(6)	These Protocols are not intended to govern the direct relationships between or among Market Participants except as expressly provided in these Protocols.  ERCOT is not responsible for any relationship between or among Market Participants to which ERCOT is not a party.

1.2	Functions of ERCOT

(1)	ERCOT is the Independent Organization certified by the PUCT for the ERCOT Region. The major functions of ERCOT, as the Independent Organization, are to:

(a)	Ensure access to the ERCOT Transmission Grid and Distribution Systems for all buyers and sellers of electricity on nondiscriminatory terms;

(b)	Ensure the reliability and adequacy of the ERCOT Transmission Grid;

(c)	Ensure that information relating to a Customer’s choice of Retail Electric Provider in Texas is conveyed in a timely manner to the persons who need that information; and

(d)	Ensure that electricity production and delivery are accurately accounted for among the All-Inclusive Generation Resources and wholesale buyers and sellers, and Transmission Service Providers and Distribution Service Providers, in the ERCOT Region.

(2)	ERCOT is the Control Area Operator for the ERCOT interconnection and performs all Control Area functions as defined in the Operating Guides and the North American Electric Reliability Council (NERC) policies.

(3)	ERCOT is the PUCT-appointed Program Administrator of the Renewable Energy Credits Program.

(4)	These Protocols are intended to implement the above-described functions.

(5)	In exercising any functions related to deployment of energy or Ancillary Service as described in these Protocols, ERCOT acts only as an agent on behalf of the various Market Participants in fulfilling these duties, subject to the settlement process in these Protocols.  All references in these Protocols to provision, procurement, purchase, deployment, or Dispatch of energy or Ancillary Service or any other similar action must be interpreted to mean that ERCOT is taking such action on behalf of Market Participants as an agent.  Nothing in these Protocols may be construed as causing ERCOT to take title to any energy or Ancillary Service or to cause TSPs, DSPs, or Resources to transfer any control of their facilities to ERCOT.  In the exercise of its sole discretion under these Protocols, ERCOT shall act in a reasonable, nondiscriminatory manner.

(6)	ERCOT may not profit financially from its activities as the Independent Organization in the ERCOT Region.  ERCOT may not use its discretion in the procurement of Ancillary Service capacity or deployment of energy to influence, set or control prices.

1.3	Confidentiality

1.3.1	Restrictions on Protected Information

Section 1.3, Confidentiality, applies to Protected Information disclosed by a Market Participant to ERCOT or the WEMM or by ERCOT to a Market Participant or the WEMM.  ERCOT, the WEMM, or any Market Participant (“Receiving Party”) may not disclose Protected Information received from one of the others (“Disclosing Party”) to any other Entity except as specifically permitted in this Section and in these Protocols.  A Receiving Party may not use Protected Information except as necessary or appropriate in carrying out its responsibilities under these Protocols.  To disclose means to directly or indirectly disclose, reveal, distribute, report, publish, or transfer Protected Information to any party other than to the Disclosing Party.

1.3.1.1	Items Considered Protected Information

Subject to the exclusions set out in Section 1.3.1.2, Items Not Considered Protected Information, “Protected Information” is information containing or revealing any of the following:

(a)	Base Points, as calculated by ERCOT;

(b)	Bids, offers, or pricing information identifiable to a specific QSE or Resource;

(c)	Status of Resources, including outages, limitations, or scheduled or metered Resource data;

(d)	Current Operating Plans;

(e)	Ancillary Service Trades, Energy Trades, Capacity Trades, and Ancillary Service Schedules identifiable to a specific QSE or Resource;

(f)	Dispatch Instructions identifiable to a specific QSE or Resource, except for RUC commitments and decommitments  as provided in Section 5.5.3, Communication of RUC Commitments and Decommitments;

(g)	Raw and Adjusted Metered Load data (demand and energy) identifiable to a specific QSE or Customer;

(h)	Settlement Statements and Invoices identifiable to a specific QSE;

(i)	Aggregated raw and Adjusted Metered Load data (demand and energy), and number of Electric Service Identifiers (ESI IDs) identifiable to a specific Load Serving Entity (LSE);

(j)	Information related to generation interconnection requests, to the extent such information is not otherwise publicly available;

(k)	Resource-specific costs, design and engineering data;

(l)	Congestion Revenue Rights (CRR) credit limits, the identity of bidders in a CRR Auction, or other bidding information identifiable to a specific CRR Account Holder;

(m)	Renewable Energy Credit (REC) account balances;

(n)	Credit limits identifiable to a specific QSE;

(o)	Any information that is designated as Protected Information in writing by Disclosing Party at the time the information is provided to Receiving Party except for information:

(i)	submitted to or collected by ERCOT under the Protocols or Other Binding Documents; or

(ii) 	provided to ERCOT in support of a Reliability Must-Run (RMR) application under Section 3.14.1, Reliability Must Run;

(p)	Any information compiled by a Market Participant on a Customer that in the normal course of a Market Participant’s business that makes possible the identification of any individual Customer by matching such information with the Customer’s name, address, account number, type of classification service, historical electricity usage, expected patterns of use, types of facilities used in providing service, individual contract terms and conditions, price, current charges, billing record, or any other information that a Customer has expressly requested not be disclosed (“Proprietary Customer Information”) unless the Customer has authorized the release for public disclosure of that information in a manner approved by the PUCT.  Information that is redacted or organized is such a way as to make it impossible to identify the Customer to whom the information relates does not constitute Proprietary Customer Information;

(q)	Any software, products of software, or other vendor information that ERCOT is required to keep confidential under its agreements;

(r)	QSE, TSP, and DSP backup plans collected by ERCOT under the Protocols or Other Binding Documents;

(s)	Direct Current (DC) Tie information provided to  a TSP or DSP under Section 4.4.3, DC Tie Schedules; and

(t)	Any Texas Standard Electronic Transaction (SET) transaction submitted by an LSE to ERCOT or received by an LSE from ERCOT.  This paragraph does not apply to ERCOT’s compliance with:

(i)	PUCT Rules on performance measure reporting;

(ii)	these Protocols or Other Binding Documents; or

(iii)	any TAC-approved reporting requirements.

(u)	Mothballed Generation Resource updates and supporting documentation submitted pursuant to Section 3.14.1.6, Mothballed Generation Resource Time to Service Updates.

(v)	For purposes of Capacity Demand Reserve Reporting, the unavailability of Switchable Generation Resources to the ERCOT System and supporting documentation submitted pursuant to Section 16.5.4(2), Maintaining and Updating Resource Entity Information, except for reporting the aggregate capacity.

(w)	Information provided by Entities under Section 10.3.2.4, Reporting of Net Generation Capacity.

(x)	Alternative fuel reserve capability and firm gas availability information submitted pursuant to Section 6.5.9.3.1, Operating Condition Notice, Section 6.5.9.3.2, Advisory, and Section 6.5.9.3.3, Alert; and as defined by the Operating Guides.

1.3.1.2	Items Not Considered Protected Information

(1)	Notwithstanding the definition of “Protected Information” in Section 1.3.1.1, Items Considered Protected Information, the following items are not Protected Information even if so designated:

(a)	Data comprising Load flow cases, which may include estimated peak and off-peak demand of any Load;

(b)	RMR Agreements;

(c)	Studies, reports and data used in ERCOT’s assessment of whether an RMR Unit satisfies ERCOT’s criteria for operational necessity to support ERCOT System reliability but only if they have been redacted to exclude Protected Information under Section 1.3.1.1, Items Considered Protected Information;

(d)	Status of RMR Units;

(e)	Information provided to ERCOT in support of an “Application for Reliability Must Run (RMR) Status” according to Section 3.14.1, Reliability Must Run;

(f)	Black Start Agreements;

(g)	Signed generation interconnection agreements, and

(h)	Any other information specifically designated in these Protocols as information to be posted to the MIS Public Area or MIS Secure Area that is not specified as information that is subject to the requirements of Section 1.3, Confidentiality.

(2)	Protected Information that Receiving Party is permitted or required to disclose or use under the Protocols or under an agreement between Receiving Party and a Disclosing Party does not cease to be regarded as Protected Information in all other circumstances not encompassed by these Protocols or such agreement by virtue of the permitted or required Disclosure or use under these Protocols or such agreement.

1.3.2	Procedures for Protected Information

(1)	The Receiving Party shall adopt procedures within its organization to maintain the confidentiality of all Protected Information.  Such procedures must provide that:

(a)	The Protected Information may be disclosed to the Receiving Party’s directors, officers, employees, representatives, and agents only on a “need to know” basis;

(b)	The Receiving Party shall make its directors, officers, employees, representatives, and agents aware of Receiving Party’s obligations under this Section;

(c)	If reasonably practicable, the Receiving Party shall cause any copies of the Protected Information that it creates or maintains, whether in hard copy, electronic format, or other form, to identify the Protected Information as such; and

(d)	Before disclosing Protected Information to a representative or agent of the Receiving Party, the Receiving Party shall require a nondisclosure agreement with that representative or agent.  That nondisclosure agreement must contain confidentiality provisions substantially similar to the terms of this Section.

1.3.3	Expiration of Confidentiality

(1)	The following applies to the expiration of confidentiality for Protected Information:

(a)	The Protected Information status of data specified under item (a) of Section 1.3.1.1, Items Considered Protected Information, expires seven days after the applicable Operating Day.

(b)	The Protected Information status of part of the data specified under Section 1.3.1.1(b) expires 180 days after the applicable Operating Day, and ERCOT at that time shall make that part of the data available on the MIS Secure Area in a standard reporting format. That part of the data for which the Protected Information status expires and which is to be posted is as follows:

(i)	Ancillary Service Offers by Operating Hour for each QSE for all Ancillary Service submitted for the DAM or any SASM;

(ii)	The quantity of Ancillary Service offered by Operating Hour for each QSE for all Ancillary Service submitted for the DAM or any SASM; and

(iii)	Energy Offer Curve prices and quantities for each Settlement Interval by Resource.

(c)	The Protected Information status of data specified under Section 1.3.1.1(c) through (h) expires 180 days after the applicable Operating Day. One hundred eighty days after the Operating Day, ERCOT shall make the following information available on the MIS Secure Area in a standard reporting format:

(i)	Ancillary Service Obligation and Ancillary Service Supply Responsibility for each QSE;

(ii)	Actual metered Resource values for each QSE by Resource by Settlement Interval;

(iii)	Complete Current Operating Plan data for each QSE snapshot on each hour; and

(iv)	Adjusted Metered Load for each QSE by LSE, by Load Zone and by Settlement Interval, both from the initial settlement and all subsequent settlements. ERCOT shall post each subsequent Adjusted Metered Load within seven days after the subsequent settlement operation is finished.  Data from the first posting and all subsequent settlement postings must remain accessible for at least 24 months after the Operating Day.

(c)	The Protected Information status of data specified under Section 1.3.1.1(i) expires 365 days after the applicable Operating Day.

(d)	REC account balances specified in Section 1.3.1.1(m) cease to be Protected Information three years after the REC Settlement period ends.

(e)	The Protected Information status of data specified under paragraph 1.3.1.1(j) expires when the generation interconnection agreement is executed or a financial arrangement for transmission construction is completed with a TSP.

(f)	The Protected Information status of data specified under Section 1.3.1.1(l) expires as follows:

(i)	The Protected Information status of the identities of CRR bidders that become CRR Owners and the number and type of CRRs that they each own expire at the end of the CRR Auction in which the CRRs were first sold;

(ii)	The Protected Information status of all other information identified in Section 1.3.1.1(l) expires six months after the end of the year in which the CRR was effective.

(2)	Upon the expiration of the Protected Information status of any data as specified in Section 1.3.3, Expiration of Confidentiality, paragraph (1), that data must be made available to the extent required under Section 12, Market Information System.

(3)	Information that is no longer Protected Information, but not posted, including Dispatch Instructions, is available on request under the ERCOT Request for Records and Information Policy.  Requested information must be provided within a reasonable timeframe.  For Dispatch Instructions, the information may be requested with respect to a specific Resource, where applicable, and by service type and Settlement Interval or as integrated over each Settlement Interval for Dispatch Instructions with sub-Settlement Interval frequency.

1.3.4	Protecting Disclosures to the PUCT and Other Governmental Authorities

Any disclosure that a Receiving Party makes to the PUCT must be made under applicable PUCT rules.  For any disclosure of Protected Information to the PUCT outside the scope of subsection (e) of P.U.C. Subst. R. 25.362, Electric Reliability Council of Texas (ERCOT) Governance, the Receiving Party must file that Protected Information as confidential pursuant to subsection (d) of P.U.C. Proc. R. 22.71, Filing of Pleadings, Documents, and Other Materials.  Before making a disclosure under order of a Governmental Authority other than the PUCT, the Receiving Party shall seek a protective order from such Governmental Authority to protect the confidentiality of Protected Information. Nothing in Section 1.3.4 authorizes any disclosure of Protected Information to the PUCT or other Governmental Authority; this section merely creates requirements on disclosures that are authorized under other sections of these Protocols.

1.3.5	Notice Before Permitted Disclosure

Before making any disclosure under Section 1.3.4, Protecting Disclosures to the PUCT and Other Governmental Authorities, or under Section 1.3.6, Exceptions, Receiving Party shall promptly notify Disclosing Party in writing and shall assert confidentiality and cooperate with the Disclosing Party in seeking to protect the Protected Information from disclosure by confidentiality agreement, protective order, aggregation of information, or other reasonable measures.  ERCOT is not required to provide notice to the Disclosing Party of disclosures made under Section 1.3.6(1)(b).

1.3.6	Exceptions

(1)	The Receiving Party may, without violating Section 1.3, Confidentiality, disclose Protected Information:

(a)	To governmental officials, Market Participants, the public, or others as required by any law, regulation, or order, or by these Protocols, but any Receiving Party must make reasonable efforts to restrict public access to the disclosed Protected Information by protective order, by aggregating information, or otherwise if reasonably possible; or

(b)	If ERCOT is the Receiving Party and disclosure to the PUCT of the Protected Information is required by ERCOT pursuant to applicable Protocol, law, regulation, or order; or

(c)	If the Disclosing Party has given its prior written consent to the disclosure, which consent may be given or withheld in Disclosing Party’s sole discretion; or

(d)	If the Protected Information, before it is furnished to the Receiving Party, is in the public domain; or

(e)	If the Protected Information, after it is furnished to the Receiving Party, enters the public domain other than as a result of a breach by the Receiving Party of its obligations under Section 1.3, Confidentiality; or

(f)	If reasonably deemed by the disclosing Receiving Party to be required to be disclosed in connection with a dispute between the Receiving Party and the Disclosing Party, but the disclosing Receiving Party must make reasonable efforts to restrict public access to the disclosed Protected Information by protective order, by aggregating information, or otherwise if reasonably possible; or

(g)	To a TSP or DSP engaged in the ERCOT Transmission Grid or Distribution System planning and operating activities, provided that the TSP or DSP has executed a confidentiality agreement with requirements substantially similar to those in Section 1.3, Confidentiality; or

(h)	To a vendor or prospective vendor of goods and services to ERCOT so long as such vendor or prospective vendor:

(i)	is not a Market Participant; and

(ii)	has executed a confidentiality agreement with requirements substantially similar to those in Section 1.3, Confidentiality;

(i)	To the North American Electric Reliability Council (NERC) if required for compliance with any applicable NERC requirement, but any Receiving Party must make reasonable efforts to restrict public access to the disclosed Protected Information as reasonably possible; or

(j)	To ERCOT and its consultants, the WEMM, and members of task forces and working groups of ERCOT, if engaged in performing analysis of abnormal system conditions, disturbances, unusual events, and abnormal system performance.  Notwithstanding the foregoing sentence, task forces and working groups may not receive Ancillary Service offer prices or other competitively sensitive price or cost information before expiration of its status as Protected Information, and each member of a task forces or working group shall execute a confidentiality agreement with requirements substantially similar to those in Section 1.3, Confidentiality, prior to receiving any Protected Information.  Data to be disclosed under this exception to task forces and working groups must be limited to clearly defined periods surrounding the relevant conditions, events, or performance under review and must be limited in scope to information pertinent to the condition or events under review and may include the following:

(i)	QSE Ancillary Service awards and deployments, in aggregate and by type of Resource;

(ii)	Resource facility availability status, including the status of switching devices, auxiliary loads, and mechanical systems that had a material impact on Resource facility availability or an adverse impact on the transmission system operation;

(iii)	Individual Resource information including Base Points, maximum/minimum generating capability, droop setting, real power output, and reactive output;

(iv)	Resource protective device settings and status;

(v)	Data from Current Operating Plans; and

(vi)	Resource Outage schedule information.

(2)	Such information may not be disclosed to other Market Participants prior to 10 days following the Operating Day under review.

1.3.7	Specific Performance

It will be impossible or very difficult to measure in monetary terms the damages that would accrue due to any breach by Receiving Party of Section 1.3, Confidentiality, or any failure to perform any obligation contained in Section 1.3 and, for that reason, among others, a Disclosing Party affected by a disclosure or threatened disclosure is entitled to specific performance of Section 1.3.  In the event that a Disclosing Party institutes any proceeding to enforce any part of Section 1.3, Confidentiality, the affected Receiving Party, by entering any agreement incorporating these Protocols, now waives any claim or defense that an adequate remedy at law exists for such a breach.

1.3.8	Commission Declassification

After providing reasonable notice and opportunity for hearing to ERCOT and a Disclosing Party, to the extent that the Disclosing Party is known by the PUCT, the PUCT may reclassify Protected Information as non-confidential in accordance with applicable PUCT rules.

1.3.9	Expansion of Protected Information Status

A Market Participant may petition the PUCT to include specific information not listed in Section 1.3.1.1, Items Considered Protected Information, within the definition of Protected Information for good cause.  In addition, a Market Participant may petition the PUCT to expand the time period for maintaining Protected Information status of specific information, or prohibit disclosure altogether, for good cause.  After reasonable notice and opportunity for hearing, the PUCT may grant or deny such petition.

1.4	Operational Audit

1.4.1	Materials Subject to Audit

ERCOT’s records and documentation pertaining to its operation as the certified Independent Organization for the ERCOT Region are subject to audit in the manner prescribed herein.  The rights of Market Participants to audit ERCOT are limited to the provisions in Section 1.4, Operational Audit.

1.4.2	ERCOT Audit Committee

The ERCOT Board has overall audit responsibility for ERCOT.  The ERCOT Board may fulfill the responsibilities of the ERCOT Audit Committee or it may create a subcommittee made up of Board members to function as an ERCOT Audit Committee.  The ERCOT Audit Committee shall appoint an external independent certified public accounting firm or firms (“Appointed Firm”) to conduct an Operations Audit and a Code of Conduct Audit as described herein and shall make recommendations to the ERCOT Board in relation to the approval, initiation, and scheduling of such audits.  ERCOT shall require such firm to sign a confidentiality agreement, with terms substantially similar to terms in Section 1.3, Confidentiality, with ERCOT before appointing the firm or firms.

1.4.3	Operations Audit

1.4.3.1	External Audit

At least annually, the Appointed Firm shall review ERCOT management’s compliance with its operations policies and procedures.  The scope of the audit must include the following:

(a)	Examination of the processing of ERCOT’s receipts and disbursements as the agent on behalf of Market Participants in compliance with these Protocols;

(b)	Verification that ERCOT in its administration of these Protocols is operating independently of control by any Market Participant or group of Market Participants; and

(c)	Verification that ERCOT is operating in compliance with the following:

(i)	The confidentiality and Protected Information provisions of these Protocols;

(ii)	ERCOT’s policies that prohibit employees from:

(A) 	being involved in business decisions where the individual stands to gain or lose personally from the decision;

(B) 	having a direct financial interest in a Market Participant;

(C) 	serving in an advisory, consulting, technical or management capacity for any business organization that does significant business with ERCOT (other than through service on ERCOT Committees); and

(D) 	accepting any gifts or entertainment of significant value (not to exceed $100.00 annually) from employees or representatives of any Market Participant doing business in ERCOT.

(iii)	ERCOT’s policies and agreements requiring substantially full time consultants and contractors to comply with:

(A)	the confidentiality and Protected Information provisions of these Protocols; and

(B) 	high standards of legal and ethical conduct in their activities in ERCOT’s service.

1.4.3.1.1	Material Issues

(1)	This audit may also include material issues raised by ERCOT Members or Market Participants if:

(a)	Such issues have been presented to TAC, approved by TAC, and approved by the ERCOT Audit Committee for inclusion in the audit scope; or

(b)	Such issues are part of a random sample of complaints selected by the auditors for review, and affected Market Participants have agreed in writing to the examination of their related information in the compliance audit.

(2)	Members and Market Participants shall send any requests regarding such issues to the ERCOT TAC Chairperson designee identified on the Market Information System for inclusion on the TAC agenda.

1.4.4	Audit Results

These audit reports must be prepared and finalized no later than four months after the initiation of the audit.  All audit reports must be addressed to the ERCOT Board of Directors; copies must be provided to the ERCOT Audit Committee and, upon request, to Market Participants and ERCOT Members.  Findings and recommended actions identified as a result of an audit must be reviewed by the ERCOT Audit Committee.  The results of the audits and recommended actions to be taken by ERCOT must be provided to ERCOT Members and Market Participants upon request.  ERCOT shall post the availability of audit reports, results of audits, and recommended actions on the MIS Public Area within one week of availability.

1.4.5	Availability of Records

Subject to the requirements of Section 1.4.6, Confidentiality of Information, ERCOT shall provide the Appointed Firm full and complete access to all financial books, cost statements, accounting records, and all documentation pertaining to the requirements of the specific audits being performed.  ERCOT shall retain records relating to audits for at least four years after the audit report is delivered to ERCOT and after that until the later of (1) when the otherwise-applicable records retention requirements of ERCOT are satisfied; or (2) when the audit issues are fully resolved; in any event, however, ERCOT is never required to keep the audit records longer than seven years after the audit report is delivered to ERCOT.  Section 1.4, Operational Audit, is not intended to require ERCOT to create any new records, reports, studies, or evaluations.

1.4.6	Confidentiality of Information

All Protected Information as defined in these Protocols obtained by the Appointed Firm through any audits remains strictly confidential.  To retain control of Protected Information, ERCOT shall require that each individual auditor of the Appointed Firm sign a confidentiality agreement with terms substantially similar to the terms of Section 1.3, Confidentiality, before being allowed access to any ERCOT records or documentation.  Audit reports or results provided to Market Participants or ERCOT Members must not contain any Protected Information.

1.5	ERCOT Fees and Charges

Fees and charges to Market Participants for use of the ERCOT scheduling, settlement, registration, and other related systems and equipment are set forth in these Protocols.  The ERCOT Board may adopt additional fees and charges as reasonably necessary to cover the additional costs of such systems and equipment.  Market Participants are responsible for all such applicable fees and charges.  ERCOT shall post a schedule of ERCOT fees and charges on the MIS Public Area within two Business Days of change.

1.6	Open Access to the ERCOT Transmission Grid

1.6.1	Overview

Open access to the ERCOT Transmission Grid must be provided to all Eligible Transmission Service Customers by Transmission Service Providers (TSPs) and ERCOT under these Protocols and the P.U.C. Substantive Rules, Chapter 25, Substantive Rules Applicable to Electric Service Providers, Subchapter I, Transmission and Distribution.

1.6.2	Eligibility for Transmission Service

Transmission Service is available to all Eligible Transmission Service Customers.  Energy may be transmitted and Ancillary Service may be provided on behalf of an Eligible Transmission Service Customer through the ERCOT System only through a QSE.

1.6.3	Nature of Transmission Service

Transmission Service allows all Eligible Transmission Service Customers to deliver and receive Energy using the Transmission Facilities of all of the Transmission Service Providers in ERCOT under P.U.C. Substantive Rules.

1.6.4.	Payment for Transmission Access Service

ERCOT may not collect Transmission Access Service fees for the TSPs’ cost of service.  ERCOT shall provide volumetric data, pursuant to Section 9, Settlement and Billing, to the TSPs so that the TSPs can calculate their Transmission access fees.  ERCOT’s collection and settlement process associated with ERCOT’s scheduling and deployment of Ancillary Service is addressed separately in these Protocols.

1.6.5	Interconnection of New Generation

Interconnection of new All-Inclusive Generation Resources to the ERCOT Transmission Grid must be in accordance with the ERCOT Standard Generation Interconnection Agreement (SGIA) and associated procedures.

1.7	Rules of Construction

(1)	Capitalized terms and acronyms used in the Protocols have the meanings set out in Section 2, Definitions and Acronyms, of these Protocols or the meanings expressly set out in another Section of the Protocols.  If a capitalized term or acronym is defined in both Section 2, and another Section of these Protocols, then the definition in that other Section controls the meaning of that term or acronym in that Section, but the definition in Section 2, controls in all other Sections of the Protocols; and

(2)	In these Protocols, unless the context clearly otherwise requires:

(a)	The singular includes the plural and vice versa;

(b)	The present tense includes the future tense, and the future tense includes the present tense;

(c)	Words importing any gender include the other gender;

(d)	The words “including,” “includes,” and “include” are deemed to be followed by the words “without limitation;”

(e)	The word “shall” denotes a duty;

(f)	The word “will” denotes a duty, unless the context denotes otherwise;

(g)	The word “must” denotes a condition precedent or subsequent;

(h)	The word “may” denotes a privilege or discretionary power;

(i)	The phrase “may not” denotes a prohibition;

(j)	Reference to a Section, Attachment, Exhibit, or Protocol means a Section, Attachment, Exhibit, or provision of these Protocols;

(k)	References to any statutes, regulations, tariffs, or these Protocols are deemed references to such statute, regulation, tariff, or Protocol as it may be amended, replaced, or restated from time to time;

(l)	Unless expressly stated otherwise, references to agreements and other contractual instruments include all subsequent amendments and other modifications to the instruments, but only to the extent that the amendments and other modifications are not prohibited by these Protocols;

(m)	References to persons or Entities include their respective successors and permitted assigns and, for governmental Entities, Entities succeeding to their respective functions and capacities;

(n)	References to “writing” include printing, typing, lithography, and other means of reproducing words in a tangible visible form;

(o)	Any reference to a day, week, month, or year is to a calendar day, week, month, or year unless otherwise noted; and

(p)	Any reference to time is to Central Prevailing Time; the 24-hour clock is used unless otherwise noted.

(q)	Any reference to dollars is U.S. currency dollars unless otherwise noted.

(r)	All Settlement calculations are in dollars (USD), unless otherwise noted.

(s)	Any reference to energy is electrical energy, unless otherwise noted.

(3)	These provisions apply to giving notice under the Protocols:

(a)	Whenever these Protocols require an Entity to send a notice to another Entity and do not specify the method by which that notice should be sent, then the notice may be sent by:

(i)	Hand-delivery:

(ii)	Electronic mail;

(iii)	Facsimile transmission;

(iv)	Overnight delivery service (e.g., Federal Express, DHL or similar service) that requires a signed receipt;

(v)	The Messaging System or other electronic means provided for by these Protocols; or

- U.S. Mail, first class postage prepaid, registered (or certified) mail, return receipt requested, properly addressed.

(b)	Notice by facsimile, electronic mail, the Messaging System, or other electronic means provided for by these Protocols is considered received when sent unless transmitted after 5:00 p.m. local time of the recipient or on a non-Business Day, in which case it is considered received one Business Day after it was sent.

(c)	Notice by overnight delivery service that requires a signed receipt is considered received on the day that it was received.

(d)	Notice by U.S. Mail is considered received three days after the date it was deposited in the U.S. Mail, first class postage prepaid, registered (or certified) mail, return receipt requested, properly addressed.

(e)	For any notice sent by facsimile or electronic mail, the sender must promptly confirm the notice, in writing, by delivering the notice by:

(i) 	U.S. Mail, first class postage prepaid, registered (or certified) mail, return receipt requested, properly addressed;

(ii)	Overnight delivery service requiring a signed receipt; or

(iii)	Hand-delivery.

(f)	If the Protocols require notice to a registered Market Participant by ERCOT, ERCOT must send the notice to the then-current Authorized Representative, if any, for the Market Participant as set forth in the Market Participant’s Application for Registration on file with ERCOT or another representative designated in writing by the Authorized Representative for the purpose of receiving communications from ERCOT.

(g)	When the Protocols require a notice to be in writing, sending it by electronic mail, the Messaging System, or other electronic means satisfies the requirement that the notice be in writing.

(4)	Nothing in these Protocols may be construed to grant any jurisdiction or authority to NERC or FERC that they do not otherwise have.

1.8	Effective Date

Provisions of these Protocols approved through the process set forth in Section 21, Process for Protocol Revision, but not implemented until a specified later date or in accordance with other specified prerequisites to implementation, must be set forth, and the approved but not yet implemented provision must be set forth in boxes within the Protocols.