CI57 - Move Resource Parameters from Registration to Market Management System

MMS will be used to change selected Resource Parameters (eg HSL, LSL, Ramp rates, etc)

The following Resource data is to be communicated and stored in the Market Management System (MMS)

- COP submission elements as defined in 3.9.1(4), including

  - Resource Status (ONRUC, ONREG, etc)

  - HSL/LSL

  - HEL/LEL

  - A/S Capacities

  - Etc.

- Resource Parameters (for Load and Generation Resources)

  - Normal and Emergency Ramp Rate Curves

  - Min On/Off-line Times

  - Hot/Cold/Int Start Times

  - Max Weekly Starts

  - Etc

Open Issues still being worked:

- Combined Cycle

  - Register combined cycle plant in Siebel

  - Store CC Configurations- MMS or NMMS

  - Store CC Elements- MMS or NMMS

  - Transitional Matrix for Configurations- MMS capability being assessed

- Load Resources

  - Register site as a single Resource

  - How to modle different configurations

  - Armed Breaker – Load Resource

  - Unarmed Breaker – Controllable Load Resource

Working draft of Resource characteristic in spreadsheet.

Source: April 2, 2007 – Texas Nodal Follow-up on Resource and Registration Data for TPTF