| PRR Number | 723 | PRR Title | Conform 5.6.6.1 EECP (formally titled “Emergency Interruptible Load Service Formula Correction”) |  |
| --- | --- | --- | --- | --- |
| Timeline | Urgent | Action |  | Approved |
| Protocol Section(s) Requiring Revision |  | 5.6.6.1, Emergency Electric Curtailment Plan (EECP) |  |  |
| Proposed Effective Date |  | July 1, 2007 |  |  |
| Priority & Rank Assigned |  | N/A |  |  |
| Revision Description |  | This Protocol Revision Request (PRR) proposes technical corrections to the progression of the Steps during an EECP event in Protocol Section 5.6.6.1. |  |  |
| Overall Market Benefit |  | Correction to the Protocols to allow ERCOT to proceed to Step 4 when necessary during an EECP event to ensure system reliability. |  |  |
| Overall Market Impact |  | None. |  |  |
| Consumer Impact |  | None. |  |  |
| Credit Impacts |  | ERCOT credit staff and the Credit Work Group (CWG) have reviewed PRR723 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | - On 05/16/07, PRR723 and the associated Impact Analysis (IA) were posted with a request for Urgent status. - On 05/17/07, PRS considered this PRR. - On 06/07/07, a revised IA was posted. - On 06/07/07, TAC considered this PRR. - On 06/19/07, the ERCOT Board of Directors (Board) considered this PRR. |  |  |
| PRS Recommendation |  | On 05/17/07, PRS voted to grant PRR723 Urgent status via roll call vote with 4.75 votes in favor; 0.25 votes against (Independent Power Marketer Segment); and two abstentions (Consumer Segment and Independent Retail Electric Provider Segment). All Market Segments were present for the vote. Also, on 05/17/07, PRS voted to recommend approval of PRR723 as modified by PRS. There was one abstention from the Independent Power Marketer Segment. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 05/17/07, ERCOT clarified that the reason for requesting Urgent status for PRR723 was to correct the references to EECP steps in Section 5.6.6.1. Acknowledging that the proposed revisions to Sections 6.10.13.3, Performance Criteria for EILS Resources, and 22K, Emergency Interruptible Load Service (EILS) Agreement were not Urgent, PRS removed them from PRR723. PRS requested that ERCOT Staff submit those revisions in a separate PRR for consideration on a normal timeline. |  |  |
| TAC Recommendation |  | On 06/07/07, TAC unanimously voted to recommend approval of PRR723 as recommended by PRS. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | On 06/07/07, there was no discussion. |  |  |
| Board Action |  | On 06/19/07, the Board voted to approve PRR723 as recommended by TAC. |  |  |

ERCOT/Market Segment Impacts and Benefits

| Assumptions | 1 | Eliminates language conflicts and potential confusion. |  |
| --- | --- | --- | --- |
|  | 2 |  |  |
|  | 3 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 | None | None |
|  | 2 |  |  |
|  | 3 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 | Settlement | Eliminates potential confusion due to language discrepancy. |
|  | 2 | Procurement/ bidding | Eliminates potential confusion. |
|  | 3 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
| Other | 1 |  |  |
| Comments | 2 |  |  |

| Original Sponsor |  |
| --- | --- |
| Name | Paul Wattles, ERCOT Staff |
| E-mail Address | pwattles@ercot.com |
| Company | ERCOT |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Description |
| None |  |

Proposed Protocol Language Revision

5.6.6.1	Emergency Electric Curtailment Plan (EECP)

At times it may be necessary to reduce electrical demand because of a temporary decrease in available electricity supply.  To provide orderly, predetermined procedures for curtailing demand during such emergencies, ERCOT will initiate and coordinate the implementation of the Emergency Electric Curtailment Plan following the EECP Steps set forth below in Section 5.6.7, EECP Steps.

The objective of the EECP is to provide for maximum possible continuity of service while maintaining the integrity of the ERCOT Transmission Grid in order to reduce the chance of cascading outages.

ERCOT’s operating procedures shall meet the following goals while continuing to respect the confidentiality of market sensitive data:

(1)	Use of the market to the fullest extent practicable without jeopardizing the reliability of the ERCOT system;

(2)	Use of Responsive Reserve Services and other Ancillary Services to the extent permitted by ERCOT System conditions;

(3)	Maximum use of ERCOT System capability;

(4)	Maintenance of station service for nuclear Generation Resource Facilities;

(5)	Securing of startup power for Generation Resources;

(6)	Operation of power Generation Resources during loss of communication with ERCOT;

(7)	Restoration of service to critical Loads in the manner defined in the Operating Guides; and

(8)	Restoration of service to all customers following major system disturbances, giving priority to the larger groups of customers.

ERCOT shall be responsible for coordinating with QSEs and TDSPs to monitor system conditions, initiating the EECP steps, notifying all QSEs, and coordinating the implementation of the EECP Steps while maintaining transmission security limits.

ERCOT, at management’s discretion, may at any time issue an appeal through the public news media for voluntary energy conservation.

During the EECP, ERCOT has the authority to obtain energy from BtB Ties or Block Load Transfers (BLTs) from non-ERCOT Control Areas when capacity is available.

Some of the EECP Steps will not be applicable if transmission security violations exist. There may be insufficient time to implement all Steps in sequence, but to the extent practicable, ERCOT will use Ancillary Services which bidders have made available in the market to maintain or restore reliability.

ERCOT may immediately implement Step 4 of the EECP any time the steady-state system frequency is below 59.8 Hz and will immediately implement Step 4 any time the steady-state frequency is below 59.5 Hz.

Percentages for Step 4 Load shedding will be based on previous year’s TDSP peak Loads, as reported to ERCOT, and will be reviewed by ERCOT and modified annually.