Attestation Regarding Qualification of Ancillary Services for

Resources Transitioning from Zonal to Nodal ERCOT Market Operations

As the Authorized Representative (or Market Participant Accountable Executive) representing Entity, __________________________, I certify that the provision of Ancillary Services from the Resource(s) listed below will comply with the Nodal Protocols and Nodal Operating Guides and meet the requirements stated within this document.  Based on this self-certification process, I request that the Resource(s) listed below be qualified to provide Ancillary Services in the Nodal market.

The Entity commits that the Resources listed below will participate in Early Delivery System (“EDS”)-1 and EDS-2 activities for communications testing, and in EDS-3 and EDS-4 for Load Frequency Control (LFC) testing.  ERCOT will monitor Resource performance during EDS-3 and EDS-4.  The Entity acknowledges that the Resource(s) can be disqualified for provision of the requested Ancillary Service(s) during the EDS market trials if ERCOT deems the performance of the Resource(s) to not meet the requirements of the Nodal Protocols and Nodal Operating Guides, and if such performance issues cannot be resolved to ERCOT’s satisfaction.

Resources not participating in the Zonal market or in the EDS market trials during the transition to Nodal will be required to proceed through Resource qualification activities as defined in Nodal Protocols Section 8.1.2.1, Ancillary Service Qualification and Testing.

On behalf of the Entity, I attest to the following information in requesting self-certification of the Resources listed below for ERCOT consideration:

- Each Resource listed below has been successfully deployed, alone or as part of a multi-resource portfolio, in the Zonal market.

- Each Resource listed below will be capable of meeting the Nodal Protocol and Nodal Operating Guide requirements in time for LFC testing during EDS activities.

- For Generation Resources requesting Responsive and Regulation Service qualification, the Generation Resource listed below has an installed Automatic Generation Control (“AGC”) system that is in service as required by the Nodal Operating Guides.

- For Generation Resources requesting Responsive Reserve Service qualification, the Generation Resource listed below has a governor installed and in service.

- For Load Resources requesting Responsive Reserve Service qualification, the Load Resources listed below has individually demonstrated and been qualified for operation in the Zonal market.

Printed Name:  	_______________________________

Signature:   	_______________________________

Date Signed: 	_________________

Resource and qualification(s) requested:			                     Indicate (Y)es or (N)o

| Resource Name | Resource Type (Gen/Load) | Regulation Service | Responsive Reserve Service | Non-Spinning Reserve |
| --- | --- | --- | --- | --- |
| Resource Name (continued) | Resource Type (Gen/Load) | Regulation Service | Responsive Reserve Service | Non-Spinning Reserve |

Internal Use Only

RECEIVED BY ERCOT:

By: 						  Date:

Printed Name: