| PRR Number | 722 | PRR Title | 48 Hour Restoration |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Rejected. |
| Protocol Section Requiring Revision) |  | 6.5.8, Black Start Service |  |  |
| Revision Description |  | This Protocol Revision Request (PRR) proposes language so that in the unlikely event of an ERCOT System shut down, ERCOT will return 90% of ERCOT peak Load to pre-disturbed condition at or near 48 hours if a viable solution is available. |  |  |
| Overall Market Benefit |  | This PRR defines a timeline for restoration following a total ERCOT System shut down in the ERCOT Protocols and ERCOT Operating Guides. |  |  |
| Overall Market Impact |  | Not known. |  |  |
| Consumer Impact |  | Not known. |  |  |
| Credit Impacts: Has the Credit Workgroup reviewed the PRR? If so, are there credit impacts? |  | TBD. |  |  |
| Procedural History |  | - On 05/04/07, PRR722 was posted. - On 05/16/07, PRS voted by email on the motion to grant Urgent status to PRR722. - On 05/22/07, ERCOT comments were posted. - On 05/23/07, Oncor comments were posted. - On 06/21/07, PRS considered this PRR. |  |  |
| PRS Action |  | On 05/16/07, the motion to grant Urgent status failed by email vote. On 06/21/07, PRS voted to reject this PRR. There were three abstentions from the Investor Owned Utility (IOU) (1) and Municipally Owned Utility (MOU) (2) Market Segments. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 06/21/07, Oncor explained its comments. |  |  |

| ERCOT/Market Segment Impacts and Benefits |  |  |  |
| --- | --- | --- | --- |
| Assumptions | 1 | None. |  |
|  | 2 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 | Unknown | Unknown |
|  | 2 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 | Defined timeline for restoration in the event of a total ERCOT system shutdown |  |
|  | 2 |  |  |
| Additional Qualitative Information | 1 | None. |  |
|  | 2 |  |  |
| Other | 1 | None. |  |
| Comments | 2 |  |  |

| Sponsor |  |
| --- | --- |
| Name | Dennis Starbuck on behalf of the ERCOT Black Start Task Force |
| E-mail Address | Dennis.starbuck@austinenergy.com |
| Company | Austin Energy |
| Company Address | 301 West Avenue, Austin, Texas 78701 |
| Phone Number | 512-322-6694 |
| Fax Number | 512-476-9420 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Description |
| ERCOT 052207 | ERCOT stated that it uses Good Utility Practice to balance the restoration time and cost of the service every year when awarding this service. |
| Oncor 052307 | Oncor stated its belief that this PRR should be rejected. |

Proposed Protocol Language Revision

6.5.8	Black Start Service

(1)	In the unlikely event of an ERCOT System shut down, ERCOT will return 90% of ERCOT peak load to pre-disturbed condition at or near 48 hours if a viable solution is available.

(2)	Providers of Black Start Service shall meet the requirements specified in NERC policy and Operating Guides.

(3)	Each Resource providing Black Start Service must meet technical requirements specified in Section 6.10, Ancillary Service Qualification, Testing and Performance Standards.

(4)	Beginning in 2001, ERCOT will request bids from Generation Resource Entities for the provision of Black Start Service.  Such bids shall be due on or before June 1 of each year.  Bids will be evaluated based on evaluation criteria attached as an appendix to the request for bids and contracted by December 31 for the following calendar year.  ERCOT shall ensure Black Start Services are arranged, provided, and deployed as necessary to reenergize the ERCOT System following a total or partial system blackout.

(5)	ERCOT shall schedule random testing or simulation, or both, to verify Black Start Service is operable according to the ERCOT System restoration plan.  Testing and verification will be in accordance with established qualification criteria.

(6)	QSEs representing Generation Resources contracting for Black Start Services shall participate in training and restoration drills coordinated by ERCOT.

(7)	ERCOT shall periodically conduct system restoration seminars for all TDSPs, QSEs, Generation Entities and other Market Participants.