| NPRR Number | 063 | NPRR Title | Electrical Bus Clarification |
| --- | --- | --- | --- |
| Timeline | Normal | Recommended Action | Approval |
| Nodal Protocol Section Requiring Revision |  | 2.1, Definitions |  |
| Proposed Effective Date |  | Upon Texas Nodal Market implementation. |  |
| Priority & Rank Assigned |  | Not applicable. |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) provides clarification on designation of Electrical Buses within the Network Operations Model that will meet the needs of the Nodal Market. |  |
| Overall Market Benefit |  | This clarification allows more accurate representation of Nodal Market requirements and significantly reduces the number of defined Electrical Buses in the Network Operations Model by approximately 6,000. |  |
| Overall Market Impact |  | None. |  |
| Consumer Impact |  | Not known. |  |
| Credit Impacts: Has the Credit Workgroup reviewed the NPRR? If so, are there credit impacts? |  | TBD. |  |
| Procedural History |  | - On 5/24/07, NPRR063 was posted. - On 6/21/07, PRS considered this NPRR. - On 6/21/07, ERCOT Staff presented the Impact Analysis (IA). |  |
| PRS Recommendation |  | On 6/21/06, PRS voted to recommend approval of NPRR063 as submitted, endorse the IA and forward the documents to TAC. There was one abstention from the Consumer Market Segment. All Market Segments were present for the vote. |  |
| Summary of PRS Discussion |  | On 6/21/07, ERCOT Staff stated that in several stakeholder meetings it was evident that there was no clear understanding of the meaning of “electrical bus”. ERCOT Staff indicated that it would cooperate with Transmission Service Providers (TSPs) to determine the existence of electrical busses. |  |

ERCOT/Market Segment Impacts and Benefits

| Assumptions | 1 | n/a |  |
| --- | --- | --- | --- |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 | n/a | n/a |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 | n/a | n/a |
| Additional Qualitative Information | 1 | None. |  |
| Other | 1 | None. |  |
| Comments | 2 |  |  |

| Original Sponsor |  |
| --- | --- |
| Name | Trip Doggett on behalf of TPTF |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Description |
| None |  |

Proposed Nodal Protocol Language Revision

## 2.1	DEFINITIONS

Electrical Bus

A physical transmission element defined in the Network Operations Model that connects, using breakers and switches, one or more Loads, lines, transformers, generators, capacitors, reactors, and phase shifters to the ERCOT Transmission Grid where there is negligible impedance between the connected transmission elements.    All Electrical Buses are designated by ERCOT and TSPs for modeling the electrical topology of the ERCOT Transmission Grid.