## QSE_TSP Info
ERCOT ICCP Change Request - MP Information
Instructions: | Please provide the contact information for the technical contact(s) submitting these changes. This person will be contacted if there are any questions regarding the changes.
Market Participant Name:
Primary Contact Person:
Contact Number:
Contact Number 2:
Contact Email:
Secondary Contact Person:
Contact Number:
Contact Number 2:
Contact Email:

## ICCP Change Request Form
RealQ
StateQ
ERCOT ICCP Change Request Form | [15 empty] | DiscreteQ
GMTBasedS
Instructions: | Please fill out the form (paste data) based on the data requested information in each column. An example is provided. If you have any questions regarding the form, please contact ERCOT's ICCP team. Please do not ALTER this form in any way. | [14 empty] | RealQTimeTag
[6 empty] | (if applicable) |  |  | Add (-1) Delete (-2) | Nodal (N) Nodal/Zonal (NV | Field Tel (FT), Not Field Tel (NFT) |  | EST =Estimated CAL = Calculated
Remote | Station Shortname | Voltage | Device | Device Type | Description | Old ICCP Object Name | New ICCP Object Name | ICCP Data Type | Add or Remove | Nodal/ Both | FT/NFT/EST/CAL | Owner | In Service Date | Effective Date | Comment
TSP point Examples
ccct | ssssssss | 3450 | 9662CSW | BUSS | 345KV Bus Volt | sssTBS_ssssssss3450BUS1A_KV | ccccBS_ssssssss3450BUS1A_KV | Real Q | -1 | N | FT | sssT | 2007-05-09 | 2007-05-11 | 345KV Buss Volt
ccct | ssssssss | 138 | AMD_138 | BUSS | 138KV Bus Volt | sssTBS_ssssssss1380AMD_138_KV__ | sssTBS_ssssssss1380AMD_138_KV__ | Real Q | -2 |  | NFT | ssst | 2007-05-09 | 2007-05-11 | 138KV Buss Volt
ccct | ssssssss | 3450 | OCB3580 | CB | 345KV CB |  | sssTCB_ssssssss3450OCB3580_MW__ | RealQ | -2 | NZ | FT | sssT | 2007-05-09 | 2007-05-11 | 345KC CB
|  |  |  | QSE Point Examples |  |  |  | Real Q
cccQ |  |  | QSE | QSE | System Frequency |  | cccQQSEQSE_FREQQSE_HZ | Real Q | -1 | N | FT | cccQ |  |  | QSE Freq Telemetry
cccQ | ssssssss |  | Generation Unit | UN | Normal Ramp Rate |  | cccQUN_ssssNMRRsss#_MW | Real Q | -1 | N | FT | cccQ |  |  | Generating Unit Normal Ramp Rate
cccQ | ssssssss |  | Generation Unit | UN | Emergency Ramp Rate |  | cccQUN_ssssEMRRsss#_MW | Real Q | -1 | N | NFT | cccQ |  |  | Generating Unit Emergency Ramp Rate
cccQ | ssssssss |  | Generation Unit | UN | High Emergency Limit |  | cccQUN_ssssHEL_sss#_MW | Real Q | -1 | N | NFT | cccQ |  |  | Generating Unit High Emergency Limit
cccQ | ssssssss |  | Generation Unit | UN | High Sustained Limit | xxx_UN_yyy_____0250yyy#____HLIM | cccQUN_ssssHSL_sss#_MW | Real Q | -1 | NZ | NFT | cccQ |  |  | Generating Unit High Sustained Limit
cccQ | ssssssss |  | Generation Unit | UN | Low Sustained Limit | xxx_UN_yyy_____0250yyy#____LLIM | cccQUN_ssssLSL_sss#_MW | Real Q | -1 | NZ | NFT | cccQ |  |  | Generating Unit Low Sustained Limit

## Definition of Data
Definition of Data
A definition of each ICCP required data element in the service request form is listed below.
Data Element | Definition | Reference
Remote | Four letter name assigned in the Remote Domain name. | ERCOT Nodal ICCP Communication Handbook 4.3 ICCP Data Exchange Conventions
Station Shortname | Short name for the substation or resource assigned by ERCOT. | The Station shortname reflected in the ICCP Object Name should be the same as the Station Shortname represented in the ERCOT model.
Voltage | Voltage of this device. | ERCOT Nodal ICCP Communication Handbook 6.2 TSP ICCP Object Naming Conventions
Device | Equipment Name of the device | ERCOT Nodal ICCP Communication Handbook 6.2 TSP ICCP Object Naming Conventions
Description | Short description of the device. May include connectivity info if needed.
Old ICCP Object Name | Old ICCP name if being renamed.
New ICCP Object Name | New ICCP Object Name | ERCOT Nodal ICCP Communication Handbook 5.2 QSE ICCP Object Naming Conventions 6.2 TSP ICCP Object Naming Conventions
ICCP Data Type | Attributes of the ICCP object. | RealQ – SCADA Analogs 32-bit signed floating point Date Discrete – 32 bit signed integer value StateQ – One and two bit status values RealQTimetag - SCADA Analogs 32-bit signed floating point w/Time
Add or Remove | Use (-1) to represent all new ICCP and (-2) to represent removed. | Indicate "-1" if a new point or revision Indicate "-2" if point is to be removed
Nodal Only / Nodal & Zonal | Additions or changes affecting Nodal Only or both.
Field Tel/Non Field Tel | FT= Field Telemetered Point NFT = Not Field Telemetered Point EST = Estimated Point CAL = Calculated Point | FT = Directly Telemetered Analog or Status Value from Station Equipment NFT = Value or status not directly telemetered from the substation equipment, manually updated in MP’s SCADA system CAL = Calculated Value from MP's EST = Estimated Value from MP's
Owner | Owner means the owner of the telemetered point sent to ERCOT via ICCP | MP’s should only send the telemetry for equipment they own . If they send telemetry for a device that they are not the owner of, they should specify the owner.
In Service Date | Date when the MP puts the ICCP point changes in their system.
Effective Date | Date when the MP expects ERCOT to put the ICCP points in their Production system.
Comment | Field where MPs can provide comments regarding the points submitted.