Texas Nodal EDW

Performance Monitoring & Compliance

Software Requirements Specification

Protocol Section 8

Version 0.09

Revision History

| Date | Version | Description | Author |
| --- | --- | --- | --- |
| 4/24/2006 | 0.01 | Draft version based upon John Adam’s review of entire set of protocols. | Chandra Ramireddy |
| 5/11/2007 | 0.02 | Revised introduction, updated total list of requirements to reflect latest round of requirements analysis completed by John Adams | Scott Privette |
| 5/18/2007 | 0.03 | Completed input from business managers around report names and protocol references for each requirement line. | Scott Privette |
| 5/25/2007 | 0.04 | Added Protocol Coverage table to Appendix A. Revised main section of requirements to reflect Section 8 only. | Scott Privette |
| 5/31/2007 | 0.05 | Updated Protocol Coverage table in Appendix A to reflect the requirements document in which each item is covered. | Scott Privette |
| 6/01/2007 | 0.06 | Received business feedback on Section 8 coverage. Updated Functional Requirements and Appendix A. | Scott Privette |
| 6/13/2007 | 0.07 | Incorporated TPTF feedback by including all section 8 in main body. Defined TPTF review process for lower level documents. | Scott Privette |
| 6/21/2007 | 0.08 | Added report definitions, latency requirements, source system, and generation system. Added detail to all reports generated for compliance items. | Scott Privette |
| 6/23/2007 | 0.09 | Included overview of entire compliance process. | Scott Privette |

Table of Contents

1.	Introduction	4

1.1	Scope	4

1.2	Document Conventions	4

1.3	Assumptions and Dependencies	4

1.4	Definitions	5

2.	Structure	7

3.	Functional Requirements	8

3.1	New Requirements from Nodal Section 8 Protocols	8

3.2	Nodal Section 8 Coverage From Existing Requirements	54

3.3	Requirements from Other Binding Documents	54

4.	Supplementary Requirements	54

4.1	Performance Requirements	55

4.2	Confidentiality Requirements	55

4.3	Legal and Regulatory requirements	56

4.4	System and Communication Requirements	56

4.5	System Security Requirements	56

4.6	Back up and Recovery Requirements	56

4.7	Availability and Redundancy Requirements	56

4.8	Maintainability Requirements	56

4.9	Training and Documentation Requirements	56

4.10	Usability Requirements	56

5.	Protocol Coverage	56

6.	Appendix A - ERCOT Replication Criteria & Content Generation Guidelines	62

Software Requirements Specification

# Introduction

## Scope

The EDW Nodal Compliance Requirements Specification is intended to document the requirements to cover those data services and reports called for in the Texas Nodal Protocols, Section 8, Compliance and Performance.  The Nodal Enterprise Data Warehouse (EDW) Project intends to provide these data services and reports in the following ways:

(a)	Replication and archival of ERCOT data sets needed to be compliant with the Nodal Protocols, PUCT Rules, and requirements of the Independent Market Monitor (IMM);

(b)	Ensuring data extraction and reporting is provided to Market Participants in a manner consistent with the intent of the Nodal Protocols;

(c)	Ensuring ERCOT operational and market support entities have access to current and historical data sets and query capability to resolve market inquires; and

(d)	Designing ERCOT data archival and reporting systems to provide required confidentiality and security measures as detailed in nodal protocol section 1.3.1, Restrictions on Protected Information;

## Document Conventions

- All text lifted from the Nodal Protocols or PUCT Rulings is in italic font.

- All dependencies are identified using D1, D2, etc.

- All assumptions are identified using A1, A2, etc.

## Assumptions and Dependencies

### A1) Requirements that have been submitted by other Nodal project teams and approved by TPTF are not included here.

### A2) Additional requirements originating from Market Operating Guides will be covered in additional requirement sets as they become available, as updates to this document.

### A3) Compliance requirements derived from protocols are a mixture of business processes and IT deliverables; the EDW requirements will only be covering data services and products that support business processes.

A4) Compliance requirements that result in EDW deliverables will require ERCOT business SMEs for detailed definitions of data services and products.

A5) The Nodal Protocols are assumed to be written within the NERC guidelines; no additional compliance requirements are derived directly from NERC requirements.

### D1) ERCOT data and process owners, commonly referred to as business owners, will identify the appropriate source system of record for all data to be delivered by the EDW Project.

### D2) ERCOT source systems will define and construct reports and alerts that are generated from the source systems and stored or delivered by EDW project.

### D3) Nodal project teams or existing ERCOT business entities will be responsible for delivery of the ERCOT business processes in support of compliance requirements.

### D4) The presentation functions of the MIS Public Area will be provided by the Nodal MIS project.

## Definitions

Definitions listed below provide clarity to the language used in Functional and Supplemental Requirements.

| Business Intelligence Products | A business intelligence product delivers a concise set of highly integrated data elements to support detailed business analysis functions as trending, statistics, simulations, operational projections, historical analysis, and gap analysis. |
| --- | --- |
| Compliance | The adherence of process execution and the resultant deliverables to a formal set of rules and regulations previously established. |
| Data Archive/ Data Archivingl | The function of replicating data from ERCOT source systems to a data store that provides access to historical data. The previous ERCOT database for this function was also named “Data Archive” and in certain places in the protocols appears as a reference to a specific system. For the purpose of traceability of these requirements to the protocols the term is used as a generic function, without reference to a specific database |
| Data Attributes/ Attributes | Entities that define properties of data elements. |
| Data Element | A basic unit of information built on standard structures having a unique meaning and distinct units or values. |
| Data Integrity | The accuracy, correctness, and validity of data individually and as a whole. |
| Data Repository | Any system which has as it primary function that of retaining data from other systems, and typically serves as a distribution point for data products. Also see “Data Archive” |
| Data Services | The high-level grouping of IT functions including data replication, data archiving, data extraction, real-time and historic reporting, and generation of business intelligence products. |
| Data Warehouse | The function of transforming data and storing data for the expressed purpose of reporting. The previous ERCOT database for this function was also named “Data Warehouse” and in certain places in the protocols appears as a reference to a specific system. For the purpose of these requirements the term is used as a generic function without reference to a specific database. |
| Desired Latency Source System Data | The amount of time that would be ideal, from the end user’s standpoint, between when data is available in a source system and when it is available (in the form of a report or extarct) to the end user. |
| End User | The person or system requesting a data product for consumption. |
| ERCOT data storage systems | This phrase is used throughout these requirements and addresses systems used to replicate, store, and report required data. |
| Functional Requirements | Functional requirements specify specific behaviors of a system. This should be contrasted with non-functional requirements which specify overall characteristics. |
| Latency | The time delay between the moment a request for data is initiated and the moment when the requested data is returned. |
| Performance | How fast a business operation or system function performs under defined circumstances. |
| Reliability | The ability in percent of operational time that a device or system performs a required function under stated conditions. |
| Report Latency Requirements Source System of Data | The maximum amount of time permitted to elapse between when data is available in a source system and when it is available (in the form of a report or extarct) to the end user. |
| Report, Reporting | The creation and distribution of distinct data sets, bound by specific business rules to assist a ERCOT business function, PUCT function, WEMM function, or Market data request. |
| Role | The named set of features defined over a collection of entities (e.g., people, systems, organizations) participating in a particular context. |
| SLA | Service Level Agreement (SLA) – the part of a service contract in which a certain level of service is agreed between service provider and service recipient. |
| Source System | Any one of the ERCOT nodal systems of record: Siebel, NMMS, MMS, EMS, Lodestar, CRR, or CMM. |
| Supplementary Requirements | Also known as non-functional requirements. Supplementary requirements impose constraints and specify overall characteristics. Examples of supplementary requirements include performance, reliability, availability, security, legal and reusability, etc, |
| Supportability | The level to which the system enables the technical support personnel to troubleshoot or perform root cause analysis in pursuit of solving a problem with a product/system. |
| Usability | The ease with which people can employ a particular tool or system in order to achieve a particular goal. In user-interface design usability usually refers to the degree in which the design utilizes intuitively constructed symbols, icons, and layouts. |

# Compliance Overview

# Requirements Structure

This document is titled as TN.EDW.ComplianceRequirementsSpecification.v[x].doc

The Requirements sections of this document are:

- Functional Requirements

  - Nodal Section 8 Protocol Requirements

## New Requirements from Nodal Section 8 Protocols

## Nodal Section 8 Coverage From Existing Requirements

  - Other Binding Document

- Supplemental Requirements

All protocol references are from the current draft Nodal Protocols as of April 30, 2007.

# Functional Requirements

The functional requirements presented in this document are derived from the process of having ERCOT business subject matter experts interpret each section and subsection of the zonal and nodal protocols with respect to ERCOT’s compliance with the protocols.  A very large list of business processes and deliverable reports resulted from this effort.  Those items that will require the EDW project to deliver data replication, reporting, file archiving, or data extracts in support of the compliance requirement were considered for this document.  To prevent the TPTF body from approving requirements for the EDW project that have been approved in the requirements submittals of other nodal projects, the entire set of compliance items was researched against the 51 Requirements Specifications documents that have already been approved by the TPTF.  The resultant set of compliance requirements for the new content of this document.  The remaining compliance items are listed in Appendix A and have been designated with the approved document name that covers that protocol subsection.

The EDW project requirements gathering process for nodal market monitoring (section 17) and compliance (section 8) is diagrammed below:

## New Requirements from Nodal Section 8 Protocols

The following requirements are those from Section 8 of the Nodal protocols which are the responsibility of the EDW team to fulfill, and which are not already described and owned by another nodal program.

| Requirement Id | FR-C1 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 8.1(2) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Report on unit’s performance in following energy + regulation + Responsive; can select responsive reserve providers only. Report will provide a by unit by time or statistics (average, standard deviation for a time period) evaluation of the difference between unit MW output and desired output. Report Designation: Unit Performance Report Report Category: Secure Reporting Method: Automated report Report Latency Requirements Source System of Data: 24 hours Desired Latency Source System Data: 4 hours Source System for Data: EMS or PI Generation System for the Report: EDW Report Type: Web Service – at least 2 versions – statistical and hourly Protocol Text: Each QSE shall meet, and shall cause each Resource that it represents to meet, performance measures as described in this Subsection and in the Operating Guides. The QSE performance measures assess the Real-Time delivery of Ancillary Service by the QSE. Resource performance measures assess the capability of a Resource to meet the requirements of these Protocols and the Operating Guides. |  |

| Requirement Id | FR-C2 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 8.1 (3) (a) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Unit name, QSE, Date, time, test capability, reported time. Report describes the QSE, unit, test date and time and test results. Input selection will allow by QSE, by unit, or by all. Report will restrict information provided to that authorized for the requestor. Report Designation: Net Dependable Capability Test Report Report Category: Secure Reporting Method: Automated report Report Latency Requirements Source System of Data: 24 hours Desired Latency Source System Data: 4 hours Source System for Data: MMS – Net dependable Capability Generation System for the Report: EDW Report Type: Extract Protocol Text: ERCOT shall monitor the following categories of performance and compliance; Net dependable real power capability testing, for QSEs and Resources; |  |

| Requirement Id | FR-C3 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 8.1 (3) (b) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Unit name, QSE, Date, time, test capability, reported time, CURL information. Report describes when the last reactive capability test took place, what the MW and MVAR output was during the test period; how long the output was held, and a minimum of 4 MW/MVAR pairs describing the CURL of the unit. An option will exist to report all reactive tests ever received for a specific QSE rather then the last only. Selection will allow by QSE, by unit, or by all. Report will restrict information provided to that authorized for the requestor. Report Designation: Reactive Capability Test Report Category: Secure Reporting Method: Automated report Report Latency Requirements Source System of Data: 24 hours Desired Latency Source System Data: 4 hours Source System for Data: MMS Generation System for the Report: EDW Report Type: Web Service Protocol Text: ERCOT shall monitor the following categories of performance and compliance; Reactive testing, for Generation Resources; |  |

| Requirement Id | FR-C4 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 8.1 (3) (d) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Record of if and when black start procedure last received at ERCOT includes QSE or TSP name and date procedure received. An option will exist to tell when ALL black start procedures were ever received by ERCOT. Report Designation: Black Start Procedure Report Report Category: Secure Reporting Method: Automated report Report Latency Requirements Source System of Data: 24 hours Desired Latency Source System Data: 24 hours Source System for Data: EDW – employee entry Generation System for the Report: EDW Report Type: extract Protocol Text: ERCOT shall monitor the following categories of performance and compliance; Written Black Start procedures, for QSEs that represent Generation Resources and for Generation Resources; |  |

| Requirement Id | FR-C5 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 8.1 (3) (e) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: CPS1, CPS2, DCS reports. Report Designation(s): CPS1, CPS2, DCS Reports These reports are further described below: CPS1 – For an input Date range, the ERCOT CPS1 performance, Bias, Epsilon1, and average delta frequency by hour. If CPS1 < 100 it will be flagged in each report. Calculation of CPS1 is described in NERC reference document CPS1 – For an input Date range over 1 month, the Month, year, and monthly ERCOT CPS1 Compliance Factor performance by month. Will conform with the NERC Control Performance Standard Survey form 1 as described in the NERC Performance Standard Reference document. If CPS1 < 100 it will be flagged in each report CPS1 & CPS2 - For an input month/year, the NERC Control Performance standard Survey form 1 as described in the NERC Performance Standard Reference document shall be produced, showing the hourly average CPS1 and CPS2 by hour, including the number of samples, number of violations, and number of Unavailable periods shall be displayed for a given month. This format may be seen at the NERC website http://www.nerc.com/~oc/rs.html under “Performance Standards Reference Document” section “D- Survey Procedures Form 1”. CPS1 & CPS2 – For an input month/year, the NERC Control Performance standard Survey form 2 as described in the NERC Performance Standard Reference document shall be produced, showing CPS1 and CPS2 performance for a given month. This format may be seen at the NERC website http://www.nerc.com/~oc/rs.html under “Performance Standards Reference Document” section “D- Survey Procedures Form 2”. DCS report 1 – For an input Date range (normally a quarter) which reports all events that cause an ACE change greater than or equal to 80% of a control area’s most severe contingency. (i.e. a specified ACE threshold). Will report the disturbance start time, the MW loss, the ACE average, max, min, percent recovery for each disturbance. DCS report 2 – For an input date range (normally a quarter) reports the number of disturbances Not greater then the designated “most severe Single Contingency loss and the Average Percent Recovery (APR), number of disturbances greater then the designated “most severe Single Contingency loss, the time periods Contingency Reserve Adjustment Factor (CRAF), and criteria for determining reportable disturbances as described in the NERC website http://www.nerc.com/~oc/rs.html under “Performance Standards Reference Document section “D - NERC Disturbance Control Standard report”. Report Category: Secure Reporting Method: Automated report Report Latency Requirements Source System of Data: 24 hours Desired Latency Source System Data: 4 hours Source System for Data: EMS or PI Generation System for the Report: EDW Report Type: Web Service Protocol Text: ERCOT shall monitor the following categories of performance and compliance; Regulation control performance, for QSEs and as applicable, Resource-specific performance (See also Section 8.1.2, QSE Ancillary Service Performance Standards); |  |

| Requirement Id | FR-C6 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 8.1 (3) (f) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Report on unit’s performance in following energy + regulation + Responsive; can select responsive reserve providers only. Report will provide a by unit by time or statistics (average, standard deviation for a time period) evaluation of the difference between unit MW output and desired output. Report Designation: Unit Performance Report Report Category: Secure Reporting Method: Automated report Report Latency Requirements Source System of Data: 24 hours Desired Latency Source System Data: 4 hours Source System for Data: EMS or PI Generation System for the Report: EDW Report Type: Web Service – at least 2 versions – statistical and hourly Protocol Text: ERCOT shall monitor the following categories of performance and compliance; Compliance with Dispatch Instructions, for QSEs; |  |

| Requirement Id | FR-C7 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 8.1 (3) (g) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Record of when hydro responsive test was received at ERCOT, Unit code, Unit location , Unit name, Generators QSE, Resource Entity name, date of test, start time, MW output at 4 seconds, MW output at 10 seconds, maximum MW, Resource Entity representative, and QSE representative. Report Designation: Hydro Responsive Reserve test results Report Category: Secure Reporting Method: Automated report Report Latency Requirements Source System of Data: 24 hours Desired Latency Source System Data: 4 hours Source System for Data: EDW – manual entry Generation System for the Report: EDW Report Type: Extract Protocol Text: ERCOT shall monitor the following categories of performance and compliance; Hydro responsive testing, for QSEs; |  |

| Requirement Id | FR-C8 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 8.1 (3) (h) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Record of if and when black start procedure last received at ERCOT includes QSE or TSP name and date procedure received. An option will exist to tell when ALL black start procedures were ever received by ERCOT. Report Designation: Black Start Procedure Report Report Category: Secure Reporting Method: Automated report Report Latency Requirements Source System of Data: 24 hours Desired Latency Source System Data: 24 hours Source System for Data: EDW – employee entry Generation System for the Report: EDW Report Type: extract Protocol Text: ERCOT shall monitor the following categories of performance and compliance; Black Start Service requirements, for QSEs and Generation Resources; |  |

| Requirement Id | FR-C9 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 8.1 (3) (i) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: The Resource Asset Registration Form is the vehicle for resources to provide data to ERCOT describing their resource. ERCOT shall keep track of when the RARF was received, and when dynamic response information is received at ERCOT. These reports may be expanded to include input data if it can be standardized sufficiently. Report Designation: RARF Receipt Report & Dynamic Data Receipt Report Report Category: Secure Reporting Method: Automated report Report Latency Requirements Source System of Data: 24 hours Desired Latency Source System Data: 24 hours Source System for Data: EDW Generation System for the Report: EDW Report Type: Protocol Text: ERCOT shall monitor the following categories of performance and compliance; Supplying and validating data for generator models, as requested, for Generation Resources; |  |

| Requirement Id | FR-C10 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 8.1 (3) (j) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Outage scheduler reports. - Transmission outage summary - Requested, Approved, canceled, (Outage status) transmission outages by company by day for a provided date range - Resource outage summary - Approved and canceled Outage status) resource outages by company by day for a user input date range - Outage totals - Total outages requested for a user input date range (default 1 day) by requestor allowing option of “all” or “by company”. - Canceled outages - Canceled outages by requestor within a user input date range. - Outages summary - Number of outages for a given day selected by voltage level/Company/type (type being line outage, breaker outage, etc) with the voltage level, company, type, and date range being user inputs. - Past due outages – outages which were requested but not approved/rejected (processed) within the protocol required time requirements for a user input time date range. - Early completion report - Transmission or Resource Outages which ended early including requestor, date, time, equipment requested, original end date, actual end date for a user supplied input date range. - Long outages - Transmission or Resource Outages lasting longer then an operator entered threshold for an operator entered date range. - Monthly outage summary - Transmission Outages requested by month by TSP for an operator input date range. - Outage Plan summary– By TSP the date and time their outage plan was provided in accordance with protocol 3.1.3.1 for an operator entered date range. - Outage plan detail – For a given month, by TSP or all, all outages submitted as a part of the outage plan provided in accordance with protocol 3.1.3.1. - List of all outages for a given time period approved by a specified Outage Scheduler at ERCOT. - List of all outages submitted by a specified submitting Outage coordinator listing number with date changes, number which were forced extensions. Report Designation: Outage Schedule Reports Report Category: Secure Reporting Method: Automated reports Report Latency Requirements Source System of Data: 12 hrs Desired Latency Source System Data: 6 hrs Source System for Data: outage Scheduler Generation System for the Report: EDW Report Type: Web service with extracts Protocol Text: ERCOT shall monitor the following categories of performance and compliance; Twelve-month Outage scheduling, for QSEs and Resources; |  |

| Requirement Id | FR-C11 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 8.1 (3) (k) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Responsive Reserve performance reports. Four reports will be produced: Responsive Reserve Capacity Response detail report – This report will show by unit, by event the response time for units adjustment of its Responsive Reserve capacity for a user entered date range. Unit name, event date, event time, Responsive Reserve schedule at time of deployment, Time before schedule changed (reduced) in seconds, Responsive Reserve schedule after deployment (20 seconds after deployment). Responsive Reserve Capacity Response summary report – This report will show by unit by month or year the average response time for unit’s adjustment of its Responsive Reserve schedule for a user entered date range. Unit name, Month/year, and average time before schedule changed (reduced) in seconds. Responsive Reserve Energy Response detail report – This report will show by unit, by event the delta energy between the expected energy delivery 5 and 10 minutes after deployment of responsive reserve for each resource providing responsive reserve. Resource name, deployment date, deployment time, Telemeter Responsive Reserve at time of deployment, expected energy delivery after 5 minutes, actual energy delivery after 5 minutes, 5 minute delta, expected energy delivery after 10 minutes, actual energy delivery after 10 minutes, 10 minute delta should be shown. Responsive Reserve Energy Response summary report – This report will show by unit by month or year the average error in energy deployment 5 minutes and 10 minutes after deployment of Responsive Reserve service for a user entered date range. Report Designation: Responsive Reserve Capacity Response detail report, Responsive Reserve Capacity Response summary report, Responsive Reserve Energy Response detail report, Responsive Reserve Energy Response summary report Report Category: Secure Reporting Method: Automated report Report Latency Requirements Source System of Data: 24 hours Desired Latency Source System Data: 4 hours Source System for Data: EMS Generation System for the Report: EDW Report Type : Web service with extracts Protocol Text: ERCOT shall monitor the following categories of performance and compliance; Resource-specific Responsive Reserve performance for QSEs and Resources; |  |

| Requirement Id | FR-C12 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 8.1 (3) (l) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Voltage performance report. This reports the voltage set point, and average telemetered voltage by hour by for each location specified on the ERCOT voltage profile for a specified time span. Report Designation: Voltage Performance Report Report Category: Secure Reporting Method: Automated report Report Latency Requirements Source System of Data: 24 hours Desired Latency Source System Data: 4 hours Source System for Data: EMS Generation System for the Report: EDW Report Type: Web Service with Extracts Protocol Text: ERCOT shall monitor the following categories of performance and compliance; Voltage and Reactive support performance for QSEs and Generation Resources; |  |

| Requirement Id | FR-C13 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 8.1 (3) (o) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Non-spin performance report. Four reports will be produced: Non-spin Capacity Response detail report – This report will show by resource, by event the response time for resources adjustment of its Non-Spin capacity for a user entered date range. Resource name, event date, event time, Non-Spin schedule at time of deployment, Time before schedule changed (reduced) in seconds, Non-Spin schedule after deployment (20 seconds after deployment). Non-Spin Capacity Response summary report – This report will show by resource by month or year the average response time for resource’s adjustment of its Non-Spin schedule for a user entered date range. Resource name, Month/year, and average time before schedule changed (reduced) in seconds. Non-Spin Energy Response detail report – This report will show by resource, by event the delta energy between the expected energy delivery 5 and 10 minutes after deployment of Non-Spin for each resource providing Non-Spin. Resource name, deployment date, deployment time, Telemeter Non-Spin at time of deployment, expected energy delivery after 5 minutes, actual energy delivery after 5 minutes, 5 minute delta, expected energy delivery after 10 minutes, actual energy delivery after 10 minutes, 10 minute delta should be shown. Non-Spin Energy Response summary report – This report will show by resource by month or year the average error in energy deployment 5 minutes and 10 minutes after deployment of Non-Spin service for a user entered date range. Report Designation: Non-spin Performance Report Report Category: Secure Reporting Method: Automated report Report Latency Requirements Source System of Data: 24 hours Desired Latency Source System Data: 4 hours Source System for Data: EMS Generation System for the Report: EDW Report Type: Web Service with Extracts Protocol Text: ERCOT shall monitor the following categories of performance and compliance; Resource-specific Non-Spinning Reserve (Non-Spin) performance, for QSEs and Resources; |  |

| Requirement Id | FR-C14 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 8.1 (3) (q) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: AVR test results & PSS test results. The test reports should include the minimum and maximum excitation limiters, volts/hertz settings, gain and time constants, type of voltage regulator control function, date tested, and voltage regulator control setting. Report Designation: AVR Test Results & PSS Test Results Report Category: Secure Reporting Method: Automated report Report Latency Requirements Source System of Data: 24 hours Desired Latency Source System Data: 24 hours Source System for Data: EDW Generation System for the Report: EDW Report Type: Protocol Text: ERCOT shall monitor the following categories of performance and compliance; Automatic Voltage Regulator (AVR) and Power System Stabilizer (PSS) requirements, for QSEs and Generation Resources; |  |

| Requirement Id | FR-C15 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 8.1 (3) (r) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Backup plan report. Report shall list the Transmission or QSE and the date that the backup plan was received at ERCOT. Report Designation: Backup Plan Report Category: Secure Reporting Method: Automated report Report Latency Requirements Source System of Data: 24 hours Desired Latency Source System Data: 24 hours Source System for Data: EDW Generation System for the Report: EDW Report Type Protocol Text: ERCOT shall monitor the following categories of performance and compliance; Staffing plan for a backup control facility or procedures in the event that the primary facility is unusable, for QSEs; |  |

| Requirement Id | FR-C16 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 8.1 (3) (s) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Outage scheduler reports. - Transmission outage summary - Requested, Approved, canceled, (Outage status) transmission outages by company by day for a provided date range - Resource outage summary - Approved and canceled Outage status) resource outages by company by day for a user input date range - Outage totals - Total outages requested for a user input date range (default 1 day) by requestor allowing option of “all” or “by company”. - Canceled outages - Canceled outages by requestor within a user input date range. - Outages summary - Number of outages for a given day selected by voltage level/Company/type (type being line outage, breaker outage, etc) with the voltage level, company, type, and date range being user inputs. - Past due outages – outages which were requested but not approved/rejected (processed) within the protocol required time requirements for a user input time date range. - Early completion report - Transmission or Resource Outages which ended early including requestor, date, time, equipment requested, original end date, actual end date for a user supplied input date range. - Long outages - Transmission or Resource Outages lasting longer then an operator entered threshold for an operator entered date range. - Monthly outage summary - Transmission Outages requested by month by TSP for an operator input date range. - Outage Plan summary– By TSP the date and time their outage plan was provided in accordance with protocol 3.1.3.1 for an operator entered date range. - Outage plan detail – For a given month, by TSP or all, all outages submitted as a part of the outage plan provided in accordance with protocol 3.1.3.1. - List of all outages for a given time period approved by a specified Outage Scheduler at ERCOT. - List of all outages submitted by a specified submitting Outage coordinator listing number with date changes, number which were forced extensions. Report Designation: Outage Schedule Reports Report Category: Secure Reporting Method: Automated reports Report Latency Requirements Source System of Data: 12 hrs Desired Latency Source System Data: 6 hrs Source System for Data: outage Scheduler Generation System for the Report: EDW Report Type: Web service with extracts Protocol Text: ERCOT shall monitor the following categories of performance and compliance; Outage reporting, by QSEs for Resources;. |  |

| Requirement Id | FR-C17 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 8.1 (3) (t) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Report on difference between day ahead cop and real-time status excluding RUCed units. - Report by month showing by QSE total number of units reported in an online status in COP day ahead, Total number of units which were online in real-time which were not online in day-ahead COP, and Total number of units which were offline in real-time which were expected to be online n day-ahead COP. This report will treat any online hours day-ahead as online, and any online hours in real-time as matching the online. RUCed units will be excluded. - Report by month showing by QSE total hours of units reported day-head in a online status which were in an offline status for that hour in real-time. - Report by user entered time range, by user entered QSE, showing units with a different COP reported day-ahead on-line status then was observed in real-time - Report by user entered time range, by user entered QSE, showing day-ahead COP reported status at 18:00 day-ahead, and the actual COP status reported in real-time. For hours with multiple status reported during the real-time hour the report will report the status during most of the hour. Report Designation: COP Report Report Category: Secure Reporting Method: Automated report Report Latency Requirements Source System of Data: 24 hours Desired Latency Source System Data: 4 hours Source System for Data: MMS and EMS Generation System for the Report: EDW Report Type: Web Service with extracts Protocol Text: ERCOT shall monitor the following categories of performance and compliance; Current Operating Plan metrics, for QSEs; |  |

| Requirement Id | FR-C18 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 8.1 (3) (v) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Reports of NERC compliance. Report Designation: NERC reports Report Category: Secure Reporting Method: Manual report Report Latency Requirements Source System of Data: 24 hours Desired Latency Source System Data: 4 hours Source System for Data: EDW – Reports will be entered manually Generation System for the Report: EDW Report Type: Protocol Text: ERCOT shall monitor the following categories of performance and compliance; NERC reliability-related assessments, for QSEs and Generation Resources; |  |

| Requirement Id | FR-C19 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 8.1 (3) (w) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Report on the difference between RUC ordered start time and actual start time. - By month by QSE reports number of units given RUC instructions, number of units that started at the ordered hour (+ or minus 30 minutes), and the difference. - By user specified time range, by user specified QSE (or all) lists all units given RUC instructions, the date/time the order was given, the date/time the unit was ordered online, and the date/time the unit came online. Report Designation: RUC Reports Report Category: Secure Reporting Method: Manually requested report Report Latency Requirements Source System of Data: 24 hours Desired Latency Source System Data: 4 hours Source System for Data: MMS and EMS Generation System for the Report: EDW Report Type: Web Service with extracts Protocol Text: ERCOT shall monitor the following categories of performance and compliance; DRUC and HRUC commitment performance by QSEs for Generation Resources. |  |

| Requirement Id | FR-C20 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 8.1.1 (a) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Report on the governor response - Reports by unit/by month the number of times the unit response was within and outside, 5 MW of expected after 30 seconds, 1 minute, and 2 minutes. - For a user input time span, by user input QSE or All, reports for each frequency deviation over 0.1 hertz, for every unit, the Date of event, time of event, the expected response after 30 seconds, the actual response, and the difference. - For a user input time span, by user input QSE or All, reports for each frequency deviation over 0.1 hertz, for every unit, the Date of event, time of event, expected response after 1 minute, the actual response, and the difference. - For a user input time span, by user input QSE or All, reports for each frequency deviation over 0.1 hertz, for every unit, the Date of event, time of event, the expected response after 2 minutes, the actual response, and the difference Report Designation: Disturbance Performance Report Report Category: Secure Reporting Method: Manual or Automated report Report Latency Requirements Source System of Data: 24 hours Desired Latency Source System Data: 4 hours Source System for Data: EMS Generation System for the Report: EDW Report Type: Web Service with extracts Protocol Text: For all frequency deviations exceeding 0.1 Hz, ERCOT shall use recorded two-second scan rate values of real power output for each Resource to evaluate governor response or response to Dispatch Instructions. ERCOT shall use the recorded MW data beginning one minute before the start of the frequency excursion event or Dispatch Instruction until 20 minutes after the start of the frequency excursion event or Dispatch Instruction. |  |

| Requirement Id | FR-C21 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 8.1.2.2 (1) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Reported units expected to run over 168 hours. Reports by user input QSE for user input date range the units expected to be run over 168 hours, date QSE reported the expectation, Unit name and season reported for. Report Designation: Reported units expected to run over 168 hours Report Category: Secure Reporting Method: Manual report Report Latency Requirements Source System of Data: 24 hours Desired Latency Source System Data: 24 hours Source System for Data: EDW Generation System for the Report: EDW Report Type: Web Service Protocol Text: Before the start of each season, a QSE shall provide ERCOT a list identifying each Generation Resource that is expected to operate more than 168 hours in a season as a provider of energy or Ancillary Service. ERCOT shall evaluate during each season of expected operation the Net Dependable Capability of each Resource expected to operate more than 168 hours during that season, except for Generation Resources used solely for energy services and whose capacity is less than ten MW. |  |

| Requirement Id | FR-C22 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 8.1.2.2 (2) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Reported controllable load expected to provide AS. Reported controllable loads expected to provide Ancillary Services. Reports by user input QSE for user input date range the Controllable Loads expected to provide ancillary service during the coming season. , date QSE reported the expectation, Unit name and season reported for. Report Designation: Reported Controllable Load Expected to Provide AS Report Category: Secure Reporting Method: Automated report Report Latency Requirements Source System of Data: 24 hours Desired Latency Source System Data: 24 hours Source System for Data: EDW Generation System for the Report: EDW Report Type: Web Service Protocol Text: Before the start of each season, a QSE shall provide ERCOT a list identifying each Controllable Load Resource that is expected to operate in a season as a provider of Ancillary Service. Prior to the beginning of each season, QSEs shall identify the Controllable Load Resources to be tested during the season and the specific week of the test if known. Any Controllable Load Resource for which the QSE desires qualification to provide Ancillary Services shall have its Net Dependable Capability verified prior to providing Ancillary Services. |  |

| Requirement Id | FR-C23 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 8.1.2.2 (3) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Load Resource telemetry report. This report will detail the date of qualification test which took place within a user input date range. Report will list Date and time of qualification test, and name of resource. (Note – the actual test results will not be kept on EDW) Report Designation: Load Resource Telemetry Report Report Category: Secure Reporting Method: Manual report Report Latency Requirements Source System of Data: 24 hours Desired Latency Source System Data: 24 hours Source System for Data: EDW Generation System for the Report: EDW Report Type: Web Service Protocol Text: ERCOT shall annually verify the telemetry attributes of each qualified Load Resource.. |  |

| Requirement Id | FR-C24 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 8.1.2.2.1 (2) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: AS qualification test. Data captured during a unit AS qualification test will be written as a package to the EDW. Different test data results will include: - Regulation test results- Includes test date, start time, end time, expected average MW, actual average MW, expected frequency response or governor response. - Responsive Reserve Test results - - Includes test date, start time, end time, expected MW, actual MW, expected frequency response or governor response, Normal Ramp Rates. - Non-spin test results - - Includes test date, start time, end time, time of Dispatch instruction, expected average MW, actual average MW Report will allow user input of date range and either QSE name or resource name. Reports will provide different results depending upon the test type chosen. Report Designation: AS Qualification Tests Report Category: Secure Reporting Method: Manually initiated report Report Latency Requirements Source System of Data: 24 hours Desired Latency Source System Data: 24 hours Source System for Data: EMS Generation System for the Report: EDW Report Type: Web Service Protocol Text: A QSE must be qualified and tested to provide Ancillary Service prior to initial operation and every five years thereafter. ERCOT may conduct two unannounced, unscheduled qualification tests after presenting to the QSE supporting information that a Generation Resource or Load Resource may not be able to meet its stated Net Dependable Capability during any year. |  |

| Requirement Id | FR-C25 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 8.1.2.2.3 (8) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Regulation qualification test results. Data captured during a unit Regulation qualification test will be written as a package to the EDW. Includes test date, start time, end time, expected average MW, actual average MW, expected frequency response or governor response. Report Designation: Regulation Qualification Test Results Report Category: Secure Reporting Method: Manually initiated report Report Latency Requirements Source System of Data: 24 hours Desired Latency Source System Data: 24 hours Source System for Data: EMS Generation System for the Report: EDW Report Type: Web Service Protocol Text: ERCOT shall confirm the date and time of the test with the QSE using both the primary and alternate voice circuits to validate the voice circuits. ERCOT shall administer the following test requirements: |  |

| Requirement Id | FR-C26 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 8.1.2.2.3 (8)(a) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Responsive reserve qualification test results. Data captured during a unit Responsive reserve qualification test will be written as a package to the EDW. Includes test date, start time, end time, expected MW, actual MW, expected frequency response or governor response, Normal Ramp Rates. Report Designation: Responsive Reserve Qualification Test Results Report Category: Secure Reporting Method: Manually initiated report Report Latency Requirements Source System of Data: 24 hours Desired Latency Source System Data: 24 hours Source System for Data: EMS Generation System for the Report: EDW Report Type: Web Service Protocol Text: At any time during the window (selected by ERCOT when market and reliability conditions allow and not previously disclosed to the QSE), ERCOT shall notify the QSE using the Messaging System requesting it to provide an amount of RRS from each Resource equal to the amount that the QSE is requesting qualification. |  |

| Requirement Id | FR-C27 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 8.1.2.2.3 (8)(d) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Responsive reserve qualification test results. Test results reviewed and deemed satisfactory will be qualified as capable of providing Responsive Reserve Service and reported accordingly. Report Designation: Responsive Reserve Qualification Test Results Report Category: Secure Reporting Method: Manually initiated report Report Latency Requirements Source System of Data: 24 hours Desired Latency Source System Data: 24 hours Source System for Data: EDW – Employee entry Generation System for the Report: EDW Report Type: Web Service Protocol Text: On successful demonstration of all test criteria, ERCOT shall qualify that the Resource is capable of providing RRS and shall provide a copy of the certificate to the QSE and the Resource. |  |

| Requirement Id | FR-C28 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 8.1.2.2.6 (2) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: The Black Start Qualification report will be generated by observation of actual performance or through review of simulated studies of the Resource capabilities. The data will be manually entered into the EDW and will include dynamic data of the equipment to be started, MW of load carried, start time, end time (if observed test), location of equipment to be started, voltage at the generator, voltage at the remote load, and observed frequency. Results of the test or simulation will be manually entered into the EDW. Report Designation: Black Start Qualification Report Report Category: Secure Reporting Method: Manually initiated report Report Latency Requirements Source System of Data: 24 hours Desired Latency Source System Data: 24 hours Source System for Data: EDW – employee entry Generation System for the Report: EDW Report Type: Web Service Protocol Text: On successful demonstration of system Black Start Service capability, ERCOT shall certify that the Black Start Resource is capable of providing system Black Start Service capacity and shall provide a copy of the certificate to the Black Start Resource. |  |

| Requirement Id | FR-C29 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 8.1.2.2.6 (2) (b)(ii) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: The Black Start Qualification report will be generated by observation of actual performance or through review of simulated studies of the Resource capabilities. The data will be manually entered into the EDW and will include dynamic data of the equipment to be started, MW of load carried, start time, end time (if observed test), location of equipment to be started, voltage at the generator, voltage at the remote load, and observed frequency. Results of the test or simulation will be manually entered into the EDW. Report Designation: Black Start Qualification Report Report Category: Secure Reporting Method: Manually initiated report Report Latency Requirements Source System of Data: 24 hours Desired Latency Source System Data: 24 hours Source System for Data: EDW – employee entry Generation System for the Report: EDW Report Type: Web Service Protocol Text: ERCOT shall be responsible for transmission connections and operations that are compatible with the capabilities of the Black Start Resource; |  |

| Requirement Id | FR-C30 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 8.1.2.2.6 (2) (d)(ii) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: The Black Start Qualification report will be generated by observation of actual performance or through review of simulated studies of the Resource capabilities. The data will be manually entered into the EDW and will include dynamic data of the equipment to be started, MW of load carried, start time, end time (if observed test), location of equipment to be started, voltage at the generator, voltage at the remote load, and observed frequency. Results of the test or simulation will be manually entered into the EDW. Report Designation: Black Start Qualification Report Report Category: Secure Reporting Method: Manually initiated report Report Latency Requirements Source System of Data: 24 hours Desired Latency Source System Data: 24 hours Source System for Data: EDW – employee entry Generation System for the Report: EDW Report Type: Web Service Protocol Text: To pass the test, (a) the potential Black Start Resource must start the next start unit (as determined by ERCOT), or start the next start unit’s largest required motor and satisfied the next start unit’s minimum startup Load requirements; or (b) the Resource Entity shall demonstrate to the satisfaction of ERCOT staff through simulation studies conducted by the Resource Entity or a qualified third party, that the potential Black Start Resource is capable of starting the next start unit’s largest required motor while meeting the next start unit’s minimum startup Load requirements. |  |

| Requirement Id | FR-C31 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 8.1.2.2.6 (2) (d)(iv) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Data will be manually entered into the EDW from employee observed results. Data will include isolation time, end time, unit name, QSE, PGC, Unit location, TSP, observing employee name, type of equipment carried by the isolated resource, operating voltage, observed voltage, observed frequency, actual unit RPM, unit rated RPM, and a text description of deviations from stable voltage, stable frequency, or deviation from established procedures. Report Designation: Black Start Qualification Report Report Category: Secure Reporting Method: Manually initiated report Report Latency Requirements Source System of Data: 24 hours Desired Latency Source System Data: 24 hours Source System for Data: EDW – employee entry Generation System for the Report: EDW Report Type: Web Service Protocol Text: If a physical test is performed, the Black Start Resource must remain stable (in both voltage and frequency) and controlling voltage for 30 minutes.. |  |

| Requirement Id | FR-C32 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 8.1.2.3 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Protocol compliance will be covered by the following two reports: Description: Report on responsive reserve quantity available by hour by resource for a selected time period. The actual generation will be compared to the unit HSL/LSL capacity, normal ramp rate, average five - minute load level (for Load Resources), and all obligations to confirm that the unit is carrying sufficient reserve to meet the unit’s Responsive Reserve awarded requirement. Report Designation: Responsive Reserve Availability Report Report Category: Secure Reporting Method: Manually initiated report Report Latency Requirements Source System of Data: 24 hours Desired Latency Source System Data: 4 hours Source System for Data: MMS and EMS Generation System for the Report: EDW Report Type: Web Service Description: Report on Non-Spin reserve quantity available by hour by resource for a selected time period. . The actual generation will be compared to the unit HSL/LSL capacity, ramp rate, average hourly load level (for Load Resources), and all obligations to confirm that the unit is carrying sufficient reserve to meet the unit’s Non-Spinning Service awarded requirement. Report Designation: Non-Spin AvailabilityRreport Report Category: Secure Reporting Method: Manually initiated report Report Latency Requirements Source System of Data: 24 hours Desired Latency Source System Data: 4 hours Source System for Data: MMS and EMS Generation System for the Report: EDW Report Type: Web Service Protocol Text: ERCOT shall continuously measure the overall performance of each provider of Ancillary Service including estimates of remaining Ancillary Service capacity reserves that can be deployed. |  |

| Requirement Id | FR-C33 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 8.1.2.3.1 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: These reports are very similar to the Unit Performance Report but for regulation providers only.Two reports: 1) ERCOT shall monitor resource performance for regulation every four seconds by recording the expected performance, and the telemetered MW output as actual, and calculate the delta (Aactual – expected), and calculate the average every minute. ERCOT shall calculate hourly performance as the average of delta MW for all minutes. (a) Hourly performance shall be calculated as the average of all accepted deltas for units providing either regulation up or regulation down for the hour as indicated by telemetry. Un-acceptable performance for an hour is indicated by absolute hourly average delta greater than 5 MW for the hour. Reports Unit performance as Average hourly error and standard deviation over a determined time range. Report Designation: Regulation Performance Report Report Category: Secure Reporting Method: Automated report Report Latency Requirements Source System of Data: 24 hours Desired Latency Source System Data: 4 hours Source System for Data: MMS and EMS Generation System for the Report: EDW Report Type: Web Service Protocol Text: When determining this available capacity, ERCOT shall consider for each Resource with REG status, the actual generation or load, the Ancillary Service Schedule for Reg-Up and Reg-Down, the HSL, the LSL, ramp rates, any other commitments of Ancillary Service capacity, and the amount of Regulation energy currently deployed on the Resource. |  |

| Requirement Id | FR-C34 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 8.1.2.3.2(1) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Report on responsive reserve quantity available by hour by resource for a selected time period. The actual generation will be compared to the unit HSL/LSL capacity, normal ramp rate, average five - minute load level (for Load Resources), and all obligations to confirm that the unit is carrying sufficient reserve to meet the unit’s Responsive Reserve awarded requirement. Report Designation: Responsive reserve availability report Report Category: Secure Reporting Method: Manually initiated report Report Latency Requirements Source System of Data: 24 hours Desired Latency Source System Data: 4 hours Source System for Data: MMS and EMS Generation System for the Report: EDW Report Type: Web Service Protocol Text: ERCOT shall continuously monitor the capacity of each Resource to provide Responsive Reserve. ERCOT shall consider for each Resource providing Responsive Reserve capacity, the actual generation, or load, the Ancillary Service Schedule for RRS, the HSL, the LSL, ramp rates, any other commitments of Ancillary Service capacity, and any Responsive Reserve energy currently deployed on the Resource. |  |

| Requirement Id | FR-C35 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 8.1.2.3.3(1) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Report on Non-Spin reserve quantity available by hour by resource for a selected time period. . The actual generation will be compared to the unit HSL/LSL capacity, ramp rate, average hourly load level (for Load Resources), and all obligations to confirm that the unit is carrying sufficient reserve to meet the unit’s Non-Spinning Service awarded requirement. Report Designation: Non-Spin AvailabilityRreport Report Category: Secure Reporting Method: Manually initiated report Report Latency Requirements Source System of Data: 24 hours Desired Latency Source System Data: 4 hours Source System for Data: MMS and EMS Generation System for the Report: EDW Report Type: Web Service Protocol Text: ERCOT shall continuously monitor the capacity of each Resource to provide Non-Spinning Reserve. ERCOT shall consider for each Resource providing Non-Spin capacity, the actual generation, or load, the Ancillary Service Schedule for Non-Spin, the HSL, the LSL, ramp rates, any other commitments of Ancillary Service capacity, and any Responsive Reserve energy currently deployed on the Resource. ERCOT shall also monitor Non-Spinning Reserve provided on Resources with OFFNS status. |  |

| Requirement Id | FR-C36 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 8.1.2.4 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Protocol compliance will be covered by the following two reports: Description: Report on actual Regualtion provided by each resource. The sum of the resources total obligations will be compared to the resources actual generation. The data to be collected will include one-minute and ten-minute averages of actual generation, expected governor response, expected frequency response, and all obligations. The differenced between the actual generation and obligations including governor response will indicate the regulation provided. Report Designation: Average Regulation Provided Report Category: Secure Reporting Method: Automated report Report Latency Requirements Source System of Data: 24 hours Desired Latency Source System Data: 4 hours Source System for Data: MMS and EMS Generation System for the Report: EDW Report Type: Web Service Description: Report on Non-Spin reserve quantity available by hour by resource for a selected time period. . The actual generation will be compared to the unit HSL/LSL capacity, ramp rate, average hourly load level (for Load Resources), and all obligations to confirm that the unit is carrying sufficient reserve to meet the unit’s Non-Spinning Service awarded requirement. Report Designation: Non-Spin Availability Report Report Category: Secure Reporting Method: Manually initiated report Report Latency Requirements Source System of Data: 24 hours Desired Latency Source System Data: 4 hours Source System for Data: MMS and EMS Generation System for the Report: EDW Report Type: Web Service Protocol Text: ERCOT shall measure the performance of each QSE and the Resources that it represents in providing Ancillary Service energy in response to Dispatch Instructions according to the following requirements. |  |

| Requirement Id | FR-C37 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 8.1.2.4.1 (1) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Report on actual Regualtion provided by each resource. The sum of the resources total obligations will be compared to the resources actual generation. The data to be collected will include one-minute and ten-minute averages of actual generation, expected governor response, expected frequency response, and all obligations. The differenced between the actual generation and obligations including governor response will indicate the regulation provided. Report Designation: Average Regulation Provided Report Category: Secure Reporting Method: Automated report Report Latency Requirements Source System of Data: 24 hours Desired Latency Source System Data: 4 hours Source System for Data: MMS and EMS Generation System for the Report: EDW Report Type: Web Service Protocol Text: For each QSE, ERCOT shall calculate one-minute and ten-minute averages of the “Provided Regulation” equal to the sum of (a) and (b) where: (a) for all of the QSE’s Resources in ONREG, ONOSREG or ONRGL status: (b) for all of the QSE’s Resources in ONDSRREG status (“DSRQSE”): |  |

| Requirement Id | FR-C38 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 8.1.2.4.1 (6) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Protocol compliance will be covered by the following three reports: Description: Report on actual Regualtion provided by each resource. The sum of the resources total obligations will be compared to the resources actual generation. The data to be collected will include one-minute and ten-minute averages of actual generation, expected governor response, expected frequency response, and all obligations. The differenced between the actual generation and obligations including governor response will indicate the regulation provided. Report Designation: Average Regulation Provided Report Category: Secure Reporting Method: Automated report Report Latency Requirements Source System of Data: 24 hours Desired Latency Source System Data: 4 hours Source System for Data: MMS and EMS Generation System for the Report: EDW Report Type: Web Service Description: Report on Non-Spin reserve quantity available by hour by resource for a selected time period. . The actual generation will be compared to the unit HSL/LSL capacity, ramp rate, average hourly load level (for Load Resources), and all obligations to confirm that the unit is carrying sufficient reserve to meet the unit’s Non-Spinning Service awarded requirement. Report Designation: Non-Spin Availability Report Report Category: Secure Reporting Method: Manually initiated report Report Latency Requirements Source System of Data: 24 hours Desired Latency Source System Data: 4 hours Source System for Data: MMS and EMS Generation System for the Report: EDW Report Type: Web Service Description: These reports are very similar to the Unit Performance Report but for regulation providers only.Two reports: 1) ERCOT shall monitor resource performance for regulation every four seconds by recording the expected performance, and the telemetered MW output as actual, and calculate the delta (Aactual – expected), and calculate the average every minute. ERCOT shall calculate hourly performance as the average of delta MW for all minutes. (a) Hourly performance shall be calculated as the average of all accepted deltas for units providing either regulation up or regulation down for the hour as indicated by telemetry. Un-acceptable performance for an hour is indicated by absolute hourly average delta greater than 5 MW for the hour. Reports Unit performance as Average hourly error and standard deviation over a determined time range. Report Designation: Regulation Performance Report Report Category: Secure Reporting Method: Automated report Report Latency Requirements Source System of Data: 24 hours Desired Latency Source System Data: 4 hours Source System for Data: MMS and EMS Generation System for the Report: EDW Report Type: Web Service Protocol Text: ERCOT shall determine the performance of providers of Ancillary Service under normal operating conditions. ERCOT shall not consider average performance of a QSE any period during which any of the following events has occurred and for which the QSE does not have a passing score: |  |

| Requirement Id | FR-C39 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 8.1.2.4.2(1) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Report on unit’s performance in following energy + Regulation + Responsive; can select responsive reserve providers only. All obligations including Regulation provided will be recorded ten minutes after the Responsive Reserve deployment and compared to actual unit generation. Report Designation: Unit performance report Report Category: Secure Reporting Method: Automated report Report Latency Requirements Source System of Data: 24 hours Desired Latency Source System Data: 4 hours Source System for Data: MMS and EMS Generation System for the Report: EDW Report Type: Web Service Protocol Text: When deploying any Responsive Reserve Service, the QSE shall control its Resources to operate to the Resource’s Base Point or Scheduled Power Consumption Snapshot at the time of the Dispatch Instruction plus the instructed Responsive Reserve Service power. |  |

| Requirement Id | FR-C40 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 8.1.2.4.2 (2) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Report on the A, B, C points, Total MW loss, frequency deviation, recovery time, and other information required by PDC on unit trips which create a frequency deviation over a threshold set in EMS (currently 0.1 Hz deviation i.e. < 59.9 Hz) Report Designation: PDC unit trip report Report Category: Secure Reporting Method: Automated report Protocol Text: Primary Frequency Control Measurements For all frequency deviations exceeding 0.1 Hz, ERCOT shall use the recorded data for each two-second scan rate value of real power output for each Resource providing Responsive Reserve Service. ERCOT shall use the recorded MW data beginning one minute before the start of the frequency excursion event until ten minutes after the start of the frequency excursion event. |  |

| Requirement Id | FR-C41 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 8.1.2.4.3 (1) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Report on unit’s performance in following energy + regulation + Responsive; can select responsive reserve providers only. The report provides a performance metric for units providing multiple ancillary services by comparing all obligations, expected governor response, and actual generation. Report Designation: Unit performance report Report Category: Secure Reporting Method: Automated report Report Latency Requirements Source System of Data: 24 hours Desired Latency Source System Data: 4 hours Source System for Data: MMS and EMS Generation System for the Report: EDW Report Type: Web Service Protocol Text: ERCOT shall, as part of its Ancillary Service deployment procedure under Section 6.5.7.6.2.3, Non-Spinning Reserve Service Deployment, include all performance metrics for a Resource receiving a Non-Spin recall instruction from ERCOT. |  |

| Requirement Id | FR-C42 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 8.1.2.4.4 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Report on unit’s performance in following energy + regulation + Responsive; can select responsive reserve providers only. The report provides a performance metric for units providing multiple ancillary services by comparing all obligations, expected governor response, and actual generation. Report Designation: Unit performance report Report Category: Secure Reporting Method: Automated report Report Latency Requirements Source System of Data: 24 hours Desired Latency Source System Data: 4 hours Source System for Data: MMS and EMS Generation System for the Report: EDW Report Type: Web Service Protocol Text: When deploying any Regulation, Responsive Reserve, or Non-Spinning Reserve Service, the QSE shall control its Resources to operate to the sum of the final Base Points plus any deployed Ancillary Service. |  |

| Requirement Id | FR-C43 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 8.3(1) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Report of compliance metrics for transmission system planning, operations and maintenance. These reports cannot be completely defined without TAC approval, but a preliminary list is: - Rating calculation methodology – TSP name, Date and time that methodology was received. And posted. - Electrical Buses Not Meeting Telemetry Accuracy Requirements - List of electrical buses failing to meet telemetry standards by QSE by date range. - ICCP Link Availability Statistics Report - Quarterly Point Availability Statistics Report - Critical Data Availability Statistics Report - Monthly Market Participant Real Time Availability Statistics Report - Electrical Buses Not Meeting Telemetry Accuracy Requirements Report - Critical Points Maintenance List Maintenance Interface - Non Significant Points Maintenance List Maintenance Interface - Link Outage Tracking Maintenance List Maintenance Interface See also the section on Outage Schedule reports and NERC reports. Report Designations: (see list above) Report Category: Secure Reporting Method: Manual report Report Latency Requirements Source System of Data: 24 hours Desired Latency Source System Data: 4 hours Source System for Data: EMS Generation System for the Report: EDW Report Type: Web Service with extracts Protocol Text: ERCOT shall develop a TAC-approved TSP Monitoring Program to be included in the Operating Guides for TSPs. The metrics developed by ERCOT must include the following elements of transmission system planning, operations and maintenance: |  |

| Requirement Id | FR-C44 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 8.3 (1) (a) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Report of compliance metrics for transmission system planning, operations and maintenance. These reports cannot be completely defined without TAC approval, but a preliminary list is: - Rating calculation methodology – TSP name, Date and time that methodology was received. And posted. - Electrical Buses Not Meeting Telemetry Accuracy Requirements - List of electrical buses failing to meet telemetry standards by QSE by date range. - ICCP Link Availability Statistics Report - Quarterly Point Availability Statistics Report - Critical Data Availability Statistics Report - Monthly Market Participant Real Time Availability Statistics Report - Electrical Buses Not Meeting Telemetry Accuracy Requirements Report - Critical Points Maintenance List Maintenance Interface - Non Significant Points Maintenance List Maintenance Interface - Link Outage Tracking Maintenance List Maintenance Interface See also the section on Outage Schedule reports and NERC reports. Report Designations: (see list above) Report Category: Secure Reporting Method: Manual report Report Latency Requirements Source System of Data: 24 hours Desired Latency Source System Data: 4 hours Source System for Data: EMS Generation System for the Report: EDW Report Type: Web Service with extracts The metrics developed by ERCOT must include the following elements of transmission system planning, operations and maintenance:Transmission Element rating calculations; |  |

| Requirement Id | FR-C45 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 8.3 (1) (c) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Outage scheduler reports. - Transmission outage summary - Requested, Approved, canceled, (Outage status) transmission outages by company by day for a provided date range - Resource outage summary - Approved and canceled Outage status) resource outages by company by day for a user input date range - Outage totals - Total outages requested for a user input date range (default 1 day) by requestor allowing option of “all” or “by company”. - Canceled outages - Canceled outages by requestor within a user input date range. - Outages summary - Number of outages for a given day selected by voltage level/Company/type (type being line outage, breaker outage, etc) with the voltage level, company, type, and date range being user inputs. - Past due outages – outages which were requested but not approved/rejected (processed) within the protocol required time requirements for a user input time date range. - Early completion report - Transmission or Resource Outages which ended early including requestor, date, time, equipment requested, original end date, actual end date for a user supplied input date range. - Long outages - Transmission or Resource Outages lasting longer then an operator entered threshold for an operator entered date range. - Monthly outage summary - Transmission Outages requested by month by TSP for an operator input date range. - Outage Plan summary– By TSP the date and time their outage plan was provided in accordance with protocol 3.1.3.1 for an operator entered date range. - Outage plan detail – For a given month, by TSP or all, all outages submitted as a part of the outage plan provided in accordance with protocol 3.1.3.1. - List of all outages for a given time period approved by a specified Outage Scheduler at ERCOT. - List of all outages submitted by a specified submitting Outage coordinator listing number with date changes, number which were forced extensions. Report Designation: Outage Schedule Reports Report Category: Secure Reporting Method: Automated reports Report Latency Requirements Source System of Data: 12 hrs Desired Latency Source System Data: 6 hrs Source System for Data: outage Scheduler Generation System for the Report: EDW Report Type: Web service with extracts Protocol Text: The metrics developed by ERCOT must include the following elements of transmission system planning, operations and maintenance:Outage scheduling and coordination; TSP Outage planning and scheduling statistics must have less weight the further out these statistics are from the Planned Outage date; |  |

| Requirement Id | FR-C46 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 8.3 (1) (d) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Report of compliance metrics for model update requirements. Report shall list by TSP and QSE for a user entered date range; the number of model changes requested, Number of model changes accepted as submitted, and number of model changes returned for correction. Report Designation: NOMCR performance report. Report Category: Secure Reporting Method: Automated report Report Latency Requirements Source System of Data: 24 hours Desired Latency Source System Data: 4 hours Source System for Data: NMMS Generation System for the Report: EDW Report Type: Web Service with extracts Protocol Text: The metrics developed by ERCOT must include the following elements of transmission system planning, operations and maintenance:Compliance with model update requirements, including provision of network data in CIM compatible format and consistency with the Transmission Element naming convention developed in accordance under Section 3, Management Activities for the ERCOT System. |  |

| Requirement Id | FR-C47 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 8.3 (1) (f) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Record of if and when black start procedure last received at ERCOT includes QSE or TSP name and date procedure received. An option will exist to tell when ALL black start procedures were ever received by ERCOT. Report Designation: Black Start Procedure Report Report Category: Secure Reporting Method: Automated report Report Latency Requirements Source System of Data: 24 hours Desired Latency Source System Data: 24 hours Source System for Data: EDW – employee entry Generation System for the Report: EDW Report Type: extract Protocol Text: The metrics developed by ERCOT must include the following elements of transmission system planning, operations and maintenance:Written Black Start procedures and system capacity and energy emergency procedures; |  |

| Requirement Id | FR-C48 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 8.3 (1) (g) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Report of compliance metrics for Back-up Control Plan.Backup plan report. Report shall list the Transmission or QSE and the date that the backup plan was received at ERCOT. Report Designation: Backup Plan Report Category: Secure Reporting Method: Automated report Report Latency Requirements Source System of Data: 24 hours Desired Latency Source System Data: 24 hours Source System for Data: EDW Generation System for the Report: EDW Report Type Protocol Text: The metrics developed by ERCOT must include the following elements of transmission system planning, operations and maintenance:Back-up control plan; |  |

| Requirement Id | FR-C49 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 8.3 (1) (h) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Report of compliance metrics for Dispatch Instructions. The report shall list the date/time, instructed market participant (TSP or QSE), description of instruction, and a Yes/no descriptor of if the instruction was complied with. Report Designation: VDI report Report Category: Secure Reporting Method: Automated report Report Latency Requirements Source System of Data: 24 hours Desired Latency Source System Data: 4 hours Source System for Data: MMS Generation System for the Report: EDW Report Type: Web Service with extracts Protocol Text: The metrics developed by ERCOT must include the following elements of transmission system planning, operations and maintenance:Compliance with Dispatch Instructions; |  |

| Requirement Id | FR-C50 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 8.3 (1) (i) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Voltage performance report. This reports the voltage set point, and average telemetered voltage by hour by for each location specified on the ERCOT voltage profile for a specified time span. Report Designation: Voltage Performance Report Report Category: Secure Reporting Method: Automated report Report Latency Requirements Source System of Data: 24 hours Desired Latency Source System Data: 4 hours Source System for Data: EMS Generation System for the Report: EDW Report Type: Web Service with Extracts Protocol Text: The metrics developed by ERCOT must include the following elements of transmission system planning, operations and maintenance:Voltage and Reactive control performance; and |  |

| Requirement Id | FR-C51 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 8.3 (1) (j) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Report of NERC standards and Operating Guides requirements. - CPS1 – For an input Date range, the ERCOT CPS1 performance, Bias, Epsilon1, and average delta frequency by hour. If CPS1 < 100 it will be flagged in each report. Calculation of CPS1 is described in NERC reference document - CPS1 – For an input Date range over 1 month, the Month, year, and monthly ERCOT CPS1 Compliance Factor performance by month. Will conform with the NERC Control Performance Standard Survey form 1 as described in the NERC Performance Standard Reference document. If CPS1 < 100 it will be flagged in each report - CPS1 & CPS2 - For an input month/year, the NERC Control Performance standard Survey form 1 as described in the NERC Performance Standard Reference document shall be produced, showing the hourly average CPS1 and CPS2 by hour, including the number of samples, number of violations, and number of Unavailable periods shall be displayed for a given month. This format may be seen at the NERC website http://www.nerc.com/~oc/rs.html under “Performance Standards Reference Document” section “D- Survey Procedures Form 1”. - CPS1 & CPS2 – For an input month/year, the NERC Control Performance standard Survey form 2 as described in the NERC Performance Standard Reference document shall be produced, showing CPS1 and CPS2 performance for a given month. This format may be seen at the NERC website http://www.nerc.com/~oc/rs.html under “Performance Standards Reference Document” section “D- Survey Procedures Form 2”. - DCS report 1 – For an input Date range (normally a quarter) which reports all events that cause an ACE change greater than or equal to 80% of a control area’s most severe contingency. (i.e. a specified ACE threshold). Will report the disturbance start time, the MW loss, the ACE average, max, min, percent recovery for each disturbance. - DCS report 2 – For an input date range (normally a quarter) reports the number of disturbances Not greater then the designated “most severe Single Contingency loss and the Average Percent Recovery (APR), number of disturbances greater then the designated “most severe Single Contingency loss, the time periods Contingency Reserve Adjustment Factor (CRAF), and criteria for determining reportable disturbances as described in the NERC website http://www.nerc.com/~oc/rs.html under “Performance Standards Reference Document section “D - NERC Disturbance Control Standard report”. - Overloads report – for an operator entered time frame identifies Date/time equipment overload began, Name of overloaded equipment, Date/time equipment overload was relived below normal rating, Number of minutes overloaded, maximum loading observed, equipment rating, maximum % loading, average % loading for duration of event. - Load shed events - Under voltage load shed trigger conditions observed - Under frequency load shed trigger conditions observed - Post Contingency violation report. Reports all N-1 violations for a user entered time range OR all N-1 violations which are either above the 15 minute limit or cannot be cleared by SCED within 5 minutes. Report lists N-1 overloaded equipment name, contingency name, Date/time observed, Date/time cleared, Rating violated (normally emergency), Maximum N-1 overload observed, Average N-1 overload across the observed period, total time N-1 continuously violated in minutes. - Post Contingency summary report – Reports summary of N-1 violations for user entered month or months, reporting N-1 contingency event, average number of pieces of equipment overloaded insecure (N-1 above 15 minute rating or cannot be restored to normal rating cleared by SCED within 5 minutes), Name of equipment most frequently N-1 insecure, Average number of minutes N-1 insecure per event, total number of minutes insecure (N-1 overloaded) - EECP report – Report EECP event Date/start time, Time in each EECP condition, Operating parameters at 1 minute snapshots throughout the event including Frequency, Capacity available, Capacity online, Total Reserve, Responsive Reserve, Non-spin deployed, Responsive Reserve deployed, Regulation deployed, SCED up room, Load, and Sum of Generation. A list of all Forced Outage Detector reported events, and a list of all logged operator notes with date and time. - Forced Outage report– This report lists all Forced Outage Detector reported outage events and the equivalent Outage Scheduler entry for reason. - Frequency Event Report – Reports Date and time, maximum or minimum frequency (depending upon trigger), and duration between trigger condition and frequency crossing 60 hertz for all deviations outside a threshold (currently 0.1 hertz or >60.1 hertz and < 59.9 hertz) - NERC tag approvals – All tags approved, including From, To, Date of approval, Date/time of schedule start, Date/time of schedule end, and energy profile. - Inadvertent interchange report – Hourly difference between scheduled interchange and actual interchange for ERCOT, and for each tie line. - Time Error Correction report – Start date/time, End Date/time and scheduled offset for all frequency set points not equal to 60.00 hertz. - Operating Plan report - Daily Load Forecast accuracy report – Reports each hour, Actual Load, Forecast ERCOT load by each load forecast (Currently ERCOT, AREVA, and AREVA Test), the absolute percentage Error for each forecast, and the ), the Daily Average Percent Error, and the Month to Date Monthly Average Percent Error (MAPE). By user input can select individual zones. - Monthly Load Forecast accuracy report – Calculates MAPE of actual temperature vs forecast temperature at 16:00 day ahead, MAPE of actual load vs each forecast load as of 16:00 day ahead. - Current status report – Reports current status of ERCOT, Load, Overloaded equipment, Constraints active and associated contingency, sum of generatiaon, reserves, responsive reserve available Report Designation: See list above Report Category: Secure Reporting Method: Automated reports Report Latency Requirements Source System of Data: 24 hours Desired Latency Source System Data: 4 hours Source System for Data: EMS Generation System for the Report: EDW Report Type: Web Service with extracts Protocol Text: The metrics developed by ERCOT must include the following elements of transmission system planning, operations and maintenance:NERC standards and Operating Guides requirements |  |

| Requirement Id | FR-C52 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 8.5.1.2 (1) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Report of generation resources governor speed tests received from generation entities. For a user specified date range reports all governor speed tests received from generation resources performed during that date range. Included is name of unit, date/time of test, speed changer travel time from Low-speed stop to High-speed stop, and speed changer travel time from High-speed stop to Low Speed stop, and over-speed trip test speed RPM. Report Designation: Governor test results Report Category: Secure Reporting Method: Automated report Report Latency Requirements Source System of Data: 24 hours Desired Latency Source System Data: 4 hours Source System for Data: EDW Generation System for the Report: EDW Report Type: Web Service with extracts Protocol Text: Each Generation Entity shall conduct applicable generating governor speed regulation tests on each of its Generation Resources as specified in the Operating Guides. Test results and other relevant information shall be reported to ERCOT and ERCOT shall forward results to the appropriate TSPs. |  |

| Requirement Id | FR-C53 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 8.5.1.2 (2) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Report of generation resources governor speed tests received from generation entities. For a user specified date range reports all governor speed tests received from generation resources performed during that date range. Included is name of unit, date/time of test, speed changer travel time from Low-speed stop to High-speed stop, and speed changer travel time from High-speed stop to Low Speed stop, and over-speed trip test speed RPM. Report Designation: Governor test results Report Category: Secure Reporting Method: Automated report Report Latency Requirements Source System of Data: 24 hours Desired Latency Source System Data: 4 hours Source System for Data: EDW Generation System for the Report: EDW Report Type: Web Service with extracts Reporting Method: Automated report Protocol Text: Generation Resource governor modeling information required in the ERCOT planning criteria must be determined from actual Generation Resource testing described in the Operating Guides. Within 30 days of ERCOT’s request, the results of the latest test performed must be supplied to ERCOT and the connected TSP. |  |

| Requirement Id | FR-C54 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 8.5.1.2 (3) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: ERCOT Operator logs – searched for keyword. For a given date range, all entries containing a specified word or phrase are extracted. Report Designation: Operator Logs Report Category: Secure Reporting Method: Automated report Report Latency Requirements Source System of Data: 24 hours Desired Latency Source System Data: 4 hours Source System for Data: EDW Generation System for the Report: EDW Report Type: Web Service with extracts Protocol Text: When the governor of a Generation Resource is blocked while the Resource is operating, the QSE shall promptly inform ERCOT. The QSE shall also supply governor status logs to ERCOT upon request. |  |

| Requirement Id | FR-C55 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 8.5.2 (2) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Report on the A, B, C points, Total MW loss, frequency deviation, recovery time, and other information required by PDC on unit trips which create a frequency deviation over a threshold set in EMS (currently 0.1 Hz deviation i.e. < 59.9 Hz) Report Designation: PDC unit trip report Report Category: Secure Reporting Method: Automated report Protocol Text: Primary Frequency Control Measurements For the purposes of this section, the C Point is the lowest frequency value during the first five seconds of the event. ERCOT shall determine the C Point for each event. |  |

| Requirement Id | FR-C56 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 8.5.2 (5) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Report on the A, B, C points, Total MW loss, frequency deviation, recovery time, and other information required by PDC on unit trips which create a frequency deviation over a threshold set in EMS (currently 0.1 Hz deviation i.e. < 59.9 Hz) Report Designation: PDC unit trip report Report Category: Secure Reporting Method: Automated report Report Latency Requirements Source System of Data: 24 hours Desired Latency Source System Data: 4 hours Source System for Data: EMS Generation System for the Report: EDW Report Type: Web Service with extracts Protocol Text: Primary Frequency Control Measurements For the purposes of this section, a “Measurable Event” that will be evaluated for performance compliance is a sudden change in frequency that has both: (a) A frequency B Point between 59.700 Hz and 59.900 Hz or between 60.100 Hz and 60.300 Hz; and (b) A difference between the B Point and the A Point greater than or equal to +/- 0.100 Hz. |  |

| Requirement Id | FR-C57 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 8.5.2.2 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: ERCOT shall collect and store the data describing the A, B, C points, Total MW loss, frequency deviation, recovery time, and other information required by PDC on unit trips which create a frequency deviation over a threshold set in EMS (currently 0.1 Hz deviation i.e. < 59.9 Hz) Report Designation: PDC unit trip report Report Category: Secure Reporting Method: Automated report Report Latency Requirements Source System of Data: 24 hours Desired Latency Source System Data: 4 hours Source System for Data: EMS Generation System for the Report: EDW Report Type: Web Service with extracts Protocol Text: ERCOT shall collect all data necessary to analyze each Measurable Event. |  |

## Nodal Section 8 Coverage From Existing Requirement

A large portion of the information in Protocols Section 8 is also described in other Protocol sections.  The Nodal project teams have already written requirements against these Protocol Sections and captured ERCOT’s requirement to provide the Nodal Market with the compliance data involved in these processes.

The scope of the EDW Project includes providing the reporting and archival services to the other Nodal delivery teams, and requires the EDW project to solicit detailed requirements for all extracts and reports to be generated in support of the TPTF-approved requirements of the other Nodal Projects.

The table below outlines those subsections of Section 8 that have been addressed by the requirements of other Nodal Delivery teams.  The specific requirements document and functional requirements number are listed for reference.

| Protocol ID | Protocol Description | Report Name | Report Description | Requirements Document Supplying Coverage | Functional Requirement |
| --- | --- | --- | --- | --- | --- |
| 8.1.2.3.1 | ERCOT shall continuously monitor the capacity of each Resource to provide Reg-Up and Reg-Down. When determining this available capacity, ERCOT shall consider for each Resource with REG status, the actual generation or load, the Ancillary Service Schedule for Reg-Up and Reg-Down, the HSL, the LSL, ramp rates, any other commitments of Ancillary Service capacity, and the amount of Regulation energy currently deployed on the Resource. | Business Process | N/A | EMS Generation Subsystem Requirements Specification v1.0 | GS-FR34 |
| 8.1.2.4.2 (1) | ERCOT shall adjust the Generation Resource's Base Point for any requested Responsive Reserve energy in the next cycle of SCED as specified in Section 6.5.7.6.2.2, Deployment of Responsive Reserve Service. | Business Process | N/A | EMS Generation Subsystem Requirements Specification v1.0 MMS SCED and Real-Time Processes v1.0 | GS-FR34 FR28-1 |
| 8.1.2.4.2 (3) | ERCOT shall monitor the frequency response component of Responsive Reserve Service that is delivered during major frequency disturbances primarily based on a droop calculation for Generators and Controllable Load Resources, a relay response for Loads and Hydro Responsive Reserve. | Business Process | N/A | EMS Generation Subsystem Requirements Specification v1.0 | GS-FR34 |
| 8.1.2.4.3 (2) | A Non-Spin Dispatch Instruction from ERCOT must respect the minimum runtime of a Generation Resource. | Business Process | N/A | EMS Generation Subsystem Requirements Specification v1.0 | GS-FR34 |
| 8.1 (3) (c) | ERCOT shall monitor the following categories of performance and compliance; Real-Time data, for QSEs | QSE telemetry performance | QSE, Number of points, % time valid, % time invalid | EMS SCADA Requirements Specification v1.0 | SCD-FR8, SCD-FR10, SCD-FR12 |
| 8.1 (3) (c) | ERCOT shall monitor the following categories of performance and compliance; Real-Time data, for QSEs; Telemetry standards; | Telemetry standard report by QSE (see telemetry standards) | Details to be delivered by EMS Project Requirements | EMS SCADA Requirements Specification v1.0 | SCD-FR8, SCD-FR10, SCD-FR12 |
| 8.1 (3) (c) | ERCOT shall monitor the following categories of performance and compliance; Real-Time data, for QSEs; Communications system; | Communications performance (see telemetry standards) | Details to be delivered by EMS Project Requirements | EMS SCADA Requirements Specification v1.0 | SCD-FR8, SCD-FR10, SCD-FR12 |
| 8.1 (3) (c) | ERCOT shall monitor the following categories of performance and compliance; Real-Time data, for QSEs; Operational Data Requirements required under Section 6.5.5.2, | Business Process | N/A | EMS SCADA Requirements Specification v1.0 | SCD-FR8, SCD-FR10, SCD-FR12 |
| 8.1.2.2 (4) | ERCOT shall make available its standard test document for simulation of Load interruption required under this Section on the MIS Public Area. | Standard Test Document | Details to be delivered by EMS Project Requirements | MIS Web Portal Requirements v1.0 | FR126 |
| 8.1.2.2.1 | ERCOT shall develop and operate its qualification and testing program to meet the requirements of this Section for each Ancillary Service. | Business Process | N/A | EMS Generation Subsystem Requirements Specification v1.0 | GS-FR37 |
| 8.1.2.2.1 | ERCOT shall provide monthly performance updates to the QSE for the above performance measures. | Market Postings | Details to be delivered by EMS Project Requirements | EMS Generation Subsystem Requirements Specification v1.0 | GS-FR37 |
| 8.1.2.2.1 | If the QSE passes the criteria, the QSE's Resource will be exempt from re-qualification testing for five years from the date of the exemption request. | Business Process | N/A | EMS Generation Subsystem Requirements Specification v1.0 | GS-FR37 |
| 8.1.2.2.2 (6) (a) | ERCOT shall confirm the date and time of the test with the QSE using both the primary and alternate voice communication circuits to validate the voice circuits. | Business Process | N/A | EMS Generation Subsystem Requirements Specification v1.0 | GS-FR37 |
| 8.1.2.2.2 (6) (c) | ERCOT shall measure and record the average real power output for each minute of the Resource (s) being tested represented by the QSE. | Business Process | N/A | EMS Generation Subsystem Requirements Specification v1.0 | GS-FR37 |
| 8.1.2.2.2 (6) (d) | On successful demonstration of all test criteria, ERCOT shall qualify that the Resource is capable of providing Regulation Service and shall provide a copy of the certificate to the QSE and the Resource. | Business Process | N/A | EMS Generation Subsystem Requirements Specification v1.0 | GS-FR37 |
| 8.1.2.2.2 (6) | A Reg-Up and Reg-Down qualification test for each Resource is conducted during a continuous 60-minute period agreed on in advance by the QSE and ERCOT. QSEs may qualify a Resource to provide Reg-Up or Reg-Down, or both, in separate testing. ERCOT shall administer the following test requirements: | Regulation qualification test results | Details to be delivered by MMS Project Requirements | MMS RUC v1.0 EMS Generation Subsystem Requirements Specification v1.0 | FR25 GS-FR37 |
| 8.1.2.2.3 (3) | A QSE's Load Resource must be loaded and capable of unloading the scheduled amount of RRS within ten minutes of instruction by ERCOT and must either be immediately responsive to system frequency or be interrupted by action of under-frequency relays with settings as specified by the Operating Guides. | QSE message log | Text of messages sent to QSE's | MMS RUC v1.0 | FR25 |
| 8.1.2.2.3 (7) | Each QSE shall ensure that each Resource is able to meet the Resource's obligations to provide the Resource's Ancillary Service Schedule. | model changes | model changes | MMS RUC v1.0 | FR25 |
| 8.1.2.2.3 (8) | A Resource that has been qualified to provide Reg-Up is also qualified to provide RRS and separate qualification testing is not required. For other Resources requesting qualification for RRS, a qualification test for each Resource to provide RRS is conducted during a continuous eight-hour period agreed to by the QSE and ERCOT. ERCOT shall confirm the date and time of the test with the QSE using both the primary and alternate voice circuits to validate the voice circuits. ERCOT shall administer the following test requirements: | Business Process | N/A | MMS RUC v1.0 EMS Generation Subsystem Requirements Specification v1.0 | FR25 GS-FR37 |
| 8.1.2.2.4 (5) | Each QSE shall ensure that each Resource is able to meet the Resource's obligations to provide the Resource's Ancillary Service Schedule. | Business Process | N/A | MMS RUC v1.0 | FR25 |
| 8.1.2.2.4 (6) | ERCOT shall confirm the date and time of the test with the QSE using both the primary and alternate voice circuits to validate the voice circuits. ERCOT shall administer the following test requirements. | Business Process | N/A | MMS RUC v1.0 EMS Generation Subsystem Requirements Specification v1.0 | FR25 GS-FR37 |
| 8.1.2.2.4 (6) | ERCOT shall administer the following test requirements. | Business Process | N/A | MMS RUC v1.0 | FR25 |
| 8.1.2.2.4 (6) (a) | At any time during the window (selected by ERCOT when market and reliability conditions allow and not previously disclosed to the QSE), ERCOT shall notify the QSE using the Messaging System requesting it to provide an amount of Non-Spin from each Resource equal to the amount that the QSE is requesting qualification. | Market Postings | Text of messages sent to QSE's | EMS Generation Subsystem Requirements Specification v1.0 | GS-FR37 |
| 8.1.2.2.4 (6) (c) | On successful demonstration of all test criteria, ERCOT shall qualify that the Resource is capable of providing Non-Spin and shall provide a copy of the certificate to the QSE and the Resource. | Market Postings | Details to be delivered by EMS Project Requirements | EMS Generation Subsystem Requirements Specification v1.0 | GS-FR37 |
| 8.1.2.4.1 (2) | ERCOT shall also calculate each QSE's participation factor as the ratio for each ten-minute interval of: | New Report | Details to be delivered by EMS Project Requirements | EMS Generation Subsystem Requirements Specification v1.0 | GS-FR3, GS-FR33, GS-FR34 |
| 8.1.2.4.1 (2) (a) | The sum of the ten-minute average of the Base Points and Scheduled Power Consumption Snapshots for a QSE's Resources providing Regulation Service plus deployed Ancillary Service; to | New Report | Details to be delivered by EMS Project Requirements | EMS Generation Subsystem Requirements Specification v1.0 | GS-FR3, GS-FR33, GS-FR34 |
| 8.1.2.4.1 (2) (b) | The sum of the ten-minute averages for all Base Points and all Scheduled Power Consumption Snapshots for all Resources plus all deployed Ancillary Service. | New Report | Details to be delivered by EMS Project Requirements | EMS Generation Subsystem Requirements Specification v1.0 | GS-FR3, GS-FR33, GS-FR34 |
| 8.2 (2) | Reports of all substandard ERCOT operations must be provided to TAC, the ERCOT Board and to the NERC Board as appropriate. Assessments and reports include the following ERCOT activities: | Market Postings | Details to be delivered by EMS Project Requirements | MIS Web Portal Requirements v1.0 | MIS FR127 |
| 8.2 (2) (a) (i) | Reports on Transmission availability objectives | New Report | Details to be delivered by EMS Project Requirements | EMS State Estimator Requirements Specification v1.0 | SE-FR28 |
| 8.2 (2) (a) (ii) | Reports on Outage scheduling metrics including requests | Market Postings | Details to be delivered by EMS Project Requirements | MIS Web Portal Requirements v1.0 | MIS FR127 |
| 8.2 (2) (a) (iii) | NERC transmission metrics (monitoring & managing rated paths) | New Report | Details to be delivered by EMS Project Requirements | EMS State Estimator Requirements Specification v1.0 | SE-FR19 |
| 8.2 (2) (a) (v) | Metric describing how to minimize uplift | Market Postings | Details to be delivered by EMS Project Requirements | MIS Web Portal Requirements v1.0 | MIS FR127 |
| 8.2 (2) (a) (vi) | Metrics describing state estimator | New Report | Details to be delivered by EMS Project Requirements | EMS State Estimator Requirements Specification v1.0 | SE-FR22 - 28 |
| 8.2 (2) (b) (i) (A) | Metrics describing regulation control ; NERC control performance | Market Postings | Details to be delivered by EMS Project Requirements | MIS Web Portal Requirements v1.0 | MIS FR127 |
| 8.2 (2) (b) (i) (B) | Metrics describing regulation control ; Average sum of reg-up and reg-down near zero | Market Postings | Details to be delivered by EMS Project Requirements | MIS Web Portal Requirements v1.0 | MIS FR127 |
| 8.2 (2) (b) (i) (C) | Metrics describing regulation control ; total amount of Reg up deployed/settlement interval | Market Postings | Details to be delivered by EMS Project Requirements | MIS Web Portal Requirements v1.0 | MIS FR127 |
| 8.2 (2) (b) (ii) | Metric for reserve monitoring per 8.1 | Market Postings | Details to be delivered by EMS Project Requirements | MIS Web Portal Requirements v1.0 | MIS FR127 |
| 8.2 (2) (b) (iv) | Metric describing performance of dynamically scheduled resources | Market Postings | Details to be delivered by EMS Project Requirements | MIS Web Portal Requirements v1.0 | MIS FR127 |
| 8.2 (2) (b) (iii) | Metrics describing RUC commitments and deployments | Market Postings | Details to be delivered by EMS Project Requirements | MIS Web Portal Requirements v1.0 | MIS FR127 |
| 8.2 (2) (b) (v) | Metrics describing conflicting instructions to gen resources interval to interval | Market Postings | Details to be delivered by EMS Project Requirements | MIS Web Portal Requirements v1.0 | MIS FR127 |
| 8.2 (2) (b) (vi) | NERC generation control metrics (e.g. CPS, DCS | Market Postings | Details to be delivered by EMS Project Requirements | MIS Web Portal Requirements v1.0 | MIS FR127 |
| 8.2 (2) (b) (vii) | Metrics describing overall resource response to frequency deviations | Market Postings | Details to be delivered by EMS Project Requirements | MIS Web Portal Requirements v1.0 | MIS FR127 |
| 8.2 (2) (c) (i) | The accuracy of each day’s Load forecast posted at 0600 in the Day-Ahead of the Operating Day as compared with the actual ERCOT Load for each hour of the Operating Day; | New Report | Details to be delivered by EMS Project Requirements | EMS Load Forecasting Requirements Specification v1.0 | FR19 |
| 8.2 (2) (c) (i) | The accuracy of each day’s Load forecast posted at 0600 in the Day-Ahead of the Operating Day as compared with the actual ERCOT Load for each hour of the Operating Day | New Report | Details to be delivered by EMS Project Requirements | EMS Load Forecasting Requirements Specification v1.0 | LF-FR 10 |
| 8.2 (2) (c) (ii) | Accuracy of the Load forecast used for Day-Ahead RUC compared to the actual ERCOT Load for each hour of the Operating Day; | New Report | Details to be delivered by EMS Project Requirements | EMS State Estimator Requirements Specification v1.0 | SE-FR19 |
| 8.2 (2) (c) (iii) (A) | The accuracy of the Load forecast for Hourly Load forecast used in the Day-Ahead RUC by Load Zone; compared to the average of the State Estimator Load at each Electrical Bus for each hour: | New Report | Details to be delivered by EMS Project Requirements | EMS State Estimator Requirements Specification v1.0 | SE-FR19 |
| 8.2 (2) (c) (iii) (B) | The accuracy of the Load forecast for _Hourly Load forecast used in the Day-Ahead RUC by Weather Zone;_; compared to the average of the State Estimator Load at each Electrical Bus for each hour: | New Report | Details to be delivered by EMS Project Requirements | EMS State Estimator Requirements Specification v1.0 | SE-FR19 |
| 8.2 (2) (c) (iii) (C) | The accuracy of the Load forecast for _Hourly Load forecast used in the Hourly RUC by Load Zone; _; compared to the average of the State Estimator Load at each Electrical Bus for each hour: | New Report | Details to be delivered by EMS Project Requirements | EMS State Estimator Requirements Specification v1.0 | SE-FR19 |
| 8.2 (2) (c) (iii) (D) | The accuracy of the Load forecast for _Hourly Load forecast used in the Hourly RUC by Weather Zone;_; compared to the average of the State Estimator Load at each Electrical Bus for each hour: | New Report | Details to be delivered by EMS Project Requirements | EMS State Estimator Requirements Specification v1.0 | SE-FR19 |
| 8.2 (2) (c) (iii) (E) | The accuracy of the Load forecast used in the Day-Ahead RUC for the largest MW and MVA differences between the hourly Bus Load Forecast and the Real-Time Load at each Electrical Bus, by Load Zone_; compared to the average of the State Estimator Load at each Electrical Bus for each hour: | New Report | Details to be delivered by EMS Project Requirements | EMS State Estimator Requirements Specification v1.0 | SE-FR19 |
| 8.2 (2) (c) (iii) (F) | The accuracy of the Load forecast used in the Day-Ahead RUC for the largest MW and MVA differences between the hourly Bus Load Forecast and the Real-Time Load at each Electrical Bus, by Weather Zone._; compared to the average of the State Estimator Load at each Electrical Bus for each hour: | New Report | Details to be delivered by EMS Project Requirements | EMS State Estimator Requirements Specification v1.0 | SE-FR19 |
| 8.2 (2) (d) (i) | Comparison of system operating limits identified as constraining limits in the Day-Ahead Market to system operating limits identified as constraining limits in the Real-Time Market; | New Report | Details to be delivered by EMS Project Requirements | EMS State Estimator Requirements Specification v1.0 | SE-FR19 |
| 8.2 (2) (d) (ii) | Comparison of system operating limits identified as constraining limits in the Hourly RUC to system operating limits identified as constraining limits in the Real-Time Market; | New Report | Details to be delivered by EMS Project Requirements | EMS State Estimator Requirements Specification v1.0 | SE-FR19 |
| 8.2 (2) (d) (iii) | Comparison of system operating limits identified as constraining limits in the Day-Ahead RUC to the level the corresponding system parameter was operated in the Real-Time Market; and | New Report | Details to be delivered by EMS Project Requirements | EMS State Estimator Requirements Specification v1.0 | SE-FR19 |
| 8.2 (2) (d) (iv) | Comparison of system operating limits identified as constraining limits in the Hour-Ahead Market to the level the corresponding system parameter was operated in the Real-Time Market. | New Report | Details to be delivered by EMS Project Requirements | EMS State Estimator Requirements Specification v1.0 | SE-FR19 |
| 8.2 (2) (e) (i) | Track number of price changes "after-the-fact;" | Market Postings | Details to be delivered by EMS Project Requirements | MIS Web Portal Requirements v1.0 | MIS FR127 |
| 8.2 (2) (e) (ii) | Track number and types of disputes submitted to ERCOT; | Market Postings | Details to be delivered by EMS Project Requirements | MIS Web Portal Requirements v1.0 | MIS FR127 |
| 8.2 (2) (e) (iii) | Report on compliance with timeliness of response and disposition of disputes; | Market Postings | Details to be delivered by EMS Project Requirements | MIS Web Portal Requirements v1.0 | MIS FR127 |
| 8.2 (2) (e) (iv) | Other settlement metrics; and | Market Postings | Details to be delivered by EMS Project Requirements | MIS Web Portal Requirements v1.0 | MIS FR127 |
| 8.2 (2) (e) (v) | Availability of ESI ID consumption data in conformance with settlement timeline. | Market Postings | Details to be delivered by EMS Project Requirements | MIS Web Portal Requirements v1.0 | MIS FR127 |
| 8.2 (2) f | Performance in implementing network model updates; | Market Postings | Details to be delivered by EMS Project Requirements | MIS Web Portal Requirements v1.0 | MIS FR127 |
| 8.2 (2) (g) | Network Operations Model validation, by comparison to other appropriate models or other methods; | Market Postings | Details to be delivered by EMS Project Requirements | MIS Web Portal Requirements v1.0 | MIS FR127 |
| 8.2 (2) (h) | Back-up control plan; | Back-up control plan | ERCOT Back-up control plan | MIS Web Portal Requirements v1.0 | MIS FR127 |
| 8.2 (2) (i) | Written Black-Start plan; | Written Black-Start plan | Written Black-Start plan | MIS Web Portal Requirements v1.0 | MIS FR127 |
| 8.2 (2) (j) | SAS 70 audit results; | SAS 70 audit results | SAS 70 audit results | MIS Web Portal Requirements v1.0 | MIS FR127 |
| 8.2 (2) (k) | Computer and communication systems Real-Time availability and systems security. | Market Postings | Details to be delivered by EMS Project Requirements | MIS Web Portal Requirements v1.0 | MIS FR127 |
| 8.3. (1) (b) | The metrics developed by ERCOT must include the following elements of transmission system planning, operations and maintenance: Meeting telemetry standards, including the installation of new measurement equipment and the accuracy of measurements; | New Report | Details to be delivered by EMS Project Requirements | EMS SCADA Requirements Specification v1.0 | SCD-FR8, SCD-FR10, SCD-FR11 |
| 8.3. (1) (b) | The metrics developed by ERCOT must include the following elements of transmission system planning, operations and maintenance: Communications system availability; | New Report | Details to be delivered by EMS Project Requirements | EMS SCADA Requirements Specification v1.0 | SCD-FR8, SCD-FR10, SCD-FR11 |
| 8.4 (1) | Reports of all activities that do not meet the performance criteria in this Section and in the Operating Guides must be provided to TAC, the ERCOT Board, and the PUCT and to the NERC Board as appropriate. Non-compliance reports must be posted on the MIS Secure Area on delivery. | Market Postings | Non-specific | MIS Web Portal Requirements v1.0 | MIS FR128 |

## Data Archival in Support of Compliance Requirements

The archival and retention of ERCOT and Market Participant data in the EIS systems is covered under Nodal Protocol section 17.3.1 Information System Data Collection and Retention :

ERCOT shall develop and operate an information system to collect and to store data required by these Protocols.

The EDW requirement covering this protocol section is Functional Requirement 2 in the TN EDW RequirementsSpecification v1.0  document, approved by TPTF on April 2, 2007.  For the compliance reports, extracts, and notifications required under the Section 8 the EDW Project must apply this “data Collection and Retention” requirement to ensure that all data necessary for the creation of these market deliverables is first archived into the EIS systems.

## Requirements from Other Binding Documents

No other requirements from binding documents.

# Supplementary Requirements

| Requirement ID | SR C1 |
| --- | --- |
| Requirement Name | Data Access Security |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | Supplementary to Protocols |
| Coverage of Source |  |
| Traceability to Sub-Process |  |
| Sub-Process Element Coverage |  |
| Description - ERCOT shall comply with security architectural guidelines for the Nodal Market to maintain appropriate access privileges and protections for data collected under the scope of this protocol. - ERCOT shall ensure that all data requests to and resultant data sets from the Data Archive and Data Warehouse are routed through the security layer. - All data that is archived, accessed, and distributed as required by compliance to the Nodal Protocols will be compliant with the ERCOT and PUCT standards and defined by the following sensitivity classification levels: Public Information officially released for widespread public disclosure, either by requirement or as the result of an ERCOT management decision. Careful consideration should be given before classifying information as Public and releasing outside of ERCOT. ERCOT Limited Information intended for internal use within ERCOT. Release of this Information represents a minimal risk to ERCOT or others entrusting Information to ERCOT. If not designated, the default classification for any Information is ERCOT Limited. ERCOT Confidential Information generated in the course of business, for which inadvertent access or disclosure represents a medium to significant risk to ERCOT or others entrusting Information to ERCOT. Specifically includes all Information that is “Protected Information” under the ERCOT Protocols. ERCOT Restricted Information, whose disclosure would have severe legal, regulatory, operational, security, financial, or other such repercussions for ERCOT or others entrusting Information to ERCOT. Nodal Reference: ERCOT CS7.6 Information Classification Corporate Standard |  |

| Requirement ID | SR C2 |
| --- | --- |
| Requirement Name | Compliance Data Timeliness and Availability |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | Supplementary to Protocols |
| Coverage of Source |  |
| Traceability to Sub-Process |  |
| Sub-Process Element Coverage |  |
| Description ERCOT shall create a set of SLAs to set expectations around : - the timeliness of ERCOT's response to data requirements changes - the latency associated with availability of compliance data - the performance of extract and reports in support of compliance activities |  |

| Requirement ID | SR C3 |
| --- | --- |
| Requirement Name | Availability of Data Requirement Specifications to Market Participants |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | Supplementary to Protocols |
| Coverage of Source |  |
| Traceability to Sub-Process |  |
| Sub-Process Element Coverage |  |
| Description ERCOT shall work with the TPTF to provide the TPTF full access to all data requirements and other specific information about the data products which satisfy the requirements of these Protocols. This access will be delivered through the following means: - Set up of an EDW Sub Project Review web site on the www.nodal.ercot.com domain for posting the documentation from the http://nodal.ercot.com/docs/pd/edw/index.html#oth - A master delivery schedule document for all EDW data products development phases. - Specific product content requirements for each data product - <Sub Project> Requirements Specifications - <Sub Project> Conceptual System Design - <Sub Project> Detailed Design - A notification and review process to be created by which the TPTF can provide input to ERCOT for changes to the posted documentation. |  |

## Performance Requirements

No performance requirements exist in the protocols or supplementary documents.  Performance characteristics will be defined by PUCT, ERCOT Business, the WEMM function, or Market Participant agreement and described in the detailed requirements documents for each data service, product, or groups of products.

## Confidentiality Requirements

All data services delivered by the Nodal EDW Project using the EIS data systems will follow the restrictions for protected information as set forth in the NP Section 1.3.  More specifically, all data that is archived, accessed, and distributed as required by compliance to the Nodal Protocols will comply to the confidentiality of specific data sets as defined in Protocols Sections 1.3.1.1 (Items Considered Protected Information) and 1.3.1.2 (Items Not Considered Protected Information).

## Legal and Regulatory requirements

ERCOT shall conform to collection, handling, verification, and retention guidelines outlined in subsection (e) of P.U.C Subst. R. 25.362, Electric Reliability Council of Texas (ERCOT) governance.

## System and Communication Requirements

All system and communications requirements are described in detail in the design approach section of the EDW ConceptualSystemDesign v.(x) document.  EDW does not have any specific communication or network requirements apart from those general requirements for the Nodal program as a whole..

## System Security Requirements

Protocol requests concerning the system security requirements are specified in requirements

SR C1.

## Back up and Recovery Requirements

No back up and recovery requirements exist in the protocols or supplementary documents.  Back up and recovery characteristics will be defined by PUCT, ERCOT Business, the WEMM function, or Market Participant agreement and detailed in the detailed requirements documents for each data service, product, or groups of products.

## Availability and Redundancy Requirements

No Redundancy requirements exist in the protocols or supplementary documents.  Redundancy characteristics will be defined in the EDW conceptual design in accordance with ERCOT standard disaster recovery plans.

## Maintainability Requirements

The data archival and data warehousing systems are maintained by internal ERCOT development and support personnel. Service Level Agreements and explicit support will be detailed in the detail design document.

## Training and Documentation Requirements

Training and documentation related to compliance deliverables identified by these protocols will be developed according to existing ERCOT processes and standards and delivered with the specific Data Services.

## Usability Requirements

No usability requirements exist in the protocols or supplementary documents.  Usability characteristics will be defined by PUCT, ERCOT Business, the WEMM function, or Market Participant agreement and detailed in the detailed requirements documents for each data service, product, or groups of products.

# Protocol Coverage

The following table lists the compliance requirements covered in the Nodal Protocols Section 8: Performance Monitoring and Compliance.  The table includes requirements found in a number of requirements documents previously approved by the TPTF.  Inclusion of these of these requirements is for the purpose of ensuring coverage of Section 8 within this document.

| Protocol Sub-Section | Sub Section Title | Requirement Document Providing Coverage of Compliance | Req. # |
| --- | --- | --- | --- |
| 8.1 (2) | QSE/Resource Performance Monitoring and Compliance | EDW.ComplianceRequirementsSpecification v0.07 | FR-C1 |
| 8.1 (3) (a) | QSE/Resource Performance Monitoring and Compliance | EDW.ComplianceRequirementsSpecification v0.07 | FR-C2 |
| 8.1 (3) (b) | QSE/Resource Performance Monitoring and Compliance | EDW.ComplianceRequirementsSpecification v0.07 | FR-C3 |
| 8.1 (3) (c) | QSE/Resource Performance Monitoring and Compliance | EMS SCADA Requirements Specification v1.0 | FR8, FR10, FR12 |
| 8.1 (3) (c) | QSE/Resource Performance Monitoring and Compliance | EMS SCADA Requirements Specification v1.0 | FR8, FR10, FR12 |
| 8.1 (3) (c) | QSE/Resource Performance Monitoring and Compliance | EMS SCADA Requirements Specification v1.0 | FR8, FR10, FR12 |
| 8.1 (3) (c) | QSE/Resource Performance Monitoring and Compliance | EMS SCADA Requirements Specification v1.0 | FR8, FR10, FR12 |
| 8.1 (3) (d) | QSE/Resource Performance Monitoring and Compliance | EDW.ComplianceRequirementsSpecification v0.07 | FR-C4 |
| 8.1 (3) (e) | QSE/Resource Performance Monitoring and Compliance | EDW.ComplianceRequirementsSpecification v0.07 | FR-C5 |
| 8.1 (3) (f) | QSE/Resource Performance Monitoring and Compliance | EDW.ComplianceRequirementsSpecification v0.07 | FR-C6 |
| 8.1 (3) (g) | QSE/Resource Performance Monitoring and Compliance | EDW.ComplianceRequirementsSpecification v0.07 | FR-C7 |
| 8.1 (3) (h) | QSE/Resource Performance Monitoring and Compliance | EDW.ComplianceRequirementsSpecification v0.07 | FR-C8 |
| 8.1 (3) (i) | QSE/Resource Performance Monitoring and Compliance | EDW.ComplianceRequirementsSpecification v0.07 | FR-C9 |
| 8.1 (3) (j) | QSE/Resource Performance Monitoring and Compliance | EDW.ComplianceRequirementsSpecification v0.07 | FR-C10 |
| 8.1 (3) (k) | QSE/Resource Performance Monitoring and Compliance | EDW.ComplianceRequirementsSpecification v0.07 | FR-C11 |
| 8.1 (3) (l) | QSE/Resource Performance Monitoring and Compliance | EDW.ComplianceRequirementsSpecification v0.07 | FR-C12 |
| 8.1 (3) (o) | QSE/Resource Performance Monitoring and Compliance | EDW.ComplianceRequirementsSpecification v0.07 | FR-C13 |
| 8.1 (3) (q) | QSE/Resource Performance Monitoring and Compliance | EDW.ComplianceRequirementsSpecification v0.07 | FR-C14 |
| 8.1 (3) (r) | QSE/Resource Performance Monitoring and Compliance | EDW.ComplianceRequirementsSpecification v0.07 | FR-C15 |
| 8.1 (3) (s) | QSE/Resource Performance Monitoring and Compliance | EDW.ComplianceRequirementsSpecification v0.07 | FR-C16 |
| 8.1 (3) (t) | QSE/Resource Performance Monitoring and Compliance | EDW.ComplianceRequirementsSpecification v0.07 | FR-C17 |
| 8.1 (3) (v) | QSE/Resource Performance Monitoring and Compliance | EDW.ComplianceRequirementsSpecification v0.07 | FR-C18 |
| 8.1 (3) (w) | QSE/Resource Performance Monitoring and Compliance | EDW.ComplianceRequirementsSpecification v0.07 | FR-C19 |
| 8.1.1 (a) | Generating Resource Governor Response Deployment Compliance Monitoring Criteria for Frequency Disturbances | EDW.ComplianceRequirementsSpecification v0.07 | FR-C20 |
| 8.1.2.2 (1) | General Capacity Testing Requirements | EDW.ComplianceRequirementsSpecification v0.07 | FR-C21 |
| 8.1.2.2 (2) | General Capacity Testing Requirements | EDW.ComplianceRequirementsSpecification v0.07 | FR-C22 |
| 8.1.2.2 (3) | General Capacity Testing Requirements | EDW.ComplianceRequirementsSpecification v0.07 | FR-C23 |
| 8.1.2.2 (4) | General Capacity Testing Requirements | MIS Web Portal Requirements v1.0 | FR126 |
| 8.1.2.2.1 | Ancillary Service Technical Requirements and Qualification Criteria and Test Methods | EMS Generation Subsystem Requirements Specification v1.0 | FR37 |
| 8.1.2.2.1 | Ancillary Service Technical Requirements and Qualification Criteria and Test Methods | EMS Generation Subsystem Requirements Specification v1.0 | FR37 |
| 8.1.2.2.1 | Ancillary Service Technical Requirements and Qualification Criteria and Test Methods | EMS Generation Subsystem Requirements Specification v1.0 | FR37 |
| 8.1.2.2.1 (2) | Ancillary Service Technical Requirements and Qualification Criteria and Test Methods | EDW.ComplianceRequirementsSpecification v0.07 | FR-C24 |
| 8.1.2.2.2 (6) | Regulation Service | MMS RUC v1.0 EMS Generation Subsystem Requirements Specification v1.0 | FR25 FR37 |
| 8.1.2.2.2 (6) (a) | Regulation Service | EMS Generation Subsystem Requirements Specification v1.0 | FR37 |
| 8.1.2.2.2 (6) (c) | Regulation Service | EMS Generation Subsystem Requirements Specification v1.0 | FR37 |
| 8.1.2.2.2 (6) (d) | Regulation Service | EMS Generation Subsystem Requirements Specification v1.0 | FR37 |
| 8.1.2.2.3 (3) | Responsive Reserve Service | MMS RUC v1.0 | FR25 |
| 8.1.2.2.3 (7) | Responsive Reserve Service | MMS RUC v1.0 | FR25 |
| 8.1.2.2.3 (8) | Responsive Reserve Service | MMS RUC v1.0 EMS Generation Subsystem Requirements Specification v1.0 | FR25 FR37 |
| 8.1.2.2.3 (8) | Responsive Reserve Service | EDW.ComplianceRequirementsSpecification v0.07 | FR-C25 |
| 8.1.2.2.3 (8) (a) | Responsive Reserve Service | EDW.ComplianceRequirementsSpecification v0.07 | FR-C26 |
| 8.1.2.2.3 (8) (d) | Responsive Reserve Service | EDW.ComplianceRequirementsSpecification v0.07 | FR-C27 |
| 8.1.2.2.4 (5) | Non-Spinning Reserve | MMS RUC v1.0 | FR25 |
| 8.1.2.2.4 (6) | Non-Spinning Reserve | MMS RUC v1.0 EMS Generation Subsystem Requirements Specification v1.0 | FR25 FR37 |
| 8.1.2.2.4 (6) | Non-Spinning Reserve | MMS RUC v1.0 | FR25 |
| 8.1.2.2.4 (6) (a) | Non-Spinning Reserve | EMS Generation Subsystem Requirements Specification v1.0 | FR37 |
| 8.1.2.2.4 (6) (c) | Non-Spinning Reserve | EMS Generation Subsystem Requirements Specification v1.0 | FR37 |
| 8.1.2.2.6 (2) (d) (ii) | System Black Start Capability | EDW.ComplianceRequirementsSpecification v0.07 | FR-C28 |
| 8.1.2.2.6 (2) (d) (iv) | System Black Start Capability | EDW.ComplianceRequirementsSpecification v0.07 | FR-C29 |
| 8.1.2.3.1 | Regulation Service Capacity Monitoring Criteria | EMS Generation Subsystem Requirements Specification v1.0 | FR34 |
| 8.1.2.3.2 (1) | Responsive Reserve Service Capacity Monitoring Criteria | EDW.ComplianceRequirementsSpecification v0.07 | FR-C30 |
| 8.1.2.3.3 (1) | Non-Spinning Reserve Capacity Monitoring Criteria | EDW.ComplianceRequirementsSpecification v0.07 | FR-C31 |
| 8.1.2.4.1 (1) | Regulation Service Energy Deployment Criteria | EDW.ComplianceRequirementsSpecification v0.07 | FR-C32 |
| 8.1.2.4.1 (2) | Regulation Service Energy Deployment Criteria | EMS Generation Subsystem Requirements Specification v1.0 | FR3, FR33, FR34 |
| 8.1.2.4.1 (2) (a) | Regulation Service Energy Deployment Criteria | EMS Generation Subsystem Requirements Specification v1.0 | FR3, FR33, FR34 |
| 8.1.2.4.1 (2) (b) | Regulation Service Energy Deployment Criteria | EMS Generation Subsystem Requirements Specification v1.0 | FR3, FR33, FR34 |
| 8.1.2.4.2 (1) | Responsive Reserve Service Energy Deployment Criteria | EDW.ComplianceRequirementsSpecification v0.07 | FR-C33 |
| 8.1.2.4.2 (1) | Responsive Reserve Service Energy Deployment Criteria | EMS Generation Subsystem Requirements Specification v1.0 | FR34 |
| 8.1.2.4.2 (1) | Responsive Reserve Service Energy Deployment Criteria | MMS SCED and Real-Time Processes v1.0 | FR28-1 |
| 8.1.2.4.2 (3) | Responsive Reserve Service Energy Deployment Criteria | EMS Generation Subsystem Requirements Specification v1.0 | FR34 |
| 8.1.2.4.3 (1) | Non-Spinning Reserve Energy Deployed under Dispatch Instruction Criteria | EMS Generation Subsystem Requirements Specification v1.0 | FR34 |
| 8.1.2.4.3 (2) | Non-Spinning Reserve Energy Deployed under Dispatch Instruction Criteria | EMS Generation Subsystem Requirements Specification v1.0 | FR34 |
| 8.1.2.4.4 | Combinations of Reliability Service Energy Deployment Criteria | EDW.ComplianceRequirementsSpecification v0.07 | FR-C34 |
| 8.2 (2) | ERCOT Performance Monitoring and Compliance | MIS Web Portal Requirements v1.0 | FR127 |
| 8.2 (2) (a) (i) | ERCOT Performance Monitoring and Compliance | EMS State Estimator Requirements Specification v1.0 | FR28 |
| 8.2 (2) (a) (ii) | ERCOT Performance Monitoring and Compliance | MIS Web Portal Requirements v1.0 | FR127 |
| 8.2 (2) (a) (iii) | ERCOT Performance Monitoring and Compliance | EMS State Estimator Requirements Specification v1.0 | FR19 |
| 8.2 (2) (a) (v) | ERCOT Performance Monitoring and Compliance | MIS Web Portal Requirements v1.0 | FR127 |
| 8.2 (2) (a) (vi) | ERCOT Performance Monitoring and Compliance | EMS State Estimator Requirements Specification v1.0 | FR22 - 28 |
| 8.2 (2) (b) (i) (A) | ERCOT Performance Monitoring and Compliance | MIS Web Portal Requirements v1.0 | FR127 |
| 8.2 (2) (b) (i) (B) | ERCOT Performance Monitoring and Compliance | MIS Web Portal Requirements v1.0 | FR127 |
| 8.2 (2) (b) (i) (C) | ERCOT Performance Monitoring and Compliance | MIS Web Portal Requirements v1.0 | FR127 |
| 8.2 (2) (b) (ii) | ERCOT Performance Monitoring and Compliance | MIS Web Portal Requirements v1.0 | FR127 |
| 8.2 (2) (b) (iii) | ERCOT Performance Monitoring and Compliance | MIS Web Portal Requirements v1.0 | FR127 |
| 8.2 (2) (b) (iv) | ERCOT Performance Monitoring and Compliance | MIS Web Portal Requirements v1.0 | FR127 |
| 8.2 (2) (b) (v) | ERCOT Performance Monitoring and Compliance | MIS Web Portal Requirements v1.0 | FR127 |
| 8.2 (2) (b) (vi) | ERCOT Performance Monitoring and Compliance | MIS Web Portal Requirements v1.0 | FR127 |
| 8.2 (2) (b) (vii) | ERCOT Performance Monitoring and Compliance | MIS Web Portal Requirements v1.0 | FR127 |
| 8.2 (2) (c) (i) | ERCOT Performance Monitoring and Compliance | EMS Load Forecasting Requirements Specification v1.0 | FR19 |
| 8.2 (2) (c) (i) | ERCOT Performance Monitoring and Compliance | EMS Load Forecasting Requirements Specification v1.0 | FR 10 |
| 8.2 (2) (c) (ii) | ERCOT Performance Monitoring and Compliance | EMS State Estimator Requirements Specification v1.0 | FR19 |
| 8.2 (2) (c) (iii) (A) | ERCOT Performance Monitoring and Compliance | EMS State Estimator Requirements Specification v1.0 | FR19 |
| 8.2 (2) (c) (iii) (B) | ERCOT Performance Monitoring and Compliance | EMS State Estimator Requirements Specification v1.0 | FR19 |
| 8.2 (2) (c) (iii) (C) | ERCOT Performance Monitoring and Compliance | EMS State Estimator Requirements Specification v1.0 | FR19 |
| 8.2 (2) (c) (iii) (D) | ERCOT Performance Monitoring and Compliance | EMS State Estimator Requirements Specification v1.0 | FR19 |
| 8.2 (2) (c) (iii) (E) | ERCOT Performance Monitoring and Compliance | EMS State Estimator Requirements Specification v1.0 | FR19 |
| 8.2 (2) (c) (iii) (F) | ERCOT Performance Monitoring and Compliance | EMS State Estimator Requirements Specification v1.0 | FR19 |
| 8.2 (2) (d) (i) | ERCOT Performance Monitoring and Compliance | EMS State Estimator Requirements Specification v1.0 | FR19 |
| 8.2 (2) (d) (ii) | ERCOT Performance Monitoring and Compliance | EMS State Estimator Requirements Specification v1.0 | FR19 |
| 8.2 (2) (d) (iii) | ERCOT Performance Monitoring and Compliance | EMS State Estimator Requirements Specification v1.0 | FR19 |
| 8.2 (2) (d) (iv) | ERCOT Performance Monitoring and Compliance | EMS State Estimator Requirements Specification v1.0 | FR19 |
| 8.2 (2) (e) (i) | ERCOT Performance Monitoring and Compliance | MIS Web Portal Requirements v1.0 | FR127 |
| 8.2 (2) (e) (ii) | ERCOT Performance Monitoring and Compliance | MIS Web Portal Requirements v1.0 | FR127 |
| 8.2 (2) (e) (iii) | ERCOT Performance Monitoring and Compliance | MIS Web Portal Requirements v1.0 | FR127 |
| 8.2 (2) (e) (iv) | ERCOT Performance Monitoring and Compliance | MIS Web Portal Requirements v1.0 | FR127 |
| 8.2 (2) (e) (v) | ERCOT Performance Monitoring and Compliance | MIS Web Portal Requirements v1.0 | FR127 |
| 8.2 (2) (g) | ERCOT Performance Monitoring and Compliance | MIS Web Portal Requirements v1.0 | FR127 |
| 8.2 (2) (h) | ERCOT Performance Monitoring and Compliance | MIS Web Portal Requirements v1.0 | FR127 |
| 8.2 (2) (i) | ERCOT Performance Monitoring and Compliance | MIS Web Portal Requirements v1.0 | FR127 |
| 8.2 (2) (j) | ERCOT Performance Monitoring and Compliance | MIS Web Portal Requirements v1.0 | FR127 |
| 8.2 (2) (k) | ERCOT Performance Monitoring and Compliance | MIS Web Portal Requirements v1.0 | FR127 |
| 8.2 (2) f | ERCOT Performance Monitoring and Compliance | MIS Web Portal Requirements v1.0 | FR127 |
| 8.3 (1) | TSP Performance Monitoring and Compliance | EDW.ComplianceRequirementsSpecification v0.07 | FR-C35 |
| 8.3 (1) (a) | TSP Performance Monitoring and Compliance | EDW.ComplianceRequirementsSpecification v0.07 | FR-C36 |
| 8.3 (1) (c) | TSP Performance Monitoring and Compliance | EDW.ComplianceRequirementsSpecification v0.07 | FR-C37 |
| 8.3 (1) (d) | TSP Performance Monitoring and Compliance | EDW.ComplianceRequirementsSpecification v0.07 | FR-C38 |
| 8.3 (1) (f) | TSP Performance Monitoring and Compliance | EDW.ComplianceRequirementsSpecification v0.07 | FR-C40 |
| 8.3 (1) (g) | TSP Performance Monitoring and Compliance | EDW.ComplianceRequirementsSpecification v0.07 | FR-C41 |
| 8.3 (1) (h) | TSP Performance Monitoring and Compliance | EDW.ComplianceRequirementsSpecification v0.07 | FR-C42 |
| 8.3 (1) (i) | TSP Performance Monitoring and Compliance | EDW.ComplianceRequirementsSpecification v0.07 | FR-C43 |
| 8.3 (1) (j) | TSP Performance Monitoring and Compliance | EDW.ComplianceRequirementsSpecification v0.07 | FR-C44 |
| 8.3 (1) (b) | TSP Performance Monitoring and Compliance | EMS SCADA Requirements Specification v1.0 | FR8, FR10, FR11 |
| 8.4 (1) | Non-Compliance | MIS Web Portal Requirements v1.0 | FR128 |

# Appendix A - ERCOT Replication Criteria & Content Generation Guidelines

The following table provides the descriptions of what operational data retention and reporting practices are considered the standard for ERCOT systems.

| Data Replication Criteria | EDW – Yes | EDW – No |
| --- | --- | --- |
| Condition: |  |  |
| - Historical source information is of interest or value to internal ERCOT business, the Market, or the PUCT. (Goal: Offload processing from operational systems where possible) | X |  |
| - There is a need to research, review, recreate, or repost information as it was originally created, as of a point in time. (Goal: Offload processing from operational systems where possible) | X |  |
| - There are data delivery requirements for a source system, based on the EIS Content Generation guidelines. (Goal: Offload processing from operational systems where possible) Note: See Content Generation guidelines for more details | X |  |
| - Data in source system is copied from another source system that is the official system of record. (Goal: Replicate data sets one time from the official source of record for that data set.) |  | X |
| EIS Content Generation Guidelines | EDW – Yes | EDW – No |
| Condition: |  |  |
| - Output generation requires integration of information from multiple source systems. (Intent: perform large joins in our most efficient environment and do not create mass duplication of information across multiple source (operational) systems) | X |  |
| - Output generation is for a significant amount of data output (more than 1000 rows) (Goal: perform large joins in our most efficient environment, tuned for data output) | X |  |
| - Output generation requires information from a source (operational) systems that is not required to be persisted by the source system. This includes information that is not retained long enough to support the generation requirements. (Intent: Keep the operational systems at a manageable size, focused on OLTP efficiencies, and provide historical reporting in EIS) | X |  |
| - Output generation requires information with a 'point in time' perspective that is not supported in the source (operational) system. (Intent: Keep the operational systems at a manageable size and focused on OLTP efficiencies). | X |  |
| - Output generation will/could adversely effect the performance or stability of the source (operational) system. (Goal: Offload processing from operational systems where possible) | X |  |
| - Output generation requires significant alteration, aggregation, or demoralization of information for reporting. (Goal: Offload processing from operational systems where possible) | X |  |
| - Output generation requires perspective of intra-day transactions (information state changes, no longer in the source (operational) system). (Intent: Keep the operational systems at a manageable size and focused on OLTP efficiencies) | X |  |
| - Output generation requires near real-time (data greater than 8 hours old) data availability. (Goal: Maintain realistic expectations for operation of EIS systems). | X |  |