QSE Attestation Regarding Qualification of Ancillary Services for

Resources Transitioning from Zonal to Nodal ERCOT Market Operations

As the QSE Authorized Representative (or Market Participant Accountable Executive) representing ___{insert QSE name}___, I certify that the provision of Ancillary Services from the Resource(s) listed below will comply with the Nodal Protocols and Nodal Operating Guides and meet the requirements stated within this document.  Based on this self-certification process, I request that the Resource(s) listed below be qualified to provide Ancillary Services in the Nodal market.

The QSE commits that the Resources listed below will participate in Early Delivery System (“EDS”)-1 and EDS-2 activities for communications testing, and in EDS-3 and EDS-4 for Load Frequency Control (LFC) testing.  ERCOT will monitor Resource performance during EDS-3 and EDS-4.  The QSE acknowledges that the Resource(s) can be disqualified from provision of the requested Ancillary Service(s) during the EDS market trials if ERCOT deems the performance of the Resource(s) to not meet the requirements of the Nodal Protocols and Nodal Operating Guides, and if such performance issues cannot be resolved prior to the implementation date for the Texas Nodal Market.

The QSE understands that the Resources not participating in the Zonal market and in the EDS market trials during the transition to Nodal will be required to proceed through Resource qualification activities as defined in Nodal Protocols Section 8.1.2.1, Ancillary Service Qualification and Testing and in compliance with the Nodal Operating Guides Section 2.

On behalf of the QSE, I attest to the following information in requesting self-certification of the Resources listed below for ERCOT consideration:

- For Generation Resources:

  - Ancillary Service qualification(s) being requested for each Resource listed below have been offered and successfully deployed in the Zonal market, either alone or as part of a multiple Resource portfolio.

  - Regulation Service provisioned from the Resource will be capable of meeting the requirements of Nodal Protocols Section 8.1.2.2.2, Regulation Service.

  - Responsive Reserve Service provisioned from the Resource will be capable of meeting the requirements of Nodal Protocols Section 8.1.2.2.3, Responsive Reserve Service.

  - Non-Spinning Reserve Services provisioned from the Resource will be capable of meeting the requirements of Nodal Protocols Section 8.1.2.2.4, Non-Spinning Reserve.

- For Load Resources:

  - Ancillary Service qualification(s) being requested for each Resource listed below has individually demonstrated and been qualified for operation in the Zonal market.

  - Regulation Service provisioned from the Resource will be capable of meeting the requirements of Nodal Protocols Section 8.1.2.2.2, Regulation Service.

  - Responsive Reserve Service provisioned from the Resource will be capable of meeting the requirements of Nodal Protocols Section 8.1.2.2.3, Responsive Reserve Service.

  - Non-Spinning Reserve Services provisioned from the Resource will be capable of meeting the requirements of Nodal Protocols Section 8.1.2.2.4, Non-Spinning Reserve.

Printed Name:  	_______________________________

Signature:   	_______________________________

Date Signed: 	_________________

Resource and qualification(s) requested:			                            Indicate (Y)es or (N)o

| Resource Name* | Resource Type (Gen/Load) | Up Regulation Service | Down Regulation Service | Responsive Reserve Service | Non-Spinning Reserve |
| --- | --- | --- | --- | --- | --- |

* Use mnemonic name of Resource, and if Combined Cycle, mnemonic for entire Combined Cycle Train

Internal Use Only

RECEIVED BY ERCOT:

By: 						  Date:

Printed Name: