| TX SET Issue Tracking Request Form |  |
| --- | --- |
| TX SET Issue Tracking Number: | 2007-I067 |
| Issue Status: | Approved |
| Last Modification Date: | # 07/10/2007 |
| Retail Assignment Request Number: |  |

| ISSUE SUBMITTER SECTION: |  |  |
| --- | --- | --- |
| Submitter Name: | Submitting Company Name: | Date of Submission: |
| Kathy Scott | CenterPoint Energy | 07/10/2007 |
| Submitter’s E-Mail Address: | Phone Number: | Affected Transaction(s): |
| Kathy.Scott@CenterPointEnergy.com | 713-207-7830 or 713-582-8654 | 867_03 |
| Issue Statement: (Short description of issue) |  |  |
| ERCOT is currently rejecting 867_03 Monthly Usage transactions for IDR ESI IDs that have “QTY=KA” (Estimated) at the Detail Level for an interval reading. TDSPs were not planning to provide a REF~5I based upon the detail QTY= KA. We were only going to provide the REF~5I if the Net Interval Summary (PTD*IA) was considered to be Estimated based upon a limited number of intervals that were estimated. It is stated in our tariff (4.8.1.4 Estimated Reading) as follows, which allows for some estimation within intervals without showing the entire month’s usage to be estimated for IDR ESI IDs. A Meter Reading for an IDR Meter shall not be considered an Estimated Meter Reading if an Actual Reading was obtained and Company had to estimate a limited number of intervals of data to fill in gaps in the data collected. The TDSPs request that ERCOT make the change to their system to only apply the REF~5I requirement to the PTD*IA Interval Summary level when the QTY is equal to ‘KA’ (Estimated). Also for Non-Interval ESI IDs where an multiple QTY would be present in the case of a meter exchange, ERCOT should only apply the REF~5I logic when the PTD~SU (Non-Interval Usage Summary) QTY is equal to KA. |  |  |
| Operational/System Impact: (What is the issue doing to your system and/or operations) |  |  |
| If not, the TDSPs will not be able to provide the CRs with their IDR 867_03’s even if one interval or if the meter was replaced showing one of the QTY loop was estimated and the TDSPs do not think that was the intent of the rule or the request of the CRs when making changes to the Tariff, as well as, the TDSPs cannot change an interval from ‘Estimated’ to ‘Actual’ when these were not actual readings just to get ERCOT to accept these transactions. This change needs to be implemented as an emergency to prevent a large number of back-logged 867_03s usage held by the TDSPs and any billing delays created from TDSPs to CR and CR to end-use customer. |  |  |
| Market Impact: (What is the issue doing to others) |  |  |
| TDSPs to CR and CR to Customer billing delays. Increased customer complaints. No IDR usage provided to ERCOT for Settlement even if one interval was estimated. IDR and Non-IDR 867_03 Transaction backlog – held by TDSPs because of 824 Rejects. Numerous MarkeTrak issues open by CRs looking for their transaction. |  |  |
| Desired Outcome: (What do you expect to change) |  |  |
| ERCOT will correct their systems to only Require REF~5I (Reason for Estimate) for: - IDR ESI IDs if the PTD*IA Net Interval Usage Summary ‘QTY’ is equal to ‘KA’ (Quantity Estimated), otherwise this segment would not be present. - Non-IDR ESI IDs if the PTD*SU Non-Interval Usage Summary ‘QTY’ is equal to ‘KA’ (Quantity Estimated, otherwise this segment would not be present Include in graybox the REF~5I is only Required for IOU TDSPs. |  |  |

| TX SET DISCUSSION SECTION: |  |  |  |  |
| --- | --- | --- | --- | --- |
| Date of TX SET Discussion: | Change Control Created (Y/N): |  | Change Control Tracking Number: |  |
| 7/10/2007 | Y |  | 2007-712 |  |
| Discussion/Revision History: |  | Referred to TX SET Subteam (Y/N): |  |  |
| Corrections were made to this issue to add Non-Interval Usage Summary PTD*SU and corrected the Interval Summary PTD*BO to the Net Interval Usage Summary PTD*IA (QTY) for IDRs. Also added REF~5I requirement is only for IOU TDSPs to be included in the graybox. “Required for IOU TDSPs” |  |  |  |  |
| Recommended Resolution: |  |  |  |  |
| Approved as an emergency change control 2007-712 with the corrections shown above in history. |  |  |  |  |