| OGRR Number | 202 | OGRR Title | Clarification of Responsibility for Switching of Transmission Elements |
| --- | --- | --- | --- |
| Operating Guide Section Requiring Revision (include Section No. and Title) | Section 1.7.3, Transmission Operator (TO) |
| Protocol Section Requiring Revision, if any. |  |
| Requested Resolution (Normal or Urgent) | Urgent |
| Revision Description | This Operating Guide Revision Request (OGRR) is proposed to address NERC Standard requirements. NERC Standards require the development, maintenance, and implementation of formal policies and procedures to provide for transmission reliability. Specifically to be included is designation of responsibility for switching transmission elements. The specific requirement is Requirement # R6.3 of NERC Standard TOP-004-0, presently in effect, and the same requirement number in NERC Standard TOP-004-1 to be effective October 1, 2007. |
| Reason for Revision | The ERCOT Protocols and Operating Guides do not have clear, documented indication as to who, if anyone, is responsible for transmission switching duties and how they are coordinated. This revision is proposed to address NERC Standard requirements. |
| Timeline |
| Date Posted | 6/27/07 |
| Please access the ERCOT website for current timeline information. |

| Sponsor |
| --- |
| Name | H. Steven (Steve) Myers |
| Email Address | smyers@ercot.com |
| Company | ERCOT |
| Company Address | 2705 West Lake Drive; Taylor, TX 76574 |
| Phone Number | 512-248-3077 |
| Fax Number | 512-248-3055 |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive OGRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the OGRR.

| Assumptions | 1 | This is a clarification to document existing practice |
| --- | --- | --- |
|  | 2 | This language does not change any procedures, but fills a “gap” |
|  | 3 |  |
|  | 4 |  |
|  | Impact Area | Monetary Impact |
| Market Cost | 1 | None | None |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
|  | Impact Area | Monetary Impact |
| Market Benefit | 1 | None | None |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 | Clarification to comply with a NERC standard requirement to avoid penalties for violation. |
|  | 2 |  |
|  | 3 |  |
|  | 4 |  |
| Other | 1 |  |
| Comments | 2 |  |
|  | 3 |  |
|  | 4 |  |

Proposed Operating Guide Language Revision

### 1.7.3	Transmission Operator (TO)

Transmission Operators (TOs) are the subset of Transmission Service Providers (TSPs) or Transmission and/or Distribution Service Providers (TDSPs) that is charged with continuous communication (7x24 basis) with the ERCOT Control Area Authority (CAA) and carrying out Dispatch Instructions directly or on behalf of represented TDSPs.  Each TSP or TDSP will designate either itself or another TSP or TDSP to perform the functions of a TO. TOs must meet all requirements identified in the ERCOT Protocols for TDSPs and TSPs in addition to those requirements stated below for all Transmission Facilities represented:

- Operate and manage the electric Transmission Facilities between energy sources and the point of delivery;

- Perform switching of transmission elements.  Develop, maintain, and implement transmission switching policies and procedures to ensure transmission reliability;

- Coordinate emergency communications between the TDSP or TSP and ERCOT CAA;

- Monitor the loading of the transmission system(s);

- Notify the ERCOT CAA of changes to the status of all Transmission Facilities;

- Act as Single Point of Contact for Transmission Outages;

- Maintain operational metering; and,

- Implement Black Start.

Transmission Operators shall provide the ERCOT CAA their written backup control plans to continue operation in the event the Transmission Operator’s control center becomes inoperable.

Each backup control plan shall be reviewed and updated annually and shall meet the following minimum requirements:

- Include description of actions to be taken by TO personnel to avoid placing a prolonged burden on ERCOT and other Market Participants.

- Include description of specific functions and responsibilities to be performed to continue operations from an alternate location.

- Includes procedures and responsibilities for maintaining basic voice communications capabilities with ERCOT.

- Includes procedures for backup control function testing and the training of personnel.

As an option, the backup plan may include arrangements made with another entity to provide the minimum backup control functions in the event the TO’s primary functions are interrupted.