## 1-LCRA Generation comments
A | B | C | D | E
1 |  | System Planning / Data Aggregation / Settlements
LCRA Comment: Form need to be modified to accommodate situations where a QSE has a 4th (and 5th?) configuration. There will likely be more configurations among future, new generation sites in ERCOT.
2 |  | If Combined Cycle, Wind, Load, or BLT Resource (use specified worksheet, NOT this one)
New___ Revised___ Add___ Delete___
13
32 | Generator Unit Information | Field Description |  | Unit #___
33 |  | Unit Name
34 |  | Unit Code
35 |  | Unit Start Date
36 |  | Unit End Date
60 |  | Physical Unit Type
61 |  | Primary Fuel Type
62 |  | Secondary Fuel Type
63 |  | Fuel Transportation Type
64 |  | Renewable (Y/N)
65 |  | Renewable/Offset
Resource Category
|  | High Reasonability Limit (Max MW level) |  | No Field Requesting Gross MW's?
Low Reasonability Limit (Min MW level)
High Reasonability Ramp Rate Limit (Max ramp MW/min)
Low Reasonability Ramp Rate Limit (Min ramp MW/min)
Qualifying Facility (Yes or No?)
|  | Seasonal Net MW Rating- Spring |  | Will QSE's have to re-register each unit each quarter - Will this data be is submitted via Testing Routine?
|  | Seasonal Net MW Rating- Summer |  | Will QSE's have to re-register each unit each quarter - Will this data be is submitted via Testing Routine?
|  | Seasonal Net MW Rating- Fall |  | Will QSE's have to re-register each unit each quarter - Will this data be is submitted via Testing Routine?
|  | Seasonal Net MW Rating- Winter |  | Will QSE's have to re-register each unit each quarter - Will this data be is submitted via Testing Routine?
Conversion constant from Gross to Net MW (if applicable)
Name Plate Rating (MVA)
Rated Power Factor
Rating (MW)
|  | Rating (MVAR) |  | This should be stated as Max MVAR at rated PF at rated MW
|  | Net Maximum Operating Capability (MW) - Summer |  | Same Data as Row 26?
|  | Net Maximum Leading Operating Capability (MVAR) - Summer |  | The MVAR Value is tested once biennially during a specified set of months. Therefore, the values will probably remain the same for all seasons.
|  | Net Maximum Lagging Operating Capability (MVAR) - Summer |  | The MVAR Value is tested once biennially during a specified set of months. Therefore, the values will probably remain the same for all seasons.
|  | Net Maximum Operating Capability (MW) - Winter |  | Same Data as Row 28?
|  | Net Maximum Leading Operating Capability (MVAR) - Winter |  | The MVAR Value is tested once biennially during a specified set of months. Therefore, the values will probably remain the same for all seasons.
|  | Net Maximum Lagging Operating Capability (MVAR) - Winter |  | The MVAR Value is tested once biennially during a specified set of months. Therefore, the values will probably remain the same for all seasons.
Net Minimum Operating Capability (MW)
Unit KV
|  | Direct Axis Subtransient reactance, X"di |  | Untested or Verified - Per Manufacturer
|  | Direct Axis Transient reactance, X'di |  | Untested or Verified - Per Manufacturer
Plant Voltage Protection
UndervoltageTrip, per unit
Overvoltage Teip, per unit
Plant Frequency Protection
|  | Underfrequency trip, Hz |  | Operating Guides Require 4 Distinct UF Trip Settings - Not Just One??
Overfrequency Trip, Hz
| Private Network Section | Private Network (Y or N)
Amount of Self-Serve private load (MW)
Private Network Net Interchange (MW)
Telemetry for PN Net Interchange is provided (Y/N)
Private Network Gross Unit Capability (MW)
Telemetry for PN Gross Unit MW is provided (Y/N)
Private Network Gross Unit Capability (MVAR)
Telemetry for PN Gross Unit MVAR is provided (Y/N)
If Unit trips, does Load trip?
Load Characterictics
Large Motor, percent of total MW load
Small Motor, percent of total MW load
Resistive (Heating) Load
Discharge Lighting
Other
| Reactive Capability Curve | MW1
|  | Lagging MVAR limit associated with MW1 output |  | The MVAR Value is tested once biennially during a specified set of months. Therefore, the values will probably remain the same for all seasons.
|  | Leading MVAR limit associated with MW1 output |  | The MVAR Value is tested once biennially during a specified set of months. Therefore, the values will probably remain the same for all seasons.
MW2
|  | Lagging MVAR limit associated with MW2 output |  | The MVAR Value is tested once biennially during a specified set of months. Therefore, the values will probably remain the same for all seasons.
|  | Leading MVAR limit associated with MW2 output |  | The MVAR Value is tested once biennially during a specified set of months. Therefore, the values will probably remain the same for all seasons.
MW3
|  | Lagging MVAR limit associated with MW3 output |  | The MVAR Value is tested once biennially during a specified set of months. Therefore, the values will probably remain the same for all seasons.
|  | Leading MVAR limit associated with MW3 output |  | The MVAR Value is tested once biennially during a specified set of months. Therefore, the values will probably remain the same for all seasons.
MW4
|  | Lagging MVAR limit associated with MW4 output |  | The MVAR Value is tested once biennially during a specified set of months. Therefore, the values will probably remain the same for all seasons.
|  | Leading MVAR limit associated with MW4 output |  | The MVAR Value is tested once biennially during a specified set of months. Therefore, the values will probably remain the same for all seasons.
| Resource Parameters - Submitted one time only by RE, updated by QSE via MMS | Minimum On Line Time (hrs)
Minimum Off Line Time (hrs)
Hot Start Time (hrs)
Intermediate Start Time (hrs)
Cold Start Time (hrs)
Max Weekly Starts
Max On Line Time (hrs)
Max Daily Starts
|  | Max Weekly Energy |  | Is this meaningful? Could it not be calculated? Too many variables (Fuel, Environmental. Etc.)
Hot-to-Intermediate Time (hrs)
Intermediate-to-Cold Time (hrs)
Normal Ramp Rate Curve
MW1
RampRate1 (MW/minute)
MW2
RampRate2 (MW/minute)
MW3
RampRate3 (MW/minute)
MW4
RampRate4 (MW/minute)
MW5
RampRate5 (MW/minute)
Emergency Ramp Rate Curve
MW1
RampRate1 (MW/minute)
MW2
RampRate2 (MW/minute)
MW3
RampRate3 (MW/minute)
MW4
RampRate4 (MW/minute)
MW5
RampRate5 (MW/minute)
190 | N/W Model Transformer Data | Transformer Name |  | What if multiple choices (Double BUS Arrangement?)
|  | High Voltage Limit |  | Is this BIL or no-load tap?
|  | Low Voltage Limit |  | Is this BIL or no-load tap?
Series Resistance
Series Reactance
Shunt Magnetizing Conductance
Shunt Magnetizing Susceptance
|  | Normal Rating MVA |  | ONAN ?
|  | Emergency Rating MVA |  | ONAF ?
|  | Loadshed Rating MVA |  | ONAF ?
LTC (Y/N)
LTC Group (Kv)
| Low Side Tap Setting | Nominal Voltage (Kv)
Total Number of Tap Positions
Normal Tap Position
Lowest Tap Position
Highest Tap Position
Nominal Tap Position (Neutral Step)
Step Size in Percent
| High Side Tap Setting | Nominal Voltage (Kv)
Total Number of Tap Positions
Normal Tap Position
Lowest Tap Position
Highest Tap Position
Nominal Tap Position (Neutral Step)
Step Size in Percent
| SubSync Resonance | Mass 1
Mass Inertia
Inertia units
Associated damping
Damping units
Stiffness between Masses
Stiffness units
| SubSync Resonance | Mass 2
Mass Inertia
Inertia units
Associated damping
Damping units
Stiffness between Masses
Stiffness units
| SubSync Resonance | Mass 3
Mass Inertia
Inertia units
Associated damping
Damping units
Stiffness between Masses
Stiffness units
| SubSync Resonance | Mass 4
Mass Inertia
Inertia units
Associated damping
Damping units
Stiffness between Masses
Stiffness units
| SubSync Resonance | Mass 5
Mass Inertia
Inertia units
Associated damping
Damping units
Stiffness between Masses
Stiffness units
Complete this section if a single RESOURCE owns 100% of all units.
137 | Data Aggregation | Resource Owner Data |  | Owner 1
Resource Entity Name
138 |  | Resource Duns Number |  | #N/A
139
140 |  | Complete this section if splitting netted gensite load among multiple ESIIDs
| Data Aggregation | Gen Load Splitting |  | ESIID 1
Fixed Load Splitting %
Competitive Retailer
|  | Competitive Retailer DUNS # |  | #N/A
Complete the following sections only if Units are Joint-Owned
| Data Aggregation | Unit 1 Data |  | Where do you identify the UNIT you are defining???
|  | Sub Generator Data |  | Owner ___
Market Participant (Resource) Name
|  | Market Participant (Resource) Duns Number |  | #N/A
Fixed Ownership %
Master Owner (Y or N)
| Data Aggregation | Unit 2 Data |  | Where do you identify the UNIT you are defining???
|  | Sub Generator Data |  | Owner ___
Market Participant (Resource) Name
|  | Market Participant (Resource) Duns Number |  | #N/A
Fixed Ownership %
Master Owner (Y or N)
| Data Aggregation | Unit 3 Data |  | Where do you identify the UNIT you are defining???
|  | Sub Generator Data |  | Owner ___
Market Participant (Resource) Name
|  | Market Participant (Resource) Duns Number |  | #N/A
Fixed Ownership %
Master Owner (Y or N)
| Data Aggregation | Unit 4 Data |  | Where do you identify the UNIT you are defining???
|  | Sub Generator Data |  | Owner ___
Market Participant (Resource) Name
|  | Market Participant (Resource) Duns Number |  | #N/A
Fixed Ownership %
Master Owner (Y or N)
| Data Aggregation | Unit 5 Data |  | Where do you identify the UNIT you are defining???
|  | Sub Generator Data |  | Owner ___
Market Participant (Resource) Name
|  | Market Participant (Resource) Duns Number |  | #N/A
Fixed Ownership %
Master Owner (Y or N)
| Data Aggregation | Unit 6 Data |  | Where do you identify the UNIT you are defining???
|  | Sub Generator Data |  | Owner ___
Market Participant (Resource) Name
|  | Market Participant (Resource) Duns Number |  | #N/A
Fixed Ownership %
Master Owner (Y or N)
Note on C9: Name of generator unit (ie. CBYG1)
Note on C10: Naming Convention: Generator Site Code_Generator Unit Name (ie. CBY_CBYG1)
Note on C11: In-Service Date
Note on C12: Retire Date
Note on C18: A REC offset represents one MWH of renewable energy from an existing facility that may be used in place of a REC to meet renewable energy requirement. See Substantive Rule 25.173(c) (10). Is the unit a certified renewable energy credit generator or a certified offset generator? See Protocol Section 14.9 Code as follows: (RN) Renewable (OS) Renewable Offset (NA) Not Applicable
Note on C20: New Nodal field- An "Out-of-Bounds" value chosen by RE and used by ERCOT to alarm/reject data exceeding the value.
Note on C21: New Nodal field- An "Out-of-Bounds" value chosen by RE and used by ERCOT to alarm/reject data exceeding the value.
Note on C22: New Nodal field- An "Out-of-Bounds" value chosen by RE and used by ERCOT to alarm/reject data exceeding the value.
Note on C23: New Nodal field- An "Out-of-Bounds" value chosen by RE and used by ERCOT to alarm/reject data exceeding the value.
Note on C30: Name Plate MVA Rating of this unit at its rated Power Factor.
Note on C31: From Generator Name Plate
Note on C32: Maximum rated MW at rated Power Factor.
Note on C33: Maximum MVAR at rated Power Factor
Note on C34: Net Maximum MW Operating Capability minus unit auxilary load.
Note on C35: Net Maximum Leading MVAR Operating capability associated with Net Maximum MW Operating Capability in the Summer.
Note on C36: Net Maximum Lagging MVAR Operating capability associated with Net Maximum MW Operating Capability in the Summer.
Note on C37: Net Maximum MW Operating Capability minus unit auxilary load. Winter is defined as December through February.
Note on C38: Net Maximum Leading MVAR Operating Capability associated with Net Maximum MW Operating Capability in the Winter.
Note on C39: Net Maximum Lagging MVAR Operating Capability associated with Net Maximum MW Operating Capability in the Winter.
Note on C40: Net Minimum MW Operating Capability minus unit auxilary load.
Note on C41: Terminal voltage of unit
Note on C42: The reactance which is determined from the ratio of an initial reduced voltage open circuit condition and the currents from the three-phase fault at the machine terminals at the rated frequency. The intial open circuit voltage is adjusted so the rated cu
Note on C43: The reactance which is determined from the ratio of an initial reduced voltage open circuit condition and the currents from the three-phase fault at the machine terminals at the rated frequency. The intial open circuit voltage is adjusted so the rated cu
Note on C51: Per ERCOT Operating Guides, section 8: Private Network refers to generators with self-serve private load behind a single meter at the point of injection into the ERCOT grid.
Note on C52: Amount of the generator output used for self serve and not available for the grid. Please indicate if this self-serve private load amount is per unit or per plant.
Note on C53: Per ERCOT Operating Guides, section 8: For private networks, the net interchange shall be provided along with gross MW and Mvar per generating unit.
Note on C54: Per ERCOT Operating Guides, section 8: For private networks, the net interchange shall be provided along with gross MW and Mvar per generating unit.
Note on C55: Per ERCOT Operating Guides, section 8: For private networks, the net interchange shall be provided along with gross MW and Mvar per generating unit.
Note on C56: Per ERCOT Operating Guides, section 8: For private networks, the net interchange shall be provided along with gross MW and Mvar per generating unit.
Note on C57: Per ERCOT Operating Guides, section 8: For private networks, the net interchange shall be provided along with gross MW and Mvar per generating unit.
Note on C58: Per ERCOT Operating Guides, section 8: For private networks, the net interchange shall be provided along with gross MW and Mvar per generating unit.
Note on C67: Net Minimum Operating Capability output for this unit, in MW
Note on C68: Unit's Lagging reactive power output capability associated with its MW1 output, in MVAr.
Note on C69: Unit's Leading reactive power output capability associated with its MW1 output, in MVAr.
Note on C80: Field was previously called Minimum Up Time
Note on C81: Field was previously called Minimum Down Time on Zonal GARF.
Note on C124: Transformer Load Tap Changer
Note on C125: Transformer Load Tap Changer Group Kv.
Note on C181: If single owner, Owner 1 is only field necessary. If multiple owners, all owners must be identified in this row
Note on C182: Entity that is registered with ERCOT: 1). Power Generation Company registered with the PUCT. 2.) Resource entity not required to register with the PUCT.
Note on C186: Total must equal 100%
Note on C193: If single owner, Owner 1 is only field necessary. If multiple owners, all owners must be identified in this row.
Note on C194: Entity that is registered with ERCOT: 1). Power Generation Company registered with the PUCT. 2.) Resource entity not required to register with the PUCT.
Note on C195: Total must equal 100%
Note on C196: A single owner must be identified so the associated QSE can provide generation splitting signals. There must be a single Master PGC/QSE per Generation Site.
Note on C200: If single owner, Owner 1 is only field necessary. If multiple owners, all owners must be identified in this row.
Note on C201: Entity that is registered with ERCOT: 1). Power Generation Company registered with the PUCT. 2.) Resource entity not required to register with the PUCT.
Note on C202: Total must equal 100%
Note on C203: A single owner must be identified so the associated QSE can provide generation splitting signals. There must be a single Master PGC/QSE per Generation Site.
Note on C207: If single owner, Owner 1 is only field necessary. If multiple owners, all owners must be identified in this row.
Note on C208: Entity that is registered with ERCOT: 1). Power Generation Company registered with the PUCT. 2.) Resource entity not required to register with the PUCT.
Note on C209: Total must equal 100%
Note on C210: A single owner must be identified so the associated QSE can provide generation splitting signals. There must be a single Master PGC/QSE per Generation Site.
Note on C214: If single owner, Owner 1 is only field necessary. If multiple owners, all owners must be identified in this row.
Note on C215: Entity that is registered with ERCOT : 1). Power Generation Company registered with the PUCT. 2.) Resource entity not required to register with the PUCT.
Note on C216: Total must equal 100%
Note on C217: A single owner must be identified so the associated QSE can provide generation splitting signals. There must be a single Master PGC/QSE per Generation Site.
Note on C221: If single owner, Owner 1 is only field necessary. If multiple owners, all owners must be identified in this row.
Note on C222: Entity that is registered with ERCOT: 1). Power Generation Company registered with the PUCT. 2.) Resource entity not required to register with the PUCT.
Note on C223: Total must equal 100%
Note on C224: A single owner must be identified so the associated QSE can provide generation splitting signals. There must be a single Master PGC/QSE per Generation Site.
Note on C228: If single owner, Owner 1 is only field necessary. If multiple owners, all owners must be identified in this row.
Note on C229: Entity that is registered with ERCOT: 1). Power Generation Company registered with the PUCT. 2.) Resource entity not required to register with the PUCT.
Note on C230: Total must equal 100%
Note on C231: A single owner must be identified so the associated QSE can provide generation splitting signals. There must be a single Master PGC/QSE per Generation Site.

## 2-LCRA CombinedCycle comments
A | B | C | D | E
1 |  | System Planning / Data Aggregation / Settlements
2 |  | Combined Cycle Resource Registration Data
3 |  | How is one to use only 3 configurations for a CC if the individual units are capable of interconnecting to more than one transmission bus in ERCOT
Note1- Maximum number of configurations per Combine Cycle Train not to exceed aggregate number of physical generation units (example: 2-CTs and 1-ST can register for up to 3 configurations).
New___ Revised___ Add___ Delete___
Note2- Power augmentation is not allowed as a separate configurationd. Power augmentation should be reflected within an existing configuration.
Use table below to identify which units will be associated with each registered configuration for the Combined Cycle Train
|  | (Place X in matrix column as applicable) |  | Configuration ___
Unit 1- (insert unit name here)
Unit 2- (insert unit name here)
Unit 3- (insert unit name here)
Unit 4- (insert unit name here)
Unit 5- (insert unit name here)
Unit 6- (insert unit name here)
Use table below to identify which configuration can transition to another configuration for the Combined Cycle Train
|  | From configuration in this column, to next configuration Use X in matrix to mark allowable transitions |  | To Configuration ___
From Configration A
From Configration B
From Configration C
From Configration D
From Configration E
From Configration F
13 |  | Field Description |  | CombCycle Train
Unit/Configuration Name
Unit Code/Mnemonic
Unit Start Date
Unit End Date
Physical Unit Type
Primary Fuel Type
Secondary Fuel Type
Fuel Transportation Type
Qualifying Facility (Y/N)?
32 | Generator Unit Information | Field Description |  | Unit #___
33 |  | Unit/Configuration Name
34 |  | Unit Code/Mnemonic
35 |  | Unit Start Date
36 |  | Unit End Date
60 |  | Physical Unit Type
61 |  | Primary Fuel Type
62 |  | Secondary Fuel Type
63 |  | Fuel Transportation Type
High Reasonability Limit (Max MW level)
Low Reasonability Limit (Min MW level)
High Reasonability Ramp Rate Limit (Max ramp MW/min)
Low Reasonability Ramp Rate Limit (Min ramp MW/min)
|  | Seasonal Net MW Rating- Spring |  | Will QSE's have to re-register each unit each quarter - Will this data be is submitted via Testing Routine?
|  | Seasonal Net MW Rating- Summer |  | Will QSE's have to re-register each unit each quarter - Will this data be is submitted via Testing Routine?
|  | Seasonal Net MW Rating- Fall |  | Will QSE's have to re-register each unit each quarter - Will this data be is submitted via Testing Routine?
|  | Seasonal Net MW Rating- Winter |  | Will QSE's have to re-register each unit each quarter - Will this data be is submitted via Testing Routine?
Conversion constant from Gross to Net MW (if applicable)
Name Plate Rating (MVA)
Rated Power Factor
Rating (MW)
|  | Rating (MVAR) |  | This should be stated as Max MVAR at rated PF at rated MW
|  | Net Maximum Operating Capability (MW) - Summer |  | Same Data as Row 54?
|  | Net Maximum Leading Operating Capability (MVAR) - Summer |  | The MVAR Value is tested once biennially during a specified set of months. Therefore, the values will probably remain the same for all seasons.
|  | Net Maximum Lagging Operating Capability (MVAR) - Summer |  | The MVAR Value is tested once biennially during a specified set of months. Therefore, the values will probably remain the same for all seasons.
|  | Net Maximum Operating Capability (MW) - Winter |  | Same Data as Row 56?
|  | Net Maximum Leading Operating Capability (MVAR) - Winter |  | The MVAR Value is tested once biennially during a specified set of months. Therefore, the values will probably remain the same for all seasons.
|  | Net Maximum Lagging Operating Capability (MVAR) - Winter |  | The MVAR Value is tested once biennially during a specified set of months. Therefore, the values will probably remain the same for all seasons.
Net Minimum Operating Capability (MW)
Unit KV
|  | Direct Axis Subtransient reactance, X"di |  | Untested or Verified - Per Manufacturer
|  | Direct Axis Transient reactance, X'di |  | Untested or Verified - Per Manufacturer
Plant Voltage Protection
UndervoltageTrip, per unit
Overvoltage Teip, per unit
Plant Frequency Protection
|  | Underfrequency trip, Hz |  | Operating Guides Rquire 4 Distinct UF Trip Settings - Not Just One??
Overfrequency Trip, Hz
| Private Network Section | Private Network (Y or N)
Amount of Self-Serve private load (MW)
Private Network Net Interchange (MW)
Telemetry for PN Net Interchange is provided (Y/N)
Private Network Gross Unit Capability (MW)
Telemetry for PN Gross Unit MW is provided (Y/N)
Private Network Gross Unit Capability (MVAR)
Telemetry for PN Gross Unit MVAR is provided (Y/N)
Load Characterictics
Large Motor, percent of total MW load
Small Motor, percent of total MW load
Resistive (Heating) Load
Discharge Lighting
Other
| Reactive Capability Curve | MW1
|  | Lagging MVAR limit associated with MW1 output |  | The MVAR Value is tested once biennially during a specified set of months. Therefore, the values will probably remain the same for all seasons.
|  | Leading MVAR limit associated with MW1 output |  | The MVAR Value is tested once biennially during a specified set of months. Therefore, the values will probably remain the same for all seasons.
MW2
|  | Lagging MVAR limit associated with MW2 output |  | The MVAR Value is tested once biennially during a specified set of months. Therefore, the values will probably remain the same for all seasons.
|  | Leading MVAR limit associated with MW2 output |  | The MVAR Value is tested once biennially during a specified set of months. Therefore, the values will probably remain the same for all seasons.
MW3
|  | Lagging MVAR limit associated with MW3 output |  | The MVAR Value is tested once biennially during a specified set of months. Therefore, the values will probably remain the same for all seasons.
|  | Leading MVAR limit associated with MW3 output |  | The MVAR Value is tested once biennially during a specified set of months. Therefore, the values will probably remain the same for all seasons.
MW4
|  | Lagging MVAR limit associated with MW4 output |  | The MVAR Value is tested once biennially during a specified set of months. Therefore, the values will probably remain the same for all seasons.
|  | Leading MVAR limit associated with MW4 output |  | The MVAR Value is tested once biennially during a specified set of months. Therefore, the values will probably remain the same for all seasons.
| Resource Parameters - Submitted one time only by RE, updated by QSE via MMS | Minimum On Line Time (hrs)
Minimum Off Line Time (hrs)
Hot Start Time (hrs)
Intermediate Start Time (hrs)
Cold Start Time (hrs)
Max Weekly Starts
Max On Line Time (hrs)
Max Daily Starts
Max Weekly Energy
Hot-to-Intermediate Time (hrs)
Intermediate-to-Cold Time (hrs)
Normal Ramp Rate Curve
MW1
RampRate1 (MW/minute)
MW2
RampRate2 (MW/minute)
MW3
RampRate3 (MW/minute)
MW4
RampRate4 (MW/minute)
MW5
RampRate5 (MW/minute)
Emergency Ramp Rate Curve
MW1
RampRate1 (MW/minute)
MW2
RampRate2 (MW/minute)
MW3
RampRate3 (MW/minute)
MW4
RampRate4 (MW/minute)
MW5
RampRate5 (MW/minute)
190 | N/W Model Transformer Data | Transformer Name
High Voltage Limit
|  | Low Voltage Limit |  | How will multilpe LV windings be specified and handled???
Series Resistance
Series Reactance
Shunt Magnetizing Conductance
Shunt Magnetizing Susceptance
|  | Normal Rating MVA |  | ONAN ?
|  | Emergency Rating MVA |  | ONAF ?
|  | Loadshed Rating MVA |  | ONAF ?
LTC (Y/N)
LTC Group (Kv)
| Low Side Tap Setting | Nominal Voltage (Kv)
Total Number of Tap Positions
Normal Tap Position
Lowest Tap Position
Highest Tap Position
Nominal Tap Position (Neutral Step)
Step Size in Percent
| High Side Tap Setting | Nominal Voltage (Kv)
Total Number of Tap Positions
Normal Tap Position
Lowest Tap Position
Highest Tap Position
Nominal Tap Position (Neutral Step)
Step Size in Percent
| SubSync Resonance | Mass
Mass Inertia
Inertia units
Associated damping
Damping units
Stiffness between Masses
Stiffness units
| SubSync Resonance | Mass 2
Mass Inertia
Inertia units
Associated damping
Damping units
Stiffness between Masses
Stiffness units
| SubSync Resonance | Mass 3
Mass Inertia
Inertia units
Associated damping
Damping units
Stiffness between Masses
Stiffness units
| SubSync Resonance | Mass 4
Mass Inertia
Inertia units
Associated damping
Damping units
Stiffness between Masses
Stiffness units
| SubSync Resonance | Mass 5
Mass Inertia
Inertia units
Associated damping
Damping units
Stiffness between Masses
Stiffness units
|  | Complete this section if a single RESOURCE owns 100% of all units. |  | What if the Unit is Joint Owned????
137 | Data Aggregation | Resource Owner Data |  | Owner 1
Resource Entity Name
138 |  | Resource Duns Number |  | #N/A
139
Note on C30: Name of generator unit (ie. CBYG1)
Note on C31: Naming Convention: Generator Site Code_Generator Unit Name (ie. CBY_CBYG1)
Note on C32: In-Service Date
Note on C33: Retire Date
Note on C41: Name of generator unit (ie. CBYG1)
Note on C42: Naming Convention: Generator Site Code_Generator Unit Name (ie. CBY_CBYG1)
Note on C43: In-Service Date
Note on C44: Retire Date
Note on C49: New Nodal field- An "Out-of-Bounds" value chosen by RE and used by ERCOT to alarm/reject data exceeding the value.
Note on C50: New Nodal field- An "Out-of-Bounds" value chosen by RE and used by ERCOT to alarm/reject data exceeding the value.
Note on C51: New Nodal field- An "Out-of-Bounds" value chosen by RE and used by ERCOT to alarm/reject data exceeding the value.
Note on C52: New Nodal field- An "Out-of-Bounds" value chosen by RE and used by ERCOT to alarm/reject data exceeding the value.
Note on C58: Name Plate MVA Rating of this unit at its rated Power Factor.
Note on C59: From Generator Name Plate
Note on C60: Maximum rated MW at rated Power Factor.
Note on C61: Maximum MVAR at rated Power Factor
Note on C62: Net Maximum MW Operating Capability minus unit auxilary load. New Nodal GARF field
Note on C63: Net Maximum Leading MVAR Operating capability associated with Net Maximum MW Operating Capability in the Summer. New Nodal GARF field
Note on C64: Net Maximum Lagging MVAR Operating capability associated with Net Maximum MW Operating Capability in the Summer. New Nodal GARF field
Note on C65: Net Maximum MW Operating Capability minus unit auxilary load. Winter is defined as December through February. New Nodal GARF field
Note on C66: Net Maximum Leading MVAR Operating Capability associated with Net Maximum MW Operating Capability in the Winter. New Nodal GARF field
Note on C67: Net Maximum Lagging MVAR Operating Capability associated with Net Maximum MW Operating Capability in the Winter. New Nodal GARF field
Note on C68: Net Minimum MW Operating Capability minus unit auxilary load. New Nodal GARF field
Note on C69: Terminal voltage of unit
Note on C70: The reactance which is determined from the ratio of an initial reduced voltage open circuit condition and the currents from the three-phase fault at the machine terminals at the rated frequency. The intial open circuit voltage is adjusted so the rated cu
Note on C71: The reactance which is determined from the ratio of an initial reduced voltage open circuit condition and the currents from the three-phase fault at the machine terminals at the rated frequency. The intial open circuit voltage is adjusted so the rated cu
Note on C79: Per ERCOT Operating Guides, section 8: Private Network refers to generators with self-serve private load behind a single meter at the point of injection into the ERCOT grid.
Note on C80: Amount of the generator output used for self serve and not available for the grid. Please indicate if this self-serve private load amount is per unit or per plant.
Note on C81: Per ERCOT Operating Guides, section 8: For private networks, the net interchange shall be provided along with gross MW and Mvar per generating unit.
Note on C82: Per ERCOT Operating Guides, section 8: For private networks, the net interchange shall be provided along with gross MW and Mvar per generating unit.
Note on C83: Per ERCOT Operating Guides, section 8: For private networks, the net interchange shall be provided along with gross MW and Mvar per generating unit. New Nodal GARF field
Note on C84: Per ERCOT Operating Guides, section 8: For private networks, the net interchange shall be provided along with gross MW and Mvar per generating unit.
Note on C85: Per ERCOT Operating Guides, section 8: For private networks, the net interchange shall be provided along with gross MW and Mvar per generating unit.
Note on C86: Per ERCOT Operating Guides, section 8: For private networks, the net interchange shall be provided along with gross MW and Mvar per generating unit. New Nodal GARF field
Note on C94: Net Minimum Operating Capability output for this unit, in MW
Note on C95: Unit's Lagging reactive power output capability associated with its MW1 output, in MVAr.
Note on C96: Unit's Leading reactive power output capability associated with its MW1 output, in MVAr.
Note on C97: Second point of output of the generating unit, in MW
Note on C98: Unit's Lagging reactive power output capability associated with its MW2 output, in MVAr.
Note on C99: Unit's Leading reactive power output capability associated with its MW2 output, in MVAr.
Note on C100: Third point of output of the generating unit, in MW
Note on C101: Unit's Lagging reactive power output capability associated with its MW3 output, in MVAr.
Note on C102: Unit's Leading reactive power output capability associated with its MW3 output, in MVAr.
Note on C104: Unit's Lagging reactive power output capability associated with its MW4 output, in MVAr.
Note on C105: Unit's Leading reactive power output capability associated with its MW4 output, in MVAr.
Note on C107: Field was previously called Minimum Up Time
Note on C108: Field was previously called Minimum Down Time on Zonal GARF.
Note on C109: New Nodal GARF field
Note on C110: New Nodal GARF field. Needed for decommitment settlement,
Note on C111: New Nodal GARF field. Needed for decommitment settlement.
Note on C112: New Nodal GARF field
Note on C113: New Nodal GARF Field
Note on C114: New Nodal GARF field
Note on C115: New Nodal GARF field
Note on C116: New Nodal GARF field
Note on C117: New Nodal GARF field
Note on C208: If single owner, Owner 1 is only field necessary. If multiple owners, all owners must be identified in this row
Note on C209: Entity that is registered with ERCOT: 1). Power Generation Company registered with the PUCT. 2.) Resource entity not required to register with the PUCT.

## 3-LCRA Additional comments
LCRA's Additional Comments
1 | LCRA Comment: Regarding "Combined Cycle data table, this form needs to be modified to accommodate situations where a QSE has a 4th (and 5th?) configuration. There will likely be 4 or more different combined cycle configurations at future, new combined cycle sites.
2 | Where appropriate, for cross-reference purposes, include Nodal Protocol / Operating Guide section numbers.
3 | For each required data field, please identify the particular ERCOT Nodal analytical system that will be using the data field as a required input.
4 | For GSU data - Please be more specific as to LTC Taps or no-load taps. This is not clear.
5 | It is unclear as to the reactive capability being requested. This value is tested only once biennially.
6 | The seasonal MW ratings of units for registration purposes is not defined adequately. This value is tested on a quarterly basis and changes depending on age, system configuration, etc.
7 | High Reasonability Limit (Max MW level) and Low Reasonability Limit (Min MW level) is not specified as to Net or Gross generation.

## Sheet 3
A | B | C | D | E | F | G | H | I | J
1 |  | System Planning / Data Aggregation / Settlements
2 |  | Wind Resource Registration Data
New___ Revised___ Add___ Delete___
13
32 | Generator Unit Information | Field Description |  | Total Farm | Unit/Group 1 | Unit/Group2 | Unit/Group3 | Unit/Group4 | Unit/Group5
33 |  | Unit Name
34 |  | Unit Code
35 |  | Unit Start Date
36 |  | Unit End Date
60 |  | Physical Unit Type
64 |  | Renewable (Y/N)
65 |  | Renewable/Offset
Resource Category
High Reasonability Limit (Max MW level)
Low Reasonability Limit (Min MW level)
High Reasonability Ramp Rate Limit (Max ramp MW/min)
Low Reasonability Ramp Rate Limit (Min ramp MW/min)
Latitude of center of Wind Farm (decimal degrees)
Longitude of center of Wind Farm (decimal degrees)
Number of Turbines
Type of Turbines (Manufacturer/Model)
Average Height above ground of Turbine Hub (meters)
Latitude of Meterological Tower (decimal degrees)
Longitude of Meterological Tower (decimal degrees)
Height of Meteorological Tower Instrumentation (meters)
Include Manufacturer's Curve (Capability Curve)
Eligible for McCamey Flowgate Rights (MCFRIs)?
Qualifying Facility (Yes or No?)
Seasonal Net MW Rating- Spring
Seasonal Net MW Rating- Summer
Seasonal Net MW Rating- Fall
Seasonal Net MW Rating- Winter
Conversion constant from Gross to Net MW (if applicable)
Name Plate Rating (MVA)
Rated Power Factor
Rating (MW)
Rating (MVAR)
Net Maximum Operating Capability (MW) - Summer
Net Maximum Leading Operating Capability (MVAR) - Summer
Net Maximum Lagging Operating Capability (MVAR) - Summer
Net Maximum Operating Capability (MW) - Winter
Net Maximum Leading Operating Capability (MVAR) - Winter
Net Maximum Lagging Operating Capability (MVAR) - Winter
Net Minimum Operating Capability (MW)
Unit KV
Direct Axis Subtransient reactance, X"di
Direct Axis Transient reactance, X'di
Plant Voltage Protection
UndervoltageTrip, per unit
Overvoltage Teip, per unit
Plant Frequency Protection
Underfrequency trip, Hz
Overfrequency Trip, Hz
| Private Network Section | Private Network (Y or N)
Amount of Self-Serve private load (MW)
Private Network Net Interchange (MW)
Telemetry for PN Net Interchange is provided (Y/N)
Private Network Gross Unit Capability (MW)
Telemetry for PN Gross Unit MW is provided (Y/N)
Private Network Gross Unit Capability (MVAR)
Telemetry for PN Gross Unit MVAR is provided (Y/N)
If Unit trips, does Load trip?
Load Characterictics
Large Motor, percent of total MW load
Small Motor, percent of total MW load
Resistive (Heating) Load
Discharge Lighting
Other
| Reactive Capability Curve | Reactive Standard (If your turbines cannor provide reactive power at +/-.95pf, how do you meet the standard?)
MW1
Lagging MVAR limit associated with MW1 output
Leading MVAR limit associated with MW1 output
MW2
Lagging MVAR limit associated with MW2 output
Leading MVAR limit associated with MW2 output
MW3
Lagging MVAR limit associated with MW3 output
Leading MVAR limit associated with MW3 output
MW4
Lagging MVAR limit associated with MW4 output
Leading MVAR limit associated with MW4 output
| Resource Parameters - Submitted one time only by RE, updated by QSE via MMS | Minimum On Line Time (hrs)
Minimum Off Line Time (hrs)
Hot Start Time (hrs)
Intermediate Start Time (hrs)
Cold Start Time (hrs)
Max Weekly Starts
Max On Line Time (hrs)
Max Daily Starts
Max Weekly Energy
Hot-to-Intermediate Time (hrs)
Intermediate-to-Cold Time (hrs)
Normal Ramp Rate Curve
MW1
RampRate1 (MW/minute)
MW2
RampRate2 (MW/minute)
MW3
RampRate3 (MW/minute)
MW4
RampRate4 (MW/minute)
MW5
RampRate5 (MW/minute)
Emergency Ramp Rate Curve
MW1
RampRate1 (MW/minute)
MW2
RampRate2 (MW/minute)
MW3
RampRate3 (MW/minute)
MW4
RampRate4 (MW/minute)
MW5
RampRate5 (MW/minute)
190 | N/W Model Transformer Data | Transformer Name
High Voltage Limit
Low Voltage Limit
Series Resistance
Series Reactance
Shunt Magnetizing Conductance
Shunt Magnetizing Susceptance
Normal Rating MVA
Emergency Rating MVA
Loadshed Rating MVA
LTC (Y/N)
LTC Group (Kv)
| Low Side Tap Setting | Nominal Voltage (Kv)
Total Number of Tap Positions
Normal Tap Position
Lowest Tap Position
Highest Tap Position
Nominal Tap Position (Neutral Step)
Step Size in Percent
| High Side Tap Setting | Nominal Voltage (Kv)
Total Number of Tap Positions
Normal Tap Position
Lowest Tap Position
Highest Tap Position
Nominal Tap Position (Neutral Step)
Step Size in Percent
Complete this section if a single RESOURCE owns 100% of all units.
137 | Data Aggregation | Resource Owner Data |  | Owner 1
Resource Entity Name
138 |  | Resource Duns Number |  | #N/A
139
140 |  | Complete this section if splitting netted gensite load among multiple ESIIDs
| Data Aggregation | Gen Load Splitting |  | ESIID 1 | ESIID 2 | ESIID 3 | ESIID 4 | ESIID 5 | ESIID 6
Fixed Load Splitting %
Competitive Retailer
|  | Competitive Retailer DUNS # |  | #N/A
Complete the following sections only if Units are Joint-Owned
| Data Aggregation | Unit 1 Data
|  | Sub Generator Data |  | Owner 1 | Owner 2 | Owner 3 | Owner 4 | Owner 5 | Owner 6
Market Participant (Resource) Name
|  | Market Participant (Resource) Duns Number |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Fixed Ownership %
Master Owner (Y or N)
| Data Aggregation | Unit 2 Data
|  | Sub Generator Data |  | Owner 1 | Owner 2 | Owner 3 | Owner 4 | Owner 5 | Owner 6
Market Participant (Resource) Name
|  | Market Participant (Resource) Duns Number |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Fixed Ownership %
Master Owner (Y or N)
| Data Aggregation | Unit 3 Data
|  | Sub Generator Data |  | Owner 1 | Owner 2 | Owner 3 | Owner 4 | Owner 5 | Owner 6
Market Participant (Resource) Name
|  | Market Participant (Resource) Duns Number |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Fixed Ownership %
Master Owner (Y or N)
| Data Aggregation | Unit 4 Data
|  | Sub Generator Data |  | Owner 1 | Owner 2 | Owner 3 | Owner 4 | Owner 5 | Owner 6
Market Participant (Resource) Name
|  | Market Participant (Resource) Duns Number |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Fixed Ownership %
Master Owner (Y or N)
| Data Aggregation | Unit 5 Data
|  | Sub Generator Data |  | Owner 1 | Owner 2 | Owner 3 | Owner 4 | Owner 5 | Owner 6
Market Participant (Resource) Name
|  | Market Participant (Resource) Duns Number |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Fixed Ownership %
Master Owner (Y or N)
| Data Aggregation | Unit 6 Data
|  | Sub Generator Data |  | Owner 1 | Owner 2 | Owner 3 | Owner 4 | Owner 5 | Owner 6
Market Participant (Resource) Name
|  | Market Participant (Resource) Duns Number |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Fixed Ownership %
Master Owner (Y or N)
Note on C8: Name of generator unit (ie. CBYG1)
Note on C9: Naming Convention: Generator Site Code_Generator Unit Name (ie. CBY_CBYG1)
Note on C10: In-Service Date
Note on C11: Retire Date
Note on C14: A REC offset represents one MWH of renewable energy from an existing facility that may be used in place of a REC to meet renewable energy requirement. See Substantive Rule 25.173(c) (10). Is the unit a certified renewable energy credit generator or a certified offset generator? See Protocol Section 14.9 Code as follows: (RN) Renewable (OS) Renewable Offset (NA) Not Applicable
Note on C16: New Nodal field- An "Out-of-Bounds" value chosen by RE and used by ERCOT to alarm/reject data exceeding the value.
Note on C17: New Nodal field- An "Out-of-Bounds" value chosen by RE and used by ERCOT to alarm/reject data exceeding the value.
Note on C18: New Nodal field- An "Out-of-Bounds" value chosen by RE and used by ERCOT to alarm/reject data exceeding the value.
Note on C19: New Nodal field- An "Out-of-Bounds" value chosen by RE and used by ERCOT to alarm/reject data exceeding the value.
Note on C20: New Nodal field
Note on C21: New Nodal field
Note on C22: New Nodal GARF field
Note on C23: New Nodal field
Note on C24: New Nodal field
Note on C25: New Nodal field
Note on C26: New Nodal field
Note on C28: New Nodal field
Note on C29: New Nodal field
Note on C31: New Nodal field
Note on C32: New Nodal field
Note on C33: New Nodal field
Note on C34: New Nodal field
Note on C36: Name Plate MVA Rating of this unit at its rated Power Factor.
Note on C37: From Generator Name Plate
Note on C38: Maximum rated MW at rated Power Factor.
Note on C39: Maximum MVAR at rated Power Factor
Note on C40: Net Maximum MW Operating Capability minus unit auxilary load.
Note on C41: Net Maximum Leading MVAR Operating capability associated with Net Maximum MW Operating Capability in the Summer.
Note on C42: Net Maximum Lagging MVAR Operating capability associated with Net Maximum MW Operating Capability in the Summer.
Note on C43: Net Maximum MW Operating Capability minus unit auxilary load. Winter is defined as December through February.
Note on C44: Net Maximum Leading MVAR Operating Capability associated with Net Maximum MW Operating Capability in the Winter.
Note on C45: Net Maximum Lagging MVAR Operating Capability associated with Net Maximum MW Operating Capability in the Winter.
Note on C46: Net Minimum MW Operating Capability minus unit auxilary load.
Note on C47: Terminal voltage of unit
Note on C48: The reactance which is determined from the ratio of an initial reduced voltage open circuit condition and the currents from the three-phase fault at the machine terminals at the rated frequency. The intial open circuit voltage is adjusted so the rated cu
Note on C49: The reactance which is determined from the ratio of an initial reduced voltage open circuit condition and the currents from the three-phase fault at the machine terminals at the rated frequency. The intial open circuit voltage is adjusted so the rated cu
Note on C57: Per ERCOT Operating Guides, section 8: Private Network refers to generators with self-serve private load behind a single meter at the point of injection into the ERCOT grid.
Note on C58: Amount of the generator output used for self serve and not available for the grid. Please indicate if this self-serve private load amount is per unit or per plant.
Note on C59: Per ERCOT Operating Guides, section 8: For private networks, the net interchange shall be provided along with gross MW and Mvar per generating unit.
Note on C60: Per ERCOT Operating Guides, section 8: For private networks, the net interchange shall be provided along with gross MW and Mvar per generating unit.
Note on C61: Per ERCOT Operating Guides, section 8: For private networks, the net interchange shall be provided along with gross MW and Mvar per generating unit. New Nodal GARF field
Note on C62: Per ERCOT Operating Guides, section 8: For private networks, the net interchange shall be provided along with gross MW and Mvar per generating unit.
Note on C63: Per ERCOT Operating Guides, section 8: For private networks, the net interchange shall be provided along with gross MW and Mvar per generating unit.
Note on C64: Per ERCOT Operating Guides, section 8: For private networks, the net interchange shall be provided along with gross MW and Mvar per generating unit. New Nodal GARF field
Note on C74: Net Minimum Operating Capability output for this unit, in MW
Note on C75: Unit's Lagging reactive power output capability associated with its MW1 output, in MVAr.
Note on C76: Unit's Leading reactive power output capability associated with its MW1 output, in MVAr.
Note on C87: Field was previously called Minimum Up Time
Note on C88: Field was previously called Minimum Down Time on Zonal GARF.
Note on C152: If single owner, Owner 1 is only field necessary. If multiple owners, all owners must be identified in this row
Note on C153: Entity that is registered with ERCOT: 1). Power Generation Company registered with the PUCT. 2.) Resource entity not required to register with the PUCT.
Note on C157: Total must equal 100%
Note on C164: If single owner, Owner 1 is only field necessary. If multiple owners, all owners must be identified in this row.
Note on C165: Entity that is registered with ERCOT: 1). Power Generation Company registered with the PUCT. 2.) Resource entity not required to register with the PUCT.
Note on C166: Total must equal 100%
Note on C167: A single owner must be identified so the associated QSE can provide generation splitting signals. There must be a single Master PGC/QSE per Generation Site.
Note on C171: If single owner, Owner 1 is only field necessary. If multiple owners, all owners must be identified in this row.
Note on C172: Entity that is registered with ERCOT: 1). Power Generation Company registered with the PUCT. 2.) Resource entity not required to register with the PUCT.
Note on C173: Total must equal 100%
Note on C174: A single owner must be identified so the associated QSE can provide generation splitting signals. There must be a single Master PGC/QSE per Generation Site.
Note on C178: If single owner, Owner 1 is only field necessary. If multiple owners, all owners must be identified in this row.
Note on C179: Entity that is registered with ERCOT: 1). Power Generation Company registered with the PUCT. 2.) Resource entity not required to register with the PUCT.
Note on C180: Total must equal 100%
Note on C181: A single owner must be identified so the associated QSE can provide generation splitting signals. There must be a single Master PGC/QSE per Generation Site.
Note on C185: If single owner, Owner 1 is only field necessary. If multiple owners, all owners must be identified in this row.
Note on C186: Entity that is registered with ERCOT : 1). Power Generation Company registered with the PUCT. 2.) Resource entity not required to register with the PUCT.
Note on C187: Total must equal 100%
Note on C188: A single owner must be identified so the associated QSE can provide generation splitting signals. There must be a single Master PGC/QSE per Generation Site.
Note on C192: If single owner, Owner 1 is only field necessary. If multiple owners, all owners must be identified in this row.
Note on C193: Entity that is registered with ERCOT: 1). Power Generation Company registered with the PUCT. 2.) Resource entity not required to register with the PUCT.
Note on C194: Total must equal 100%
Note on C195: A single owner must be identified so the associated QSE can provide generation splitting signals. There must be a single Master PGC/QSE per Generation Site.
Note on C199: If single owner, Owner 1 is only field necessary. If multiple owners, all owners must be identified in this row.
Note on C200: Entity that is registered with ERCOT: 1). Power Generation Company registered with the PUCT. 2.) Resource entity not required to register with the PUCT.
Note on C201: Total must equal 100%
Note on C202: A single owner must be identified so the associated QSE can provide generation splitting signals. There must be a single Master PGC/QSE per Generation Site.

## NW model list (hidden)
Resource Breaker(s) and Switching devices (with ICCP) per 3.10.7 requirements
Additional Resource-owned Reactive Devices (with ICCP for output and switching device status)per 3.10.7 requirements
Resource Oneline (up to TSP interconnect) per 3.10.7 requirements
Resource Owned Transmission Line(s) per 3.10.7 requirements
Voltage readings (ICCP) on Resource owned Transmission level equipment where necessary
MW/MVAR flow readings (ICCP) on Resource owned Transmission level equipment where necessary
Other Comments:
GENERATORS
aVRToManualLag | Time delay, in seconds, required when switching from AVR to manual for a lagging MVAr violation.
aVRToManualLead | Time delay, in seconds, required when switching from Automatic Voltage Regulation to Manual for a leading MVAr violation.
damping | Damping torque coefficient, a proportionality constant that, when multiplied by the angular velocity of the rotor poles with respect to the magnetic field (frequency), results in the damping torque.
inertia | The energy stored in the rotor when operating at rated speed. This value is used in the accelerating power reference frame for operator training simulator solutions.
manualToAVR | Time delay, in seconds, required when switching from Manual to Automatic Voltage Regulation. This value is used in the accelerating power reference frame for powerflow solutions.
maximumMVAr | Maximum MVAr limit. This is the maximum (nameplate) limit for the unit.
minimumMVAr | Minimum MVAr limit for the unit.
maximumKV | Maximum kV limit for the unit.
minimumKV | Minimum kV limit for the unit.
Additional GENERATOR information possibly wanted
r
r0
x
x0
xDirectSync
xQuadSubtrans
xQuadSync
xQuadTrans
operatingMode
type
condenserMW
ConductingEquipment:phases
IdentifiedObject:aliasName
IdentifiedObject:description
IdentifiedObject:TEID
baseMVAr
coolantCondition
coolantType
oMCost
boilerColdStartEnergy
boilerEfficiency
turbineColdStartEnergy
GeneratingUnit:controlDeadband
GeneratingUnit:controlPulseHigh
GeneratingUnit:controlPulseLow
GeneratingUnit:controlResponseRate
GeneratingUnit:efficiency
GeneratingUnit:genControlMode
GeneratingUnit:genControlSource
GeneratingUnit:governorMPL
GeneratingUnit:governorSCD
GeneratingUnit:highControlLimit
GeneratingUnit:lowControlLimit
GeneratingUnit:maximumAllowableSpinngReserve
GeneratingUnit:maximumEconomicMW
GeneratingUnit:minimumEconomicMW
GeneratingUnit:modelDetail
GeneratingUnit:ratedGrossMaxMW
GeneratingUnit:ratedGrossMinMW
GeneratingUnit:startupTime
GeneratingUnit:autoCntrlMarginMW
GeneratingUnit:allocSpinResMW
GeneratingUnit:baseMW
GeneratingUnit:dispReserveFlag
GeneratingUnit:energyMinMW
GeneratingUnit:fastStartFlag
GeneratingUnit:fuelPriority
GeneratingUnit:genOperatingMode
GeneratingUnit:lowerRampRate
GeneratingUnit:penaltyFactor
GeneratingUnit:raiseRampRate
GeneratingUnit:spinReserveRamp
GeneratingUnit:stepChange
GeneratingUnit:tieLinePF
GeneratingUnit:minimumOffTime
GeneratingUnit:ratedNetMaxMW
GeneratingUnit:maximumEconomicMWRef
GeneratingUnit:alarmThresholdHourlyMWH
GeneratingUnit:minimumEmergencyMW
GeneratingUnit:maximumEmergencyMW
GeneratingUnit:maximumCurrentCapacity
GeneratingUnit:maximumCurrentCapacityRef
GeneratingUnit:minimumEconomicMWOper
GeneratingUnit:minimumEconomicMWRef
GeneratingUnit:maximumEconomicMWOper
GeneratingUnit:minimumSecurityMW
GeneratingUnit:maximumSecurityMW
GeneratingUnit:frequencyDeadBandHz
GeneratingUnit:lowControlLimitRef
GeneratingUnit:highControlLimitRef
GeneratingUnit:maintenanceCostPerHour
GeneratingUnit:maintenanceCostPerMWHour
GeneratingUnit:maintenanceStartCost
GeneratingUnit:minimumUpTime
GeneratingUnit:maxBasepointCarryOver
GeneratingUnit:alarmLimitDeadBand
GeneratingUnit:percentCapOff
GeneratingUnit:maximumPumpOperatingReserve
GeneratingUnit:pumpThreshold
GeneratingUnit:energyRecoveryFactor
GeneratingUnit:maximumShortTermDownMW
GeneratingUnit:maximumShortTermUpMW
GeneratingUnit:lowerRampRateNom
GeneratingUnit:raiseRampRateNom
GeneratingUnit:spinningReserveMax
GeneratingUnit:scrubCO2
GeneratingUnit:scrubNOX
GeneratingUnit:thresholdSynchronousCondenserMW
GeneratingUnit:startEnergy
GeneratingUnit:scrubSO2
GeneratingUnit:startRampRate
GeneratingUnit:thresholdSynchronousCondenserMVAR
GeneratingUnit:spinningReserveMaxSyncCond
GeneratingUnit:offlineDeadbandPercentage
GeneratingUnit:windupDownMax
GeneratingUnit:windupUpMax
Equipment:DAM_Monitored
Equipment:RUC_Monitored
Equipment:DAM_Secured
Equipment:RUC_Secured
Equipment:OUSPriority
GeneratingUnit:longPF
GeneratingUnit:normalPF
GeneratingUnit:shortPF
TRANSFORMER
bmagSat | Core shunt magnetizing susceptance in the saturation region, in per cent.
kneeSat | Core magnetizing saturation curve knee flux level.
Additional TRANSFORMER information possibly wanted
insulationKV
connectionType
emergencyMVA
grounded
r0
rground
shortTermMVA
windingType
x0
xground
gmagSat
ConductingEquipment:phases
Equipment:DAM_Monitored
Equipment:RUC_Monitored
Equipment:DAM_Secured
Equipment:RUC_Secured
Equipment:OUSPriority
TAPCHANGER
highStep | Highest possible tap step position, advance from neutral.
lowStep | Lowest possible tap step position, retard from neutral.
neutralKV | Voltage at which the winding operates at the neutral tap setting.
neutralStep | The neutral tap step position for this winding.
normalStep | The tap step position used in 'normal' network operation for this winding. For a 'Fixed' tap changer indicates the current physical tap setting.
stepPhaseShiftIncrement | Phase shift, in degrees, per step position. A positive value indicates a positive phase shift from the winding where the tap is located to the other winding (for a two-winding transformer), or to the ANDquot;TANDquot; point (for a three-winding transforme
stepVoltageIncrement | Tap step increment, in per cent of nominal voltage, per step position.
avrEnabled | T =Automatic Voltage Regulation is enabled.
loadbasedRegulationEnabled | T = Load-Based Voltage Regulation is enabled.
Additional TAPCHANGER information possibly wanted
initialDelay
subsequentDelay
tculControlMode
neutralAngle
maximumkV
minimumkV
parRampRate
parOptimization
parMaxMW
parMinMW
awrEnabled
coupledToTransformer
flowSensitivity

## Sheet1 (hidden)
Fuel Type Category | Generic Start-up / Operating Category | Physical UnitType (Description) | Primary Fuel Type (Description) | Fuel Transportation Type | Yes or No | TDSP | TDSP DUNS | REP | REP DUNS | PGC | PGC DUNS | Renewable/Offset
Nuclear | Base Load | CA (Combined cycle steam part (includes steam part of integrated coal gasification combined cycle) | AB (Agriculture byproducts, bagasse, straw, energy crops) | CV (Conveyor) | Y | AEP Texas Central Company | 007924772 | Accent Energy Texas LP | 133305370 | 76 Seadrift Coke LLP | 138602581 | (RN) Renewable
Hydro | Gas-Intermediate | CC (Combined cycle total unit (use only for plants/generators that are in planning stage, for which specific generator details cannot be provided) | BFG (Blast-Furnace Gas) | PL (Pipeline) | N | AEP Texas North Company | 007923311 | ACN Energy Inc (LSE) | 081791134 | AEP Pso Municipal | 0079079263100 | (OS) Renewable Offset
Coal and Lignite | Gas-Cyclic | CE (Compressed air energy storage) | BIT (Bituminous Coal) | RR (Railroad) |  | AEP Texas North Company SPP (TDSP) | 053693388 | AEP Texas Commercial Industrial Retail LP (LSE) | 038738451 | AES Deepwater Inc | 556966828 | (NA) Not Applicable
Combined Cycle ≤ 90 MW* | Gas-Peaking | CS (Combined cycle single shaft (combustion turbine and steam turbine share a single generator) | BL (Black liquor) | TK (Truck) |  | Bandera Electric Co Op Inc (TDSP) | 0089451494000 | Affordable Power Plan LP | 171841633 | AES Wolf Hollow LP | 018840392
Combined Cycle > 90 MW* | Renewable (Including Hydro) | CT (Combined cycle combustion turbine part (includes comb. turbine part of integrated coal gasification combined cycle) | DFO (Distillate Fuel Oil (Diesel, No1 Fuel Oil, No 2 Fuel Oil, No 4 Fuel Oil) | NA (Not Applicable) |  | Bartlett Electric Co Op Inc | 002781813 | Alliance Power Company LLC | 136249187 | Air Liquide America Corp | 073003034
Gas Steam - Supercritical Boiler |  | FC (Fuel Cell) | GEO (Geothermal) |  |  | Belfalls Electric Co Op Inc (TDSP) | 004998399 | American Commercial Energy Of Texas LLC (LSE) | 159988406 | Air Products LP | 807949912
Gas Steam - Reheat Boiler |  | GT (Combustion (gas) turbine, includes jet engine design | JF (Jet Fuel) |  |  | Big Country Electric Co Op Inc (TDSP) | 0058630484000 | Ameripower LLC | 140780003 | American Electric Power Texas Central Company | 0079247723000
Gas Steam - Non-reheat or Boiler without air-preheater |  | HY (Hydraulic turbine (includes turbines associated with delivery of water by pipeline) | KER (Kerosene) |  |  | Bluebonnet Electric Co Op Inc (TDSP) | 0524834354000 | Ampro Energy Inc (LSE) | 122843944 | American Electric Power Texas North Company | 0079233113000
Simple Cycle ≤ 90 MW |  | IC (Internal combustion (diesel, piston) engine) | LFG (Landfill gas) |  |  | Brazos Electric Power Co Op Inc(TDSP) | 0037722904000 | Andeler Corporation | 039471953 | Amoco Oil Company | 048205231
Simple Cycle > 90 MW |  | NA (Unknown at this time (planned units only) | LIG (Lignite) |  |  | Brownsville Public Utility Board (TDSP) | 6063470374000 | ANP Power Direct Company (LSE) | 125145693 | Barney M Davis LP (RES) | 146130021
Diesel |  | OT (Other) | MSW (Municipal solid waste (refuse)) |  |  | Bryan Texas Utilities (TDSP) | 0793907794000 | APN | 141081328 | Barney M Davis Unit 1 | 1461300213000
Renewable |  | PS (Hydraulic Turbine - Reversible (pumped storage) | NA (Not available) |  |  | Cap-Rock Electric Co Op Inc (Hunt Collin Division) (TDSP) | 0079370974100 | APS Energy Services Co. | 084611867 | Basa Resources Inc (RES) | 601438849
|  | PV (Photovoltaic) | NG (Natural Gas) |  |  | Cap-Rock Electric Co Op Inc (Mcculloch Division) (TDSP) | 0079370974000 | Arc Energy LLC | 145408444 | BASF Corp | 071014385
|  | ST (Steam Turbine including nuclear, geothermal and solar. Does not include combined cycle | NUC (Nuclear (uranium, plutonium, thorium)) |  |  | Centerpoint Energy Houston Electric LLC (TDSP) | 957877905 | Assurance Energy (TXU Large Nonresidential POLR) | 1733370281300 | Bass Enterprises Production Co | 008948440
|  | WT (Wind Turbine) | OBG (Other biomass gases (methane, digester gas)) |  |  | Central Texas Electric Co Op Inc (TDSP) | 0079302744000 | Assurance Energy (TXU Residential POLR) | 1733370281100 | Bastrop Energy Partners LP | 029496531
|  |  | OBL (Other biomass loquids (ethanol, fish oil, waste alcohol, other gases)) |  |  | Cherokee County Elec Co Op Assoc | 008862625 | Assurance Energy (TXU Small Nonresidential POLR) | 1733370281200 | Bio Energy (Austin) L.L.C. | 041237764
|  |  | OBS (Other biomass solids (animal manure/waster, medical waste, paper pellets, paper derived fuel)) |  |  | City Of Austin Dba Austin Energy (TDSP) | 8008717664000 | Azor Energy LP (LSE) | 160611237 | Bio Energy Partners (Resource) | 193238144
|  |  | OG (Other Gas (Butane, Coal Processes, Coke-oven coal, Methanol, Refinery gas,) |  |  | City Of Bartlett (TDSP) | 074618935 | Bandera Electric Co Op Inc (LSE) | 0089451491000 | BP Amoco Chemical Company | 050309012
|  |  | OO (Other Oil (butane, crude, liquid byproducts, oil waste, propane) |  |  | City Of Bastrop (TDSP) | 0851553724000 | Big Country Electric Co Op Inc (LSE) | 0058630481000 | BP Amoco Chemical Company Greenlake Plant | 022316207
|  |  | OTH (Other (batteries, chemicals, hudrogen pitch sulfur, misc technologies)) |  |  | City Of Bellville (TDSP) | 0935648704000 | Bluebonnet Electric Co Op Inc (LSE) | 0524834351000 | BP Chemicals Inc | 003983483
|  |  | PC (Petroleum Coke) |  |  | City Of Boerne (TDSP) | 0052470694000 | BOC Energy Services Inc (LSE) | 123228178 | BP Energy Company | 625275755
|  |  | PG (Propane) |  |  | City Of Bowie (TDSP) | 8094182964000 | Bp Energy Company (LSE) | 6252757551000 | Brazos Electric Power Co Op Inc (RES) | 0037722903000
|  |  | RFO (Residual fuel Oil (No 5 and No 6 Fuel Oil)) |  |  | City Of Brady (TDSP) | 070804877 | Bp Energy Company (Sub-LSE-Cne) | 8797234681100 | Brazos Electric Power Co Op Inc For Morris Sheppard Dam | 0037722903100
|  |  | SLW (Sludge waste) |  |  | City Of Brenham (TDSP) | 0741649224000 | Brazos Electric Power Co Op Inc | 0037722901200 | Brazos Electric Power Co Op Inc For Tenaska IV Cleburne | 0037722903200
|  |  | SUB (Subbituminous Coal) |  |  | City Of Bridgeport Mun Elec Sys (TDSP) | 0842801714000 | Brazos Electric Power Co Op Inc (LSE) | 0037722901000 | Brazos Electric Power Co Op Inc For Whitney Dam | 0037722903300
|  |  | SUN (Solar (photovoltaic, thermal)) |  |  | City Of Burnet (TDSP) | 0746121514000 | Brazos Electric Power Co Op Inc LCRA | 0037722901100 | Brazos Valley Energy LP | 122527893
|  |  | TDF (Tires) |  |  | City Of Castroville (TDSP) | 797816378 | Brownsville Public Utility Board (LSE) | 6063470371000 | Brazos Wind LP | 129468067
|  |  | WAT (Water (conventioal, pumped storage)) |  |  | City Of Coleman (TDSP) | 1024920064000 | Bryan Texas Utilities (LSE) | 0793907791000 | Brownsville Public Utility Board AEP (RES) | 6063470373100
|  |  | WDL (Wood/wood waste liquids (red liquor, sludge wood spent sulfite liquor, other liquors)) |  |  | City Of College Station (TDSP) | 0403303004000 | Calpine Power America LP | 1127108761000 | Brownsville Public Utility Board Calpine (RES) | 6063470373200
|  |  | WDS (Wood/wood waste solids (peat, railroad ties, utility poles, wood chips, other solids)) |  |  | City Of Cuero (TDSP) | 0526842144000 | Cap Rock Electric Co Op Inc (Mcculloch Division) (LSE) | 0079370971000 | Brownsville Public Utility Board Tenaska (RES) | 6063470373000
|  |  | WH (Waste heat) |  |  | City Of Farmersville (TDSP) | 1903494984000 | Cap-Rock Electric Co Op Inc (Hunt Collin Division) (LSE) | 0079370971100 | Bryan Texas Utilities (RES) | 0793907793000
|  |  | WND (Wind) |  |  | City Of Flatonia (TDSP) | 0626890134000 | Central Texas Electric Co Op Inc (LSE) | 0079302741000 | Calpine Corp | 1127108763000
|  |  | WOC (Waste/other coal) |  |  | City Of Floresville Dba Floresville Elec Light And Pwr | 008948374 | Certain Energy | 0086137911100 | Calpine Power Management LP (RES) | 1127108763100
[6 empty] | City Of Fredericksburg (TDSP) | 0769243074000 | Cinergy Retail Power LP (LSE) | 037214421 | Celanese Engineering RESin Inc (RES) | 008113441
[6 empty] | City Of Garland (TDSP) | 6011012564000 | Cirro Group Inc | 034441449 | Chevron Usa Inc | 020345526
[6 empty] | City Of Garland Gbcreek (TDSP) | 6011012564100 | City Of Austin DBA Austin Energy (LSE) | 8008717661000 | Citation Oil And Gas Corp | 058778853
[6 empty] | City Of Georgetown (TDSP) | 0895923724000 | City Of Bastrop (LSE) | 0851553721000 | City Of Austin DBA Austin Energy (RES) | 8008717663000
[6 empty] | City Of Giddings (TDSP) | 0096899514000 | City Of Bellville (LSE) | 0935648701000 | City Of Cleburne Texas | 024705548
[6 empty] | City Of Goldsmith (TDSP) | 0888946704000 | City Of Boerne (LSE) | 0052470691000 | City Of Coleman (RES) | 1024920063000
[6 empty] | City Of Goldthwaite (TDSP) | 1558252764000 | City Of Bowie (LSE) | 8094182961000 | City Of Garland (RES) | 6011012563000
[6 empty] | City Of Gonzales (TDSP) | 0937385404000 | City Of Brady (LSE) | 0708048771000 | City Of Robstown Utility Systems (RES) | 9387911423000
[6 empty] | City Of Hallettsville (TDSP) | 0090811834000 | City Of Brenham (LSE) | 0741649221000 | City Of San Antonio City Public Service (RES) | 0079360733000
[6 empty] | City Of Hearne Municipal Electric System (TDSP) | 0897458894000 | City Of Bridgeport Mun Elec Sys (LSE) | 0842801711000 | Cogen Lyondell Inc | 137551321
[6 empty] | City Of Hempstead (TDSP) | 1272175604000 | City Of Burnet (LSE) | 0746121511000 | Coleto Creek Wle LP (RES) | 146129908
[6 empty] | City Of Hondo (TDSP) | 091703843 | City Of Coleman (LSE) | 1024920061000 | Comision Federal De Electricidad (RES) | 8100082433000
[6 empty] | City Of La Grange (TDSP) | 0607085184000 | City Of College Station (LSE) | 0403303001000 | Corrugated Services LP (RES) | 007513252
[6 empty] | City Of Lampasas (TDSP) | 0203311204000 | City Of Cuero (LSE) | 0526842141000 | Cromeco Inc (RES) | 956545263
[6 empty] | City Of Lexington (TDSP) | 0081817324000 | City Of Farmersville (LSE) | 1903494981000 | Delaware Mountain Wind Farm LP LCRA (RES) | 015453751
[6 empty] | City Of Llano (TDSP) | 0916952054000 | City Of Flatonia (LSE) | 0626890131000 | Delaware Mountain Wind Farm LP Reliant (RES) | 0154537513100
[6 empty] | City Of Lockhart (TDSP) | 0746168634000 | City Of Fredericksburg (LSE) | 0769243071000 | Denison Dam | Denisondam
[6 empty] | City Of Luling (TDSP) | 0105539984000 | City Of Garland (LSE) | 6011012561000 | Denton Municipal Electric (Lewisville) (RES) | 0003540763100
[6 empty] | City Of Mason (TDSP) | 1561267084000 | City Of Georgetown (LSE) | 0895923721000 | Denton Municipal Electric (RES) | 0003540763000
[6 empty] | City Of Moulton (TDSP) | 0091871544000 | City Of Giddings (LSE) | 0096899511000 | Desert Sky Wind Farm LP | 039440420
[6 empty] | City Of Robstown Utility System (TDSP) | 9387911424000 | City Of Goldsmith (LSE) | 0888946701000 | E S Joslin LP (RES) | 146130260
[6 empty] | City Of San Antonio City Public Service (TDSP) | 0079360734000 | City Of Goldthwaite (LSE) | 1558252761000 | Eagle Pass Wle LP (RES) | 146130161
[6 empty] | City Of San Marcos (TDSP) | 0694628694000 | City Of Gonzales (LSE) | 0937385401000 | Encogen One Partners Ltd | 794368423
[6 empty] | City Of San Saba (TDSP) | 0248592254000 | City Of Hallettsville (LSE) | 0090811831000 | Equistar Chemical LP | 969557263
[6 empty] | City Of Sanger | 058956020 | City Of Hearne Municipal Electric System (LSE) | 0897458891000 | Extex Laporte LP 2 | 0170117713100
[6 empty] | City Of Schulenburg (TDSP) | 0532950364000 | City Of Hempstead (LSE) | 1272175601000 | Extex-Laporte LP | 017011771
[6 empty] | City Of Seguin (TDSP) | 0862819794000 | City Of La Grange (LSE) | 0607085181000 | Exxon Mobil Corp (Resource) | 001213214
[6 empty] | City Of Seymour | 166319145 | City Of Lampasas (LSE) | 0203311201000 | Formosa Plastics Corporation America (RES) | 039942144
[6 empty] | City Of Shiner (TDSP) | 1504533714000 | City Of Lexington (LSE) | 0081817321000 | Formosa Utility Venture Ltd | 927788786
[6 empty] | City Of Smithville (TDSP) | 0916978134000 | City Of Llano (LSE) | 0916952051000 | FPL Energy Callahan Wind LP (RES) | 168786981
[6 empty] | City Of Waelder (TDSP) | 0541779694000 | City Of Lockhart (LSE) | 0746168631000 | FPL Energy Pecos Wind I & II LP | 782659171
[6 empty] | City Of Weimar (TDSP) | 0214974584000 | City Of Luling (LSE) | 0105539981000 | FPL Energy Upton Wind I LP | 7826591713100
[6 empty] | City Of Whitesboro | 134546522 | City Of Mason (LSE) | 1561267081000 | FPL Energy Upton Wind II LP | 7826591713200
[6 empty] | City Of Yoakum (TDSP) | 0694557724000 | City Of Moulton (LSE) | 0091871541000 | FPL Energy Upton Wind III LP | 7826591713300
[6 empty] | Coleman County Electric Co Op Inc (TDSP) | 0079246734000 | City Of Robstown Utility System (LSE) | 9387911421000 | FPL Energy Upton Wind Iv LP | 7826591713400
[6 empty] | Comanche Electric Co Op Association | 002889210 | City Of San Antonio City Public Service (LSE) | 0079360731000 | FPLE Forney LP (RES) | 114740306
[6 empty] | Concho Valley Electric Co Op Inc (TDSP) | 0038666624000 | City Of San Marcos (LSE) | 0694628691000 | FPLE Forney 2 (RES) | 1147403063100
[6 empty] | Cooke County Electric Co Op Assoc Inc | 008951808 | City Of San Saba (LSE) | 0248592251000 | Frontera General Limited Partnership | 117207238
[6 empty] | Deep East Texas Electric Co Op Inc | 047845623 | City Of Schulenburg (LSE) | 0532950361000 | Gen Tex Power Corp | 071023449
[6 empty] | Deleteme Market Participant | 888888888 | City Of Seguin (LSE) | 0862819791000 | Geus (RES) | 8062449353000
[6 empty] | Denton County Elec Co Op Dba Coserve Elec | 008947913 | City Of Seymour (LSE) | 1663191451000 | Gregory Power Partners LP | 158590716
[6 empty] | Denton Municipal Electric (TDSP) | 0003540764000 | City Of Shiner (LSE) | 1504533711000 | Guadalupe Power Partners LP | 160934308
[6 empty] | Dewitt Electric Co Op Inc (TDSP) | 0089461884000 | City Of Smithville (LSE) | 0916978131000 | Guadalupe-Blanco River Authority (RES) | 0563116083000
[6 empty] | East Texas Electric Co Op (TDSP) | 948535265 | City Of Waelder (LSE) | 0541779691000 | Hays Energy LP | 016574134
[6 empty] | Entergy Gulf States Inc | 827438383 | City Of Weimar (LSE) | 0214974581000 | Ingleside Cogeneration LP | 742861564
[6 empty] | Fannin County Electric Co Op Inc | 0018220894000 | City Of Yoakum (LSE) | 0694557721000 | Invista Inc | 001315704
[6 empty] | Farmers Electric Co Op Inc Dba FEC Electric | 0098442344000 | Coleman County Electric Co Op Inc (LSE) | 0079246731000 | J L Bates LP (RES) | 146130450
[6 empty] | Fayette Electric Co Op Inc (TDSP) | 0593309774000 | Comision Federal De Electricidad | 810008243 | Kiowa Power Partners | 112752865
[6 empty] | Fort Belknap Electric Co Op Inc (TDSP) | 007935299 | Commonwealth Energy Corporation DBA Electric America | 176343341 | La Grange Acquistion Ltd | 122717866
[6 empty] | Geus (TDSP) | 8062449354000 | Concho Valley Electric Co Op Inc (LSE) | 0038666621000 | La Palma Wle LP (RES) | 146130716
[6 empty] | Granbury Municipal Utilities (TDSP) | 0952141694000 | Conoco Inc (LSE) | 008427692 | Lamar Power Partners LP | 118615058
[6 empty] | Grayson Collin Electric Co Op Inc | 008953812 | Conocophillips Company (LSE) | 001368265 | Laredo Wle LP (RES) | 146130559
[6 empty] | Guadalupe Valley Electric Co Op Inc (TDSP) | 0079305894000 | Consolidated Edison Solutions Inc | 809887904 | Lcy Elastomers LP (RES) | 142355051
[6 empty] | Hamilton County Electric Co Op (Brazos) | 008949216 | Constellation Electric Energy Services LP | 037483307 | Lon C Hill LP (RES) | 146130872
[6 empty] | Hamilton County Electric Co Op (Lcra) | 0089492164100 | Constellation Newenergy Inc (LSE) | 8797234681000 | Lone Star Industries Inc DBA Buzzi Unicem Usa | 001265321
[6 empty] | Hilco Electric Co Op Inc (TDSP) | 008950545 | Coral Power LLC (LSE) | 9375172661000 | Lower Colorado River Authority (RES) | 0432268853000
[6 empty] | Houston County Elec Coop (TDSP) | 005777206 | Coral Power LLC DBA Coral Power Solutions (LSE) | 9375172661100 | Matheson Tri_Gas | 179092028
[6 empty] | Houston County Elec Coop TXU (TDSP) | 0057772064100 | Cpl Energy Delivery Company (Cpl-Edc) (LSE) | 0079247721000 | Medina Electric Co Op Inc (RES) | 0081378123000
[6 empty] | J A C Electric Co Op Inc | 003890795 | Cpl Retail Energy DBA 1300 | 0177405441300 | Midlothian Energy LP | 077015803
[6 empty] | Jackson Electrical Co Op Inc | 078423555 | Cpl Retail Energy DBA 1400 | 0177405441400 | Mirant Texas Management Inc | 606307127
[6 empty] | Jasper Newton Electric Co Op Inc | 007933518 | Cpl Retail Energy LP (LSE) | 017740544 | Mirant Wichita Falls Management Inc | 605363709
[6 empty] | Karnes Electric Co Op Inc | 006824106 | Cpl Retail Energy LP 1100 | 0177405441100 | Mpower Trade And Marketing LP | 1091142513000
[6 empty] | Kerrville Public Utility Board (TDSP) | 1248248064000 | Cpl Retail Energy LP DBA Cpl | 0177405441200 | Newgulf Power Venture Inc | 018430129
[6 empty] | Lamar County Elec Coop Dba LEC (TDSP) | 0048060974000 | Dc_E | DC_E | Nueces Bay Wle LP (RES) | 146131011
[6 empty] | Lighthouse Electric Co Op (TDSP) | 0028252894000 | Dc_N | DC_N | Nwp Indian Mesa Wind Farm LP LCRA (RES) | 015453918
[6 empty] | Lower Colorado River Authority Tensco | 0432268854000 | Dc_S | DC_S | Nwp Indian Mesa Wind Farm LP TXU (RES) | 0154539183100
[6 empty] | Lyntegar Electric Co Op Inc (TDSP) | 0079371474000 | Denton Municipal Electric (LSE) | 0003540761000 | Occidental Chemical Corp-Load | 0672719813000
[6 empty] | Magic Valley Electric Co Op Inc (TDSP) | 008951501 | Dewitt Electric Co Op Inc (LSE) | 0089461881000 | Occidental Chemical Corp-Resource | 0672719813100
[6 empty] | Mclennan County Electric Co Op Inc | 007509698 | Direct Energy DBA 1300 | 0397133541300 | Odessa-Ector Power Partners LP | 096003871
[6 empty] | Medina Electric Co Op Inc (TDSP) AEP | 0081378124100 | Direct Energy DBA 1400 | 0397133541400 | Oklahoma Municipal Power Authority | 148268782
[6 empty] | Medina Electric Co Op Inc (TDSP) STEC | 0081378124000 | Direct Energy LP DBA Direct Energy | 039713354 | Oneok Energy Services Company LP (RES) | 157641445
[6 empty] | Mid South Electric Co Op Assoc | 061278594 | Direct Energy LP DBA Direct Energy Business Services | 0397133541000 | Owens Corning | 001317452
[6 empty] | Navarro County Electric Co Op Inc | 006770101 | Direct Energy LP DBA Direct Energy Multi Family | 0397133541200 | Oxy Permian Ltd | 795956205
[6 empty] | Navasota Valley Electric Co Op Inc | 046299913 | Dte Energy Trading Inc | 179989231 | Oxy Usa Inc | 839384187
[6 empty] | New Braunfels Utilities (TDSP) | 0383461694000 | Dynegy Energy Marketing LP | 009924445 | Oxy Vinyls LP | 061805003
[6 empty] | Nueces Electric Co Op Inc | 008828857 | Dynowatt LP | 8344016011000 | Oyster Creek Limited | 017728937
[6 empty] | Nueces Electric Co Op Inc AEP (TDSP) | 0088288574100 | Econnergy Energy Company (LSE) | 013876508 | Pioneer Natural Resources Usa Inc | 154679435
[6 empty] | Nueces Electric Coop Inc Pilot TDSP | 0088288574800 | Electric Now LP (LSE) | 144817595 | Polimeri Europa Americas | 624932711
[6 empty] | Pedernales Elec Co Op Inc AEP (TDSP) | 0079241114100 | Energy America LLC (LSE) | 8584433771000 | Power Resources Ltd | 021985348
[6 empty] | Pedernales Electric Co Op Inc (TDSP) | 0079241114000 | Energy West DBA Fire Fly Powered By Franklin Power (LSE) | 1246639511000 | Public Service Co Of Oklahoma | 007907926
[6 empty] | Pedernales Electric Cooperative | 0079241114000 | Energy West Ltd D/B/A Franklin Power Company (LSE) | 124663951 | Pure Resources Inc (RES) | 099447344
[6 empty] | Pedernales Electric Cooperative Inc | 0079241114300 | Enron Energy Services Inc (LSE) | 0043285681000 | Reliant Energy Channelview LP | 025425658
[6 empty] | Rayburn Country Co Op Dba Rayburn Electric (TDSP) | 6243686014000 | Enron Power Marketing Inc (LSE) | 8489212761000 | Reliant Energy Electric Solutions | 1213912183000
[6 empty] | Rio Grande Electric Co Op (TDSP) | 002781953 | Entergy Gulf States Inc (LSE) | 8274383831000 | Reliant Energy HL And P (RES) | 014397397
[6 empty] | Rio Grande Electric Co Op TXU (TDSP) | 0027819534100 | Entergy Solutions Essentials Ltd POLR | 0077215121100 | Reliant Energy Renewables Atascocita | 930187393
[6 empty] | Rusk County Electric Co Op (TDSP) | 009844440 | Entergy Solutions Ltd | 007721512 | Reliant Energy Renewables Baytown | 016216561
[6 empty] | Sam Houston Electric Co Op Inc (TDSP) | 056267867 | Entergy Solutions Select Ltd Affiliated Rep | 0077215121200 | Reliant Energy Renewables Blue Bonnet LP (RES) | 930127472
[6 empty] | San Bernard Electric Co Op (TDSP) | 0089453134000 | Extex Retail Services Company LLC | 131494440 | Reliant Energy Renewables Coastal Plains LP (RES) | 930116145
[6 empty] | San Miguel Electric Co Op Inc (TDSP) | 0884848524000 | Exxonmobil Power And Gas Services | 3/25/2005 6:33:47 AM | Rhodia Inc | 002959810
[6 empty] | San Patricio Electric Co Op (TDSP) | 003864907 | Fayette Electric Co Op Inc (LSE) | 0593309771000 | Rio Nogales Power Project LP | 801232849
[6 empty] | Sharyland Utilities Lp (TDSP) | 105262336 | Fire Fly Electricity LLC (LSE) | 127329071 | San Miguel Electric Co Op Inc (RES) | 088484852
[6 empty] | Sharyland Utilities Noie (TDSP) | 1052623364100 | First Choice Power Special Purpose Limited Partnership | 008613791 | Seadrift Coke LP | 190593574
[6 empty] | South Plains Electric Co Op Inc (TDSP) | 007934185 | FPL Energy Power Marketing Inc (LSE) | 0544813411000 | Shell Oil Company (Resource) | 008090938
[6 empty] | South Texas Electric Co Op Inc | 0038663324000 | Freedom Group LLC (LSE) | 144991671 | Small Hydro Of Texas Inc (RES) | 622874808
[6 empty] | Southwest Texas Electric Co Op Inc (TDSP) | 0084158954000 | Fryar Energy | 189041697 | South Houston Green Power LP | 809788672
[6 empty] | Southwestern Public Service Company (TDSP) | 007369713 | Geus (LSE) | 8062449351000 | South Texas Electric Co Op Inc (RES) | 0038663323000
[6 empty] | SWEPCO Energy Delivery Company (SWEPCO-EDC) (TDSP) | 026763672 | Gexa Corp DBA Gexa Energy Corp (LSE) | 108114542 | Southwest Texas State University | 626614770
[6 empty] | Taylor Electric Co Op Inc (TDSP) | 0079344254000 | Gexa Energy (LSE) | 1081145421000 | Spencer Station Generating Company LP | 027178974
[6 empty] | Taylor Electric Co Op Inc Abilene (TDSP) | 0079344254100 | Golden Spread Electric Cooperative Inc AEP As QSE (LSE) | 1864707791000 | Suez Energy Generation Na | 054447164
[6 empty] | Texas A&M | 0037722904TAM | Golden Spread Electric Cooperative Inc TXU As QSE (LSE) | 186470779 | Sweeny Cogeneration General LP | 117207469
[6 empty] | Texas Municipal Power Agency | 071374052 | Good Guys Power LP (LSE) | 125113790 | Sweetwater Wind 2 LLC (RES) | 1378994773000
[6 empty] | Texas-New Mexico Power Co (TDSP) | 007929441 | Granbury Municipal Utilities (LSE) | 0952141691000 | Sweetwater Wind Power LLC | 137899477
[6 empty] | Tri County Electric Co Op Inc | 008945123 | Green Mountain Energy | 176871481 | Tenaska Frontier Partners Ltd | 021680330
[6 empty] | Trinity Valley Elec Co Op | 009844564 | Green Mountain Energy Company - Commercial | 1768714811200 | Tenaska Gateway Partners Ltd | 014875921
[6 empty] | TXU Electric Delivery (TDSP) | 1039940674000 | Green Mountain Multifamily | 1768714811100 | Tenaska III Texas Partners | 019931419
[6 empty] | TXU Sesco Co (TDSP) | 0079280964000 | Guadalupe Valley Electric Co Op Inc (LSE) | 0079305891000 | Texas Big Spring LP | 196803006
[6 empty] | United Electric Co Op Services Inc | 008945826 | Himalaya Power Inc (LSE) | 156111168 | Texas Genco II LP (RES) | 1684560493000
[6 empty] | Victoria Electric Co Op Inc | 008953861 | Hino Electric Power Company (LSE) | 026533844 | Texas Genco LP (RES) | 1208072553000
[6 empty] | Victoria Electric Co Op Inc AEP (TDSP) | 0089538614100 | Hudson Energy Services LLC (LSE) | 121359595 | Texas Generating Co | 008673092
[6 empty] | Weatherford Municipal Utility System (TDSP) | 0817196274000 | Ideal Energy Inc | 186626128 | Texas Petrochemicals LP | 102647005
[6 empty] | Western Farmers Electric Cooperative (TDSP) | 0728624074000 | Just Energy Texas LLC | 110569998 | The Dow Chemical Co | 001381581
[6 empty] | Wharton County Electric Co Op Inc | 118487958 | Kerrville Public Utility Board (LSE) | 1248248061000 | Ticona Polymer Inc. | 785971219
[6 empty] | Wise Electric Co Op | 041405408 | Liberty Power Corp. | 112361204 | Trent Wind Farm LP | 019125751
[8 empty] | Lighthouse Electric Co Op (LSE) | 0028252891000 | Twin Oaks Power LP (RES) | 112017038
[8 empty] | Lower Colorado River Authority (LSE) | 0432268851000 | TXU Big Brown Company (RES) | 6062523933000
[8 empty] | Lyntegar Electric Co Op Inc (LSE) | 0079371471000 | TXU Decordova Company LP (RES) | 6062523933100
[8 empty] | M3 LP (LSE) | 125113799 | TXU Electric Co (RES) | 1039940673000
[8 empty] | Magic Valley Electric Co Op Inc (LSE) | 0089515011000 | TXU Generation Company LP (RES) | 6062523933200
[8 empty] | Mpower Retail Energy | 3/25/2005 6:33:49 AM | TXU Handley Company LP (RES) | 6062523933300
[8 empty] | Ms Retail Development Corp | 138129197 | TXU Mountain Creek LP | 6062523933400
[8 empty] | Mutual Energy Swepco LP (LSE) | 017741575 | TXU Tradinghouse Company LP (RES) | 6062523933500
[8 empty] | Mutual Energy Swepco LP (LSE) POLR | 0177415751100 | Union Carbide Corp | 008073322
[8 empty] | National Power Company Inc | 189435345 | Union Carbide Corporation Seadrift | 001005623
[8 empty] | Neumin Production Co | 074606807 | Valero Refining - Texas LP (AEP As QSE) (RES) | 0793912803000
[8 empty] | New Braunfels Utilities (LSE) | 0383461691000 | Valero Refining Company Texas | 079391280
[8 empty] | New Mexico Natural Gas LP D/B/A Starlight Electric (LSE) | 807025689 | Victoria Wle LP (RES) | 146130914
[8 empty] | Nm Energy Of Texas LLC DBA Five Point Power | 131950672 | Waste Management Renewable Energy LLC | 194672085
[8 empty] | Nordic Marketing LLC (LSE) | 126473649 | Weatherford Municipal Utility System (RES) | 0817196273000
[8 empty] | Nueces Electric Cooperative Inc Retail Division (Nec Rd) | 0088288571000 | West Texas Renewables LP | 196805787
[8 empty] | NV Power LP | 167012553 | West Texas Wind Energy Partners LLC | 016106234
[8 empty] | Occidental Power Marketing LP | 052298721 | Wharton County Power Partners LP (RES) | 141250287
[8 empty] | Pedernales Elec Co Op Inc AEP (LSE) | 0079241111100 | Wilsonart International Inc | 198165458
[8 empty] | Pedernales Electric Co Op Inc (LSE) | 0079241111000 | Windpower Partners 1994 LP Austin Energy (RES) | 9491182853100
[8 empty] | Pegasus Alliance Corporation DBA Onpac Energy (LSE) | 136387466 | Windpower Partners 1994 LP LCRA (RES) | 949118285
[8 empty] | Pilot Power Group Inc. | 930453365 | Wise County Power Company | 0544471643000
[8 empty] | POLR Power LP | 076882203
[8 empty] | Pre Buy Electric LLC | 188610260
[8 empty] | Prelectric Energy Services LLC (LSE) | 159059315
[8 empty] | Proviron Energy Ltd | 136385270
[8 empty] | Rayburn Country Co Op DBA Rayburn Electric (LSE) | 6243686011000
[8 empty] | Reliant Energy Hl And P (LSE) | 014396092
[8 empty] | Reliant Energy Retail Services LLC | 799530915
[8 empty] | Reliant Energy Retail Services LLC POLR Division | 029691099
[8 empty] | Reliant Energy Services Channelview LLC | 114743953
[8 empty] | Reliant Energy Solutions LLC | 616498114
[8 empty] | Reliant Energy Solutions LLC POLR Division (LSE) | 029692659
[8 empty] | Republic Power DBA Energy America Ii (Test) | 0397133541100
[8 empty] | Rio Grande Elec Co Op (LSE) AEP | 0027819531100
[8 empty] | Rio Grande Electric Co Op (LSE) TXU | 0027819531000
[8 empty] | Rio Grande Power LLC (LSE) | 132835492
[8 empty] | Rwe Trading Americas Inc | 0594282551000
[8 empty] | San Bernard Electric Co Op (LSE) | 0089453131000
[8 empty] | Sempra Energy Solutions | 968254276
[8 empty] | Sharyland Utilities LP (LSE) | 1052623361000
[8 empty] | Shell Energy Services Co LLC | 016615689
[8 empty] | Sitara Energy Inc (LSE) | 156110723
[8 empty] | Smartenergy | 3/25/2005 6:33:51 AM
[8 empty] | Solaro Energy Marketing Corporation (LSE) | 128849358
[8 empty] | South Texas Electric Co Op Inc (LSE) | 0038663321000
[8 empty] | South Texas Electric Co Op Inc (LSE) AEP | 0038663321100
[8 empty] | South Texas Electric Cooperative (Cr) | 0038663321200
[8 empty] | South Texas Electric Cooperative (POLR) | 0038663321300
[8 empty] | Southwest Texas Electric Co Op Inc (LSE) | 0084158951000
[8 empty] | Southwestern Public Service Company (LSE) | 0073697131000
[8 empty] | Spark Energy LP | 037597437
[8 empty] | Spark Energy LP - DBA Fire Fly Powered By Spark Energy | 0375974371000
[8 empty] | Star Electricity LLC (LSE) | 201275877
[8 empty] | Star Electricity LLC DBA Startex Power | 148055531
[8 empty] | Strategic Energy LLC (LSE) | 800770810
[8 empty] | Stream Gas And Electric Ltd (LSE) | 159008395
[8 empty] | Swepco Edc (Spp Esi Id) (LSE) | 152402459
[8 empty] | Swepco Energy Delivery Company (Swepco-Edc) (LSE) | 0267636721000
[8 empty] | Tara Energy Inc. | 111950619
[8 empty] | Taylor Electric Co Op Inc (LSE) | 0079344251000
[8 empty] | Taylor Electric Co Op Inc-Abilene (LSE) | 0079344251100
[8 empty] | Tenaska Power Services Co (LSE) | 015016913
[8 empty] | Tenaska Power Services Co DBA Tps I | 0150169131000
[8 empty] | Tenaska Power Services Co DBA Tps Ii | 0150169131100
[8 empty] | Tenaska Power Services Co DBA Tps Iii | 0150169131200
[8 empty] | Tenaska-Oxy Power Rep Services LP | 109518444
[8 empty] | Tenaska-Oxy Power Rep Services LP DBA Tops I | 1095184441000
[8 empty] | Texas Commercial Energy (LSE) | 039711747
[8 empty] | Texas Commercial Energy D/B/A Texas Wholesale Energy | 0397117471000
[8 empty] | Texas Retail Energy LLC (LSE) | 124238432
[8 empty] | Texas Star Energy Company | 799533091
[8 empty] | Texas Star Energy Company Lnr (LSE) | 037667420
[8 empty] | Texas-New Mexico Power Co (LSE) | 0079294411000
[8 empty] | Tex-La Electric Co Op Of Texas (LSE) | 609170030
[8 empty] | Tex-La Electric Co Op Of Texas Inc./Tps (LSE) | 6091700301100
[8 empty] | Tex-La Electric Cooperative Of Texas Inc./Coral Power (LSE) | 6091700301200
[8 empty] | TGT Energy LLC | 006961700
[8 empty] | The New Power Co | 364371679
[8 empty] | Tractebel Energy Marketing Inc (LSE) | 9689097391000
[8 empty] | Tractebel Energy Services Inc | 099668332
[8 empty] | Trieagle Energy LP (LSE) | 124769063
[8 empty] | Trieagle Energy LP DBA Eagle Energy | 1247690631100
[8 empty] | Trieagle Energy LP DBA Pilot Energy | 1247690631200
[8 empty] | Trieagle Energy LP DBA Power House Energy | 1247690631300
[8 empty] | Trieagle Energy LP DBA Trieagle Energy Services | 1247690631000
[8 empty] | Trizec Holdings Inc | 113632207
[8 empty] | TXI Power Co | 041083403
[8 empty] | TXU Electric Co (LSE) | 1039940671000
[8 empty] | TXU Energy | 1733370281000
[8 empty] | TXU Et Services Company (LSE) | 1733370281500
[8 empty] | TXU Sesco Co (LSE) | 0079280961000
[8 empty] | TXU Sesco Energy Services Company (Sublse) | 1733370281400
[8 empty] | Ubs Ag London Branch(LSE) | 4872019151000
[8 empty] | Urban Energy Source LLC | 144737041
[8 empty] | Usave Energy Services Inc (LSE) | 128490062
[8 empty] | Utility Choice LLC DBA Utility Choice Electric (LSE) | 834401601
[8 empty] | Vantage Power Services LP | 148062354
[8 empty] | Vartec Telecom | 3/25/2005 6:33:54 AM
[8 empty] | Vega Resources LLC DBA Amigo Energy | 141047543
[8 empty] | W Power And Light LP (LSE) | 156766037
[8 empty] | Weatherford Municipal Utility System (LSE) | 0817196271000
[8 empty] | West Texas Utilities TX Spp (LSE) | 0536933881000
[8 empty] | Western Farmers Electric Cooperative (LSE) | 072862407
[8 empty] | WTU Energy Delivery Company (WTU-Edc) (LSE) | 0079233111000
[8 empty] | WTU Retail Energy DBA 1300 | 0177412941300
[8 empty] | WTU Retail Energy DBA 1400 | 0177412941400
[8 empty] | WTU Retail Energy LP (LSE) | 017741294
[8 empty] | WTU Retail Energy LP 1100 | 0177412941100
[8 empty] | WTU Retail Energy LP DBA WTU | 0177412941200
[8 empty] | XERS Inc | 007346922
[8 empty] | Young Energy | 189069284