| NOGRR Number | 007 | NOGRR Title | Nodal Operating Guides - Section 7, Telemetry and Communication |
| --- | --- | --- | --- |
| Date |  | 07/19/07 |  |
| Submitter’s Information |  |  |  |
| Name |  | Floyd Trefny |  |
| E-mail Address |  | ftrefny@reliant.com |  |
| Company |  | Reliant Energy, Inc. |  |
| Phone Number |  | 713-516-2745 |  |
| Cell Number |  | 713-516-2745 |  |
| Market Segment |  | Power Marketer |  |

| Overall Market Benefit | Reduce confusion of ERCOT requirements for Telemetry and eliminate potential conflicts with the approved Nodal Protocols |
| --- | --- |
| Overall Market Impact |  |
| Consumer Impact |  |

Comments

The proposed Nodal Operating Guide Section 7 covers Telemetry and Communication.

The nodal project team at ERCOT has also published a SCADA Requirements document posted at:

http://nodal.ercot.com/docs/pd/ems/pd/scada/TN.EMS.61C01.SCADAReqSpec.doc

and have issued an ICCP Handbook posted at:

http://nodal.ercot.com/docs/pd/eds/eds1/icchb/ERCOT_Nodal_ICCP_Communication_Handbook_Ver.1.0.doc.

These two documents describe the data flowing on SCADA (ICCP) for nodal using one set of terminology and are consistent with the Nodal Protocols.  The proposed Nodal Operating Guide Section 7, if it is to be included in the Nodal Operating Guides, should use the same terminology and data lists as described in these documents and the Nodal Protocols.  For example, the new nodal documents clearly define what data is expected from which Entity in a list format for QSEs and TSPs and offers a naming convention for the point names. Participants in ERCOT EDS1 program are using the handbook to guide them on what data is needed for nodal.

Reliant recommends that this guide be rewritten by the ERCOT Nodal ICCP team to get consistency or not be included in the Nodal Operating Guides and allow the above documents to stand on their own.

Revised Proposed Nodal Operating Guide Language

Rewrite Nodal Operating Guide Section 7 to conform to the Nodal Protocols and other ERCOT issued documents or reference those documents and not repeat them in the Nodal Operating Guides.