| NPRR Number | 036 | NPRR Title | Market Operations Test Environment (MOTE) in the Nodal Market |
| --- | --- | --- | --- |
| Timeline | Normal | Action | Approved |
| Nodal Protocol Section Requiring Revision |  | 3.10.4, ERCOT Responsibilities |  |
| Effective Date |  | Upon Texas Nodal Market implementation |  |
| Priority and Rank Assigned |  | N/A. |  |
| Revision Description |  | In the Nodal Market, Transmission Service Providers (TSPs) need access to an environment of the ERCOT Energy Management System (EMS) where the following are available for their review and analysis: a) Network operations model, b) Results of the Real Time State Estimator (within five minutes of the Real Time solution), including Contingency Analysis. The MOTE serves as a tool to validate the integrity of the ERCOT Network Operations model, and to perform studies that facilitate better coordination of network operations between the TSPs and ERCOT. TSPs need to continue to have a tool like MOTE in the Nodal Market. The new MOTE as proposed in this NPRR should have all the functionality that the current MOTE offers. |  |
| Overall Market Benefit |  | The existing Nodal Protocols do not require a MOTE functionality. MOTE will serve as a valuable tool to validate the ERCOT model (connectivity, ratings, impedances, electrical bus names) and provide TSPs a platform to compare the data that is in the ERCOT model with the data the TSP submitted. |  |
| Overall Market Impact |  | Not known. |  |
| Consumer Impact |  | None. |  |
| Credit Impacts |  | ERCOT Credit Staff and the Credit Working Group have reviewed NPRR036 and do not believe that it requires changes to credit monitoring activities or the calculation of liability. |  |
| Procedural History |  | - NPRR036 was posted on 11/9/06. - On 11/16/06, PRS considered this NPRR. - On 12/06/06, Texas Nodal Transition Plan Task Force (TPTF) comments were posted. - On 1/12/07, preliminary Impact Analysis (IA) was posted. - On 6/21/07, ERCOT Staff presented the IA for this NPRR. - On 6/21/07, PRS considered this NPRR. - On 6/28/07, TAC considered this NPRR. - On 7/17/07, the ERCOT Board (Board) considered this NPRR. |  |
| PRS Recommendation |  | On 11/16/06, PRS voted unanimously to refer NPRR036 to TPTF for review. All Market Segments were present for the vote. On 6/21/07, PRS unanimously voted recommend approval of NPRR036 as revised by TPTF comments, to endorse the IA and to forward the documents to TAC. All Market Segments were present for the vote. |  |
| Summary of PRS Discussion |  | On 11/16/06, there was no discussion. On 6/21/07, there was no discussion. |  |
| TAC Recommendation |  | On 6/28/07, TAC unanimously voted to recommend approval of NPRR036 and endorse the Baseline 2 IA as recommended by PRS. All Market Segments were present for the vote. |  |
| Summary of TAC Discussion |  | On 6/28/07, TAC inquired whether the cost estimates are preliminary. ERCOT Staff explained that they are final estimates that may be on the high side and that may be reduced as implementation strategies are refined. ERCOT Staff emphasized that delays in the approval process or piece-meal approval of cost estimates will make negotiations with the vendors difficult, may create risk to the schedule, and may cause cost increases. |  |
| Board Action |  | On 7/17/07, the Board approved NPRR036 as recommended by TAC. |  |

| ERCOT/Market Segment Impacts and Benefits |  |  |  |  |
| --- | --- | --- | --- | --- |
| Assumptions | 1 | None. |  |  |
|  | 2 |  |  |  |
|  |  | Impact Area | Monetary Impact |  |
| Market Cost | 1 | Not known. | None to Market participants. Continuation of existing program. |  |
|  | 2 |  |  |  |
|  |  | Impact Area | Monetary Impact |  |
| Market Benefit | 1 | Provides TSPs with a tool to validate the integrity of the ERCOT Network Operations Model | Not Known |  |
|  | 2 | Provides TSPs access to the Real Time State Estimator base cases and transfer cases, run the SE solution against base cases, update a replicated base case, and save a revised case. These capabilities will significantly help TSP to perform comparative Analysis | Not Known |  |
|  | 3 |  |  |  |
| Additional Qualitative Information | 1 | Facilitates improved coordination between TSP and ERCOT |  |  |
|  | 2 |  |  |  |
| Other | 1 | None. |  |  |
| Comments | 2 |  |  |  |

| Original Sponsor |  |
| --- | --- |
| Name | David Grubbs on behalf of the Network Data Support Working Group and endorsed by ROS |
| E-mail Address | dlg@gplops.org |
| Company | City of Garland |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Description |
| TPTF 120606 | Modified Protocol Section 3.10.4(7) to provide more detail as to the objective of the environment for TSP testing. |

Proposed Nodal Protocol Language Revision

3.10.4	ERCOT Responsibilities

(1)	ERCOT shall design, install, operate, and maintain its systems and establish applicable related processes to meet the TAC-approved State Estimator (SE) performance standard for Transmission Elements that under typical system conditions potentially affect the calculation of LMPs as described in Section 3.10.7.4, Telemetry Criteria, and Section 3.10.9, State Estimator Performance Standard.  ERCOT shall post all documents relating to the State Estimator Performance Standard on the MIS Secure Area.

(2)	During Real-Time, ERCOT shall calculate LMPs and take remedial actions to ensure that actual flow on a given Transmission Element is less than the Normal Rating and any calculated flow due to a contingency is less than the applicable Emergency Rating and 15-Minute Rating.

(3)	ERCOT shall install Network Operations Model test facilities that will accommodate execution of a test Real-Time Sequence and preliminary test LMP calculator to demonstrate the correct operation of new Network Operations Models prior to releasing the model to Market Participants for detail testing and verification.  The Network Operations Model test facilities support power flow and contingency analyses to test the data set representation of a proposed transmission model update and simulate LMP calculations using typical test data.

(4)	ERCOT shall install Energy Management System test and simulation facilities that accommodate execution of the State Estimator and LMP calculator, respectively.  These facilities will be used to conduct tests prior to placing a new model into ERCOT’s production environment to verify the new model’s accuracy.  The Energy Management System test facilities allow a potential model to be tested before  replacing the current production environment model.  The Energy Management System test and simulation facilities must perform Real-Time Security Analysis to test a proposed transmission model before replacing the current production environment model. The Energy Management System State Estimation test facilities must have Real-Time ICCP and SCADA links to test the state estimation function using actual Real-Time conditions.  The Energy Management System LMP Test Facilities must accept data uploads from the production environment providing QSE Resource offers, and SCADA telemetry .  If the production data are unavailable, ERCOT may employ a data simulation tool or process to develop test data sets for the LMP Test Facilities.    ERCOT shall acquire model comparison software that will show all differences between the next production model and  production environment model and shall post this information on the MIS Secure Area within one week following test completion.  This comparison shall indicate differences in device parameters, missing or new devices, and status changes.

(5)	When implementing Transmission Element changes, ERCOT shall correct errors uncovered during testing that are due to submission of inaccurate information.  Each TSP shall provide reasonably accurate information at the time of the original submission.  ERCOT may update the model on an interim basis, outside of the timeline described in Section 3.10.1, Time Line for Network Operations Model Change Requests, for the correction of temporary configuration changes in a system restoration situation, such as after a storm, or correction of impedances and ratings.  Interim updates to the Network Operations Model caused by unintentional inconsistencies of the model with the physical transmission grid may be made.  If an interim update is implemented, ERCOT shall report changes to the PUCT staff and the WEMM.  ERCOT shall provide notice via electronic means to all Market Participants and post the notice on the MIS Secure Area detailing the changed model information and the reason for the interim update within two Business Days following the report to PUCT staff and WEMM.

(6)	When ERCOT identifies active or binding transmission constraints on a repeated basis, ERCOT shall contact the appropriate TSP to:

(a)	Verify that ratings of Transmission Facilities in the Network Operations Model and in the Updated Network Model causing the event are current and correctly represented;

(b)	Verify, when the TSP’s analysis results differ from those of ERCOT, that the configuration of the Transmission Grid in the Network Operations Model and in the Updated Network Model matches that in use by the TSP.  To recognize operational time constraints, that verification must focus on Transmission Elements believed to have affected the event; and

(c)	Mutually identify with the TSP any additional operational intervention or system monitoring that could be implemented to manage recurring congestion due to a recurring cause.

(7)        A TSP, with ERCOT’s assistance, shall validate its portion of the Network Operations Model according to the timeline provided in Section 3.10.1. ERCOT shall provide TSPs access, consistent with applicable policies regarding release of CEII, to an environment of the ERCOT Energy Management System  where the Network Operations model and the results of the real-time State Estimator are available for review and analysis within five minutes of the real time solution. This environment is provided as a tool to TSPs to  perform power flow studies, contingency analyses and validation of State Estimator results.

(8)	ERCOT shall make available to TSPs and other Market Participants, consistent with applicable policies regarding release of CEII, the full transmission model used to manage the reliability of the transmission system as well as proposed models to be implemented at a future date.  ERCOT shall provide model information through the use of the Electric Power Research Institute (EPRI) and NERC-sponsored Common Information Model (CIM) and Web-based XML communications.