| NPRR Number | 070 |  | NPRR Title |  |  |  | Allocation of McCamey Flowgate Rights in Day-Ahead Market (formally titled “Changes to DAM Clearing Start Time Allocation of McCamey Flowgate Rights in Day-Ahead Market” |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Timeline |  | Normal |  |  |  |  | Action | Approved |
| Nodal Protocol Sections Requiring Revision |  |  |  |  |  | Section 7.7.3, Allocation of McCamey Flowgate Rights (MCFRIs) |  |  |
| Effective Date |  |  |  |  |  | Upon Texas Nodal Market Implementation. |  |  |
| Priority and Rank Assigned |  |  |  |  |  | N/A. |  |  |
| Revision Description |  |  |  |  |  | This Nodal Protocol Revision Request (NPRR) incorporates the Texas Nodal Transition Plan Task Force (TPTF) discussions for Allocation of McCamey Flowgate Rights (MCFRIs) in Day-Ahead. The proposed revision coordinates the timeline of allocation of MCFRIs with Simultaneous Feasibility Test in Day-Ahead and provides value engineering to avoid an additional off-line study tool. |  |  |
| Overall Market Benefit |  |  |  |  | Synchronizes the network model used for MCFRI allocation with that used in the Day Ahead Market (DAM). |  |  |  |
| Overall Market Impact |  |  |  |  | Minor changes to requirements. |  |  |  |
| Consumer Impact |  |  |  |  | None. |  |  |  |
| Credit Impacts |  |  |  | ERCOT credit staff and the Credit Work Group (Credit WG) have reviewed NPRR070 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |  |  |
| Procedural History |  |  |  | - On 06/18/07, NPRR070 was posted. - On 06/21/07, ERCOT Staff presented the Impact Analysis (IA) for this NPRR. - On 06/21/07, TPTF submitted comments on this NPRR. - On 06/21/07, PRS considered this NPRR and IA. - On 06/28/07, TAC considered this NPRR. - On 07/17/07, the ERCOT Board (Board) considered this NPRR. |  |  |  |  |
| PRS Recommendation |  |  |  | On 06/21/07, PRS recommended approval of NPRR070 as revised by TPTF comments and endorsed the IA. There was one abstention from the Investor Owned Utility (IOU) Market Segment. All Market Segments were present for the vote. |  |  |  |  |
| Summary of PRS Discussion |  |  |  | On 06/21/07, PRS discussed TPTF comments which recommended eliminating references to the DAM. ERCOT Staff stated that in order to take advantage of the existing system functionality, the timeline for flowgate allocation was modified. |  |  |  |  |
| TAC Recommendation |  |  |  | On 06/28/07, TAC voted to recommend approval of NPRR070 as recommended by PRS and the revised IA. There were two (2) abstentions from the Consumer Market Segment. All Market Segments were present for the vote. |  |  |  |  |
| Summary of TAC Discussion |  |  |  | On 06/28/07, ERCOT Staff stated that due to TPTF’s comments, the cost associated with this NPRR has been reduced to zero, therefore having no impact. A revised IA will be posted reflecting this. |  |  |  |  |
| Board Action |  |  |  | On 07/17/07, the Board approved NPRR070 as recommended by TAC. |  |  |  |  |

ERCOT/Market Segment Impacts and Benefits

| Assumptions | 1 |  |  |
| --- | --- | --- | --- |
|  | 2 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 |  |  |
|  | 2 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 | Makes market validation feasible in time |  |
|  | 2 |  |  |
| Additional Qualitative Information | 1 | Minor changes to requirements |  |
|  | 2 |  |  |
| Other | 1 |  |  |
| Comments | 2 |  |  |

| Original Sponsor |  |
| --- | --- |
| Name | Yongjun Ren |
| E-mail Address | yren@ercot.com |
| Company | ERCOT |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Description |
| TPTF 062107 | Eliminate references to the DAM. |

Proposed Nodal Protocol Language Revision

(NOTE: Section 4.5.1 was removed from the revision request per TPTF’s comments because no changes are desired in this section.  TPTF is not proposing that this Section be deleted)

7.7.3	Allocation of McCamey Flowgate Rights (MCFRIs)

(1)	ERCOT shall determine the “Capacity Impact” of each McCamey Area WGR eligible for MCFRIs on each McCamey Area flowgate by multiplying the maximum rated output for the WGR times its Shift Factor from the base case transmission model for the corresponding McCamey Area flowgate relative to the Load-weighted average Shift Factor of all Electrical Buses in ERCOT.

(2)	At each CRR Auction, ERCOT shall allocate 90% of the limit for each McCamey Area flowgate adjusted for impact of allocated PCRRs for the corresponding auction as MCFRIs to each McCamey Area WGR in proportion to its Capacity Impact as a percentage of the sum of all Capacity Impacts for McCamey Area WGRs for the corresponding flowgate.  All commercial and committed WGRs in the McCamey Area must be included in the analysis, but MCFRIs may be allocated only to QSEs representing WGRs that are in commercial operation.  The determination of available McCamey Area flowgate capacity must account for reduced flowgate element capacities resulting from CRRs already sold or allocated.

(3)	ERCOT shall allocate 90% of McCamey Area flowgate capacity to be auctioned in any particular auction and the DAM, adjusted for PCRR impacts and MCFRIs previously allocated, as MCFRIs to each McCamey Area WGR as described in (2) above 25 days prior to an annual auction, ten Business Days prior to a monthly auction, and no later than one hour prior to the DAM.