## Slide 1: Load Resource Allocation for EECP

## Slide 2
6.5.9.4.1 EECP Steps
(b) Deploy half of the Responsive Reserve that is supplied from Load Resources (controlled by high-set under-frequency relays) by instructing the QSE representing the specific Load Resource to interrupt Load providing Responsive Reserve. ERCOT shall develop a procedure for determining which Load Resources to interrupt and to equitably allocate Load Resources to one of two deployment stacks to enable a 50% deployment, which must be approved in advance by TAC.

## Slide 3
ERCOT Proposed Procedure:
Map DA LMPs to each Load Resource procured to provide RRS in the DA A/S Market.
Stack LRs in descending order of their LMPs
Create two stacks; highest LMPs included in first deployment stack and while lowest LMPs included in second deployment stack
24 hourly stacks will be created
Once deployed all LRs providing RRS will remain deployed throughout event

## Slide 4
Why this method?
ERCOT believes this is the most equitable approach to the market as a whole
By reducing load in high LMP areas first this approach has the greatest potential for relieving congestion in those areas and thus freeing up additional generation to help avoid further operator action

## Slide 5
Next Step
At PRS Tomorrow:
NPRR 076 is up for discussion
Comments provided remove the existing language in (b) and require ERCOT to use a “random processor to create the two deployment stacks
ERCOT intends to verbally comment on those changes