## Instructions
General Instructions for Completing the:
"Network Model / System Planning / Data Aggregation / Settlements - Asset Registration / Resource Data Form"
The data form has been provided to allow ERCOT Market Participants to properly register and submit data needed
for generation and load resource assets. The form is to also be completed for mothballed generation resources.
Your organization must have submitted a market participant application as a Resource Entity prior to submission of this form.
If questions arise related to the completion of this form, please contact your designated ERCOT Account Manager or
email the Client Services section at ClientRelations@ercot.com with the subject "Asset Registration / Resource Data Form".
Please keep in mind the following as you complete this form:
1. Please make certain the form is complete prior to submittal.
2. Forms must be complete. Forms received without complete data, will be returned for completion.
3. Please submit a single form for each 'Resource Site'. This form will accommodate Resources located at a common site.
Also, this form will accommodate multiple owners for each unit.
4. Must be accompanied with a one-line diagram indicating how generation is connected to transmission.
5. After completion of this form, please submit electronically attached to a SERVICE REQUEST through TEXAS MARKET LINK (TML).
SEE explanation below for submitting form through TML.
6. Alternative to TML: a completed form may be attached to an emailed to mpappl@ercot.com with a signed paper copy mailed
to the following address:
ERCOT
Market Participant Registration
2705 West Lake Drive
Taylor, Texas 76574
INSTRUCTIONS FOR SUBMITTING RARF THROUGH TEXAS MARKET LINK: 1. In lieu of a signature on a paper copy of the RARF, ERCOT will process a completed RARF attached to a Service Request submitted with the user digital certificate of the Authorized Representative of the Resource Entity of record who represents the resource asset as of the date of the Service Request. 2. Access to ERCOT TML requires a user digital certificate with minimal role that allows access to "CREATE SERVICE REQUEST" on the "Market Activities" page. The "user digital certificate" is authorized by the Market Participant's User Security Administrator. 3. Upon accessing TML go to the "Market Activities" page and select "Create Service Request". Be advised that the Service Request will display as a pop-up that may be impacted by user's browser settings. 4. Complete the required fields on the "Service Request" screen (annotated by red asterisk). Request Type: from drop-down list select "Electrical System Modification" Request Sub-Type: from drop-down list select "Resource/Asset Registration" Complete "Short Description" (example: new generation asset registration for xxxx station) Complete "Long Description" (more details as needed) Click on "Submit" - Activities and Attachments screen displays Click on "Add" under the "Attachments" heading of Service Request and select brows icon to select completed RARF file and click on "Submit" (comments are optional).

## General Information
New___ Revised___ Add___ Delete___
This worksheet represents the common information among Resources
located at a common site.
Upon completion of this high-level information, please enter individual Resource
data into the one worksheet that is applicable to that Resource Type:
Generation- | worksheet to register Generation Resources
that are NOT Combined Cycle or Wind Resources
Combined Cycle- | worksheet to register Combined Cycle Resources
Wind- | worksheet to register Wind generation
Load Resource- | worksheet to register Load Resources
BLT Resource- | worksheet to register Block Load Transfers
Date Form Completed:
Resource Entity Submitting Form:
Resource Entity DUNS #:
Authorized Representative
Signature:
Printed Name:
Title:
Phone Number:
E-mail Address:
Fax Number:
Primary Contact
Printed Name:
Title:
Phone Number:
E-mail Address:
Fax Number:
Site Info (For Load Resources and Block Load Transfers, skip this section as this is repeated in individual entries on worksheet)
Resource Site Name:
Resource Site Code:
Street Address:
City:
State:
County:
Site In-Service Date:
Site Stop Service Date:
Qualified Scheduling Entity:
Congestion Management Zone for 2003:
Resource owned by NOIE? (Y/N):
Is Resource behind a NOIE Settlement Meter Point? (Y,N):
TDSP Providing Service To Resource:
TDSP DUNS Number: | #N/A
ESI-ID (if A63 above is "No"):
ERCOT Read (Y or N):
Number of EPS Primary meters:
Gen. Load Splitting (Y or N):
Note on A43: Resource site or main facility name(ie. CEDAR BAYOU PLANT)
Note on A44: Abbreviation/ Mnemonic for Resource Site (ie. CBY)

## Generation
A | B | C | D | E | F | G | H | I | J
1 |  | System Planning / Data Aggregation / Settlements
Generation Resource Data
2 |  | If Combined Cycle, Wind, Load, or BLT Resource (use specified worksheet, NOT this one)
New___ Revised___ Add___ Delete___
13 | Blue Highlight = Data on zonal GARF Pink Highlight = New nodal data
32 | Generator Unit Information | Field Description |  | Unit #1 | Unit #2 | Unit #3 | Unit #4 | Unit #5 | Unit #6
33 |  | Unit Name
34 |  | Unit Code
35 |  | Unit Start Date
36 |  | Unit End Date
60 |  | Physical Unit Type
61 |  | Primary Fuel Type
62 |  | Secondary Fuel Type
63 |  | Fuel Transportation Type
64 |  | Renewable (Y/N)
65 |  | Renewable/Offset
Resource Category
High Reasonability Limit (Max Net MW level)
Low Reasonability Limit (Min Net MW level)
High Reasonability Ramp Rate Limit (Max ramp MW/min)
Low Reasonability Ramp Rate Limit (Min ramp MW/min)
Qualifying Facility (Yes or No?)
Seasonal Net MW Rating- Spring
Seasonal Net MW Rating- Summer
Seasonal Net MW Rating- Fall
Seasonal Net MW Rating- Winter
Conversion constant from Gross to Net MW (if applicable)
Name Plate Rating (MVA)
Rated Power Factor
Rating (MW)
Rating (MVAR)
Net Maximum Leading Operating Capability (MVAR)
Net Maximum Lagging Operating Capability (MVAR)
Net Minimum Operating Capability (MW)
Unit KV
Direct Axis Subtransient reactance, X"di
Direct Axis Transient reactance, X'di
Plant Voltage Protection
Undervoltage Trip, specifiy voltage per unit
Overvoltage Trip, specifiy voltage per unit
Plant Frequency Protection
Underfrequency Trip, Hz
Overfrequency Trip, Hz
| Private Network Section (previously on GenForm.xls) | Private Network (defined in comment) (Y or N)
Amount of Self-Serve private load (MW)
Private Network Net Interchange (MW)
Telemetry for PN Net Interchange is provided (Y/N)
Private Network Gross Unit Capability (MW)
Telemetry for PN Gross Unit MW is provided (Y/N)
Private Network Gross Unit Capability (MVAR)
Telemetry for PN Gross Unit MVAR is provided (Y/N)
If Unit trips, does Load trip?
Load Characteristics:
--Large Motor, percent of total MW load
-Small Motor, percent of total MW load
-Resistive (Heating) Load, percent of total MW load
-Discharge Lighting, percent of total MW load
-Other, percent of total MW load
--Large Motor, percent of total MVAR load
-Small Motor, percent of total MVAR load
-Resistive (Heating) Load, percent of total MVAR load
-Discharge Lighting, percent of total MVAR load
-Other, percent of total MVAR load
| Reactive Capability Curve | MW1
Lagging MVAR limit associated with MW1 output
Leading MVAR limit associated with MW1 output
MW2
Lagging MVAR limit associated with MW2 output
Leading MVAR limit associated with MW2 output
MW3
Lagging MVAR limit associated with MW3 output
Leading MVAR limit associated with MW3 output
MW4
Lagging MVAR limit associated with MW4 output
Leading MVAR limit associated with MW4 output
| Resource Parameters - Initial submittal by RE, updated by QSE via MMS (Protocol 3.7.1) | Minimum On Line Time (hrs)
Minimum Off Line Time (hrs)
Hot Start Time (hrs)
Intermediate Start Time (hrs)
Cold Start Time (hrs)
Max Weekly Starts
Max On Line Time (hrs)
Max Daily Starts
Max Weekly Energy
Hot-to-Intermediate Time (hrs)
Intermediate-to-Cold Time (hrs)
Normal Ramp Rate Curve (see comment detail)
Upward MW1 (LSL)
Upward RampRate1 (MW/minute)
Upward MW2
Upward RampRate2 (MW/minute)
Upward MW3
Upward RampRate3 (MW/minute)
Upward MW4
Upward RampRate4 (MW/minute)
Upward MW5
Upward RampRate5 (MW/minute)
Downward MW1 (HSL)
Downward RampRate1 (MW/minute)
Downward MW2
Downward RampRate2 (MW/minute)
Downward MW3
Downward RampRate3 (MW/minute)
Downward MW4
Downward RampRate4 (MW/minute)
Downward MW5
Downward RampRate5 (MW/minute)
Emergency Ramp Rate Curve (see comment detail)
Upward MW1 (LEL)
Upward RampRate1 (MW/minute)
Upward MW2
Upward RampRate2 (MW/minute)
Upward MW3
Upward RampRate3 (MW/minute)
Upward MW4
Upward RampRate4 (MW/minute)
Upward MW5
Upward RampRate5 (MW/minute)
Downward MW1 (HEL)
Downward RampRate1 (MW/minute)
Downward MW2
Downward RampRate2 (MW/minute)
Downward MW3
Downward RampRate3 (MW/minute)
Downward MW4
Downward RampRate4 (MW/minute)
Downward MW5
Downward RampRate5 (MW/minute)
190 | N/W Model Transformer Data | Transformer Name (if multiple transformer, attach supporting data)
High Voltage Limit (no-load tap)
Low Voltage Limit (no-load tap)
Series Resistance
Series Reactance
Shunt Magnetizing Conductance
Shunt Magnetizing Susceptance
Normal Rating MVA
Emergency Rating MVA
Loadshed Rating MVA
LTC (Y/N)
LTC Group (Kv)
| Low Side Tap Setting | Nominal Voltage (Kv)
Total Number of Tap Positions
Normal Tap Position
Lowest Tap Position
Highest Tap Position
Nominal Tap Position (Neutral Step)
Step Size in Percent
| High Side Tap Setting | Nominal Voltage (Kv)
Total Number of Tap Positions
Normal Tap Position
Lowest Tap Position
Highest Tap Position
Nominal Tap Position (Neutral Step)
Step Size in Percent
| SubSync Resonance | Mass 1
Mass Inertia
Inertia units
Associated damping
Damping units
Stiffness between Masses
Stiffness units
| SubSync Resonance | Mass 2
Mass Inertia
Inertia units
Associated damping
Damping units
Stiffness between Masses
Stiffness units
| SubSync Resonance | Mass 3
Mass Inertia
Inertia units
Associated damping
Damping units
Stiffness between Masses
Stiffness units
| SubSync Resonance | Mass 4
Mass Inertia
Inertia units
Associated damping
Damping units
Stiffness between Masses
Stiffness units
| SubSync Resonance | Mass 5
Mass Inertia
Inertia units
Associated damping
Damping units
Stiffness between Masses
Stiffness units
| PSSE Model | Compensator Form (Y or N)
Stabilizer Form (Y or N)
Excitation Form (Y or N)
Turbine-Governor Form (Y or N)
Complete this section if a single RESOURCE owns 100% of all units.
137 | Data Aggregation | Resource Owner Data |  | Unit #1: Owner 1
Resource Entity Name
138 |  | Resource Duns Number |  | Unit #1: #N/A
139
140 |  | Complete this section if splitting netted gensite load among multiple ESIIDs
| Data Aggregation | Gen Load Splitting |  | ESIID 1 | ESIID 2 | ESIID 3 | ESIID 4 | ESIID 5 | ESIID 6
Fixed Load Splitting %
Competitive Retailer
|  | Competitive Retailer DUNS # |  | ESIID 1: #N/A
Complete the following sections only if Units are Joint-Owned
| Data Aggregation | Unit 1 Data
|  | Sub Generator Data |  | Owner 1 | Owner 2 | Owner 3 | Owner 4 | Owner 5 | Owner 6
Market Participant (Resource) Name
|  | Market Participant (Resource) Duns Number |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Fixed Ownership %
Master Owner (Y or N)
| Data Aggregation | Unit 2 Data
|  | Sub Generator Data |  | Owner 1 | Owner 2 | Owner 3 | Owner 4 | Owner 5 | Owner 6
Market Participant (Resource) Name
|  | Market Participant (Resource) Duns Number |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Fixed Ownership %
Master Owner (Y or N)
| Data Aggregation | Unit 3 Data
|  | Sub Generator Data |  | Owner 1 | Owner 2 | Owner 3 | Owner 4 | Owner 5 | Owner 6
Market Participant (Resource) Name
|  | Market Participant (Resource) Duns Number |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Fixed Ownership %
Master Owner (Y or N)
| Data Aggregation | Unit 4 Data
|  | Sub Generator Data |  | Owner 1 | Owner 2 | Owner 3 | Owner 4 | Owner 5 | Owner 6
Market Participant (Resource) Name
|  | Market Participant (Resource) Duns Number |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Fixed Ownership %
Master Owner (Y or N)
| Data Aggregation | Unit 5 Data
|  | Sub Generator Data |  | Owner 1 | Owner 2 | Owner 3 | Owner 4 | Owner 5 | Owner 6
Market Participant (Resource) Name
|  | Market Participant (Resource) Duns Number |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Fixed Ownership %
Master Owner (Y or N)
| Data Aggregation | Unit 6 Data
|  | Sub Generator Data |  | Owner 1 | Owner 2 | Owner 3 | Owner 4 | Owner 5 | Owner 6
Market Participant (Resource) Name
|  | Market Participant (Resource) Duns Number |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Fixed Ownership %
Master Owner (Y or N)
Note on C9: Name of generator unit (ie. CBYG1)
Note on C10: Naming Convention: Generator Site Code_Generator Unit Name (ie. CBY_CBYG1)
Note on C11: In-Service Date
Note on C12: Retire Date- leave blank if not applicable.
Note on C18: A REC offset represents one MWH of renewable energy from an existing facility that may be used in place of a REC to meet renewable energy requirement. See Substantive Rule 25.173(c) (10). Is the unit a certified renewable energy credit generator or a certified offset generator? See Protocol Section 14.9 Code as follows: (RN) Renewable (OS) Renewable Offset (NA) Not Applicable
Note on C20: New Nodal field per protocol 3.7.1- An "Out-of-Bounds" value chosen by RE and used by ERCOT to alarm/reject data exceeding the value.
Note on C21: New Nodal field per protocol 3.7.1- An "Out-of-Bounds" value chosen by RE and used by ERCOT to alarm/reject data exceeding the value.
Note on C22: New Nodal field- An "Out-of-Bounds" value chosen by RE and used by ERCOT to alarm/reject data exceeding the value.
Note on C23: New Nodal field- An "Out-of-Bounds" value chosen by RE and used by ERCOT to alarm/reject data exceeding the value.
Note on C25: Nominal Net Rating from Resource used to calculate Mitigated Offer Cap (Protocols 4.4.9.4)
Note on C26: Nominal Net Rating from Resource used to calculate Mitigated Offer Cap (Protocols 4.4.9.4)
Note on C27: Nominal Net Rating from Resource used to calculate Mitigated Offer Cap (Protocols 4.4.9.4)
Note on C28: Nominal Net Rating from Resource used to calculate Mitigated Offer Cap (Protocols 4.4.9.4)
Note on C30: Name Plate MVA Rating of this unit at its rated Power Factor.
Note on C31: From Generator Name Plate
Note on C32: Maximum rated MW at rated Power Factor at Unit Reactive Limit- defined as the maximum quantity of Reactive Power that a Generation Resource is capable of providing at a 0.95 power factor at its maximum real power capability.
Note on C33: Maximum MVAR at rated Power Factor
Note on C34: Net Maximum Leading MVAR Operating capability associated with Net Maximum MW Operating Capability.
Note on C35: Net Maximum Lagging MVAR Operating capability associated with Net Maximum MW Operating Capability.
Note on C36: Net Minimum MW Operating Capability minus unit auxiliary load.
Note on C37: Terminal voltage of unit
Note on C38: The reactance which is determined from the ratio of an initial reduced voltage open circuit condition and the currents from the three-phase fault at the machine terminals at the rated frequency. The initial open circuit voltage is adjusted so the rated cu
Note on C39: The reactance which is determined from the ratio of an initial reduced voltage open circuit condition and the currents from the three-phase fault at the machine terminals at the rated frequency. The initial open circuit voltage is adjusted so the rated cu
Note on C47: Per ERCOT Operating Guides, section 8: Private Network refers to generators with self-serve private load behind a single meter at the point of injection into the ERCOT grid. Private Use Network definition- An electric network connected to the ERCOT Transmission Grid that contains load that is not directly metered by ERCOT (i.e., load that is typically netted with internal generation).
Note on C48: Amount of the generator output used for self serve and not available for the grid. Please indicate if this self-serve private load amount is per unit or per plant.
Note on C49: Per ERCOT Operating Guides, section 8: For private networks, the net interchange shall be provided along with gross MW and Mvar per generating unit.
Note on C50: Per ERCOT Operating Guides, section 8: For private networks, the net interchange shall be provided along with gross MW and Mvar per generating unit.
Note on C51: Per ERCOT Operating Guides, section 8: For private networks, the net interchange shall be provided along with gross MW and Mvar per generating unit.
Note on C52: Per ERCOT Operating Guides, section 8: For private networks, the net interchange shall be provided along with gross MW and Mvar per generating unit.
Note on C53: Per ERCOT Operating Guides, section 8: For private networks, the net interchange shall be provided along with gross MW and Mvar per generating unit.
Note on C54: Per ERCOT Operating Guides, section 8: For private networks, the net interchange shall be provided along with gross MW and Mvar per generating unit.
Note on C57: For this items and next 4 items, enter % of total MW load per load type.
Note on C62: For this items and next 4 items, enter % of total MVAR load per load type. If the % of total MVAR load is not known, please enter know power factor of load type (ex: 0.90 pf lag)
Note on C68: Net Minimum Operating Capability output for this unit, in MW
Note on C69: Unit's Lagging reactive power output capability associated with its MW1 output, in MVAR.
Note on C70: Unit's Leading reactive power output capability associated with its MW1 output, in MVAR.
Note on C81: Field was previously called Minimum Up Time
Note on C82: Field was previously called Minimum Down Time on Zonal GARF.
Note on C92: - Range is from Low Sustainable Limit to High Sustainable Limit. - Reflected in ERCOT systems as steps. Curve is not interpolated between points.
Note on C113: - Range is from Low Emergency Limit to High Emergency Limit. - Reflected in ERCOT systems as steps. Curve is not interpolated between points.
Note on C137: Request RE include supporting information if more than one winding.
Note on C145: Transformer Load Tap Changer
Note on C146: Transformer Load Tap Changer Group Kv.
Note on C199: Thes referenced forms are posted at (http://www.ercot.com/gridinfo/generation/index.html), and if already on file at ERCOT do not need to be re-completed for the transition to nodal. These are needed by ERCOT to meet NERC Compliance. ERCOT has adopted PTI's PSSE program as its standard. Indicate in the cells below whether the completion of these forms have been submitted to ERCOT or not. ERCOT will work with to complete and submit these forms.
Note on C206: If single owner, Owner 1 is only field necessary. If multiple owners, all owners must be identified in this row
Note on C207: Entity that is registered with ERCOT: 1). Power Generation Company registered with the PUCT. 2.) Resource entity not required to register with the PUCT.
Note on C211: Total must equal 100%
Note on C218: If single owner, Owner 1 is only field necessary. If multiple owners, all owners must be identified in this row.
Note on C219: Entity that is registered with ERCOT: 1). Power Generation Company registered with the PUCT. 2.) Resource entity not required to register with the PUCT.
Note on C220: Total must equal 100%
Note on C221: A single owner must be identified so the associated QSE can provide generation splitting signals. There must be a single Master PGC/QSE per Generation Site.
Note on C225: If single owner, Owner 1 is only field necessary. If multiple owners, all owners must be identified in this row.
Note on C226: Entity that is registered with ERCOT: 1). Power Generation Company registered with the PUCT. 2.) Resource entity not required to register with the PUCT.
Note on C227: Total must equal 100%
Note on C228: A single owner must be identified so the associated QSE can provide generation splitting signals. There must be a single Master PGC/QSE per Generation Site.
Note on C232: If single owner, Owner 1 is only field necessary. If multiple owners, all owners must be identified in this row.
Note on C233: Entity that is registered with ERCOT: 1). Power Generation Company registered with the PUCT. 2.) Resource entity not required to register with the PUCT.
Note on C234: Total must equal 100%
Note on C235: A single owner must be identified so the associated QSE can provide generation splitting signals. There must be a single Master PGC/QSE per Generation Site.
Note on C239: If single owner, Owner 1 is only field necessary. If multiple owners, all owners must be identified in this row.
Note on C240: Entity that is registered with ERCOT : 1). Power Generation Company registered with the PUCT. 2.) Resource entity not required to register with the PUCT.
Note on C241: Total must equal 100%
Note on C242: A single owner must be identified so the associated QSE can provide generation splitting signals. There must be a single Master PGC/QSE per Generation Site.
Note on C246: If single owner, Owner 1 is only field necessary. If multiple owners, all owners must be identified in this row.
Note on C247: Entity that is registered with ERCOT: 1). Power Generation Company registered with the PUCT. 2.) Resource entity not required to register with the PUCT.
Note on C248: Total must equal 100%
Note on C249: A single owner must be identified so the associated QSE can provide generation splitting signals. There must be a single Master PGC/QSE per Generation Site.
Note on C253: If single owner, Owner 1 is only field necessary. If multiple owners, all owners must be identified in this row.
Note on C254: Entity that is registered with ERCOT: 1). Power Generation Company registered with the PUCT. 2.) Resource entity not required to register with the PUCT.
Note on C255: Total must equal 100%
Note on C256: A single owner must be identified so the associated QSE can provide generation splitting signals. There must be a single Master PGC/QSE per Generation Site.

## CombinedCycle
A | B | C | D | E | F | G | H | I | J
1 |  | System Planning / Data Aggregation / Settlements
2 |  | Combined Cycle Resource Registration Data
3
Note1- Maximum number of configurations per Combine Cycle Train not to exceed aggregate number of physical generation units (example: 2-CTs and 1-ST can register for up to 3 configurations).
New___ Revised___ Add___ Delete___
Note2- Power augmentation is not allowed as a separate configuration. Power augmentation should be reflected within an existing configuration.
13 | Blue Highlight = Data on zonal GARF Pink Highlight = New nodal data
Use table below to identify which units will be associated with each registered configuration for the Combined Cycle Train
|  | Place X in matrix on right to flag units to be in configuration, and "A" if unit can be alternate unit for configuration (more detail in comment tag) |  | Configuration A | Configuration B | Configuration C | Configuration D | Configuration E | Configuration F
Unit 1- (insert unit name here)
Unit 2- (insert unit name here)
Unit 3- (insert unit name here)
Unit 4- (insert unit name here)
Unit 5- (insert unit name here)
Unit 6- (insert unit name here)
Use table below to identify which configuration can transition to another configuration for the Combined Cycle Train
|  | From configuration in this column, to next configuration Use X in matrix to mark allowable transitions |  | To Configuration A | To Configuration B | To Configuration C | To Configuration D | To Configuration E | To Configuration F
From Configuration A
From Configuration B
From Configuration C
From Configuration D
From Configuration E
From Configuration F
13 |  | Field Description |  | CombCycle Train
Name of Combined Cycle Train
Mnemonic for Combined Cycle Train
Unit Start Date
Unit End Date
Fuel Transportation Type
Resource Category
Qualifying Facility (Y/N)?
32 | Generator Unit Information | Field Description |  | Unit #1 | Unit #2 | Unit #3 | Unit #4 | Unit #5 | Unit #6 | Config A | Config B | Config C | Config D | Config E | Config F
33 |  | Unit Name
34 |  | Unit Code/Mnemonic
35 |  | Unit Start Date
36 |  | Unit End Date
60 |  | Physical Unit Type
61 |  | Primary Fuel Type
62 |  | Secondary Fuel Type
High Reasonability Limit (Max Net MW level)
Low Reasonability Limit (Min Net MW level)
High Reasonability Ramp Rate Limit (Max ramp MW/min)
Low Reasonability Ramp Rate Limit (Min ramp MW/min)
Seasonal Net MW Rating- Spring
Seasonal Net MW Rating- Summer
Seasonal Net MW Rating- Fall
Seasonal Net MW Rating- Winter
Conversion constant from Gross to Net MW (if applicable)
Name Plate Rating (MVA)
Rated Power Factor
Rating (MW)
Rating (MVAR)
Net Maximum Leading Operating Capability (MVAR)
Net Maximum Lagging Operating Capability (MVAR)
Net Minimum Operating Capability (MW)
Unit KV
Direct Axis Subtransient reactance, X"di
Direct Axis Transient reactance, X'di
Plant Voltage Protection
Undervoltage Trip, specifiy voltage per unit
Overvoltage Trip, specifiy voltage per unit
Plant Frequency Protection
Underfrequency Trip, Hz
Overfrequency Trip, Hz
| Private Network Section (previously on GenForm.xls) | Private Network (defined in comment) (Y or N)
Amount of Self-Serve private load (MW)
Private Network Net Interchange (MW)
Telemetry for PN Net Interchange is provided (Y/N)
Private Network Gross Unit Capability (MW)
Telemetry for PN Gross Unit MW is provided (Y/N)
Private Network Gross Unit Capability (MVAR)
Telemetry for PN Gross Unit MVAR is provided (Y/N)
If Unit trips, does Load trip?
Load Characteristics:
--Large Motor, percent of total MW load
-Small Motor, percent of total MW load
-Resistive (Heating) Load, percent of total MW load
-Discharge Lighting, percent of total MW load
-Other, percent of total MW load
--Large Motor, percent of total MVAR load
-Small Motor, percent of total MVAR load
-Resistive (Heating) Load, percent of total MVAR load
-Discharge Lighting, percent of total MVAR load
-Other, percent of total MVAR load
| Reactive Capability Curve | MW1
Lagging MVAR limit associated with MW1 output
Leading MVAR limit associated with MW1 output
MW2
Lagging MVAR limit associated with MW2 output
Leading MVAR limit associated with MW2 output
MW3
Lagging MVAR limit associated with MW3 output
Leading MVAR limit associated with MW3 output
MW4
Lagging MVAR limit associated with MW4 output
Leading MVAR limit associated with MW4 output
| Resource Parameters - Initial submittal by RE, updated by QSE via MMS (Protocol 3.7.1) | Minimum On Line Time (hrs)
Minimum Off Line Time (hrs)
Hot Start Time (hrs)
Intermediate Start Time (hrs)
Cold Start Time (hrs)
Max Weekly Starts
Max On Line Time (hrs)
Max Daily Starts
Max Weekly Energy
Hot-to-Intermediate Time (hrs)
Intermediate-to-Cold Time (hrs)
Normal Ramp Rate Curve (see comment detail)
Upward MW1 (LSL)
Upward RampRate1 (MW/minute)
Upward MW2
Upward RampRate2 (MW/minute)
Upward MW3
Upward RampRate3 (MW/minute)
Upward MW4
Upward RampRate4 (MW/minute)
Upward MW5
Upward RampRate5 (MW/minute)
Downward MW1 (HSL)
Downward RampRate1 (MW/minute)
Downward MW2
Downward RampRate2 (MW/minute)
Downward MW3
Downward RampRate3 (MW/minute)
Downward MW4
Downward RampRate4 (MW/minute)
Downward MW5
Downward RampRate5 (MW/minute)
Emergency Ramp Rate Curve (see comment detail)
Upward MW1 (LEL)
Upward RampRate1 (MW/minute)
Upward MW2
Upward RampRate2 (MW/minute)
Upward MW3
Upward RampRate3 (MW/minute)
Upward MW4
Upward RampRate4 (MW/minute)
Upward MW5
Upward RampRate5 (MW/minute)
Downward MW1 (HEL)
Downward RampRate1 (MW/minute)
Downward MW2
Downward RampRate2 (MW/minute)
Downward MW3
Downward RampRate3 (MW/minute)
Downward MW4
Downward RampRate4 (MW/minute)
Downward MW5
Downward RampRate5 (MW/minute)
190 | N/W Model Transformer Data | Transformer Name (if multiple transformer, attach supporting data)
High Voltage Limit (no-load tap)
Low Voltage Limit (no-load tap)
Series Resistance
Series Reactance
Shunt Magnetizing Conductance
Shunt Magnetizing Susceptance
Normal Rating MVA
Emergency Rating MVA
Loadshed Rating MVA
LTC (Y/N)
LTC Group (Kv)
| Low Side Tap Setting | Nominal Voltage (Kv)
Total Number of Tap Positions
Normal Tap Position
Lowest Tap Position
Highest Tap Position
Nominal Tap Position (Neutral Step)
Step Size in Percent
| High Side Tap Setting | Nominal Voltage (Kv)
Total Number of Tap Positions
Normal Tap Position
Lowest Tap Position
Highest Tap Position
Nominal Tap Position (Neutral Step)
Step Size in Percent
| SubSync Resonance | Mass
Mass Inertia
Inertia units
Associated damping
Damping units
Stiffness between Masses
Stiffness units
| SubSync Resonance | Mass 2
Mass Inertia
Inertia units
Associated damping
Damping units
Stiffness between Masses
Stiffness units
| SubSync Resonance | Mass 3
Mass Inertia
Inertia units
Associated damping
Damping units
Stiffness between Masses
Stiffness units
| SubSync Resonance | Mass 4
Mass Inertia
Inertia units
Associated damping
Damping units
Stiffness between Masses
Stiffness units
| SubSync Resonance | Mass 5
Mass Inertia
Inertia units
Associated damping
Damping units
Stiffness between Masses
Stiffness units
| PSSE Model | Compensator Form (Y or N)
Stabilizer Form (Y or N)
Excitation Form (Y or N)
Turbine-Governor Form (Y or N)
Complete this section if a single RESOURCE owns 100% of all units.
137 | Data Aggregation | Resource Owner Data |  | Unit #1: Owner 1
Resource Entity Name
138 |  | Resource Duns Number |  | Unit #1: #N/A
139
140 |  | Complete this section if splitting netted gensite load among multiple ESIIDs
| Data Aggregation | Gen Load Splitting |  | Unit #1: ESIID 1
Competitive Retailer
|  | Competitive Retailer DUNS # |  | Unit #1: #N/A
Note on C11: Example: If a train is composed of 3CT-1ST. To register a valid 2-1 configuration, put X by two CTs and the ST, and an "Alt" by the third CT that can serve as an alternate unit in the configuration.
Note on C30: Name of generator unit (ie. CBYG1)
Note on C31: Naming Convention: Generator Site Code_Generator Unit Name (ie. CBY_CBYG1)
Note on C32: In-Service Date
Note on C33: Retire Date
Note on C39: Name of generator unit (ie. CBYG1)
Note on C40: Naming Convention: Generator Site Code_Generator Unit Name (ie. CBY_CBYG1)
Note on C41: In-Service Date
Note on C42: Retire Date- leave blank if not applicable.
Note on C46: New Nodal field per protocol 3.7.1- An "Out-of-Bounds" value chosen by RE and used by ERCOT to alarm/reject data exceeding the value.
Note on C47: New Nodal field per protocol 3.7.1- An "Out-of-Bounds" value chosen by RE and used by ERCOT to alarm/reject data exceeding the value.
Note on C48: New Nodal field- An "Out-of-Bounds" value chosen by RE and used by ERCOT to alarm/reject data exceeding the value.
Note on C49: New Nodal field- An "Out-of-Bounds" value chosen by RE and used by ERCOT to alarm/reject data exceeding the value.
Note on C50: Nominal Net Rating from Resource used to calculate Mitigated Offer Cap (Protocols 4.4.9.4)
Note on C51: Nominal Net Rating from Resource used to calculate Mitigated Offer Cap (Protocols 4.4.9.4)
Note on C52: Nominal Net Rating from Resource used to calculate Mitigated Offer Cap (Protocols 4.4.9.4)
Note on C53: Nominal Net Rating from Resource used to calculate Mitigated Offer Cap (Protocols 4.4.9.4)
Note on C55: Name Plate MVA Rating of this unit at its rated Power Factor.
Note on C56: From Generator Name Plate
Note on C57: Maximum rated MW at rated Power Factor at Unit Reactive Limit- defined as the maximum quantity of Reactive Power that a Generation Resource is capable of providing at a 0.95 power factor at its maximum real power capability.
Note on C58: Maximum MVAR at rated Power Factor
Note on C59: Net Maximum Leading MVAR Operating capability associated with Net Maximum MW Operating Capability
Note on C60: Net Maximum Lagging MVAR Operating capability associated with Net Maximum MW Operating Capability.
Note on C61: Net Minimum MW Operating Capability minus unit auxiliary load. New Nodal GARF field
Note on C62: Terminal voltage of unit
Note on C63: The reactance which is determined from the ratio of an initial reduced voltage open circuit condition and the currents from the three-phase fault at the machine terminals at the rated frequency. The initial open circuit voltage is adjusted so the rated cu
Note on C64: The reactance which is determined from the ratio of an initial reduced voltage open circuit condition and the currents from the three-phase fault at the machine terminals at the rated frequency. The initial open circuit voltage is adjusted so the rated cu
Note on C72: Per ERCOT Operating Guides, section 8: Private Network refers to generators with self-serve private load behind a single meter at the point of injection into the ERCOT grid. Private Use Network definition- An electric network connected to the ERCOT Transmission Grid that contains load that is not directly metered by ERCOT (i.e., load that is typically netted with internal generation).
Note on C73: Amount of the generator output used for self serve and not available for the grid. Please indicate if this self-serve private load amount is per unit or per plant.
Note on C74: Per ERCOT Operating Guides, section 8: For private networks, the net interchange shall be provided along with gross MW and Mvar per generating unit.
Note on C75: Per ERCOT Operating Guides, section 8: For private networks, the net interchange shall be provided along with gross MW and Mvar per generating unit.
Note on C76: Per ERCOT Operating Guides, section 8: For private networks, the net interchange shall be provided along with gross MW and Mvar per generating unit.
Note on C77: Per ERCOT Operating Guides, section 8: For private networks, the net interchange shall be provided along with gross MW and Mvar per generating unit.
Note on C78: Per ERCOT Operating Guides, section 8: For private networks, the net interchange shall be provided along with gross MW and Mvar per generating unit.
Note on C79: Per ERCOT Operating Guides, section 8: For private networks, the net interchange shall be provided along with gross MW and Mvar per generating unit.
Note on C82: For this items and next 4 items, enter % of total MW load per load type.
Note on C87: For this items and next 4 items, enter % of total MVAR load per load type. If the % of total MVAR load is not known, please enter know power factor of load type (ex: 0.90 pf lag)
Note on C93: Net Minimum Operating Capability output for this unit, in MW
Note on C94: Unit's Lagging reactive power output capability associated with its MW1 output, in MVAr.
Note on C95: Unit's Leading reactive power output capability associated with its MW1 output, in MVAr.
Note on C96: Second point of output of the generating unit, in MW
Note on C97: Unit's Lagging reactive power output capability associated with its MW2 output, in MVAr.
Note on C98: Unit's Leading reactive power output capability associated with its MW2 output, in MVAr.
Note on C99: Third point of output of the generating unit, in MW
Note on C100: Unit's Lagging reactive power output capability associated with its MW3 output, in MVAr.
Note on C101: Unit's Leading reactive power output capability associated with its MW3 output, in MVAr.
Note on C102: Net Maximum Operating Capability output for this unit, in MW
Note on C103: Unit's Lagging reactive power output capability associated with its MW4 output, in MVAr.
Note on C104: Unit's Leading reactive power output capability associated with its MW4 output, in MVAr.
Note on C106: Field was previously called Minimum Up Time
Note on C107: Field was previously called Minimum Down Time on Zonal GARF.
Note on C108: New Nodal GARF field
Note on C109: New Nodal GARF field. Needed for decommitment settlement,
Note on C110: New Nodal GARF field. Needed for decommitment settlement.
Note on C111: New Nodal GARF field
Note on C112: New Nodal GARF Field
Note on C113: New Nodal GARF field
Note on C114: New Nodal GARF field
Note on C115: New Nodal GARF field
Note on C116: New Nodal GARF field
Note on C117: - Range is from Low Sustainable Limit to High Sustainable Limit. - Reflected in ERCOT systems as steps. Curve is not interpolated between points.
Note on C138: - Range is from Low Emergency Limit to High Emergency Limit. - Reflected in ERCOT systems as steps. Curve is not interpolated between points.
Note on C162: Request RE include supporting information if more than one winding
Note on C224: Thes referenced forms are posted at (http://www.ercot.com/gridinfo/generation/index.html), and if already on file at ERCOT do not need to be re-completed for the transition to nodal. These are needed by ERCOT to meet NERC Compliance. ERCOT has adopted PTI's PSSE program as its standard. Indicate in the cells below whether the completion of these forms have been submitted to ERCOT or not. ERCOT will work with to complete and submit these forms.
Note on C231: If single owner, Owner 1 is only field necessary. If multiple owners, all owners must be identified in this row
Note on C232: Entity that is registered with ERCOT: 1). Power Generation Company registered with the PUCT. 2.) Resource entity not required to register with the PUCT.

## Wind
A | B | C | D | E | F | G | H | I | J
1 |  | System Planning / Data Aggregation / Settlements
2 |  | Wind Resource Registration Data
New___ Revised___ Add___ Delete___
13 | Blue Highlight = Data on zonal GARF Pink Highlight = New nodal data
32 | Generator Unit Information | Field Description |  | Total Farm | Unit/Group 1 | Unit/Group2 | Unit/Group3 | Unit/Group4 | Unit/Group5
33 |  | Unit Name
34 |  | Unit Code
35 |  | Unit Start Date
36 |  | Unit End Date
60 |  | Physical Unit Type
64 |  | Renewable (Y/N)
65 |  | Renewable/Offset
Resource Category
High Reasonability Limit (Max MW level)
Low Reasonability Limit (Min MW level)
High Reasonability Ramp Rate Limit (Max ramp MW/min)
Low Reasonability Ramp Rate Limit (Min ramp MW/min)
Latitude of center of Wind Farm (decimal degrees)
Longitude of center of Wind Farm (decimal degrees)
Number of Turbines
Type of Turbines (Manufacturer/Model)
Average Height above ground of Turbine Hub (meters)
Latitude of Meteorological Tower (decimal degrees)
Longitude of Meteorological Tower (decimal degrees)
Height of Meteorological Tower Instrumentation (meters)
Include Manufacturer's Curve (Capability Curve)
Eligible for McCamey Flowgate Rights (MCFRIs)?
Qualifying Facility (Yes or No?)
Seasonal Net MW Rating- Spring
Seasonal Net MW Rating- Summer
Seasonal Net MW Rating- Fall
Seasonal Net MW Rating- Winter
Conversion constant from Gross to Net MW (if applicable)
Name Plate Rating (MVA)
Rated Power Factor
Rating (MW)
Rating (MVAR)
Net Maximum Leading Operating Capability (MVAR)
Net Maximum Lagging Operating Capability (MVAR)
Net Minimum Operating Capability (MW)
Unit KV
Direct Axis Subtransient reactance, X"di
Direct Axis Transient reactance, X'di
Plant Voltage Protection
Undervoltage Trip, specifiy voltage per unit
Overvoltage Trip, specifiy voltage per unit
Plant Frequency Protection
Underfrequency trip, Hz
Overfrequency Trip, Hz
| Private Network Section (previously on GenForm.xls) | Private Network (defined in comment) (Y or N)
Amount of Self-Serve private load (MW)
Private Network Net Interchange (MW)
Telemetry for PN Net Interchange is provided (Y/N)
Private Network Gross Unit Capability (MW)
Telemetry for PN Gross Unit MW is provided (Y/N)
Private Network Gross Unit Capability (MVAR)
Telemetry for PN Gross Unit MVAR is provided (Y/N)
If Unit trips, does Load trip?
Load Characteristics:
--Large Motor, percent of total MW load
-Small Motor, percent of total MW load
-Resistive (Heating) Load, percent of total MW load
-Discharge Lighting, percent of total MW load
-Other, percent of total MW load
--Large Motor, percent of total MVAR load
-Small Motor, percent of total MVAR load
-Resistive (Heating) Load, percent of total MVAR load
-Discharge Lighting, percent of total MVAR load
-Other, percent of total MVAR load
| Reactive Capability Curve | Reactive Standard (If your turbines cannot provide reactive power at +/-.95pf, how do you meet the standard?)
MW1
Lagging MVAR limit associated with MW1 output
Leading MVAR limit associated with MW1 output
MW2
Lagging MVAR limit associated with MW2 output
Leading MVAR limit associated with MW2 output
MW3
Lagging MVAR limit associated with MW3 output
Leading MVAR limit associated with MW3 output
MW4
Lagging MVAR limit associated with MW4 output
Leading MVAR limit associated with MW4 output
| Resource Parameters - Initial submittal by RE, updated by QSE via MMS (Protocol 3.7.1) | Minimum On Line Time (hrs)
Minimum Off Line Time (hrs)
Hot Start Time (hrs)
Intermediate Start Time (hrs)
Cold Start Time (hrs)
Max Weekly Starts
Max On Line Time (hrs)
Max Daily Starts
Max Weekly Energy
Hot-to-Intermediate Time (hrs)
Intermediate-to-Cold Time (hrs)
Normal Ramp Rate Curve (see comment detail)
Upward MW1 (LSL)
Upward RampRate1 (MW/minute)
Upward MW2
Upward RampRate2 (MW/minute)
Upward MW3
Upward RampRate3 (MW/minute)
Upward MW4
Upward RampRate4 (MW/minute)
Upward MW5
Upward RampRate5 (MW/minute)
Downward MW1 (HSL)
Downward RampRate1 (MW/minute)
Downward MW2
Downward RampRate2 (MW/minute)
Downward MW3
Downward RampRate3 (MW/minute)
Downward MW4
Downward RampRate4 (MW/minute)
Downward MW5
Downward RampRate5 (MW/minute)
Emergency Ramp Rate Curve (see comment detail)
Upward MW1 (LEL)
Upward RampRate1 (MW/minute)
Upward MW2
Upward RampRate2 (MW/minute)
Upward MW3
Upward RampRate3 (MW/minute)
Upward MW4
Upward RampRate4 (MW/minute)
Upward MW5
Upward RampRate5 (MW/minute)
Downward MW1 (HEL)
Downward RampRate1 (MW/minute)
Downward MW2
Downward RampRate2 (MW/minute)
Downward MW3
Downward RampRate3 (MW/minute)
Downward MW4
Downward RampRate4 (MW/minute)
Downward MW5
Downward RampRate5 (MW/minute)
190 | N/W Model Transformer Data | Transformer Name (if multiple transformer, attach supporting data)
High Voltage Limit (no-load tap)
Low Voltage Limit (no-load tap)
Series Resistance
Series Reactance
Shunt Magnetizing Conductance
Shunt Magnetizing Susceptance
Normal Rating MVA
Emergency Rating MVA
Loadshed Rating MVA
LTC (Y/N)
LTC Group (Kv)
| Low Side Tap Setting | Nominal Voltage (Kv)
Total Number of Tap Positions
Normal Tap Position
Lowest Tap Position
Highest Tap Position
Nominal Tap Position (Neutral Step)
Step Size in Percent
| High Side Tap Setting | Nominal Voltage (Kv)
Total Number of Tap Positions
Normal Tap Position
Lowest Tap Position
Highest Tap Position
Nominal Tap Position (Neutral Step)
Step Size in Percent
| PSSE Model | Compensator Form (Y or N)
Stabilizer Form (Y or N)
Excitation Form (Y or N)
Turbine-Governor Form (Y or N)
139
Complete this section if a single RESOURCE owns 100% of all units.
137 | Data Aggregation | Resource Owner Data |  | Owner 1
Resource Entity Name
138 |  | Resource Duns Number |  | #N/A
140 |  | Complete this section if splitting netted gensite load among multiple ESIIDs
| Data Aggregation | Gen Load Splitting |  | ESIID 1 | ESIID 2 | ESIID 3 | ESIID 4 | ESIID 5 | ESIID 6
Fixed Load Splitting %
Competitive Retailer
|  | Competitive Retailer DUNS # |  | ESIID 1: #N/A
Complete the following sections only if Units are Joint-Owned
| Data Aggregation | Unit 1 Data
|  | Sub Generator Data |  | Owner 1 | Owner 2 | Owner 3 | Owner 4 | Owner 5 | Owner 6
Market Participant (Resource) Name
|  | Market Participant (Resource) Duns Number |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Fixed Ownership %
Master Owner (Y or N)
| Data Aggregation | Unit 2 Data
|  | Sub Generator Data |  | Owner 1 | Owner 2 | Owner 3 | Owner 4 | Owner 5 | Owner 6
Market Participant (Resource) Name
|  | Market Participant (Resource) Duns Number |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Fixed Ownership %
Master Owner (Y or N)
| Data Aggregation | Unit 3 Data
|  | Sub Generator Data |  | Owner 1 | Owner 2 | Owner 3 | Owner 4 | Owner 5 | Owner 6
Market Participant (Resource) Name
|  | Market Participant (Resource) Duns Number |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Fixed Ownership %
Master Owner (Y or N)
| Data Aggregation | Unit 4 Data
|  | Sub Generator Data |  | Owner 1 | Owner 2 | Owner 3 | Owner 4 | Owner 5 | Owner 6
Market Participant (Resource) Name
|  | Market Participant (Resource) Duns Number |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Fixed Ownership %
Master Owner (Y or N)
| Data Aggregation | Unit 5 Data
|  | Sub Generator Data |  | Owner 1 | Owner 2 | Owner 3 | Owner 4 | Owner 5 | Owner 6
Market Participant (Resource) Name
|  | Market Participant (Resource) Duns Number |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Fixed Ownership %
Master Owner (Y or N)
| Data Aggregation | Unit 6 Data
|  | Sub Generator Data |  | Owner 1 | Owner 2 | Owner 3 | Owner 4 | Owner 5 | Owner 6
Market Participant (Resource) Name
|  | Market Participant (Resource) Duns Number |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Fixed Ownership %
Master Owner (Y or N)
Note on C8: Name of generator unit (ie. CBYG1)
Note on C9: Naming Convention: Generator Site Code_Generator Unit Name (ie. CBY_CBYG1)
Note on C10: In-Service Date
Note on C11: Retire Date- leave blank if not applicable.
Note on C14: A REC offset represents one MWH of renewable energy from an existing facility that may be used in place of a REC to meet renewable energy requirement. See Substantive Rule 25.173(c) (10). Is the unit a certified renewable energy credit generator or a certified offset generator? See Protocol Section 14.9 Code as follows: (RN) Renewable (OS) Renewable Offset (NA) Not Applicable
Note on C16: New Nodal field per protocol 3.7.1- An "Out-of-Bounds" value chosen by RE and used by ERCOT to alarm/reject data exceeding the value.
Note on C17: New Nodal field per protocol 3.7.1- An "Out-of-Bounds" value chosen by RE and used by ERCOT to alarm/reject data exceeding the value.
Note on C18: New Nodal field- An "Out-of-Bounds" value chosen by RE and used by ERCOT to alarm/reject data exceeding the value.
Note on C19: New Nodal field- An "Out-of-Bounds" value chosen by RE and used by ERCOT to alarm/reject data exceeding the value.
Note on C20: New Nodal field
Note on C21: New Nodal field
Note on C22: New Nodal GARF field
Note on C23: New Nodal field
Note on C24: New Nodal field
Note on C25: New Nodal field
Note on C26: New Nodal field
Note on C28: New Nodal field
Note on C29: New Nodal field
Note on C31: Nominal Net Rating from Resource used to calculate Mitigated Offer Cap (Protocols 4.4.9.4)
Note on C32: Nominal Net Rating from Resource used to calculate Mitigated Offer Cap (Protocols 4.4.9.4)
Note on C33: Nominal Net Rating from Resource used to calculate Mitigated Offer Cap (Protocols 4.4.9.4)
Note on C34: Nominal Net Rating from Resource used to calculate Mitigated Offer Cap (Protocols 4.4.9.4)
Note on C36: Name Plate MVA Rating of this unit at its rated Power Factor.
Note on C37: From Generator Name Plate
Note on C38: Maximum rated MW at rated Power Factor at Unit Reactive Limit- defined as the maximum quantity of Reactive Power that a Generation Resource is capable of providing at a 0.95 power factor at its maximum real power capability.
Note on C39: Maximum MVAR at rated Power Factor
Note on C40: Net Maximum Leading MVAR Operating capability associated with Net Maximum MW Operating Capability.
Note on C41: Net Maximum Lagging MVAR Operating capability associated with Net Maximum MW Operating Capability.
Note on C42: Net Minimum MW Operating Capability minus unit auxiliary load.
Note on C43: Terminal voltage of unit
Note on C44: The reactance which is determined from the ratio of an initial reduced voltage open circuit condition and the currents from the three-phase fault at the machine terminals at the rated frequency. The initial open circuit voltage is adjusted so the rated cu
Note on C45: The reactance which is determined from the ratio of an initial reduced voltage open circuit condition and the currents from the three-phase fault at the machine terminals at the rated frequency. The initial open circuit voltage is adjusted so the rated cu
Note on C53: Per ERCOT Operating Guides, section 8: Private Network refers to generators with self-serve private load behind a single meter at the point of injection into the ERCOT grid. Private Use Network definition- An electric network connected to the ERCOT Transmission Grid that contains load that is not directly metered by ERCOT (i.e., load that is typically netted with internal generation).
Note on C54: Amount of the generator output used for self serve and not available for the grid. Please indicate if this self-serve private load amount is per unit or per plant.
Note on C55: Per ERCOT Operating Guides, section 8: For private networks, the net interchange shall be provided along with gross MW and Mvar per generating unit.
Note on C56: Per ERCOT Operating Guides, section 8: For private networks, the net interchange shall be provided along with gross MW and Mvar per generating unit.
Note on C57: Per ERCOT Operating Guides, section 8: For private networks, the net interchange shall be provided along with gross MW and Mvar per generating unit.
Note on C58: Per ERCOT Operating Guides, section 8: For private networks, the net interchange shall be provided along with gross MW and Mvar per generating unit.
Note on C59: Per ERCOT Operating Guides, section 8: For private networks, the net interchange shall be provided along with gross MW and Mvar per generating unit.
Note on C60: Per ERCOT Operating Guides, section 8: For private networks, the net interchange shall be provided along with gross MW and Mvar per generating unit.
Note on C63: For this items and next 4 items, enter % of total MW load per load type.
Note on C68: For this items and next 4 items, enter % of total MVAR load per load type. If the % of total MVAR load is not known, please enter know power factor of load type (ex: 0.90 pf lag)
Note on C75: Net Minimum Operating Capability output for this unit, in MW
Note on C76: Unit's Lagging reactive power output capability associated with its MW1 output, in MVAr.
Note on C77: Unit's Leading reactive power output capability associated with its MW1 output, in MVAr.
Note on C88: Field was previously called Minimum Up Time
Note on C89: Field was previously called Minimum Down Time on Zonal GARF.
Note on C99: - Range is from Low Sustainable Limit to High Sustainable Limit. - Reflected in ERCOT systems as steps. Curve is not interpolated between points.
Note on C120: - Range is from Low Emergency Limit to High Emergency Limit. - Reflected in ERCOT systems as steps. Curve is not interpolated between points.
Note on C144: Requesti RE include supporting information if more than one winding
Note on C170: Thes referenced forms are posted at (http://www.ercot.com/gridinfo/generation/index.html), and if already on file at ERCOT do not need to be re-completed for the transition to nodal. These are needed by ERCOT to meet NERC Compliance. ERCOT has adopted PTI's PSSE program as its standard. Indicate in the cells below whether the completion of these forms have been submitted to ERCOT or not. ERCOT will work with to complete and submit these forms.
Note on C177: If single owner, Owner 1 is only field necessary. If multiple owners, all owners must be identified in this row
Note on C178: Entity that is registered with ERCOT: 1). Power Generation Company registered with the PUCT. 2.) Resource entity not required to register with the PUCT.
Note on C189: If single owner, Owner 1 is only field necessary. If multiple owners, all owners must be identified in this row.
Note on C190: Entity that is registered with ERCOT: 1). Power Generation Company registered with the PUCT. 2.) Resource entity not required to register with the PUCT.
Note on C191: Total must equal 100%
Note on C192: A single owner must be identified so the associated QSE can provide generation splitting signals. There must be a single Master PGC/QSE per Generation Site.
Note on C196: If single owner, Owner 1 is only field necessary. If multiple owners, all owners must be identified in this row.
Note on C197: Entity that is registered with ERCOT: 1). Power Generation Company registered with the PUCT. 2.) Resource entity not required to register with the PUCT.
Note on C198: Total must equal 100%
Note on C199: A single owner must be identified so the associated QSE can provide generation splitting signals. There must be a single Master PGC/QSE per Generation Site.
Note on C203: If single owner, Owner 1 is only field necessary. If multiple owners, all owners must be identified in this row.
Note on C204: Entity that is registered with ERCOT: 1). Power Generation Company registered with the PUCT. 2.) Resource entity not required to register with the PUCT.
Note on C205: Total must equal 100%
Note on C206: A single owner must be identified so the associated QSE can provide generation splitting signals. There must be a single Master PGC/QSE per Generation Site.
Note on C210: If single owner, Owner 1 is only field necessary. If multiple owners, all owners must be identified in this row.
Note on C211: Entity that is registered with ERCOT : 1). Power Generation Company registered with the PUCT. 2.) Resource entity not required to register with the PUCT.
Note on C212: Total must equal 100%
Note on C213: A single owner must be identified so the associated QSE can provide generation splitting signals. There must be a single Master PGC/QSE per Generation Site.
Note on C217: If single owner, Owner 1 is only field necessary. If multiple owners, all owners must be identified in this row.
Note on C218: Entity that is registered with ERCOT: 1). Power Generation Company registered with the PUCT. 2.) Resource entity not required to register with the PUCT.
Note on C219: Total must equal 100%
Note on C220: A single owner must be identified so the associated QSE can provide generation splitting signals. There must be a single Master PGC/QSE per Generation Site.
Note on C224: If single owner, Owner 1 is only field necessary. If multiple owners, all owners must be identified in this row.
Note on C225: Entity that is registered with ERCOT: 1). Power Generation Company registered with the PUCT. 2.) Resource entity not required to register with the PUCT.
Note on C226: Total must equal 100%
Note on C227: A single owner must be identified so the associated QSE can provide generation splitting signals. There must be a single Master PGC/QSE per Generation Site.

## LoadResource
A | B | C | D | E | F | G | H | I | J
1 |  | System Planning / Data Aggregation / Settlements
2 |  | Load Resource Registration Data
New___ Revised___ Add___ Delete___
13 | Blue Highlight = Data on zonal GARF Pink Highlight = New nodal data
32 | Load Resource Information | Field Description |  | Load Point #1 | Load Point #2 | Load Point #3 | Load Point #4 | Load Point #5 | Load Point #6
33 |  | Name of End Use Customer
Common Name for Load Resource
Physical Street Address for point of Delivery (POD)
Name of City for Point of Delivery (POD)
Is Load Netted From Generation at ERCOT Read Gensite? (Y/N)
Is Load Behind a NOIE Settlement Meter Point? (Y/N)
Load Resource Type (CLR/UFR/Interruptible)
Dispatch Asset Code (provided by ERCOT)
Load Resource Effective Date
Load Resource Expiration Date
Substation Name for POD
Substation Code for POD
ESIID Station Name
ESIID Station Code
Transmission Bus POD (PTI Bus No)
Voltage Level of Telemetered load(s)
Meter Reading Entity (TDSP)
Meter Reading Entity Duns Number
QSE Name
QSE Duns Number
ESI-ID assigned to meter
Wholesale Delivery Point? (Y/N)
Notice Requirements to Interrupt
35 |  | High Set Under-frequency Relay Setting (Hz)
Load Resource Control Device (Control Technology / Interruptible Switch / Circuit Breaker)
If CLR, ability to operate as a UFR type Resource? (Y/N)
ERCOT Load Zone
ERCOT Congestion Management Zone for 2003
Maximum POD Total Load
Summer (Interruptible MW)
Winter (Interruptible MW)
High Reasonability Limit (Max MW level)
Low Reasonability Limit (Min MW level)
CLR High Reasonability Ramp Rate Limit (Max ramp MW/min)
CLR Low Reasonability Ramp Rate Limit (Min ramp MW/min)
Qualifying Facility (Y/N)?
Private Use Network (Y/N)?
| Resource Parameters - Initial submittal by RE, updated by QSE via MMS (Protocol 3.7.1) | Minimum Interruption Time
Minimum Restoration Time
Max WEEKLY Deployments
Max Interruption Time
Max DAILY Deployments
Max Weekly Energy
Minimum Notice Time
CLR Normal Ramp Rate Curve (see comment detail)
Upward MW1 (LSL)
Upward RampRate1 (MW/minute)
Upward MW2
Upward RampRate2 (MW/minute)
Upward MW3
Upward RampRate3 (MW/minute)
Upward MW4
Upward RampRate4 (MW/minute)
Upward MW5
Upward RampRate5 (MW/minute)
Downward MW1 (HSL)
Downward RampRate1 (MW/minute)
Downward MW2
Downward RampRate2 (MW/minute)
Downward MW3
Downward RampRate3 (MW/minute)
Downward MW4
Downward RampRate4 (MW/minute)
Downward MW5
Downward RampRate5 (MW/minute)
CLR Emergency Ramp Rate Curve (see comment detail)
Upward MW1 (LEL)
Upward RampRate1 (MW/minute)
Upward MW2
Upward RampRate2 (MW/minute)
Upward MW3
Upward RampRate3 (MW/minute)
Upward MW4
Upward RampRate4 (MW/minute)
Upward MW5
Upward RampRate5 (MW/minute)
Downward MW1 (HEL)
Downward RampRate1 (MW/minute)
Downward MW2
Downward RampRate2 (MW/minute)
Downward MW3
Downward RampRate3 (MW/minute)
Downward MW4
Downward RampRate4 (MW/minute)
Downward MW5
Downward RampRate5 (MW/minute)
CLR Max Deployment Time
CLR Max Weekly Energy
Note on C39: New Nodal field- An "Out-of-Bounds" value chosen by RE and used by ERCOT to alarm/reject data exceeding the value.
Note on C40: New Nodal field- An "Out-of-Bounds" value chosen by RE and used by ERCOT to alarm/reject data exceeding the value.
Note on C41: New Nodal field- An "Out-of-Bounds" value chosen by RE and used by ERCOT to alarm/reject data exceeding the value.
Note on C42: New Nodal field- An "Out-of-Bounds" value chosen by RE and used by ERCOT to alarm/reject data exceeding the value.
Note on C44: Per ERCOT Operating Guides, section 8: Private Network refers to generators with self-serve private load behind a single meter at the point of injection into the ERCOT grid. Private Use Network definition- An electric network connected to the ERCOT Transmission Grid that contains load that is not directly metered by ERCOT (i.e., load that is typically netted with internal generation).
Note on C53: - Range is from Low Sustainable Limit to High Sustainable Limit. - Reflected in ERCOT systems as steps. Curve is not interpolated between points.
Note on C74: - Range is from Low Emergency Limit to High Emergency Limit. - Reflected in ERCOT systems as steps. Curve is not interpolated between points.

## BLT
Block Load Transfer (BLT)
*** BLT Site Code is created by preceding the 1st 5 characters of the Station Code with BL_
*** BLT Unit Code is created by adding _BLT to the BLT Site Code ***
Blue Highlight = Data on zonal GARF Pink Highlight = New nodal data
BLT Site Information | BLT 1 | BLT 2 | BLT 3 | BLT 4
BLT Site Name
BLT Site Code (Bi-Directional Only)
Street Address
City
Zip code
County
State
In-Service Date
Out-of-Service Date
TDSP Providing Service To BLT Site
TDSP DUNS Number
Other Power Region (CFE, SPP, or SERC)
Is BLT behind a NOIE Settlement Meter Point? (Y or N)
Is BLT Uni or Bi-Directional
ERCOT Transmission Station Name
ERCOT Transmission Station Code
BLT Generation Information
BLT Unit Code (Bi-Directional Only)
Maximum MVA Capacity
BLT Meter Information
Resource ID (Unique Gen Meter Identifier)
ESIID (Unique Load Meter Identifier)
Distribution Loss Factor Code
Profile ID
Meter Reading Entity (TDSP)
Meter Reading Entity Duns Number
Resource Owner Information
Resource Name
Resource Duns Number
Load Serving Entity (LSE) Information
LSE Name
LSE Duns Number

## NW model list (hidden)
Resource Breaker(s) and Switching devices (with ICCP) per 3.10.7 requirements
Additional Resource-owned Reactive Devices (with ICCP for output and switching device status)per 3.10.7 requirements
Resource Oneline (up to TSP interconnect) per 3.10.7 requirements
Resource Owned Transmission Line(s) per 3.10.7 requirements
Voltage readings (ICCP) on Resource owned Transmission level equipment where necessary
MW/MVAR flow readings (ICCP) on Resource owned Transmission level equipment where necessary
Other Comments:
GENERATORS
aVRToManualLag | Time delay, in seconds, required when switching from AVR to manual for a lagging MVAr violation.
aVRToManualLead | Time delay, in seconds, required when switching from Automatic Voltage Regulation to Manual for a leading MVAr violation.
damping | Damping torque coefficient, a proportionality constant that, when multiplied by the angular velocity of the rotor poles with respect to the magnetic field (frequency), results in the damping torque.
inertia | The energy stored in the rotor when operating at rated speed. This value is used in the accelerating power reference frame for operator training simulator solutions.
manualToAVR | Time delay, in seconds, required when switching from Manual to Automatic Voltage Regulation. This value is used in the accelerating power reference frame for powerflow solutions.
maximumMVAr | Maximum MVAr limit. This is the maximum (nameplate) limit for the unit.
minimumMVAr | Minimum MVAr limit for the unit.
maximumKV | Maximum kV limit for the unit.
minimumKV | Minimum kV limit for the unit.
Additional GENERATOR information possibly wanted
r
r0
x
x0
xDirectSync
xQuadSubtrans
xQuadSync
xQuadTrans
operatingMode
type
condenserMW
ConductingEquipment:phases
IdentifiedObject:aliasName
IdentifiedObject:description
IdentifiedObject:TEID
baseMVAr
coolantCondition
coolantType
oMCost
boilerColdStartEnergy
boilerEfficiency
turbineColdStartEnergy
GeneratingUnit:controlDeadband
GeneratingUnit:controlPulseHigh
GeneratingUnit:controlPulseLow
GeneratingUnit:controlResponseRate
GeneratingUnit:efficiency
GeneratingUnit:genControlMode
GeneratingUnit:genControlSource
GeneratingUnit:governorMPL
GeneratingUnit:governorSCD
GeneratingUnit:highControlLimit
GeneratingUnit:lowControlLimit
GeneratingUnit:maximumAllowableSpinngReserve
GeneratingUnit:maximumEconomicMW
GeneratingUnit:minimumEconomicMW
GeneratingUnit:modelDetail
GeneratingUnit:ratedGrossMaxMW
GeneratingUnit:ratedGrossMinMW
GeneratingUnit:startupTime
GeneratingUnit:autoCntrlMarginMW
GeneratingUnit:allocSpinResMW
GeneratingUnit:baseMW
GeneratingUnit:dispReserveFlag
GeneratingUnit:energyMinMW
GeneratingUnit:fastStartFlag
GeneratingUnit:fuelPriority
GeneratingUnit:genOperatingMode
GeneratingUnit:lowerRampRate
GeneratingUnit:penaltyFactor
GeneratingUnit:raiseRampRate
GeneratingUnit:spinReserveRamp
GeneratingUnit:stepChange
GeneratingUnit:tieLinePF
GeneratingUnit:minimumOffTime
GeneratingUnit:ratedNetMaxMW
GeneratingUnit:maximumEconomicMWRef
GeneratingUnit:alarmThresholdHourlyMWH
GeneratingUnit:minimumEmergencyMW
GeneratingUnit:maximumEmergencyMW
GeneratingUnit:maximumCurrentCapacity
GeneratingUnit:maximumCurrentCapacityRef
GeneratingUnit:minimumEconomicMWOper
GeneratingUnit:minimumEconomicMWRef
GeneratingUnit:maximumEconomicMWOper
GeneratingUnit:minimumSecurityMW
GeneratingUnit:maximumSecurityMW
GeneratingUnit:frequencyDeadBandHz
GeneratingUnit:lowControlLimitRef
GeneratingUnit:highControlLimitRef
GeneratingUnit:maintenanceCostPerHour
GeneratingUnit:maintenanceCostPerMWHour
GeneratingUnit:maintenanceStartCost
GeneratingUnit:minimumUpTime
GeneratingUnit:maxBasepointCarryOver
GeneratingUnit:alarmLimitDeadBand
GeneratingUnit:percentCapOff
GeneratingUnit:maximumPumpOperatingReserve
GeneratingUnit:pumpThreshold
GeneratingUnit:energyRecoveryFactor
GeneratingUnit:maximumShortTermDownMW
GeneratingUnit:maximumShortTermUpMW
GeneratingUnit:lowerRampRateNom
GeneratingUnit:raiseRampRateNom
GeneratingUnit:spinningReserveMax
GeneratingUnit:scrubCO2
GeneratingUnit:scrubNOX
GeneratingUnit:thresholdSynchronousCondenserMW
GeneratingUnit:startEnergy
GeneratingUnit:scrubSO2
GeneratingUnit:startRampRate
GeneratingUnit:thresholdSynchronousCondenserMVAR
GeneratingUnit:spinningReserveMaxSyncCond
GeneratingUnit:offlineDeadbandPercentage
GeneratingUnit:windupDownMax
GeneratingUnit:windupUpMax
Equipment:DAM_Monitored
Equipment:RUC_Monitored
Equipment:DAM_Secured
Equipment:RUC_Secured
Equipment:OUSPriority
GeneratingUnit:longPF
GeneratingUnit:normalPF
GeneratingUnit:shortPF
TRANSFORMER
bmagSat | Core shunt magnetizing susceptance in the saturation region, in per cent.
kneeSat | Core magnetizing saturation curve knee flux level.
Additional TRANSFORMER information possibly wanted
insulationKV
connectionType
emergencyMVA
grounded
r0
rground
shortTermMVA
windingType
x0
xground
gmagSat
ConductingEquipment:phases
Equipment:DAM_Monitored
Equipment:RUC_Monitored
Equipment:DAM_Secured
Equipment:RUC_Secured
Equipment:OUSPriority
TAPCHANGER
highStep | Highest possible tap step position, advance from neutral.
lowStep | Lowest possible tap step position, retard from neutral.
neutralKV | Voltage at which the winding operates at the neutral tap setting.
neutralStep | The neutral tap step position for this winding.
normalStep | The tap step position used in 'normal' network operation for this winding. For a 'Fixed' tap changer indicates the current physical tap setting.
stepPhaseShiftIncrement | Phase shift, in degrees, per step position. A positive value indicates a positive phase shift from the winding where the tap is located to the other winding (for a two-winding transformer), or to the ANDquot;TANDquot; point (for a three-winding transforme
stepVoltageIncrement | Tap step increment, in per cent of nominal voltage, per step position.
avrEnabled | T =Automatic Voltage Regulation is enabled.
loadbasedRegulationEnabled | T = Load-Based Voltage Regulation is enabled.
Additional TAPCHANGER information possibly wanted
initialDelay
subsequentDelay
tculControlMode
neutralAngle
maximumkV
minimumkV
parRampRate
parOptimization
parMaxMW
parMinMW
awrEnabled
coupledToTransformer
flowSensitivity

## Sheet1 (hidden)
Fuel Type Category | Generic Start-up / Operating Category | Physical UnitType (Description) | Primary Fuel Type (Description) | Fuel Transportation Type | Yes or No | TDSP | TDSP DUNS | REP | REP DUNS | PGC | PGC DUNS | Renewable/Offset
Nuclear | Base Load | CA (Combined cycle steam part (includes steam part of integrated coal gasification combined cycle) | AB (Agriculture byproducts, bagasse, straw, energy crops) | CV (Conveyor) | Y | AEP Texas Central Company | 007924772 | Accent Energy Texas LP | 133305370 | 76 Seadrift Coke LLP | 138602581 | (RN) Renewable
Hydro | Gas-Intermediate | CC (Combined cycle total unit (use only for plants/generators that are in planning stage, for which specific generator details cannot be provided) | BFG (Blast-Furnace Gas) | PL (Pipeline) | N | AEP Texas North Company | 007923311 | ACN Energy Inc (LSE) | 081791134 | AEP Pso Municipal | 0079079263100 | (OS) Renewable Offset
Coal and Lignite | Gas-Cyclic | CE (Compressed air energy storage) | BIT (Bituminous Coal) | RR (Railroad) |  | AEP Texas North Company SPP (TDSP) | 053693388 | AEP Texas Commercial Industrial Retail LP (LSE) | 038738451 | AES Deepwater Inc | 556966828 | (NA) Not Applicable
Combined Cycle ≤ 90 MW* | Gas-Peaking | CS (Combined cycle single shaft (combustion turbine and steam turbine share a single generator) | BL (Black liquor) | TK (Truck) |  | Bandera Electric Co Op Inc (TDSP) | 0089451494000 | Affordable Power Plan LP | 171841633 | AES Wolf Hollow LP | 018840392
Combined Cycle > 90 MW* | Renewable (Including Hydro) | CT (Combined cycle combustion turbine part (includes comb. turbine part of integrated coal gasification combined cycle) | DFO (Distillate Fuel Oil (Diesel, No1 Fuel Oil, No 2 Fuel Oil, No 4 Fuel Oil) | NA (Not Applicable) |  | Bartlett Electric Co Op Inc | 002781813 | Alliance Power Company LLC | 136249187 | Air Liquide America Corp | 073003034
Gas Steam - Supercritical Boiler |  | FC (Fuel Cell) | GEO (Geothermal) |  |  | Belfalls Electric Co Op Inc (TDSP) | 004998399 | American Commercial Energy Of Texas LLC (LSE) | 159988406 | Air Products LP | 807949912
Gas Steam - Reheat Boiler |  | GT (Combustion (gas) turbine, includes jet engine design | JF (Jet Fuel) |  |  | Big Country Electric Co Op Inc (TDSP) | 0058630484000 | Ameripower LLC | 140780003 | American Electric Power Texas Central Company | 0079247723000
Gas Steam - Non-reheat or Boiler without air-preheater |  | HY (Hydraulic turbine (includes turbines associated with delivery of water by pipeline) | KER (Kerosene) |  |  | Bluebonnet Electric Co Op Inc (TDSP) | 0524834354000 | Ampro Energy Inc (LSE) | 122843944 | American Electric Power Texas North Company | 0079233113000
Simple Cycle ≤ 90 MW |  | IC (Internal combustion (diesel, piston) engine) | LFG (Landfill gas) |  |  | Brazos Electric Power Co Op Inc(TDSP) | 0037722904000 | Andeler Corporation | 039471953 | Amoco Oil Company | 048205231
Simple Cycle > 90 MW |  | NA (Unknown at this time (planned units only) | LIG (Lignite) |  |  | Brownsville Public Utility Board (TDSP) | 6063470374000 | ANP Power Direct Company (LSE) | 125145693 | Barney M Davis LP (RES) | 146130021
Diesel |  | OT (Other) | MSW (Municipal solid waste (refuse)) |  |  | Bryan Texas Utilities (TDSP) | 0793907794000 | APN | 141081328 | Barney M Davis Unit 1 | 1461300213000
Renewable |  | PS (Hydraulic Turbine - Reversible (pumped storage) | NA (Not available) |  |  | Cap-Rock Electric Co Op Inc (Hunt Collin Division) (TDSP) | 0079370974100 | APS Energy Services Co. | 084611867 | Basa Resources Inc (RES) | 601438849
|  | PV (Photovoltaic) | NG (Natural Gas) |  |  | Cap-Rock Electric Co Op Inc (Mcculloch Division) (TDSP) | 0079370974000 | Arc Energy LLC | 145408444 | BASF Corp | 071014385
|  | ST (Steam Turbine including nuclear, geothermal and solar. Does not include combined cycle | NUC (Nuclear (uranium, plutonium, thorium)) |  |  | Centerpoint Energy Houston Electric LLC (TDSP) | 957877905 | Assurance Energy (TXU Large Nonresidential POLR) | 1733370281300 | Bass Enterprises Production Co | 008948440
|  | WT (Wind Turbine) | OBG (Other biomass gases (methane, digester gas)) |  |  | Central Texas Electric Co Op Inc (TDSP) | 0079302744000 | Assurance Energy (TXU Residential POLR) | 1733370281100 | Bastrop Energy Partners LP | 029496531
|  |  | OBL (Other biomass loquids (ethanol, fish oil, waste alcohol, other gases)) |  |  | Cherokee County Elec Co Op Assoc | 008862625 | Assurance Energy (TXU Small Nonresidential POLR) | 1733370281200 | Bio Energy (Austin) L.L.C. | 041237764
|  |  | OBS (Other biomass solids (animal manure/waster, medical waste, paper pellets, paper derived fuel)) |  |  | City Of Austin Dba Austin Energy (TDSP) | 8008717664000 | Azor Energy LP (LSE) | 160611237 | Bio Energy Partners (Resource) | 193238144
|  |  | OG (Other Gas (Butane, Coal Processes, Coke-oven coal, Methanol, Refinery gas,) |  |  | City Of Bartlett (TDSP) | 074618935 | Bandera Electric Co Op Inc (LSE) | 0089451491000 | BP Amoco Chemical Company | 050309012
|  |  | OO (Other Oil (butane, crude, liquid byproducts, oil waste, propane) |  |  | City Of Bastrop (TDSP) | 0851553724000 | Big Country Electric Co Op Inc (LSE) | 0058630481000 | BP Amoco Chemical Company Greenlake Plant | 022316207
|  |  | OTH (Other (batteries, chemicals, hudrogen pitch sulfur, misc technologies)) |  |  | City Of Bellville (TDSP) | 0935648704000 | Bluebonnet Electric Co Op Inc (LSE) | 0524834351000 | BP Chemicals Inc | 003983483
|  |  | PC (Petroleum Coke) |  |  | City Of Boerne (TDSP) | 0052470694000 | BOC Energy Services Inc (LSE) | 123228178 | BP Energy Company | 625275755
|  |  | PG (Propane) |  |  | City Of Bowie (TDSP) | 8094182964000 | Bp Energy Company (LSE) | 6252757551000 | Brazos Electric Power Co Op Inc (RES) | 0037722903000
|  |  | RFO (Residual fuel Oil (No 5 and No 6 Fuel Oil)) |  |  | City Of Brady (TDSP) | 070804877 | Bp Energy Company (Sub-LSE-Cne) | 8797234681100 | Brazos Electric Power Co Op Inc For Morris Sheppard Dam | 0037722903100
|  |  | SLW (Sludge waste) |  |  | City Of Brenham (TDSP) | 0741649224000 | Brazos Electric Power Co Op Inc | 0037722901200 | Brazos Electric Power Co Op Inc For Tenaska IV Cleburne | 0037722903200
|  |  | SUB (Subbituminous Coal) |  |  | City Of Bridgeport Mun Elec Sys (TDSP) | 0842801714000 | Brazos Electric Power Co Op Inc (LSE) | 0037722901000 | Brazos Electric Power Co Op Inc For Whitney Dam | 0037722903300
|  |  | SUN (Solar (photovoltaic, thermal)) |  |  | City Of Burnet (TDSP) | 0746121514000 | Brazos Electric Power Co Op Inc LCRA | 0037722901100 | Brazos Valley Energy LP | 122527893
|  |  | TDF (Tires) |  |  | City Of Castroville (TDSP) | 797816378 | Brownsville Public Utility Board (LSE) | 6063470371000 | Brazos Wind LP | 129468067
|  |  | WAT (Water (conventioal, pumped storage)) |  |  | City Of Coleman (TDSP) | 1024920064000 | Bryan Texas Utilities (LSE) | 0793907791000 | Brownsville Public Utility Board AEP (RES) | 6063470373100
|  |  | WDL (Wood/wood waste liquids (red liquor, sludge wood spent sulfite liquor, other liquors)) |  |  | City Of College Station (TDSP) | 0403303004000 | Calpine Power America LP | 1127108761000 | Brownsville Public Utility Board Calpine (RES) | 6063470373200
|  |  | WDS (Wood/wood waste solids (peat, railroad ties, utility poles, wood chips, other solids)) |  |  | City Of Cuero (TDSP) | 0526842144000 | Cap Rock Electric Co Op Inc (Mcculloch Division) (LSE) | 0079370971000 | Brownsville Public Utility Board Tenaska (RES) | 6063470373000
|  |  | WH (Waste heat) |  |  | City Of Farmersville (TDSP) | 1903494984000 | Cap-Rock Electric Co Op Inc (Hunt Collin Division) (LSE) | 0079370971100 | Bryan Texas Utilities (RES) | 0793907793000
|  |  | WND (Wind) |  |  | City Of Flatonia (TDSP) | 0626890134000 | Central Texas Electric Co Op Inc (LSE) | 0079302741000 | Calpine Corp | 1127108763000
|  |  | WOC (Waste/other coal) |  |  | City Of Floresville Dba Floresville Elec Light And Pwr | 008948374 | Certain Energy | 0086137911100 | Calpine Power Management LP (RES) | 1127108763100
[6 empty] | City Of Fredericksburg (TDSP) | 0769243074000 | Cinergy Retail Power LP (LSE) | 037214421 | Celanese Engineering RESin Inc (RES) | 008113441
[6 empty] | City Of Garland (TDSP) | 6011012564000 | Cirro Group Inc | 034441449 | Chevron Usa Inc | 020345526
[6 empty] | City Of Garland Gbcreek (TDSP) | 6011012564100 | City Of Austin DBA Austin Energy (LSE) | 8008717661000 | Citation Oil And Gas Corp | 058778853
[6 empty] | City Of Georgetown (TDSP) | 0895923724000 | City Of Bastrop (LSE) | 0851553721000 | City Of Austin DBA Austin Energy (RES) | 8008717663000
[6 empty] | City Of Giddings (TDSP) | 0096899514000 | City Of Bellville (LSE) | 0935648701000 | City Of Cleburne Texas | 024705548
[6 empty] | City Of Goldsmith (TDSP) | 0888946704000 | City Of Boerne (LSE) | 0052470691000 | City Of Coleman (RES) | 1024920063000
[6 empty] | City Of Goldthwaite (TDSP) | 1558252764000 | City Of Bowie (LSE) | 8094182961000 | City Of Garland (RES) | 6011012563000
[6 empty] | City Of Gonzales (TDSP) | 0937385404000 | City Of Brady (LSE) | 0708048771000 | City Of Robstown Utility Systems (RES) | 9387911423000
[6 empty] | City Of Hallettsville (TDSP) | 0090811834000 | City Of Brenham (LSE) | 0741649221000 | City Of San Antonio City Public Service (RES) | 0079360733000
[6 empty] | City Of Hearne Municipal Electric System (TDSP) | 0897458894000 | City Of Bridgeport Mun Elec Sys (LSE) | 0842801711000 | Cogen Lyondell Inc | 137551321
[6 empty] | City Of Hempstead (TDSP) | 1272175604000 | City Of Burnet (LSE) | 0746121511000 | Coleto Creek Wle LP (RES) | 146129908
[6 empty] | City Of Hondo (TDSP) | 091703843 | City Of Coleman (LSE) | 1024920061000 | Comision Federal De Electricidad (RES) | 8100082433000
[6 empty] | City Of La Grange (TDSP) | 0607085184000 | City Of College Station (LSE) | 0403303001000 | Corrugated Services LP (RES) | 007513252
[6 empty] | City Of Lampasas (TDSP) | 0203311204000 | City Of Cuero (LSE) | 0526842141000 | Cromeco Inc (RES) | 956545263
[6 empty] | City Of Lexington (TDSP) | 0081817324000 | City Of Farmersville (LSE) | 1903494981000 | Delaware Mountain Wind Farm LP LCRA (RES) | 015453751
[6 empty] | City Of Llano (TDSP) | 0916952054000 | City Of Flatonia (LSE) | 0626890131000 | Delaware Mountain Wind Farm LP Reliant (RES) | 0154537513100
[6 empty] | City Of Lockhart (TDSP) | 0746168634000 | City Of Fredericksburg (LSE) | 0769243071000 | Denison Dam | Denisondam
[6 empty] | City Of Luling (TDSP) | 0105539984000 | City Of Garland (LSE) | 6011012561000 | Denton Municipal Electric (Lewisville) (RES) | 0003540763100
[6 empty] | City Of Mason (TDSP) | 1561267084000 | City Of Georgetown (LSE) | 0895923721000 | Denton Municipal Electric (RES) | 0003540763000
[6 empty] | City Of Moulton (TDSP) | 0091871544000 | City Of Giddings (LSE) | 0096899511000 | Desert Sky Wind Farm LP | 039440420
[6 empty] | City Of Robstown Utility System (TDSP) | 9387911424000 | City Of Goldsmith (LSE) | 0888946701000 | E S Joslin LP (RES) | 146130260
[6 empty] | City Of San Antonio City Public Service (TDSP) | 0079360734000 | City Of Goldthwaite (LSE) | 1558252761000 | Eagle Pass Wle LP (RES) | 146130161
[6 empty] | City Of San Marcos (TDSP) | 0694628694000 | City Of Gonzales (LSE) | 0937385401000 | Encogen One Partners Ltd | 794368423
[6 empty] | City Of San Saba (TDSP) | 0248592254000 | City Of Hallettsville (LSE) | 0090811831000 | Equistar Chemical LP | 969557263
[6 empty] | City Of Sanger | 058956020 | City Of Hearne Municipal Electric System (LSE) | 0897458891000 | Extex Laporte LP 2 | 0170117713100
[6 empty] | City Of Schulenburg (TDSP) | 0532950364000 | City Of Hempstead (LSE) | 1272175601000 | Extex-Laporte LP | 017011771
[6 empty] | City Of Seguin (TDSP) | 0862819794000 | City Of La Grange (LSE) | 0607085181000 | Exxon Mobil Corp (Resource) | 001213214
[6 empty] | City Of Seymour | 166319145 | City Of Lampasas (LSE) | 0203311201000 | Formosa Plastics Corporation America (RES) | 039942144
[6 empty] | City Of Shiner (TDSP) | 1504533714000 | City Of Lexington (LSE) | 0081817321000 | Formosa Utility Venture Ltd | 927788786
[6 empty] | City Of Smithville (TDSP) | 0916978134000 | City Of Llano (LSE) | 0916952051000 | FPL Energy Callahan Wind LP (RES) | 168786981
[6 empty] | City Of Waelder (TDSP) | 0541779694000 | City Of Lockhart (LSE) | 0746168631000 | FPL Energy Pecos Wind I & II LP | 782659171
[6 empty] | City Of Weimar (TDSP) | 0214974584000 | City Of Luling (LSE) | 0105539981000 | FPL Energy Upton Wind I LP | 7826591713100
[6 empty] | City Of Whitesboro | 134546522 | City Of Mason (LSE) | 1561267081000 | FPL Energy Upton Wind II LP | 7826591713200
[6 empty] | City Of Yoakum (TDSP) | 0694557724000 | City Of Moulton (LSE) | 0091871541000 | FPL Energy Upton Wind III LP | 7826591713300
[6 empty] | Coleman County Electric Co Op Inc (TDSP) | 0079246734000 | City Of Robstown Utility System (LSE) | 9387911421000 | FPL Energy Upton Wind Iv LP | 7826591713400
[6 empty] | Comanche Electric Co Op Association | 002889210 | City Of San Antonio City Public Service (LSE) | 0079360731000 | FPLE Forney LP (RES) | 114740306
[6 empty] | Concho Valley Electric Co Op Inc (TDSP) | 0038666624000 | City Of San Marcos (LSE) | 0694628691000 | FPLE Forney 2 (RES) | 1147403063100
[6 empty] | Cooke County Electric Co Op Assoc Inc | 008951808 | City Of San Saba (LSE) | 0248592251000 | Frontera General Limited Partnership | 117207238
[6 empty] | Deep East Texas Electric Co Op Inc | 047845623 | City Of Schulenburg (LSE) | 0532950361000 | Gen Tex Power Corp | 071023449
[6 empty] | Deleteme Market Participant | 888888888 | City Of Seguin (LSE) | 0862819791000 | Geus (RES) | 8062449353000
[6 empty] | Denton County Elec Co Op Dba Coserve Elec | 008947913 | City Of Seymour (LSE) | 1663191451000 | Gregory Power Partners LP | 158590716
[6 empty] | Denton Municipal Electric (TDSP) | 0003540764000 | City Of Shiner (LSE) | 1504533711000 | Guadalupe Power Partners LP | 160934308
[6 empty] | Dewitt Electric Co Op Inc (TDSP) | 0089461884000 | City Of Smithville (LSE) | 0916978131000 | Guadalupe-Blanco River Authority (RES) | 0563116083000
[6 empty] | East Texas Electric Co Op (TDSP) | 948535265 | City Of Waelder (LSE) | 0541779691000 | Hays Energy LP | 016574134
[6 empty] | Entergy Gulf States Inc | 827438383 | City Of Weimar (LSE) | 0214974581000 | Ingleside Cogeneration LP | 742861564
[6 empty] | Fannin County Electric Co Op Inc | 0018220894000 | City Of Yoakum (LSE) | 0694557721000 | Invista Inc | 001315704
[6 empty] | Farmers Electric Co Op Inc Dba FEC Electric | 0098442344000 | Coleman County Electric Co Op Inc (LSE) | 0079246731000 | J L Bates LP (RES) | 146130450
[6 empty] | Fayette Electric Co Op Inc (TDSP) | 0593309774000 | Comision Federal De Electricidad | 810008243 | Kiowa Power Partners | 112752865
[6 empty] | Fort Belknap Electric Co Op Inc (TDSP) | 007935299 | Commonwealth Energy Corporation DBA Electric America | 176343341 | La Grange Acquistion Ltd | 122717866
[6 empty] | Geus (TDSP) | 8062449354000 | Concho Valley Electric Co Op Inc (LSE) | 0038666621000 | La Palma Wle LP (RES) | 146130716
[6 empty] | Granbury Municipal Utilities (TDSP) | 0952141694000 | Conoco Inc (LSE) | 008427692 | Lamar Power Partners LP | 118615058
[6 empty] | Grayson Collin Electric Co Op Inc | 008953812 | Conocophillips Company (LSE) | 001368265 | Laredo Wle LP (RES) | 146130559
[6 empty] | Guadalupe Valley Electric Co Op Inc (TDSP) | 0079305894000 | Consolidated Edison Solutions Inc | 809887904 | Lcy Elastomers LP (RES) | 142355051
[6 empty] | Hamilton County Electric Co Op (Brazos) | 008949216 | Constellation Electric Energy Services LP | 037483307 | Lon C Hill LP (RES) | 146130872
[6 empty] | Hamilton County Electric Co Op (Lcra) | 0089492164100 | Constellation Newenergy Inc (LSE) | 8797234681000 | Lone Star Industries Inc DBA Buzzi Unicem Usa | 001265321
[6 empty] | Hilco Electric Co Op Inc (TDSP) | 008950545 | Coral Power LLC (LSE) | 9375172661000 | Lower Colorado River Authority (RES) | 0432268853000
[6 empty] | Houston County Elec Coop (TDSP) | 005777206 | Coral Power LLC DBA Coral Power Solutions (LSE) | 9375172661100 | Matheson Tri_Gas | 179092028
[6 empty] | Houston County Elec Coop TXU (TDSP) | 0057772064100 | Cpl Energy Delivery Company (Cpl-Edc) (LSE) | 0079247721000 | Medina Electric Co Op Inc (RES) | 0081378123000
[6 empty] | J A C Electric Co Op Inc | 003890795 | Cpl Retail Energy DBA 1300 | 0177405441300 | Midlothian Energy LP | 077015803
[6 empty] | Jackson Electrical Co Op Inc | 078423555 | Cpl Retail Energy DBA 1400 | 0177405441400 | Mirant Texas Management Inc | 606307127
[6 empty] | Jasper Newton Electric Co Op Inc | 007933518 | Cpl Retail Energy LP (LSE) | 017740544 | Mirant Wichita Falls Management Inc | 605363709
[6 empty] | Karnes Electric Co Op Inc | 006824106 | Cpl Retail Energy LP 1100 | 0177405441100 | Mpower Trade And Marketing LP | 1091142513000
[6 empty] | Kerrville Public Utility Board (TDSP) | 1248248064000 | Cpl Retail Energy LP DBA Cpl | 0177405441200 | Newgulf Power Venture Inc | 018430129
[6 empty] | Lamar County Elec Coop Dba LEC (TDSP) | 0048060974000 | Dc_E | DC_E | Nueces Bay Wle LP (RES) | 146131011
[6 empty] | Lighthouse Electric Co Op (TDSP) | 0028252894000 | Dc_N | DC_N | Nwp Indian Mesa Wind Farm LP LCRA (RES) | 015453918
[6 empty] | Lower Colorado River Authority Tensco | 0432268854000 | Dc_S | DC_S | Nwp Indian Mesa Wind Farm LP TXU (RES) | 0154539183100
[6 empty] | Lyntegar Electric Co Op Inc (TDSP) | 0079371474000 | Denton Municipal Electric (LSE) | 0003540761000 | Occidental Chemical Corp-Load | 0672719813000
[6 empty] | Magic Valley Electric Co Op Inc (TDSP) | 008951501 | Dewitt Electric Co Op Inc (LSE) | 0089461881000 | Occidental Chemical Corp-Resource | 0672719813100
[6 empty] | Mclennan County Electric Co Op Inc | 007509698 | Direct Energy DBA 1300 | 0397133541300 | Odessa-Ector Power Partners LP | 096003871
[6 empty] | Medina Electric Co Op Inc (TDSP) AEP | 0081378124100 | Direct Energy DBA 1400 | 0397133541400 | Oklahoma Municipal Power Authority | 148268782
[6 empty] | Medina Electric Co Op Inc (TDSP) STEC | 0081378124000 | Direct Energy LP DBA Direct Energy | 039713354 | Oneok Energy Services Company LP (RES) | 157641445
[6 empty] | Mid South Electric Co Op Assoc | 061278594 | Direct Energy LP DBA Direct Energy Business Services | 0397133541000 | Owens Corning | 001317452
[6 empty] | Navarro County Electric Co Op Inc | 006770101 | Direct Energy LP DBA Direct Energy Multi Family | 0397133541200 | Oxy Permian Ltd | 795956205
[6 empty] | Navasota Valley Electric Co Op Inc | 046299913 | Dte Energy Trading Inc | 179989231 | Oxy Usa Inc | 839384187
[6 empty] | New Braunfels Utilities (TDSP) | 0383461694000 | Dynegy Energy Marketing LP | 009924445 | Oxy Vinyls LP | 061805003
[6 empty] | Nueces Electric Co Op Inc | 008828857 | Dynowatt LP | 8344016011000 | Oyster Creek Limited | 017728937
[6 empty] | Nueces Electric Co Op Inc AEP (TDSP) | 0088288574100 | Econnergy Energy Company (LSE) | 013876508 | Pioneer Natural Resources Usa Inc | 154679435
[6 empty] | Nueces Electric Coop Inc Pilot TDSP | 0088288574800 | Electric Now LP (LSE) | 144817595 | Polimeri Europa Americas | 624932711
[6 empty] | Pedernales Elec Co Op Inc AEP (TDSP) | 0079241114100 | Energy America LLC (LSE) | 8584433771000 | Power Resources Ltd | 021985348
[6 empty] | Pedernales Electric Co Op Inc (TDSP) | 0079241114000 | Energy West DBA Fire Fly Powered By Franklin Power (LSE) | 1246639511000 | Public Service Co Of Oklahoma | 007907926
[6 empty] | Pedernales Electric Cooperative | 0079241114000 | Energy West Ltd D/B/A Franklin Power Company (LSE) | 124663951 | Pure Resources Inc (RES) | 099447344
[6 empty] | Pedernales Electric Cooperative Inc | 0079241114300 | Enron Energy Services Inc (LSE) | 0043285681000 | Reliant Energy Channelview LP | 025425658
[6 empty] | Rayburn Country Co Op Dba Rayburn Electric (TDSP) | 6243686014000 | Enron Power Marketing Inc (LSE) | 8489212761000 | Reliant Energy Electric Solutions | 1213912183000
[6 empty] | Rio Grande Electric Co Op (TDSP) | 002781953 | Entergy Gulf States Inc (LSE) | 8274383831000 | Reliant Energy HL And P (RES) | 014397397
[6 empty] | Rio Grande Electric Co Op TXU (TDSP) | 0027819534100 | Entergy Solutions Essentials Ltd POLR | 0077215121100 | Reliant Energy Renewables Atascocita | 930187393
[6 empty] | Rusk County Electric Co Op (TDSP) | 009844440 | Entergy Solutions Ltd | 007721512 | Reliant Energy Renewables Baytown | 016216561
[6 empty] | Sam Houston Electric Co Op Inc (TDSP) | 056267867 | Entergy Solutions Select Ltd Affiliated Rep | 0077215121200 | Reliant Energy Renewables Blue Bonnet LP (RES) | 930127472
[6 empty] | San Bernard Electric Co Op (TDSP) | 0089453134000 | Extex Retail Services Company LLC | 131494440 | Reliant Energy Renewables Coastal Plains LP (RES) | 930116145
[6 empty] | San Miguel Electric Co Op Inc (TDSP) | 0884848524000 | Exxonmobil Power And Gas Services | 3/25/2005 6:33:47 AM | Rhodia Inc | 002959810
[6 empty] | San Patricio Electric Co Op (TDSP) | 003864907 | Fayette Electric Co Op Inc (LSE) | 0593309771000 | Rio Nogales Power Project LP | 801232849
[6 empty] | Sharyland Utilities Lp (TDSP) | 105262336 | Fire Fly Electricity LLC (LSE) | 127329071 | San Miguel Electric Co Op Inc (RES) | 088484852
[6 empty] | Sharyland Utilities Noie (TDSP) | 1052623364100 | First Choice Power Special Purpose Limited Partnership | 008613791 | Seadrift Coke LP | 190593574
[6 empty] | South Plains Electric Co Op Inc (TDSP) | 007934185 | FPL Energy Power Marketing Inc (LSE) | 0544813411000 | Shell Oil Company (Resource) | 008090938
[6 empty] | South Texas Electric Co Op Inc | 0038663324000 | Freedom Group LLC (LSE) | 144991671 | Small Hydro Of Texas Inc (RES) | 622874808
[6 empty] | Southwest Texas Electric Co Op Inc (TDSP) | 0084158954000 | Fryar Energy | 189041697 | South Houston Green Power LP | 809788672
[6 empty] | Southwestern Public Service Company (TDSP) | 007369713 | Geus (LSE) | 8062449351000 | South Texas Electric Co Op Inc (RES) | 0038663323000
[6 empty] | SWEPCO Energy Delivery Company (SWEPCO-EDC) (TDSP) | 026763672 | Gexa Corp DBA Gexa Energy Corp (LSE) | 108114542 | Southwest Texas State University | 626614770
[6 empty] | Taylor Electric Co Op Inc (TDSP) | 0079344254000 | Gexa Energy (LSE) | 1081145421000 | Spencer Station Generating Company LP | 027178974
[6 empty] | Taylor Electric Co Op Inc Abilene (TDSP) | 0079344254100 | Golden Spread Electric Cooperative Inc AEP As QSE (LSE) | 1864707791000 | Suez Energy Generation Na | 054447164
[6 empty] | Texas A&M | 0037722904TAM | Golden Spread Electric Cooperative Inc TXU As QSE (LSE) | 186470779 | Sweeny Cogeneration General LP | 117207469
[6 empty] | Texas Municipal Power Agency | 071374052 | Good Guys Power LP (LSE) | 125113790 | Sweetwater Wind 2 LLC (RES) | 1378994773000
[6 empty] | Texas-New Mexico Power Co (TDSP) | 007929441 | Granbury Municipal Utilities (LSE) | 0952141691000 | Sweetwater Wind Power LLC | 137899477
[6 empty] | Tri County Electric Co Op Inc | 008945123 | Green Mountain Energy | 176871481 | Tenaska Frontier Partners Ltd | 021680330
[6 empty] | Trinity Valley Elec Co Op | 009844564 | Green Mountain Energy Company - Commercial | 1768714811200 | Tenaska Gateway Partners Ltd | 014875921
[6 empty] | TXU Electric Delivery (TDSP) | 1039940674000 | Green Mountain Multifamily | 1768714811100 | Tenaska III Texas Partners | 019931419
[6 empty] | TXU Sesco Co (TDSP) | 0079280964000 | Guadalupe Valley Electric Co Op Inc (LSE) | 0079305891000 | Texas Big Spring LP | 196803006
[6 empty] | United Electric Co Op Services Inc | 008945826 | Himalaya Power Inc (LSE) | 156111168 | Texas Genco II LP (RES) | 1684560493000
[6 empty] | Victoria Electric Co Op Inc | 008953861 | Hino Electric Power Company (LSE) | 026533844 | Texas Genco LP (RES) | 1208072553000
[6 empty] | Victoria Electric Co Op Inc AEP (TDSP) | 0089538614100 | Hudson Energy Services LLC (LSE) | 121359595 | Texas Generating Co | 008673092
[6 empty] | Weatherford Municipal Utility System (TDSP) | 0817196274000 | Ideal Energy Inc | 186626128 | Texas Petrochemicals LP | 102647005
[6 empty] | Western Farmers Electric Cooperative (TDSP) | 0728624074000 | Just Energy Texas LLC | 110569998 | The Dow Chemical Co | 001381581
[6 empty] | Wharton County Electric Co Op Inc | 118487958 | Kerrville Public Utility Board (LSE) | 1248248061000 | Ticona Polymer Inc. | 785971219
[6 empty] | Wise Electric Co Op | 041405408 | Liberty Power Corp. | 112361204 | Trent Wind Farm LP | 019125751
[8 empty] | Lighthouse Electric Co Op (LSE) | 0028252891000 | Twin Oaks Power LP (RES) | 112017038
[8 empty] | Lower Colorado River Authority (LSE) | 0432268851000 | TXU Big Brown Company (RES) | 6062523933000
[8 empty] | Lyntegar Electric Co Op Inc (LSE) | 0079371471000 | TXU Decordova Company LP (RES) | 6062523933100
[8 empty] | M3 LP (LSE) | 125113799 | TXU Electric Co (RES) | 1039940673000
[8 empty] | Magic Valley Electric Co Op Inc (LSE) | 0089515011000 | TXU Generation Company LP (RES) | 6062523933200
[8 empty] | Mpower Retail Energy | 3/25/2005 6:33:49 AM | TXU Handley Company LP (RES) | 6062523933300
[8 empty] | Ms Retail Development Corp | 138129197 | TXU Mountain Creek LP | 6062523933400
[8 empty] | Mutual Energy Swepco LP (LSE) | 017741575 | TXU Tradinghouse Company LP (RES) | 6062523933500
[8 empty] | Mutual Energy Swepco LP (LSE) POLR | 0177415751100 | Union Carbide Corp | 008073322
[8 empty] | National Power Company Inc | 189435345 | Union Carbide Corporation Seadrift | 001005623
[8 empty] | Neumin Production Co | 074606807 | Valero Refining - Texas LP (AEP As QSE) (RES) | 0793912803000
[8 empty] | New Braunfels Utilities (LSE) | 0383461691000 | Valero Refining Company Texas | 079391280
[8 empty] | New Mexico Natural Gas LP D/B/A Starlight Electric (LSE) | 807025689 | Victoria Wle LP (RES) | 146130914
[8 empty] | Nm Energy Of Texas LLC DBA Five Point Power | 131950672 | Waste Management Renewable Energy LLC | 194672085
[8 empty] | Nordic Marketing LLC (LSE) | 126473649 | Weatherford Municipal Utility System (RES) | 0817196273000
[8 empty] | Nueces Electric Cooperative Inc Retail Division (Nec Rd) | 0088288571000 | West Texas Renewables LP | 196805787
[8 empty] | NV Power LP | 167012553 | West Texas Wind Energy Partners LLC | 016106234
[8 empty] | Occidental Power Marketing LP | 052298721 | Wharton County Power Partners LP (RES) | 141250287
[8 empty] | Pedernales Elec Co Op Inc AEP (LSE) | 0079241111100 | Wilsonart International Inc | 198165458
[8 empty] | Pedernales Electric Co Op Inc (LSE) | 0079241111000 | Windpower Partners 1994 LP Austin Energy (RES) | 9491182853100
[8 empty] | Pegasus Alliance Corporation DBA Onpac Energy (LSE) | 136387466 | Windpower Partners 1994 LP LCRA (RES) | 949118285
[8 empty] | Pilot Power Group Inc. | 930453365 | Wise County Power Company | 0544471643000
[8 empty] | POLR Power LP | 076882203
[8 empty] | Pre Buy Electric LLC | 188610260
[8 empty] | Prelectric Energy Services LLC (LSE) | 159059315
[8 empty] | Proviron Energy Ltd | 136385270
[8 empty] | Rayburn Country Co Op DBA Rayburn Electric (LSE) | 6243686011000
[8 empty] | Reliant Energy Hl And P (LSE) | 014396092
[8 empty] | Reliant Energy Retail Services LLC | 799530915
[8 empty] | Reliant Energy Retail Services LLC POLR Division | 029691099
[8 empty] | Reliant Energy Services Channelview LLC | 114743953
[8 empty] | Reliant Energy Solutions LLC | 616498114
[8 empty] | Reliant Energy Solutions LLC POLR Division (LSE) | 029692659
[8 empty] | Republic Power DBA Energy America Ii (Test) | 0397133541100
[8 empty] | Rio Grande Elec Co Op (LSE) AEP | 0027819531100
[8 empty] | Rio Grande Electric Co Op (LSE) TXU | 0027819531000
[8 empty] | Rio Grande Power LLC (LSE) | 132835492
[8 empty] | Rwe Trading Americas Inc | 0594282551000
[8 empty] | San Bernard Electric Co Op (LSE) | 0089453131000
[8 empty] | Sempra Energy Solutions | 968254276
[8 empty] | Sharyland Utilities LP (LSE) | 1052623361000
[8 empty] | Shell Energy Services Co LLC | 016615689
[8 empty] | Sitara Energy Inc (LSE) | 156110723
[8 empty] | Smartenergy | 3/25/2005 6:33:51 AM
[8 empty] | Solaro Energy Marketing Corporation (LSE) | 128849358
[8 empty] | South Texas Electric Co Op Inc (LSE) | 0038663321000
[8 empty] | South Texas Electric Co Op Inc (LSE) AEP | 0038663321100
[8 empty] | South Texas Electric Cooperative (Cr) | 0038663321200
[8 empty] | South Texas Electric Cooperative (POLR) | 0038663321300
[8 empty] | Southwest Texas Electric Co Op Inc (LSE) | 0084158951000
[8 empty] | Southwestern Public Service Company (LSE) | 0073697131000
[8 empty] | Spark Energy LP | 037597437
[8 empty] | Spark Energy LP - DBA Fire Fly Powered By Spark Energy | 0375974371000
[8 empty] | Star Electricity LLC (LSE) | 201275877
[8 empty] | Star Electricity LLC DBA Startex Power | 148055531
[8 empty] | Strategic Energy LLC (LSE) | 800770810
[8 empty] | Stream Gas And Electric Ltd (LSE) | 159008395
[8 empty] | Swepco Edc (Spp Esi Id) (LSE) | 152402459
[8 empty] | Swepco Energy Delivery Company (Swepco-Edc) (LSE) | 0267636721000
[8 empty] | Tara Energy Inc. | 111950619
[8 empty] | Taylor Electric Co Op Inc (LSE) | 0079344251000
[8 empty] | Taylor Electric Co Op Inc-Abilene (LSE) | 0079344251100
[8 empty] | Tenaska Power Services Co (LSE) | 015016913
[8 empty] | Tenaska Power Services Co DBA Tps I | 0150169131000
[8 empty] | Tenaska Power Services Co DBA Tps Ii | 0150169131100
[8 empty] | Tenaska Power Services Co DBA Tps Iii | 0150169131200
[8 empty] | Tenaska-Oxy Power Rep Services LP | 109518444
[8 empty] | Tenaska-Oxy Power Rep Services LP DBA Tops I | 1095184441000
[8 empty] | Texas Commercial Energy (LSE) | 039711747
[8 empty] | Texas Commercial Energy D/B/A Texas Wholesale Energy | 0397117471000
[8 empty] | Texas Retail Energy LLC (LSE) | 124238432
[8 empty] | Texas Star Energy Company | 799533091
[8 empty] | Texas Star Energy Company Lnr (LSE) | 037667420
[8 empty] | Texas-New Mexico Power Co (LSE) | 0079294411000
[8 empty] | Tex-La Electric Co Op Of Texas (LSE) | 609170030
[8 empty] | Tex-La Electric Co Op Of Texas Inc./Tps (LSE) | 6091700301100
[8 empty] | Tex-La Electric Cooperative Of Texas Inc./Coral Power (LSE) | 6091700301200
[8 empty] | TGT Energy LLC | 006961700
[8 empty] | The New Power Co | 364371679
[8 empty] | Tractebel Energy Marketing Inc (LSE) | 9689097391000
[8 empty] | Tractebel Energy Services Inc | 099668332
[8 empty] | Trieagle Energy LP (LSE) | 124769063
[8 empty] | Trieagle Energy LP DBA Eagle Energy | 1247690631100
[8 empty] | Trieagle Energy LP DBA Pilot Energy | 1247690631200
[8 empty] | Trieagle Energy LP DBA Power House Energy | 1247690631300
[8 empty] | Trieagle Energy LP DBA Trieagle Energy Services | 1247690631000
[8 empty] | Trizec Holdings Inc | 113632207
[8 empty] | TXI Power Co | 041083403
[8 empty] | TXU Electric Co (LSE) | 1039940671000
[8 empty] | TXU Energy | 1733370281000
[8 empty] | TXU Et Services Company (LSE) | 1733370281500
[8 empty] | TXU Sesco Co (LSE) | 0079280961000
[8 empty] | TXU Sesco Energy Services Company (Sublse) | 1733370281400
[8 empty] | Ubs Ag London Branch(LSE) | 4872019151000
[8 empty] | Urban Energy Source LLC | 144737041
[8 empty] | Usave Energy Services Inc (LSE) | 128490062
[8 empty] | Utility Choice LLC DBA Utility Choice Electric (LSE) | 834401601
[8 empty] | Vantage Power Services LP | 148062354
[8 empty] | Vartec Telecom | 3/25/2005 6:33:54 AM
[8 empty] | Vega Resources LLC DBA Amigo Energy | 141047543
[8 empty] | W Power And Light LP (LSE) | 156766037
[8 empty] | Weatherford Municipal Utility System (LSE) | 0817196271000
[8 empty] | West Texas Utilities TX Spp (LSE) | 0536933881000
[8 empty] | Western Farmers Electric Cooperative (LSE) | 072862407
[8 empty] | WTU Energy Delivery Company (WTU-Edc) (LSE) | 0079233111000
[8 empty] | WTU Retail Energy DBA 1300 | 0177412941300
[8 empty] | WTU Retail Energy DBA 1400 | 0177412941400
[8 empty] | WTU Retail Energy LP (LSE) | 017741294
[8 empty] | WTU Retail Energy LP 1100 | 0177412941100
[8 empty] | WTU Retail Energy LP DBA WTU | 0177412941200
[8 empty] | XERS Inc | 007346922
[8 empty] | Young Energy | 189069284